## Format
DISCOM : BRPL
OUTAGE REPORT FOR : 09/03/2018 06:00Hr. To 10/03/2018 06:00Hr.
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Area / DT Effected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Detail
1 | 09/03/2018 | JKP | 15:32 | 17:32 | 02:00 | PLANNED SHUTDOWN | Grid:VISHAL (33/11kV) GRID SSTN To Feeder:11kV FDR J-3 RAJOURI GARDEN , RMU:RMU REPLACEMENT | RESTORED/ REPAIRED | Part of : *630TRF-3: J -3 SSTN, RAJOURI GARDEN* | 263
2 | 09/03/2018 | MDK | 14:03 | 15:03 | 01:00 | PLANNED SHUTDOWN | Grid:66/11KV MUNDKA GRID To Feeder:11kV FDR BUL BUL VATIKA , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRANSFORMER,11/0.433KV 100KVA OIL TYPE*,*100TRF-1:TRF- 20 GALI NO 3 IND AREA MUNDKA*,*100TRF-1*,*25TRF-1:MTNL GHEVRA MORE*,*100TRF-1:MUNDKA IND AREA (S) GALI NO 10*,*100TRF-1:ABHINAV KUMAR*,*100TRF-1:MUNDKA IND AREA (S) GALI NO 9 TRF-2*,*400 TRF-1:LAPRA COMP HIRANKUDANA*,*100TRF-1:SILVER OAK GDN ROHTAK ROAD*,*100TRF-1:NR NEW PEERUWALA SSTN*,*25TRF-1:SUKHDEV RAJ ANAND NEELWAL ROAD PM*,*100TRF-1:MUNDKA IND AREA GALI NO-11*,*100TRF-1:JITENDER ARYA HIRANKUDANA NALA*,*100TRF-1:GALI NO-8 SSTN*,*100TRF-1:GHEVARA IND AREA S/S 03 P/M*,*100TRF-1:DIMPLE KAPOOR,G NO 04,*,*100TRF-1:S/s NEAR BRITANNIA GODOWN*,*100TRF-1:SSTN NO-17 P/M GALI NO-2*,*100TRF-1:GUPTA and SONI G NO 07*,*100TRF-1:NEW PEERUWALA SSTN*,*400TRF-1:JAIN MANDIR*,*100TRF-1:TRF- 20 GALI NO 3 IND AREA MUNDKA*,*100TRF-1:MDK IND AREA (SOUTH) GALI 11 SSTN-5*,*100TRF-1:NEAR GALI NO-9 NO-2 SSTN*,*100TRF-1:BPL PETROL PUMP GHEVARA *,*400TRF-1:SSTN NO-18 GALI NO-3*,*100TRF-1:GHEVARA IND AREA S/S 07*,*400TRF-1:PEERU MUNDKA RTK ROAD:PM*,*400TRF-1:BANSAL HIRAN KUDNA MORE:PM*,*100TRF-1:ASHOK DANDONA GALI NO-9*,*100TRF-1:GHEVARA IND AREA S/S 13 P/M*,*25TRF-1:KL MUKAND NEELWAL*,*25TRF-1:JAIN MANDIR P/M*,*100TRF-1:RAILWAY STN GHEVRA:PM | 542
3 | 09/03/2018 | ALN | 14:03 | 16:52 | 02:49 | PLANNED SHUTDOWN | Grid:66 kV OKHLA PHASE-I GRID To Feeder:11 kV FDR S/S NO.-3 OKHLA PHASE-1 , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 SEWEGE PUMP OKHLA* | 62
4 | 09/03/2018 | MDK | 14:03 | 16:03 | 02:00 | PLANNED SHUTDOWN | Grid:NANGLOI WATER WORKS (66/11kV) GRID SSTN To Feeder:11kV FDR ARVIND ENCLAVE S/S NO.-3 , 11KV FEEDER:TREE TRIMMING | RESTORED/ REPAIRED | Part of : *400RF-1:S/STN SAHIB SINGH VERMA*,*400TRF-1:AMAR CLNY D BLK*,*630TRF-2:AMAR COLONY C BLOCK:ID*,*400TRF-1:RISHI NAGAR P/M NR SUKHI NAHAR*,*400TRF-2:AMAR COLONY A BLOCK:ID*,*990TRF-1:AMAR COLONY A BLOCK:ID*,*400TRF-1:AMAR COLONY P/M*,*630TRF-1:AMAR COLONY C BLOCK:ID*,*630TRF-2:AMAR CLNY D BLK*,*630TRF-1:SUKHI NAHAR NEAR PLOT NO.A-161*,*990 TRF-2:ARVIND ENCLAVE* | 549
5 | 09/03/2018 | PLM | 13:00 | 15:33 | 02:33 | PLANNED SHUTDOWN | Grid:G-2 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:PURAN NAGAR+KAILASHPURI EXTN. , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *630 TRF-1:PKT-13 SSTN NO-1(DDA FALTS)* | 245
6 | 09/03/2018 | PLM | 12:30 | 15:20 | 02:50 | PLANNED SHUTDOWN | Grid:G-6 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11kV FDR A.W.H, SECTOR-22 , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : *100 TRF-1X-59 P BLK*,*100 TRF-1:CRPF SEC-8*,*990 TRFf-1:Bagdolla Village (Kiosk)*,*400 TRF-1:BAGDOLA VILL HARIJAN BASTI* | 369
7 | 09/03/2018 | PLM | 12:30 | 15:33 | 03:03 | PLANNED SHUTDOWN | Grid:G 4 DWARKA SEC 19 GRID SSTN To Feeder:11kV FDR MANISH PLAZA SEC-23 , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 630*2 KVA TRF DABAS CGHS | 389
8 | 09/03/2018 | SKT | 12:03 | 15:02 | 02:59 | PLANNED SHUTDOWN | Grid:MEHRAULI (220/66/11kV, TRANSCO) GRID SSTN To Feeder:FATEH PUR BERI , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 INDO CANADIAN FOOD ASOLA S/STN* | 348
9 | 09/03/2018 | PLM | 12:00 | 15:34 | 03:34 | PLANNED SHUTDOWN | Grid:G-6 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11kV FDR SEC-23, POLICE STATION , RMU:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *630 TRF-2:Police Station Sect-23*,*630 TRF-1:Police Station Sect-23* | 278
10 | 09/03/2018 | SKT | 12:00 | 15:02 | 03:02 | PLANNED SHUTDOWN | Grid:33kV ADHCHINI GRID To Feeder:11kV FDR PTS COLONY , RMU:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : HT CONSUMER | 1
11 | 09/03/2018 | JFR | 12:00 | 14:40 | 02:40 | PLANNED SHUTDOWN | Grid:JAFFARPUR (66/11kV) GRID SSTN To Feeder:11KV MITRAON , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *25 TRF-1:SITARAM VILL MITRAON*,*630 TRF-1:S/STN-5 VILLAGE MITRAON*,*400 TRF-1:MITRAON COMPLAINT CENTRE*,*100 TRF-1:MAM CHAND VLG MITRAON*,*100 TRF-1:DAYAKISHAN VILL MITRAON:PM*,*100 TRF1-:CHET RAM VILL JAFFARPUR:PM*,*ON DHANSA ROAD NERA GOVT. SCHOOL*,*630 TRF-1:VILLAGE MITRAON 2*,*100 TRF-1:KANSHI RAM VLG SURHERA*,*100 TRF-1:RED LIGHT SEC 1 : PM*,*630 TRF-1:VILLAGE MITRAON 3*,*400 TRF-1:VILLAGE MITRAON 1* | 425
12 | 09/03/2018 | HKS | 11:50 | 14:55 | 03:05 | PLANNED SHUTDOWN | Grid:BHIKAJI CAMA PLACE (33/11kV) GRID SSTN To Feeder:B-6, S.J ENCLAVE , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 B-7/64 SDA: PL*,*TRF-2 B-7/64 SDA: PL* | 248
13 | 09/03/2018 | JFR | 11:12 | 16:28 | 05:16 | PLANNED SHUTDOWN | Grid:JAFFARPUR (66/11kV) GRID SSTN To Feeder:11KV JHUL JHULI , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 100 TRF-1:SHIS RAM MUNDELLA KALAN*,*JEEVAN VILL GALIBPUR*,*100 TRF-1:PARWATI VLG MALIKPUR*,*VILL SAMASPUR S/S NO 2:PM*,*400 TRF-1:DURGA ENCLAVE JAFFERPUR*,*400 TRF-1:VILLAGE GALIBPUR*,*RAM KISHAN VILL SAMASPUR:PM*,*400 TRF-1:VILLAGE JHUL JHULI*,*RAM NARAYAN VILL SAMASPUR:PM*,*400 TRF-1:SAMASPUR S/STN NO. 3*,*NIHAL SINGH VILL. JHULJHULI*,*400 TRF-1:JHULJHULI S/STATION NO-2*,*25 TRF-1:PRAVESH KUMAR VILL DAURALLA*,*100 TRF-1:M I D W/SUPLY VLG JHUL JHULI*,* TRF-1:PARSA DHARA V UJWA*,*100 TRF-1:NAVODAYA VIDAYALYA JAFFERPUR*,*RAJROOP VILL GALIBPUR*,*400 TRF-1:VILLAGE SARANGPUR*,*RAMKUMAR VILL GALIBPUR*,*100 TRF-1:BANWARI VLG SAMASPUR*,*100 TRF-1:DARIAB SINGH VILL SAMASPUR:PM*,*NEAR CAMP CENTER GHUMANHERA*,*100 TRF-1:KANYIA VLG SARANGPUR*,*100 TRF-1:RAM KUMAR VILL. GALIBPUR*,*AMAR SINGH VILL SARANGPUR:PM*,*NATHU RAM VILL DARIYAPURABC*,*100 TRF-1:I T I JAFFERPUR*,*HARIJAN BASTI*,*100 TRF-1:W/S 2 DHANSA SARANGPUR RD*,*400 TRF1-:GIRDHARA VILL GALIBPUR:PM* | 369
14 | 09/03/2018 | JFR | 11:12 | 16:28 | 05:16 | PLANNED SHUTDOWN | Grid:JAFFARPUR (66/11kV) GRID SSTN To Feeder:11KV RAWTA , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRANSFORMER,11/0.433KV 25KVA OIL TYPE*,*100 TRF-1:DEEP CHAND VLG RAWTA*,*25 TRF-1: RAJESH/DARAMVIR RAWTA NEAR SCHOOL*,*100 TRF-1:W/SUPLY 1 FOR VLG JHUL JHULI*,*100 TRF-1:HARI SINGH VILL DARIAPUR:PM*,*400 TRF-1:VILLAGE DAURALA*,*25 TRF-1:RAGHUVEER, VILL RAWTA*,*25 TRF-1:SOMBIR VILL RAWTA*,*25 TRF-1:ASHIL/SAUPAL VILL. RAWTA*,*MANGERAM- VILL DAURALA*,*S/STN NO-3, RAWTA VILLAGE*,*25 TRF-1: SAUPAL, RAWTA*,*25 TRF-1: RAMKARAN, RAWTA*,*MANGE RAM VILL RAWTA*,*25 TRF-1: MUKHTIYARI, RAWTA*,*SR. SEC. SCHOOL- VILL RAWTA*,*100 TRF-1:FATEY VLG RAWTA*,*100 TRF-1:MAMCHAND VLG RAWTA*,*HARKE RAM VILL. RAWTA*,*25 TRF-1:DEVENDER VILL. RAWTA NEAR SHAMSHAN GHAT*,*100 TRF-1:SARDARE VLG DARYIAPUR*,*400 TRF-1:VILLAGE RAWTA 2*,*LALIT KUMAR RAWTA*,*400 TRF-1:VILLAGE RAWTA 1*,*100 TRF-1:W/SUPPLY 1 VLG DAURALLA*,*25 TRF-1:KULDEEP KAUR, JHULJHULI MOD*,*100 TRF-1:REWA RAM VLG DARYIAPUR*,* DEEPA-1 VILL RAWTA* | 458
15 | 09/03/2018 | JKP | 11:09 | 15:32 | 04:23 | PLANNED SHUTDOWN | Grid:REWARI LINE (220/66/11kV, TRANSCO) GRID (NDPL) To Feeder:11KV B-32 MAYAPURI , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *990 TRF-2:B-125 MAYAPURI PH-1:K* | 394
16 | 09/03/2018 | JKP | 11:09 | 15:33 | 04:24 | PLANNED SHUTDOWN | Grid:SAGARPUR (66/11kV) GRID SSTN To Feeder:11kV FDR D-1 JANAKPURI , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *630 TRF-1 :D/1A-BLOCK SSTN, JANAKPURI* | 297
17 | 09/03/2018 | VKP | 11:03 | 14:20 | 03:17 | PLANNED SHUTDOWN | Grid:HASTAL (66/11kV) GRID SSTN To Feeder:KALI BASTI , LT ACB:MAINTENANCE | RESTORED/ REPAIRED | Part of : *630 TRF-1:KALI BASTI CENTRAL SCHOOL* | 198
18 | 09/03/2018 | NHP | 11:00 | 14:25 | 03:25 | PLANNED SHUTDOWN | Grid:BALAJI ESTATE (33/11kV) GRID SSTN To Feeder:11 kV FDR I.I.I TD FEEDER NO.-2 (RMU BALAJI) , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 990 KVA TRF AT I-BLK OKHLA PH-3 | 245
19 | 09/03/2018 | NJF | 11:00 | 14:30 | 03:30 | PLANNED SHUTDOWN | Grid:DELHI JAL BOARD NAJAFGARH WATER WORKS (66/11) To Feeder:JHATIKARA MOUR , 11KV FEEDER:TREE TRIMMING | RESTORED/ REPAIRED | Part of : *100TRF-1:GOVT SCHOOL PAPRAWAT*,*100 TRF-1:NATHAN PANDWAKAKALAN*25TRF-1*,*16trf-1*,*NOT IN EMG*,*100 TRF-1:CHET RAM PAPRAWAT*,*100 TRF-1:BHUPAN JHATIKRA ROAD*,*JAIN PLY WOOD FACTORY PAPRAWAT*,*JAI PRAKASH TRF SHIKARPUR*,*100 TRF-1:HARI CHAND PANDWALA KHURD*,*100 TRF-1:DAULATPUR MORE*,*100 TRF-1:RAMPHAL JHATIKRA*,*100 TRF-1:GOPALREWLA KHANPUR*,*100 TRF-1:KHAZAN SINGH JHATIKRA*,*25 TRF-1:NO.2 SUSHIL S/SN VILL SHIKARPUR*,*25 TRF-1:BAKSHI FARM PAPRAWAT*,*100 TRF-1:DAULAT REWLA KHANPUR*,*100 TRF-1:RAMANAND PANDWALAKHURD*,*16 TRF-1:SHER SINGH VLG UJWA*,*RAM KUMAR VILL JHATIKRA NEAR DRAIN*,*400 TRF-1:VILL PANDWALA KHURD*,*KRISHAN S/STN JHATIKRA NEAR DRAIN*,*25 TRF-1:MANGE RAM TYAGI SHIKAR PUR DAHAR ROAD | 469
20 | 09/03/2018 | SKT | 11:00 | 13:52 | 02:52 | PLANNED SHUTDOWN | Grid:MEHRAULI (220/66/11kV, TRANSCO) GRID SSTN To Feeder:ANDHERIA BAGH-2 , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *MTNL CHHATARPUR VILLAGE | 1
21 | 09/03/2018 | PLM | 11:00 | 12:54 | 01:54 | PLANNED SHUTDOWN | Grid:G-2 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:PURAN NAGAR+KAILASHPURI EXTN. , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *400 TRF-1:POCKET-13 S/SN0-2 (DAWARIKA )* | 268
22 | 09/03/2018 | SVR | 11:00 | 15:00 | 04:00 | PLANNED SHUTDOWN | Grid:SARAI JULLENA (33/11kV) GRID SSTN To Feeder:11kV FDR COMMUNITY CENTER , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 COMM. CENTRE NEW FRIENDS CLY | 278
23 | 09/03/2018 | KPR | 11:00 | 16:20 | 05:20 | PLANNED SHUTDOWN | Grid:66kV BATRA GRID To Feeder:11kV FDR OLD D-BLOCK SANGAM VIHAR , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 L-BLK,GALI NO-4,SANGAM VIHAR* | 236
24 | 09/03/2018 | SKT | 11:00 | 13:52 | 02:52 | PLANNED SHUTDOWN | Grid:MEHRAULI (220/66/11kV, TRANSCO) GRID SSTN To Feeder:ANDHERIA BAGH-1 , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 100 KVA TRF ANDHERIYA BGH | 117
25 | 09/03/2018 | SKT | 11:00 | 13:53 | 02:53 | PLANNED SHUTDOWN | Grid:33 kV SHIVALIK GRID To Feeder:11kV FDR BHAVISYA NIDHI ENCLAVE , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 VIJAY MANDAL KALOO SARAI | 375
26 | 09/03/2018 | NJF | 11:00 | 13:53 | 02:53 | PLANNED SHUTDOWN | Grid:NAJAFGARH (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR DICHAON KALAN , 11KV FEEDER:TREE TRIMMING | RESTORED/ REPAIRED | Part of : *100TRF-1:SHRI LAL DICHAUN KALAN NEAR DRAIN*,*100TRF-1:SHRI LAL DICHAUN KALAN NEAR DRAIN*,*25TRF-1:KRISHNA *,*100 TRF-1:GANGA RAM VILL D.KALAN*,*100 TRF-1:GANESHI VILL DICHAON KALAN*,*25 TRF-1: HOLY FAMILY CHURCH,VILL DICHAON KALAON*,*100 TRF-1:STREET LIGHT GHEVRA*,*25 TRF-1: W/S NO-5 DICHAON -BAPROLA MARG NR HOTL*,*25 TRF-1: RAM NATH VILL DICHAON KALAON*,*100 TRF-1:JAGLUL VLG DICHOAN KALAN*,*100 TRF-1:SHRI LAL VLG DICHAON KALON*,*400 TRF:-1 DICHAO S/TN NO.4 (PHIRNI)*,*100 TRF-1:MANGA VILLAGE DICHAON KALAN*,*400 TRF-1: SHIV ENCLAVE EXTN*,*100 TRF-1:MAIDE VILLAGE DICHOUN KALAN*,*990 TRF-1:DICHAON 1*,*GOVT. W/S AT DIGUPURA*,*25 TRF-1: CHARITABLE SOCIETY DICHAON KALAN*,*25 TRF-1: MAHIPAL NEAR MAIDE DICAHO KALAN*,*GANASHI VILL DICHOAN KALAN*,*400 TRF-1: DIGUPURA*,*25 TRF-1:JEEVAN JYOTI VILL-DICHON KALAN*,*VILLAGE DHICHON KALAN, S/ST NO-3* | 389
27 | 09/03/2018 | RKP | 11:00 | 14:45 | 03:45 | PLANNED SHUTDOWN | Grid:R.K.PURAM-II (33/11kV) GRID SSTN To Feeder:11kV FDR NIVEDITA KUNJ S/S NO.-2 , RMU:RMU REPLACEMENT | RESTORED/ REPAIRED | Part of : *TRF-2 S/STN-2 NIVEDITA KUNJ SEC-10 RKP :ID*TRF-1 S/STN-2 NIVEDITA KUNJ SEC-10 RKP :ID*TRF-1 S/STN-6 NIVEDITA KUNJ SEC-10 RKP :ID*,*TRF-2 S/STN-6 NIVEDITA KUNJ SEC-10 RKP | 368
28 | 09/03/2018 | TGN | 11:00 | 14:59 | 03:59 | PLANNED SHUTDOWN | Grid:MUKHERJEE PARK (33/11kV) GRID SSTN To Feeder:11 kV FDR CHAUKHANDI , HT INTERMEDIATE FEEDER:MAINTENANCE OF O/H CIRCUIT | RESTORED/ REPAIRED | Part of : *990 TRF-2 :RAVI NAGAR EXTN I/D SSTN, RAVI NGR*,*990TRF-1:GURUDWARAWLA SSTN,RAVI NGR EX*,*990 TRF-2 :GURUDWARAWALA SSTN, RAVI NAGAR EXTN*,*990TRF-1:RAVI NGR EX I/D SSTN,RAVI NGR*,*990 TRF-1 :BANKWALA SSTN, RAVI NAGAR*,*990 TRF-2 :CHAUKHANDI INDOOR SSTN, CHAUKHANDI*,*990 TRF-1 :CHAUKHANDI INDOOR SSTN, CHAUKHANDI* | 493
29 | 09/03/2018 | NGL | 11:00 | 14:21 | 03:21 | PLANNED SHUTDOWN | Grid:NANGLOI (66/33/11kV) GRID SSTN To Feeder:11kV FDR NANGLOI NO-2 , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : *990 TRF-1:L BLK NGL*,*990 TRF-1:ZONAL OFFICE NANGLAOI*,*990 TRF-2:ZONAL OFFICE NANGLAOI*,*630 TRF-1:Y-BLK NANGLAOI*,*630 TRF1: CAMP NO. 3, NANGLAOI* | 398
30 | 09/03/2018 | NGL | 11:00 | 13:54 | 02:54 | PLANNED SHUTDOWN | Grid:NANGLOI (66/33/11kV) GRID SSTN To Feeder:11kV FDR SHANKER GARDEN , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *630 TRF-1 I/D JANTA FLATS*,*990 TRF-1:PLM PEERA GARHI NO-6*,* TRF-2:I/D JANTA FLATS*,*400 TRF-2:I/D ASHOKA ENCLAVE*,*630 TRF-1:I/D ASHOKA ENCLAVE*,*TRF-2:I/D SHANKAR GARDEN*,*TRF-1:I/D SHANKAR GARDEN* | 376
31 | 09/03/2018 | KPR | 11:00 | 16:15 | 05:15 | PLANNED SHUTDOWN | Grid:66kV MALVIYA NAGAR GRID To Feeder:11kV FDR JJ KHANPUR , TRANSFORMER:NETWORK UPGRADATION WORK | RESTORED/ REPAIRED | Part of : *TRF-1 JJ COLONY KHANPUR:ID*,*TRF-2 JJ COLONY KHANPUR:ID* | 468
32 | 09/03/2018 | NHP | 11:00 | 14:38 | 03:38 | PLANNED SHUTDOWN | Grid:EAST OF KAILASH (33/11kV) GRID SSTN To Feeder:11kV FDR O/G INDOOR GARI S/STN , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 DSIDCSHED GARHI: | 284
33 | 09/03/2018 | NJF | 11:00 | 15:03 | 04:03 | PLANNED SHUTDOWN | Grid:DELHI JAL BOARD NAJAFGARH WATER WORKS (66/11) To Feeder:DELHI JAL BOARD NO.-1 , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *100 TRF-1:-SARVODAYA VIDYALYA*,*100 TRF-1:RAMGI LAL ROSHAN PURA*,*PARMANI SHYAM VIHAR Z BLOCK*,*630 TRF-2:BDO STN 1 ROSHANPURA*,*630 TRF-1:E BLOCK ROSHANPURA EXTN*,*100 TRF-1:SHYAM VIHAR PHASE-2*,*SHYAM VIHAR Z BLK GRAM SABHA*,*W SUPLY S/STN NO-1 VILL ROSHANPURA*,*100 TRF-1:RAI SINGH BAMRAULI*,*E BLK EXTN. SHYAM VIHAR PH-1(ZILE SINGH)*,*25 TRF-1: PARAS RAM VILL ROSHAN PURA* | 402
34 | 09/03/2018 | TGN | 10:51 | 14:57 | 04:06 | PLANNED SHUTDOWN | Grid:MADIPUR (33/11kV) GRID SSTN To Feeder:R-G BLOCK RAGHUBIR NAGAR , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *630 TRF-1: HMP Colony Raghubir Nagar* | 198
35 | 09/03/2018 | JFR | 10:34 | 16:25 | 05:51 | PLANNED SHUTDOWN | Grid:JAFFARPUR (66/11kV) GRID SSTN To Feeder:11KV SUREHRA MORE , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *25 KVA-PATNA SISTER NOTARY VILL.KAIR P/M*,*630 TRF-1:VILLAGE KAIR 1*,*100 TRF-1:STN 3 VILLAGE KAIR*,*400 TRF2: BHAGNI NIVEDITA COLLEGE VILL KAIR:PM*,*100 TRF-1:S/S NO.1 VILL SURHERA :PM*,*VINOD VILL MITRAON*,*S/STN NO.-3 VILL. SURHERA*,*16 TRF-1: DHAPU FARM ( ASHIYANA FARM ) VILL.KAIR*,*100 TRF-1:STN 2 VLG SURHERA*,*400 TRF-1:VILLAGE KAIR 2*,*400 TRF-1:VILLAGE SUREHRA 2*,*NEAR MATA DANKOUR SCHOOL ON DHANSA ROAD*,*100 TRF-1:S/S NO.1 VILL KAIR:PM*,*DILBAG - VILL KAIRVIJAY* | 365
36 | 09/03/2018 | NZD | 10:30 | 13:01 | 02:31 | PLANNED SHUTDOWN | Grid:LAJPAT NAGAR-III (33/11kV) GRID SSTN To Feeder:VIMHANS HOSPITAL NEHRU NGR. , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 CRPF, NEHRU NAGAR: P/M | 112
37 | 09/03/2018 | NZD | 10:30 | 13:28 | 02:58 | PLANNED SHUTDOWN | Grid:33kV NIZAMUDDIN GRID To Feeder:11kV FDR NIZAMUDDINE TIE-1 , RMU:RELAY REPLACEMEMT | RESTORED/ REPAIRED | Part of : *TRF-1 NIZAMUDDIN MAIN: ID PKG*TRF-2 POLICE STATION, NIZAMUDDIN WEST: PL*TRF-1 B.S.F. WIRELESS, NIZAMUDDIN: P/M*TRF-1 GURUDWARA DAMDAMA SAHIB: ID*TRF-1 POLICE STATION, NIZAMUDDIN WEST: PL*TRF-2 NIZAMUDDIN MAIN: ID PKG* | 385
38 | 09/03/2018 | DWK | 10:29 | 13:00 | 02:31 | PLANNED SHUTDOWN | Grid:G-6 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11kV FDR SEC-10 PP-2 , LT CIRCUIT:MAINTANCE WORK | RESTORED/ REPAIRED | Part of : HT CONSUMER SUPRIYA APPT. SEC-10 | 1
39 | 09/03/2018 | DWK | 10:28 | 13:00 | 02:32 | PLANNED SHUTDOWN | Grid:G-15 DWARKA REL. ENERGY GRID SSTN To Feeder:11kV FDR KM CHOWK , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *630 TRF-1:RAMA APPT S/S-2* | 196
40 | 09/03/2018 | DWK | 10:26 | 13:01 | 02:35 | PLANNED SHUTDOWN | Grid:G 4 DWARKA SEC 19 GRID SSTN To Feeder:11kV FDR KRISHNA RESIDENCY , 11KV FEEDER:TREE TRIMMING | RESTORED/ REPAIRED | Part of : *630 TRF-2:SATYAM S/S* | 111
41 | 09/03/2018 | SKT | 10:03 | 13:51 | 03:48 | PLANNED SHUTDOWN | Grid:33 kV SHIVALIK GRID To Feeder:11 kV FDR L-BLOCK MALVIYA NAGAR , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-3 SL BLOCK MALVIYA NAGAR:K : 11 KV FSS*TRF-1 L BLOCK MALVIYA NAGAR:K : 11 KV FSS*TRF-2 L BLOCK MALVIYA NAGAR:K : 11 KV FSS* | 315
42 | 09/03/2018 | RKP | 10:03 | 13:53 | 03:50 | PLANNED SHUTDOWN | Grid:VASANT VIHAR (33/11kV) GRID SSTN To Feeder:11kV FDR VASANT LOK COMM. CENTER , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 VASANT LOK PETROL PUMP NO.-1: PL, TRF-2 VASANT LOK PETROL PUMP NO.-1 | 47
43 | 09/03/2018 | RKP | 10:00 | 12:47 | 02:47 | PLANNED SHUTDOWN | Grid:VASANT VIHAR (33/11kV) GRID SSTN To Feeder:11kV FDR WEST END COLONY , RMU:TO CHECK PROTECTION SETTING | RESTORED/ REPAIRED | Part of : *TRF-2 INDOOR S/STN WEST END COLONY:ID* | 259
44 | 09/03/2018 | VKJ | 10:00 | 12:48 | 02:48 | PLANNED SHUTDOWN | Grid:66kV I.O.C BIJWASAN GRID To Feeder:11 kV FDR KAPASHERA O/H , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 OBERI FARM BIJWASAN | 15
45 | 09/03/2018 | RKP | 10:00 | 14:03 | 04:03 | PLANNED SHUTDOWN | Grid:R.K.PURAM-II (33/11kV) GRID SSTN To Feeder:11kV FDR NIVEDITA KUNJ S/S NO.-5 , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-2 S/STN-4 NIVEDITA KUNJ SEC-10 RKP :ID*TRF-1 S/STN-4 NIVEDITA KUNJ SEC-10 RKP :ID*TRF-2 S/STN-5 NIVEDITA KUNJ SEC-10 RKP :ID*TRF-1 S/STN-5 NIVEDITA KUNJ SEC-10 RKP | 412
46 | 09/03/2018 | NJF | 10:00 | 13:55 | 03:55 | PLANNED SHUTDOWN | Grid:66kV I.O.C BIJWASAN GRID To Feeder:11kV FDR B.S.F CHAWLA CAMP , 11KV FEEDER:TREE TRIMMING | RESTORED/ REPAIRED | Part of : 100 TRF-2: STN 3 CHHAWLA*,*S/S NO-6 CHAWLA*400 TRF-1: S/S-6,VILCHHAWLA,NR SHIV M.*100 TRF-1:-BRIGADIER*TRF-1:CHHAWLA STN 2*100 TRF-1:ASHIRWAD FARM CHHAWLA*100 TRF-1:SURI FARM BIJWASAN*100 TRF-1:STEEPLE FARM CHHAWLA*630 TRF-1:CHHAWLA 3*VILLAGE BAMNAULI GRID* | 315
47 | 09/03/2018 | RKP | 10:00 | 14:39 | 04:39 | PLANNED SHUTDOWN | Grid:VASANT VIHAR (33/11kV) GRID SSTN To Feeder:11kV FDR ANAND NIKETAN , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 ANAND NIKETAN NO-1 NR CLUB ANAND NKTN:ID*TRF-2 ANAND NIKETAN NO-1 NR CLUB ANAND NKTN:ID* | 264
48 | 09/03/2018 | VKJ | 14:44 | 16:02 | 01:17 | EMERGENCY SHUTDOWN | Grid:66kV I.O.C BIJWASAN GRID To Feeder:11 kV FDR INTERCONNECTOTR NO.-1 (KAPASHERA) , TRANSFORMER:MAKING TRENCH IN S/STN | RESTORED/ REPAIRED | Part of : TRF-1 SAMALKA TELEPHONE EXCHANGE | 241
49 | 09/03/2018 | VKJ | 14:38 | 15:42 | 01:04 | EMERGENCY SHUTDOWN | Grid: To Feeder:11 kV FDR B-7, S/S NO.-7, VASANT KUNJ , LT ACB:PREVENTIVE MAINTENANCE | RESTORED/ REPAIRED | Part of : *TRF-1 MASOODPUR VILLAGE TR.-2* | 198
50 | 09/03/2018 | VKJ | 14:15 | 15:38 | 01:23 | EMERGENCY SHUTDOWN | Grid:66kV I.O.C BIJWASAN GRID To Feeder:11 kV FDR KAPASHERA O/H , LT ACB:ACB REPLACEMENT | RESTORED/ REPAIRED | Part of : *TRF-1 ISHWAR HOUSE(KEEL FACTORY)* | 115
51 | 09/03/2018 | MDK | 12:47 | 14:03 | 01:15 | EMERGENCY SHUTDOWN | Grid: To Feeder:11kV FDR SUBHASH VIHAR-1 , LT CIRCUIT:REPAIR/REPLACEMENT OF DB AND SERVICE LINE | RESTORED/ REPAIRED | Part of : IGL PVC ROAD TIKRI* | 241
52 | 09/03/2018 | VKJ | 12:45 | 14:35 | 01:49 | EMERGENCY SHUTDOWN | Grid:66kV I.O.C BIJWASAN GRID To Feeder:11 kV FDR INTERCONNECTOTR NO.-2 (KAPASHERA) , TRANSFORMER:OIL TOP UP | RESTORED/ REPAIRED | Part of : *TRF-1 HARIJAN BASTI RAJKARI-3 (TALAB) | 245
53 | 09/03/2018 | PJB | 11:41 | 17:14 | 05:33 | EMERGENCY SHUTDOWN | Grid:A-4 PASCHIM VIHAR (33/11kV) GRID SSTN To Feeder:11kV FDR 1212 JANTA FLATS PKT-2, PASCHIM PURI , LT CIRCUIT:TO ATTEND FAULT IN LT CIRCUIT | RESTORED/ REPAIRED | Part of : *630 TRF-2: F-BLK,DHOBI GHAT,JJ CLY,MADIPUR*,*990 TRF-1: F-BLK,DHOBI GHAT,JJ CLY,MADIPUR | 403
54 | 09/03/2018 | VKJ | 11:40 | 13:13 | 01:32 | EMERGENCY SHUTDOWN | Grid:66kV I.O.C BIJWASAN GRID To Feeder:11 kV FDR AIRFORCE , TRANSFORMER:OIL TOP UP | RESTORED/ REPAIRED | Part of : OIL MILS | 118
55 | 10/03/2018 | RKP | 05:18 | 06:24 | 01:05 | HT SYSTEM FAULT | Grid:RIDGE VALLEY (66/33/11kV) GRID SSTN To Feeder:11kV FDR MOTI BAGH , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : *TRF-1 PKG S/STN NEAR B-33 MOTI BAGH*TRF-1 PKG S/STN BandC BLOCK MOTI BAGH*,*TRF-1 2/22 SHANTI NIKETAN NO-2 INDOOR S/S:ID*,*TRF-1 ANAND NIKETAN NO-1 NR G-8 ANAND NKTN:ID*TRF-1 MOTI BAGH COMPLAINT CENTRE:ID*TRF-2 ANAND NIKETAN NO-1 NR G-8 ANAND NKTN:ID*TRF-3 ANAND NIKETAN NO-1 NR G-8 ANAND NKTN:ID*,*TRF-1 PKG S/STN F-BLOCK NANAKPURA* | 399
56 | 10/03/2018 | PLM | 02:30 | 03:32 | 01:02 | HT SYSTEM FAULT | Grid:G-6 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11kV FDR COMMAND TANK-4, SECTOR-20 , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : *630 TRF-2:Seetal Appt.S/s*630 TRF-2: Manisha tower*,*400 TRF-1:87 Plot S/stn-2*,*630 TRF 1 :MAHAJAN SHREE, PLOT-13, SEC 23, DWK:ID*,*400 TRF-1: PLOT NO.87 S/S No.-1*,*630 TRF 1 :MAHAJAN SHREE, PLOT-13, SEC 23, DWK:ID*630 TRF-1:Chopra appt.*,*630 TRF-1: Seetal Appt.S/s*,*400 TRF-1:PERIPHERAL SSTN NO.2 SEC-23 DW*,*630 TRF-1:Manisha tower*,*630 TRF-2:CHOPRA SEC-23 PLOT-8 SSTN NO.1*630 TRF 1 :MAHAJAN SHREE, PLOT-13, SEC 23, DWK:ID* | 543
57 | 09/03/2018 | NGL | 17:51 | 19:11 | 01:20 | HT SYSTEM FAULT | Grid:NANGLOI WATER WORKS (66/11kV) GRID SSTN To Feeder:11kV FDR TP KOTLA , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : *630 TRF-1:RISHAL GARDEN*,*630 TRF-1*,*630 TRF-1*,*400TRF-1:T.P KOTLA VILLAGE NO-2*,*630 TRF-1:CHUNA BHATTI RISHAL GARDEN P/M*,*630TRF-1:T.P KOTLA VILLAGE NO-2*,*RANHOLLA VIHAR(CHANDER VIHAR NO-3)*,*400 TRF-1:RANHOLA EXTN.*,*400 TRF-1: S/STN. NO.-1. AT KOTLA VIHAR PHASE -2*,*PLM T P KHOTLA PH-2 S/S -2*,*400 TRF-1 T.P.KOTLA VILLAGE-1* | 435
58 | 09/03/2018 | SVR | 16:28 | 18:17 | 01:48 | LT FEEDER | Grid:MOHAN CO-OPERATIVE (66/11kV) GRID SSTN To Feeder:11kV FDR S/S NO.-5 M.B EXTN. , LT POLE,:POLE DAMAGED DUE TO EXTERNAL AGENCY DIGGING/STORM, | RESTORED/ REPAIRED | Part of : *TRF-1 G BLK MOLAR BAND EXTNSANJAY SINGHAL* | 248
59 | 09/03/2018 | SVR | 16:20 | 17:32 | 01:11 | LT FEEDER | Grid:66/11KV MEETHAPUR GRID SUB STN To Feeder:11kV FDR MDRASI COLONEY , DISTRIBUTION TRANSFORMER,:LOW VOLTAGE COMING OUT, | RESTORED/ REPAIRED | Part of : HVDS E BLK MADRASI CLY | 364
60 | 09/03/2018 | TGN | 14:45 | 15:48 | 01:03 | LT FEEDER | Grid:VISHAL (33/11kV) GRID SSTN To Feeder:11kV FDR RMU IN GRID (INTERCONNECTOR) , LT ACB,:LT ACB BURNT, | RESTORED/ REPAIRED | Part of : *990 TRF-2 :A-39 SSTN, VISHAL ENCLAVE* | 302
61 | 09/03/2018 | NJF | 13:53 | 14:58 | 01:05 | HT SYSTEM FAULT | Grid:NAJAFGARH (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR KAKROLA FEEDER , HT O/H,:HTAB FAULTY, | RESTORED/ REPAIRED | Part of : *400TRF-1:NS BLK *,*100 TRF-1:RAGHUBIR BOHARA VLG NANGLI*,*400 TRF:- RANAJI ENCLAVE*,*400 TRF1: SAINIK ENCLAVE MAKSUDABAD*,*CAPITAL TYAGI FARM*,*25 TRF-1: DELHI JAL BOARD NEAR RANA BABA MANDIR*,*25 TRF-1:ST LTG MATA MANDIR NANGLI*,*DIVYANSHU FACTORY* | 436
62 | 09/03/2018 | JFR | 13:49 | 14:54 | 01:05 | HT SYSTEM FAULT | Grid:JAFFARPUR (66/11kV) GRID SSTN To Feeder:11KV PANDWALA , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of :GERMAN COLONY G-BLK*,*GUPTA TENT KHERA*,*RAMJI LAL VILL KHERA*,*W/S VILL UJWA KHARKARI RONDH*,*100 TRF-1:NIADER KHARKHARAI ROND*,*100 TRF-1:KHERA VILL TRANSFORMER NO-1 S/S PREM NGR Z BLK. KASHMIRI COLONYNGEF*,*400 TRF-1:PREM NAGAR Z BLK OPP GERMAN COLNY KHAIRA*,*Vill Kharkhari Nahar SSTN NO 2*,*400 TRF1 : D-BLK SANAT KABEER ASHRAM*,*SANDEEP PANWALA KALAN | 398
63 | 09/03/2018 | PLM | 11:31 | 12:46 | 01:14 | HT SYSTEM FAULT | Grid:PAPPANKALAN-I (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR MANGLA PURI PHASE-2 , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : *630 TRF-2 Mangla Puri Phase 2 S/S*,*990 TRF-1 Mangla Puri Phase 2 S/S*,*630 TRF-1 : Shadh Nager Gali No-41 S/stn*,*990 TRF-2:630TRF-2:DDA FLAT(SARAI SOHEL)MANGLAPURI*,*630TRF-1:DDA FLAT(SARAI SOHEL)MANGLAPURI*,*400 TRF-1 : Dispansry Sadh Ngr*,*400 TRF-1:Shadh Nagar Gali No-42 O/D*,*SADH NAGAR SOLANKI CHOWK* | 365
64 | 09/03/2018 | TGN | 11:16 | 12:26 | 01:09 | HT SYSTEM FAULT | Grid:MUKHERJEE PARK (33/11kV) GRID SSTN To Feeder:11 kV FDR CHAUKHANDI , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : *990 TRF-2 :RAVI NAGAR EXTN I/D SSTN, RAVI NGR*,*990TRF-1:GURUDWARAWLA SSTN,RAVI NGR EX*,*990 TRF-2 :GURUDWARAWALA SSTN, RAVI NAGAR EXTN*,*990TRF-1:RAVI NGR EX I/D SSTN,RAVI NGR*,*990 TRF-1 :BANKWALA SSTN, RAVI NAGAR*,*990 TRF-2 :CHAUKHANDI INDOOR SSTN, CHAUKHANDI*,*990 TRF-1 :CHAUKHANDI INDOOR SSTN, CHAUKHANDI* | 628
65 | 09/03/2018 | SVR | 10:58 | 12:25 | 01:26 | LT FEEDER | Grid:SARAI JULLENA (33/11kV) GRID SSTN To Feeder:11kV FDR BATLA HOUSE , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : *TRF-2 BATLA HOUSE PLM+P/M | 338
66 | 09/03/2018 | SKT | 10:44 | 12:06 | 01:21 | LT FEEDER | Grid:66kV C-DOT GRID To Feeder:11KV FDR SULTANPUR COLONY , LT O/H CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : *TRF-2 SULTAN PUR COLONY:ID* | 269
67 | 09/03/2018 | ALN | 10:39 | 12:05 | 01:26 | LT FEEDER | Grid: To Feeder:POKET A-10 KALKAJI EXTN. , : | RESTORED/ REPAIRED | Part of : *TRF-1 JJ CLUSTER A-10 GULABO DEVI:PL*,*TRF-1 A-1O KALKA JI EXT.:ID*,*TRF-1 JJ CLUS A-10 KALKAJI NEM NATH:PL*TRF-2 KALKA JI EXT A-4 JUGAL S/S:PL*,*TRF-2 A-1O KALKA JI EXT.:ID*,*TRF-1 JJ CLUSTER SHABIR KALKA JI EXT:PL*,*TRF-1 KALKA JI EXT A-4 JUGAL S/S:PL* | 436
68 | 09/03/2018 | HKS | 10:01 | 11:03 | 01:02 | LT FEEDER | Grid:33kV HUDCO GRID To Feeder:11kV FDR HUDCO 4-PANEL BOARD+200FLAT AYURVIGYAN NAGAR , DISTRIBUTION TRANSFORMER,:TREE TOUCHING, | RESTORED/ REPAIRED | Part of : *TRF-1 HUDCO 4 PANEL BOARD SSTN : ID* | 196
69 | 09/03/2018 | VKP | 09:17 | 10:24 | 01:07 | HT SYSTEM FAULT | Grid:HASTAL (66/11kV) GRID SSTN To Feeder:RAHUL COWK , HVDS,:HVDS TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : *SHIV SHAKTI CHOWK R-2 MOHAN GDN* | 136
70 | 09/03/2018 | NGL | 09:14 | 10:31 | 01:16 | HT SYSTEM FAULT | Grid:NANGLOI (66/33/11kV) GRID SSTN To Feeder:11kV FDR JWALA PURI CAMP NO.-4 , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : *990 TRF-1: CAMP NO-4 ,S/STN NO-1*,*400 TRF-1: Yellow Building Javla Puri*,*630 TRF-2: Red Building Javla Puri*,*630 TRF-1:CAMP NO-4 B-BLOCK SSTN-3*,*630 TRF-1:CAMP - 4 SSTN-2 P/M*,*630 TRF-1: B-BLK JAWALAPURI,CAMP-4*,*NOT IN EMG*,*630 TRF-1: Red Building Javla Puri*,*400 TRF-2: Yellow Building Javla Puri* | 468
71 | 09/03/2018 | PLM | 09:11 | 10:22 | 01:10 | HVDS CABLE & OTHER SYSTEM | Grid:G-2 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:MAHAVEER ENCLEVE, D-3 , HVDS,:HVDS DP FUSE BLOWN, | RESTORED/ REPAIRED | Part of : *100 TRF-1:HORTICULTURE* | 3
72 | 09/03/2018 | NGL | 06:35 | 07:51 | 01:15 | HT SYSTEM FAULT | Grid:PASCHIM PURI (33/11kV) GRID SSTN To Feeder:11 KV FDR SUNDER VIHAR , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : *990TRF-1: SUNDER VIHAR SSTN NO-3*,*100TRF-1:PWD FOOTOVERBRIDG(HTC) SSTN P/M*,*630TRF-2: GH-10 PASCHIM VIHAR SSTN NO-1*,*630TRF-2:GH-10 PASCHIM VIHAR SSTN NO-2*,*630TRF-1: GH-10 PASCHIM VIHAR SSTN NO-2*,*630TRF-1: PASCHIM VIHAR SSTN NO-1* | 564
73 | 09/03/2018 | KPR | 06:21 | 08:12 | 01:50 | LT FEEDER | Grid:66kV MALVIYA NAGAR GRID To Feeder:11kV FDR JJ KHANPUR , SERVICE LINE,:SERVICE LINE LOOSE FROM POLE, | RESTORED/ REPAIRED | Part of : *TRF-1 MCD SCHOOL ROAD:PL* | 389