## Format
DISCOM : BRPL
OUTAGE REPORT FOR : 11/03/2018 06:00Hr. To 12/03/2018 06:00Hr.
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Area / DT Effected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Detail
1 | 11/03/2018 | NJF | 09:01 | 10:38 | 01:37 | HT SYSTEM FAULT | Grid:66kV I.O.C BIJWASAN GRID To Feeder:11kV FDR BAMNAULI , HT O/H,:BIRDAGE, | RESTORED/ REPAIRED | Part of : TRF-1:JUGLAL CHAWLA,TRF-1:USHA FARM,TRF-1:KANSIRAM,TRF-1;BALVEER KAUR,TRF-1:NEAR USHA FARM,TRF-1:MANJEET CHAWLA,100TRF-1:DEHLI TOURSIM,100TRF-1:CHET RAM CHHAWLA,TRF-PRITAM SINGH KAGANHERI,25TRF-1;BALVEER KAUR,25TRF-1:DHRUV AGGARWAL , TRF-1;BALVEER KAUR,TRF-1:JUGLAL CHAWLA,TRF-1:NEENA KANCHAN,25TRF-1:BALBIR VILL RAGHOPUR,25TRF-1:JAGDEEP KANGANHERI,25TRF-1:PARVINDER KAUR,25TRF-1:USHA FARM,25TRF-1:KALE CHAWLA,25TRF-1 TRISHUL COLONY SSTN-2,400 TRF-1:CHHAWLA 1,400 TRF-1:VILL NANAK HERI | 421
2 | 11/03/2018 | RKP | 10:00 | 13:51 | 03:51 | PLANNED SHUTDOWN | Grid:BHIKAJI CAMA PLACE (33/11kV) GRID SSTN To Feeder:11kV FDR PLOT NO.-6, B.C PLACE , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-3 BLDG. NO.-9 (SOMDUTT CHAMBERS-2) | 69
3 | 11/03/2018 | SVR | 10:05 | 11:06 | 01:01 | LT FEEDER | Grid:MOHAN CO-OPERATIVE (66/11kV) GRID SSTN To Feeder:11kV FDR S/S NO.-2 M.B EXTN. , LT POLE,:FIRE ON POLE, | RESTORED/ REPAIRED | Part of : TRF-1 S/STN. NO. 2 MOLAR BADH EXTN. | 91
4 | 11/03/2018 | PLM | 10:06 | 11:36 | 01:29 | HT SYSTEM FAULT | Grid:G-6 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11kV FDR (OLD) G-BLOCK RAJ NAGAR , HT O/H,:BIRDAGE, | RESTORED/ REPAIRED | Part of : 630 TRF1:F,block Basant Wala Rajnagar,630 TRF-2:F,block Basant Wala Rajnagar | 378
5 | 11/03/2018 | PJB | 10:30 | 15:19 | 04:49 | PLANNED SHUTDOWN | Grid:PASCHIM PURI (33/11kV) GRID SSTN To Feeder:B-2 SSTN. , LT CIRCUIT:NETWORK UPGRADTION WORK | RESTORED/ REPAIRED | Part of : 990 TRF-1: B-2 INDOOR,PASCHIM VHR | 237
6 | 11/03/2018 | MDK | 11:00 | 13:49 | 02:49 | PLANNED SHUTDOWN | Grid:66/11KV MUNDKA GRID To Feeder:11kV FDR NEEL WALL , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 630TRF-1:NEELWALL S/STN-2:PM,25TRF-1:HUKUM SINGH NEELWAL ROAD,100TRF-1:RAN SINGH NEELWAL | 264
7 | 11/03/2018 | PJB | 11:00 | 15:19 | 04:19 | PLANNED SHUTDOWN | Grid:VISHAL (33/11kV) GRID SSTN To Feeder:11kV FDR PUNJABI BAGH BOOSTER PUMP , TRANSFORMER:CIVIL WORK | RESTORED/ REPAIRED | Part of : 630 TRF-1: NORTHWEST AVENUE CHOWK (NWA),PJB | 187
8 | 11/03/2018 | NGL | 11:18 | 12:44 | 01:26 | EMERGENCY SHUTDOWN | Grid:PASCHIM VIHAR (66/33/11KV) GRID SSTN To Feeder:11kV FDR HANUMAN MANDIR , LT CIRCUIT:LOAD BALANCING | RESTORED/ REPAIRED | Part of : 630 TRF-2:C-BLOCK NIHAL VIHAR | 262
9 | 11/03/2018 | TGN | 11:25 | 12:59 | 01:34 | LT FEEDER | Grid:CHAUKHANDI (33/11kV) GRID SSTN To Feeder:11 kV FDR CHAND NAGAR (KHADDA WALA) , LT ACB,:LT ACB BURNT, | RESTORED/ REPAIRED | Part of : 990 TRF-1 :KHADDEYWALA SSTN, CHAND NAGAR | 81
10 | 11/03/2018 | SKT | 12:00 | 14:44 | 02:44 | PLANNED SHUTDOWN | Grid:MEHRAULI (220/66/11kV, TRANSCO) GRID SSTN To Feeder:FATEH PUR BERI , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 INDO CANADIAN FOOD ASOLA S/STN,TRF-1 KERALI MANDIR-2(C21SOLA JAIPAL FARM:PM,TRF-1 HARKESH ASOLA:PL,TRF-1 MAM CHAND ASOLA:PL,B-1 FARM ASOLA | 317
11 | 11/03/2018 | SKT | 12:00 | 14:47 | 02:47 | PLANNED SHUTDOWN | Grid:MEHRAULI (220/66/11kV, TRANSCO) GRID SSTN To Feeder:DERA BHATI , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 GOVT. SCHOOL DERA:PM,TRF-1 ASTHAL MANDIR,TRF-1 HIMALYAN, 20 NO GREEN MEDOW,TRF-1 HARIJAN BASTI DERA | 231
12 | 11/03/2018 | SVR | 12:34 | 14:28 | 01:54 | LT FEEDER | Grid:SARAI JULLENA (33/11kV) GRID SSTN To Feeder:11kV FDR C.S.I.R STAFF QUARTER , DISTRIBUTION TRANSFORMER,:TRANSFORMER FAULTY, | RESTORED/ REPAIRED | Part of : 630 TRF : CSIR STAFF QTR | 143
13 | 11/03/2018 | SVR | 13:27 | 15:15 | 01:48 | LT FEEDER | Grid:SARAI JULLENA (33/11kV) GRID SSTN To Feeder:11kV FDR BATLA HOUSE , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : 630 TRF : P BLK SULTAN MASZID | 159
14 | 11/03/2018 | SVR | 13:29 | 14:35 | 01:05 | LT FEEDER | Grid:JAMIA MILIA (33/11kV) GRID SSTN To Feeder:11kV FDR JAMIA STADIUM + RMU NO.-2 , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : TRF-2 GALI NO-22 ZAKIR NAGAR | 107
15 | 11/03/2018 | NJF | 19:14 | 20:43 | 01:29 | HVDS CABLE & OTHER SYSTEM | Grid:DELHI JAL BOARD NAJAFGARH WATER WORKS (66/11) To Feeder:KAPOOR FARM , HVDS,:HVDS DP FUSE BLOWN, | RESTORED/ REPAIRED | Part of : INDRA PARK:HVDS,100 TRF-1:GREEN TREE SCHOOL INDIRA PARK,100 TRF-1:SAI BABA TEMPLE NANGLI,400 TRF-1:NANGLI VIHAR,100 TRF-1:ST LT NANGLI MOOR,HTC KANT DARBAR NANGLI S,100 TRF-:MUKESH SHARMA P/M S/STN,DJB STAFF Q, GOVT NURSURY,400 TRF : NANGLI SAKRAWATI,TRF-1: SBI BANK NAGLI DAIRY,400 TRF:-NANGLI VIHAR EXTN,AKASH PUBLIC SCHOOL ARJUN PARK,400 TRF-1: N I T U NEAR STATE BANK NANGLI DAIRY,DAND E-BLK S/S-3 NANGLI VIHAR | 384
16 | 11/03/2018 | KPR | 21:21 | 22:23 | 01:01 | LT FEEDER | Grid:66 kV OKHLA PHASE-I GRID To Feeder:11kV FDR I-BLOCK, LAL KUAN , SERVICE LINE,:JUMPER LOOSE/BROKEN FROM DB, | RESTORED/ REPAIRED | Part of : TRF-1 CHUNGI NO.3 | 63
17 | 11/03/2018 | VKJ | 22:55 | 00:59 | 02:03 | HT SYSTEM FAULT | Grid:66kV VASANT KUNJ D-BLK GRID To Feeder:11 kV FDR S/S NO.-1, D-6 VASANT KUNJ , HT O/H,TRANSIENT FAULT,:BIRDAGE,TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : TRF-2 STN-1 SEC-D PKT-6 VASANT KUNJ,TRF-1 STN-2 SEC-D PKT-6 VASANT KUNJ,TRF-1 STN-1 SEC-D PKT-6 VASANT KUNJ,TRF-2 STN-2 SEC-D PKT-6 VASANT KUNJ | 291
18 | 12/03/2018 | ALN | 02:16 | 03:56 | 01:39 | HT SYSTEM FAULT | Grid: 220 KV IKHLA GRID To Feeder:POKET A-10 KALKAJI EXTN. , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : TRF-1 KALKA JI EXT A-4 JUGAL S/S:PL,TRF-1 JJ CLUSTER SHABIR KALKA JI EXT:PL,TRF-2 KALKA JI EXT A-4 JUGAL S/S:PL,TRF-1 JJ CLUS A-10 KALKAJI NEM NATH:PL,TRF-1 JJ CLUSTER A-10 GULABO DEVI:PL,TRF-1 A-1O KALKA JI EXT,TRF-2 A-1O KALKA JI EXTN | 338
19 | 12/03/2018 | KPR | 05:43 | 06:48 | 01:04 | LT FEEDER | Grid:66 kV OKHLA PHASE-I GRID To Feeder:11kV FDR I-BLOCK, LAL KUAN , SERVICE LINE,:JUMPER LOOSE/BROKEN FROM DB, | RESTORED/ REPAIRED | Part of : TRF-1 CHUNGI NO.2 ,LAL KUAN | 59