## Format
DISCOM : BRPL
OUTAGE REPORT FOR : 12/03/2018 06:00Hr. To 13/03/2018 06:00Hr.
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Area / DT Effected | No. of consumer affected | Remarks
Detail
1 | 13/03/2018 | MDK | 05:10 | 06:16 | 01:05 | HT SYSTEM FAULT | Grid:66/11KV MUNDKA GRID To Feeder:11kV FDR BUL BUL VATIKA , HT O/H,:BIRDAGE, | RESTORED/ REPAIRED | Part of : 100TRF-1:TRF- 20 GALI NO 3 IND AREA MUNDKA, 25TRF-1:MTNL GHEVRA MORE, 100TRF-1:MUNDKA IND AREA (S) GALI NO 10, 100TRF-1:ABHINAV KUMAR, 100TRF-1:MUNDKA IND AREA (S) GALI NO 9 TRF-2, 400 TRF-1:LAPRA COMP HIRANKUDANA, 100TRF-1:SILVER OAK GDN ROHTAK ROAD, 100TRF-1:NR NEW PEERUWALA SSTN, 25TRF-1:SUKHDEV RAJ ANAND NEELWAL ROAD PM, 100TRF-1:MUNDKA IND AREA GALI NO-11, 100TRF-1:JITENDER ARYA HIRANKUDANA NALA, 100TRF-1:GALI NO-8 SSTN, 100TRF-1:GHEVARA IND AREA S/S 03 P/M, 100TRF-1:DIMPLE KAPOOR,G NO 04, 100TRF-1:S/s NEAR BRITANNIA GODOWN, 100TRF-1:SSTN NO-17 P/M GALI NO-2, 100TRF-1:GUPTA and SONI G NO 07, 100TRF-1:NEW PEERUWALA SSTN, 400TRF-1:JAIN MANDIR, 100TRF-1:MDK IND AREA (SOUTH) GALI 11 SSTN-5, | 498
2 | 13/03/2018 | VKJ | 04:55 | 06:23 | 01:28 | HT SYSTEM FAULT | Grid:33kV ANDHERIA BAGH GRID To Feeder:11kV FDR S/S NO.-6, SECTOR-D-1 (VASANT KUNJ) , DISTRIBUTION TRANSFORMER,:HEAVY OIL LEAKAGE/OIL THROWN FROM TRANSFORMER, | RESTORED/ REPAIRED | Part of : TRF-1 STN-3 SEC-D POCKET-2 VASANT KUNJ, TRF-1 STN-6 SEC-D POCKET-1 VASANT KUNj, TRF-2 STN-3 SEC-D POCKET-2 VASANT KUNJ, TRF-2 STN-4 SEC-D POCKET-2 VASANT KUNJ, TRF-1 STN-5 SEC-D POCKET-1 VASANT KUNJ, TRF-1 SAI KUNJ, TRF-1 ASHA MEHTA, TRF-1 RWA BHAWANI KUNJ, TRF-1 BHAWANI KUNJ OPP S/STN 2 D-2 VASANT KUNJ, TRF-1 VKJ562;CPWD FLATS D-2,VASANT KUNJ, TRF-2 CPWD FLATS D-2,VASANT KUNJ, TRF-2 STN-5 SEC-D POCKET-1 VASANT KUNJ, TRF-2 STN-6 SEC-D POCKET-1 VASANT KUNJ, TRF-1 STN-1 SEC-D POCKET-2 VASANT KUNJ, TRF-1 STN-2 SEC-D POCKET-2 VASANT KUNJ, TRF-1 STN-4 SEC-D POCKET-2 VASANT KUNJ | 311
3 | 13/03/2018 | SVR | 01:40 | 02:57 | 01:17 | HT SYSTEM FAULT | Grid:SARITA VIHAR (66/11kV) GRID SSTN To Feeder:11kV FDR S/S NO.-1 DDA JASOLA , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : TRF-2 S/STN NO1 JASOLA DDAFLAT SEC 7, TRF-1 S/STN NO1 JASOLA DDAFLAT SEC 7, TRF-1 S/STN NO2 JASOLA DDAFLAT SEC 7, TRF-2 S/STN NO2 JASOLA DDAFLAT SEC 7 | 412
4 | 12/03/2018 | KPR | 12:43 | 14:07 | 01:24 | HVDS TRANSFORMER | Grid:TUGHLAKABAD (33/11kV) GRID SSTN To Feeder:11kV FDR G-2 K-19 SANGAM VIHAR , HVDS,:HVDS DP FUSE BLOWN, | RESTORED/ REPAIRED | Part of : TRF-1 K-BLOCK, SANGAM VIHAR:PL, TRF-1 F-2 SANGAM VIHAR, TRF-1 F2 BLK SANGAM VIHAR NEAR HNO- 720, TRF-1 HTC:F2 BLK SANGAM VIHAR NEAR MCD SCHOOL, TRF-1 F2 S/S,Road side(New),Sngam V, TRF-1 F-2, SANGAM VIHAR:ID | 519
5 | 12/03/2018 | PLM | 12:11 | 13:27 | 01:16 | HT SYSTEM FAULT | Grid:PAPPANKALAN-I (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR NASIRPUR , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : 630 TRF-2 : Nasirpur Mandir Wala S/s, 400 TRF-1 : Harijan Basti Nasirpur S/stn, 400 TRF-1:RZ-BLK GALI NO.-2 MAHAVIR ENCLAVE, 400 TRF-1 : Harizan Basti (dharamkanta)i, 400 TRF-2 : Harijan Basti Nasirpur S/stn, 630 TRF-1 :l Nasirpur Mandir Wala S/s, H-2, BLOCK BANGALI COLONY | 475
6 | 12/03/2018 | DWK | 12:02 | 13:27 | 01:24 | HVDS TRANSFORMER | Grid:BINDAPUR (G-3 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR MAHAVIR ENCLAVE SSTN-2 , HVDS,:HVDS DP FUSE BLOWN, | RESTORED/ REPAIRED | Part of : MAHAVIR ENCLAVE S/STN NO 2:ID, 630 TRF-1:MAHAVIR ENCLAVE S/STN NO 2 | 314
7 | 12/03/2018 | MDK | 10:26 | 11:41 | 01:15 | HT SYSTEM FAULT | Grid:NANGLOI WATER WORKS (66/11kV) GRID SSTN To Feeder:11kV FDR SWARN PARK , HT O/H,:BIRDAGE, | RESTORED/ REPAIRED | Part of : 1000TRF-1:MUNDKA VILLAGE S/STN-3:PL, 400TRF-1:B-38 , BIMLA DEVI, SWARN PARK, 990TRF-1:MUNDKA VILLAGE S/STN-3:PL, 100TRF-1:MAMRAJ TRFFIRNI ROAD MUNDKA:PM, 990TRF-1:BAKKARWALA VILLAGE S/STN-1:PL, 400TRF-1:B/P RANHOLA MORE MUNDKA:PM, 400TRF-1:S/STN KASI RAM PARK ,MUNDKA, 990TRF-1:BAKKARWALA VILLAGE S/STN-2:PL, 400TRF-1:BAKKARWALA VILLAGE S/STN-3:PL, 400TRF-1:NEAR MCD SCHOOL BAKKERWALA P/M, 400TRF-1:BAKARWALA ROAD BAKARWALA:PM | 542
8 | 13/03/2018 | SVR | 05:35 | 06:53 | 01:18 | LT FEEDER | Grid:66/11KV MEETHAPUR GRID SUB STN To Feeder:11kV FDR MDRASI COLONEY , : | RESTORED/ REPAIRED | Part of : *TRF-1 E&F BLK MADRSI COLONY | 109
9 | 12/03/2018 | HKS | 13:52 | 15:06 | 01:14 | LT FEEDER | Grid:33kV MASJID MOTH GRID To Feeder:11kV FDR SOAMI NAGAR , LT ACB,:MECHANISM STRUCK/FAULTY, | RESTORED/ REPAIRED | Part of : TRF-2 SWAMI NAGAR:K | 108
10 | 12/03/2018 | SVR | 13:20 | 14:34 | 01:14 | LT FEEDER | Grid:MOHAN CO-OPERATIVE (66/11kV) GRID SSTN To Feeder:11kV FDR NEHRU MARKET , DISTRIBUTION TRANSFORMER,:LT SOCKET DAMAGED, | RESTORED/ REPAIRED | Part of : TRF-1 NEHRU MKT PATERA | 95
11 | 12/03/2018 | SVR | 13:01 | 14:20 | 01:18 | LT FEEDER | Grid:SARAI JULLENA (33/11kV) GRID SSTN To Feeder:11kV FDR BATLA HOUSE , DISTRIBUTION TRANSFORMER,:TREE TOUCHING, | RESTORED/ REPAIRED | Part of : BATLA HOUSE SEW.PUMP STN. | 79
12 | 12/03/2018 | SVR | 12:11 | 13:33 | 01:21 | LT FEEDER | Grid:SARITA VIHAR (66/11kV) GRID SSTN To Feeder:11kV FDR S/S NO.-13, SARITA VIHAR , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : TRF-1 S/STN. NO. 20 SARITA VIHAR | 125
13 | 12/03/2018 | SVR | 11:19 | 12:40 | 01:20 | LT FEEDER | Grid:MATHURA ROAD (66/11kV) GRID SSTN To Feeder:11kV FDR SFS NO.-1 SUKHDEV VIHAR O/H , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : TRF-1 ESCORTS STAFF QTRS. | 25
14 | 12/03/2018 | PJB | 11:06 | 12:12 | 01:06 | LT FEEDER | Grid:A-4 PASCHIM VIHAR (33/11kV) GRID SSTN To Feeder:208 SFS QUATERS , LT U/G CABLE,:CABLE BURNT, | RESTORED/ REPAIRED | Part of : 990TRF-2:KHATTEWALA, MADIPUR VILLAGE, PJB | 109
15 | 12/03/2018 | NJF | 09:23 | 10:28 | 01:05 | LT FEEDER | Grid:NAJAFGARH (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR ANAJ MANDI , LT O/H CABLE,:CABLE BURNT, | RESTORED/ REPAIRED | Part of : 630 TRF-1:JHARODA KALAN 1 | 74
16 | 12/03/2018 | KPR | 06:59 | 08:09 | 01:09 | LT FEEDER | Grid:66kV BATRA GRID To Feeder:11kV FDR A-BLOCK RAJU PARK , SERVICE LINE,:JUMPER LOOSE/BROKEN FROM DB, | RESTORED/ REPAIRED | Part of : TRF-1 C-1, RAJU PARK | 87
17 | 12/03/2018 | JFR | 15:00 | 16:55 | 01:55 | PLANNED SHUTDOWN | Grid:JAFFARPUR (66/11kV) GRID SSTN To Feeder:11KV NEW CRPF , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 25 TRF-1:JAI LAL VILL SURAKH PUR, MISREY HBT PURA, GOPAL N. SARASWATI ENCLAVE S/SNO.-1, RATAN SURAKHPUR, SATVIR SINGH VILL SURAKHPUR, 25 TRF-1: KHAZAN SINGH VILL SURAKH PUR, BIJENDER VILL SURAKH PUR, TRF-2:GOPAL NAGAR SARASWATI ENCLAVE, SULTAN SINGH VI;SURAKH PUR, 100 TRF-1:BALBIR VLG MITRAON, 25 TRF-1:GAUSHALA HBT PURA, MAHABIR HBT PURA, 25 TRF-1:HIRA HBT PURA, 400 TRF-1:KRISHNA COLONY GOPAL NAGAR, MADHUSUDAN DALMIYA VILLSURAKHPUR, 400 TRF-3:GOPAL NAGAR PHASE 2, 400 TRF-1:VILL SURAKHPUR:PM | 299
18 | 12/03/2018 | DWK | 14:22 | 15:51 | 01:29 | PLANNED SHUTDOWN | Grid:PAPPANKALAN-II (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR P.P SECTOR-17 , 11KV FEEDER:TREE TRIMMING | RESTORED/ REPAIRED | Part of : 630 TRF-1:SEC-17 E NO-2 PLOTTED AREA | 207
19 | 12/03/2018 | VKJ | 14:03 | 16:08 | 02:05 | PLANNED SHUTDOWN | Grid:66kV C-DOT GRID To Feeder:11 KV FDR NTRO CKT.-1 (OPP. GHITORANI BUS STAND) , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 S/S No.(TR No.1) near to Viskurma | 213
20 | 12/03/2018 | MDK | 14:03 | 15:03 | 01:00 | PLANNED SHUTDOWN | Grid:NANGLOI WATER WORKS (66/11kV) GRID SSTN To Feeder:11kV FDR YADAV PARK EXT. , 11KV FEEDER:TREE TRIMMING | RESTORED/ REPAIRED | Part of : 400TRF-1 NAJAFGARH ROAD NANGLOI, 400TRF-1:MAHARAJA WALA, 100TRF-1:KAMRUDDIN NAGAR HVDS, 400TRF-1:DEEPANSU(DAULAT RAM SCHOOL), 630TRF-1:RAM NAGAR I/D, 990TRF-1:RAJENDER WALA(MCD) SSTN, 400TRF-1:CHAJJU RAM COLONY (YADAV PARK), 400TRF-1:A2 BLK KUNWAR SINGH NGR, KAMRUDDIN NAGAR EXTN S/S-1 | 374
21 | 12/03/2018 | NJF | 14:00 | 16:11 | 02:11 | PLANNED SHUTDOWN | Grid:DELHI JAL BOARD NAJAFGARH WATER WORKS (66/11) To Feeder:VARDHMAN VIHAR , 11KV FEEDER:TREE TRIMMING | RESTORED/ REPAIRED | Part of : 100 TRF-1:W S1 PAPRAWAT, 100 TRF-1:VO RADAR DEENPUR, PAPRAWAT, 400 TRF-:PREM NAGAR Z BLOCK, 630 TRF-1:-DINPUR S/STN-2, PAPRAWAT VILL NEAR S/S NO.3, 16 TRF-1:W S PAPRAWAT, BRIJ VIHAR MOHAN APPARTMENT, 100 TRF-1: S/STN NO-4 VILL PAPRAWAT, 400 TRF-VARDHMAN VIHAR , DEENPUR, 400 TRF-1:-BAWANI NGR DEENPUR, 400 DT : KASHMIRI COLONY S/STNNO-2, 400 TRF-1:DL-1LDTRWN40019454, 400 TRF-1:PAPRAWAT 1 | 319
22 | 12/03/2018 | ALN | 14:00 | 17:00 | 03:00 | PLANNED SHUTDOWN | Grid:66 kV OKHLA PHASE-I GRID To Feeder:11 kV FDR S/S NO.-9 VIA B-133 OKHLA PH.-1 , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 100 KVA TRF-1 TEL. EXCHANGE, OKHLA PH.-1 | 1
23 | 12/03/2018 | HKS | 13:50 | 15:18 | 01:28 | PLANNED SHUTDOWN | Grid:33kV SIRI FORT GRID To Feeder:11kV FDR GREEN PARK MAIN , TRANSFORMER:TRANSFORMER REPLACEMENT | RESTORED/ REPAIRED | Part of : TRF-3 GREEN PARK MAIN, TRF-2 GREEN PARK MAIN, TRF-1 GREEN PARK MAIN | 175
24 | 12/03/2018 | DWK | 13:42 | 15:50 | 02:08 | PLANNED SHUTDOWN | Grid:MATIYALA (G-5 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR MANSHA RAM PARK , RMU:RMU REPLACEMENT | RESTORED/ REPAIRED | Part of : 990 TRF-1: MANSA RAM PARK C and D BLOCK | 209
25 | 12/03/2018 | DWK | 13:41 | 15:50 | 02:09 | PLANNED SHUTDOWN | Grid:PAPPANKALAN-I (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR MAHALAXMI , RMU:RMU REPLACEMENT | RESTORED/ REPAIRED | Part of : AKASH GANGA (HT CUNSUMAR) | 1
26 | 12/03/2018 | VKJ | 13:03 | 14:05 | 01:02 | PLANNED SHUTDOWN | Grid:66kV VASANT KUNJ B-BLK GRID To Feeder:11 kV FDR SECTOR B-3 VASANT KUNJ , RMU:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 STN-3 SEC-B POCKET-5&6 VASANT KUNJ, TRF-2 STN-3 SEC-B POCKET-5&6 VASANT KUNJ | 220
27 | 12/03/2018 | VKJ | 13:00 | 16:25 | 03:25 | PLANNED SHUTDOWN | Grid:66kV VASANT KUNJ C-BLK GRID To Feeder:11 kV FDR S/S NO.-2, C-4 VASANT KUNJ (VIA POLICE STATION) , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 STN-1 SEC-C POCKET-6and7 VASANT KUNJ, TRF-2 STN-1 SEC-C POCKET-6and7 VASANT KUNJ | 229
28 | 12/03/2018 | PLM | 12:25 | 15:56 | 03:31 | PLANNED SHUTDOWN | Grid:G-6 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11kV FDR CROWN APPT. SECTOR-7 PLM , RMU:REPAIR/REPLACEMENT OF DEFECTIVE MECHANISM | RESTORED/ REPAIRED | Part of : MEGHDOOT AppT. 19/7 S/S( HT CONSUMER) | 1
29 | 12/03/2018 | NGL | 12:15 | 15:19 | 03:04 | PLANNED SHUTDOWN | Grid:NANGLOI WATER WORKS (66/11kV) GRID SSTN To Feeder:11kV FDR SHIV RAM PARK , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : 990 TRF-1:Shiv Ram Park E-Block S/S-3, 630 TRF-1:Shiv Ram Park No-1 S/S NGI, 400TRF-1:SHIV RAM PARK HANUMAN MANDIR:PL, SHIVRAM PARK | 410
30 | 12/03/2018 | NGL | 12:10 | 15:18 | 03:08 | PLANNED SHUTDOWN | Grid:PASCHIM VIHAR (66/33/11KV) GRID SSTN To Feeder:11KV FDR AMBIKA VIHAR , TRANSFORMER:CIVIL WORK | RESTORED/ REPAIRED | Part of : 630 TRF-1: LAKE VIEW APPT SSTN, 990TRF-1: AMBIKA VIHAR P/M SSTN, 990TRF-2: AMBIKA VIHAR I/D SSTN, 990TRF-1: AMBIKA VIHAR I/D SSTN, 630TRF-2: LAKE VIEW APPT SSTN, 990TRF-1: SANGAM APPARTMENT SSTN | 434
31 | 12/03/2018 | NGL | 12:10 | 15:18 | 03:08 | PLANNED SHUTDOWN | Grid:PASCHIM VIHAR (66/33/11KV) GRID SSTN To Feeder:11kV FDR 656 MIG FLATS , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 630TRF-1: GH-14 SSTN NO-1, 630TRF-2: GH-9 SSTN-1 I/D, 630TRF-2: GH-9 SSTN NO-2, 630TRF-1: GH-9 SSTN NO-2, 630TRF-1: GH-9 SSTN-1 I/D, 630TRF-2: GH-14 SSTN NO-1, 400TRF-1: TELEPHONE EXCHANGE SSTN P/M | 431
32 | 12/03/2018 | KPR | 12:03 | 15:05 | 03:02 | PLANNED SHUTDOWN | Grid:MOHAN CO-OPERATIVE (66/11kV) GRID SSTN To Feeder:11kV FDR SSTN NO-1 PUL PRAHLADPUR ID , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-2 SURAJ APARTMENT:ID(MIG FLAT), TRF-1 SURAJ APARTMENT:ID(MIG FLAT) | 285
33 | 12/03/2018 | KPR | 12:03 | 15:52 | 03:49 | PLANNED SHUTDOWN | Grid:MOHAN CO-OPERATIVE (66/11kV) GRID SSTN To Feeder:11kV FDR SSTN NO-1 PUL PRAHLADPUR ID , HVDS:MAINTENANCE WORK | RESTORED/ REPAIRED | Part of : TRF-1 144 QTS SFS PP PUR:ID | 183
34 | 12/03/2018 | JFR | 12:00 | 14:58 | 02:58 | PLANNED SHUTDOWN | Grid:JAFFARPUR (66/11kV) GRID SSTN To Feeder:11KV NAJAFGARH THANA , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 400 TRF-2:B BLOCK GOPAL NAGAR 2, 25 TRF-1:DJB, VILL MITRAON DIVISION JFR, HARI KISHAN VILL MITRAON:PM , 16 TRF-1:RAM PARSAD VLG KHAIRA, 630 TRF-1:B BLOCK GOPAL NAGAR 1, 25 TRF-1: ASHIRWAD VATIKA GOPAL NAGAR, 100 TRF-1:STN GOVERDHAN VLG KHAIRA, 630 TRF-1: KHAIRA MORE | 487
35 | 12/03/2018 | TGN | 12:00 | 17:05 | 05:05 | PLANNED SHUTDOWN | Grid:BODELLA-I GRID SSTN To Feeder:11 kV FDR K-BLOCK KRISHNA PARK , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 990 TRF-1 :K-BLK KRISHNA PARK SSTN, TILAK NGR | 288
36 | 12/03/2018 | TGN | 12:00 | 14:59 | 02:59 | PLANNED SHUTDOWN | Grid:VISHAL (33/11kV) GRID SSTN To Feeder:11kV FDR A-BLOCK S/N TAGORE GARDEN , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 990 TRF-1 :DHOBANWALA SSTN, VISHAL ENCLAVE, 990 TRF-2 :DHOBANWALA SSTN, VISHAL ENCLAVE | 269
37 | 12/03/2018 | TGN | 12:00 | 13:34 | 01:34 | PLANNED SHUTDOWN | Grid:CHAUKHANDI (33/11kV) GRID SSTN To Feeder:11 kV FDR KASHAVPUR FROUT AND VEGETABLE MARKET-2 , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 990 TRF-1 :E-BLOCK SSTN, KHYALA | 296
38 | 12/03/2018 | SKT | 12:00 | 16:34 | 04:34 | PLANNED SHUTDOWN | Grid:66kV C-DOT GRID To Feeder:11KV FDR N.B.C.C , TRANSFORMER:NETWORK UPGRADATION WORK | RESTORED/ REPAIRED | Part of : TRF-1 F-42 JUNEJA RADHEY MOHAN,100 KVA S/Stn. | 18
39 | 12/03/2018 | SKT | 12:00 | 14:33 | 02:33 | PLANNED SHUTDOWN | Grid:66kV C-DOT GRID To Feeder:11KV FDR I.I.P.M NO.-2 , TRANSFORMER:NETWORK UPGRADATION WORK | RESTORED/ REPAIRED | Part of : TRF-1 MAHABALI PURAM MANDIR ROAD | 118
40 | 12/03/2018 | SKT | 12:00 | 14:50 | 02:50 | PLANNED SHUTDOWN | Grid:33 kV SHIVALIK GRID To Feeder:11kV FDR BHAVISYA NIDHI ENCLAVE , RMU:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : ESSEX FARM (HT CONSUMER) | 1
41 | 12/03/2018 | SKT | 12:00 | 14:32 | 02:32 | PLANNED SHUTDOWN | Grid:MEHRAULI (220/66/11kV, TRANSCO) GRID SSTN To Feeder:FATEH PUR BERI , TRANSFORMER:NETWORK UPGRADATION WORK | RESTORED/ REPAIRED | Part of : TRF-1 SHANTI KHANA:PM | 197
42 | 12/03/2018 | PLM | 11:50 | 13:55 | 02:05 | PLANNED SHUTDOWN | Grid:BINDAPUR (G-3 PPK) (66/11kV) GRID SSTN To Feeder:DABRI NO 2 , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : 400 TRF-1:Dabri Ext-RZ-74 (MANDIRWALA), 630 TRF-1:DashrathPuri D-Block, 990 TRF-1:Vaishali S/stn, 630 TRF-1:Dashrathpuri A-Block, 630 TRF-1:C-BLK DASHRATHPURI, 630 TRF-2:DABRI MORE I/D, 990 TRF-1:DABRI MORE I/D, MAHABAL MISHRA | 511
43 | 12/03/2018 | NJF | 11:50 | 14:50 | 03:00 | PLANNED SHUTDOWN | Grid:G 4 DWARKA SEC 19 GRID SSTN To Feeder:11kV FDRGOYALA DAIRY , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 400TRF-1:DEFENCE ENCLAVE GOYLA-TAJPUR RD, 400TRF-1:SANTHOMAS SCHOOL, 100TRF-1:ANAND GOELA, 100TRF-1:ANAND GOELA, 100TRF-1:ANAND GOELA, 400TRF-1:SANTHOMAS SCHOOL, 400TRF-1:SHYAM KUNJ Near Vill Goyla, 25-1:NEAR BISHNA S/SN VILL GOELA, 400 TRF-1:QUTUB VIHAR PHASE-II, 400 TRF-2:VILLAGE TAJPUR 2, 25 TRF-1:RAMPAT RAMDHAN, VILL TAJPUR, 25 TRF-1:GYAN DEVI VILL CHHAWLA, 400 TRF-1:VILLAGE GOELA STN 2, 400 TRF-1:QUTUB VIHAR PHASE-II STN. NO.4, 25 TRF-1:ANATH ASHRAM, TAJPUR ROAD, ST. LT. DT CHAWLA, CHAWLA QUTUB VIHAR ROAD, 25 TRF-1:NRAYAN SWARUP, QUTUB VIHAR RD VILL CHHAWL, 25 TRF-1:RAM NARAYAN VILL. CHHAWLA | 509
44 | 12/03/2018 | SKT | 11:40 | 15:48 | 04:08 | PLANNED SHUTDOWN | Grid:66kV MALVIYA NAGAR GRID To Feeder:11kV FDR SEC-1 S/S NO.-1 PUSHP VIHAR , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-2 STN-1 SEC-1 PUSHAP VIHAR:ID, TRF-1 STN-1 SEC-1 PUSHAP VIHAR | 279
45 | 12/03/2018 | DWK | 11:32 | 14:46 | 03:14 | PLANNED SHUTDOWN | Grid:MATIYALA (G-5 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR 210 DDA FLATS SEC-3 , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 630 TRF:-1 EWS FLATS PKT-B&C SEC-3 DWR | 194
46 | 12/03/2018 | DWK | 11:31 | 14:47 | 03:16 | PLANNED SHUTDOWN | Grid:G-15 DWARKA REL. ENERGY GRID SSTN To Feeder:11kV FDR SEC-12 PKT-7 , 11KV FEEDER:TREE TRIMMING | RESTORED/ REPAIRED | Part of : 400 TRF-2:SHIVAM APPT | 159
47 | 12/03/2018 | DWK | 11:31 | 14:47 | 03:16 | PLANNED SHUTDOWN | Grid:G-6 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11kV FDRNEW HILANSH SECTOR-10 11kV FDR HILANSH , RMU:RMU REPLACEMENT | RESTORED/ REPAIRED | Part of : 3*630+400 KVA TRF. Area of Sec-10 | 341
48 | 12/03/2018 | JFR | 11:20 | 16:56 | 05:36 | PLANNED SHUTDOWN | Grid:JAFFARPUR (66/11kV) GRID SSTN To Feeder:11KV GHUMMANHERA , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 100 TRF-1:DULI CHAND V GHUMAN HERA PAPRAWAT, PRITHVI V GHUMAN HERA, 100 TRF-1:GOV W/S SUPPLY-2 GHUMN HERA, PLY FACTORY VILL GHUMENHERA, 100 TRF-1:ANGOORI DEVI VLG GHUMAN HERA, 16 TRF-1:GUPTA FARM VLG GHUMAN HERA, 400 DT :GHUMENHERA S/S NO.3., 400 TRF-1:VILLAGE GHUMENHERA 1, 25 TRF-1:GIRVER GHUMANHERA, 400 TRF-1:VILL. GHUMENHERA S/STN NO-4, 16 TRF-1:M I D W/SUPPLY VLG RAWTA, 100 TRF-1:KARTAR VLG GHUMAN HERA, 100 TRF-1:MAUNI BABA VLG GHUMAN HERA, 100 TRF-1: VAN VIBHAG,VILL - GHUMENHERA, 25 TRF-1:PATNA SISTER NOTARY VILL.KAIR, 400 TRF-1:GHUMENHERA NO.2, RAJENDER V GHUMANHERA, SAADHWALA GHUMANHERA MODNGEF | 263
49 | 12/03/2018 | PLM | 11:15 | 15:02 | 03:47 | PLANNED SHUTDOWN | Grid:PAPPANKALAN-I (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR PALAM VILLAGE , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : 990 TRF-1HARIZAN BASTI S/S:, 630 TRF-1:Pappam Kala Sec-I, 630 TRF-1:Pappan Kalam Sec-I F.5, 630 TRF-2:Pappam Kala Sec-I, 400 TRF-2:Pappan Kalam Sec-I F.5 | 542
50 | 12/03/2018 | PLM | 11:15 | 15:02 | 03:47 | PLANNED SHUTDOWN | Grid:PAPPANKALAN-I (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR MAHAVIR ENCLAVE , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : 630 TRF-1:PUMP HOUSE SEC-7:PLM, 400 TRF-1: C-2 Block Mahavir Encl. Sec-1, | 319
51 | 12/03/2018 | NZD | 11:13 | 14:54 | 03:41 | PLANNED SHUTDOWN | Grid:33kV NDSE-2 GRID To Feeder:11kV FDR G.P.O INA-2+ WAZIR NAGAR GALI NO.-5 , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 GALI NO.-5, WAZIR NAGAR, KOTLA, TRF-2 GALI NO.-5, WAZIR NAGAR, KOTLA | 265
52 | 12/03/2018 | NZD | 11:13 | 14:00 | 02:47 | PLANNED SHUTDOWN | Grid:LAJPAT NAGAR-III (33/11kV) GRID SSTN To Feeder:LAJPAT NAGAR-3 MAIN FDR.-1 , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-2 LAJPAT NAGAR-3 (MAIN): ID, TRF-1 LAJPAT NAGAR-3 (MAIN): ID, TRF-3 LAJPAT NAGAR-3 (MAIN): ID | 243
53 | 12/03/2018 | VKP | 11:03 | 15:37 | 04:34 | PLANNED SHUTDOWN | Grid:BODELLA-II GRID To Feeder:11KV 1616-JANTA FLATS HASTSAL , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 990 TRF-1 : MURANI HASTSAL:PL | 299
54 | 12/03/2018 | TGN | 11:03 | 14:58 | 03:55 | PLANNED SHUTDOWN | Grid:VISHAL (33/11kV) GRID SSTN To Feeder:11kV FDR RMU IN GRID (INTERCONNECTOR) , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 400TRF-1:METRO POLICE SSTN,VISHAL ENCL | 168
55 | 12/03/2018 | NHP | 11:03 | 14:39 | 03:36 | PLANNED SHUTDOWN | Grid:OKHLA PHASE-II (33/11kV) GRID SSTN To Feeder:11kV FDR FIEE COMPLEX S/S NO.-1, PH.-2 , LT ACB:MAINTENANCE | RESTORED/ REPAIRED | Part of : 630 KVA TRF. ESS NO. 1 INSIDE DSIIDC COMPLEX | 228
56 | 12/03/2018 | SVR | 11:00 | 15:00 | 04:00 | PLANNED SHUTDOWN | Grid:66/11KV MEETHAPUR GRID SUB STN To Feeder:11kV HARIJAN BASTI (OLD) , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 BARAT GHAR MEETHAPUR | 134
57 | 12/03/2018 | SKT | 11:00 | 14:51 | 03:51 | PLANNED SHUTDOWN | Grid:66kV C-DOT GRID To Feeder:11KV FDR JONAPUR , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 100 KVA TRF. 5A, WEST END DLF CHATTERPUR | 7
58 | 12/03/2018 | SKT | 11:00 | 13:44 | 02:44 | PLANNED SHUTDOWN | Grid:MEHRAULI (220/66/11kV, TRANSCO) GRID SSTN To Feeder:DERA BHATI , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 GILL FARM:PM | 9
59 | 12/03/2018 | NJF | 11:00 | 14:50 | 03:50 | PLANNED SHUTDOWN | Grid:NAJAFGARH (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR RMU 7- PANEL BOARD(NEAR POWER HOUSE) , 11KV FEEDER:TREE TRIMMING | RESTORED/ REPAIRED | Part of : 16 TRF-1:CANCER HOSPITAL JHARODA, 400 TRF 1 : S KUNJ KALI PIAO JHARODA RD, 100 TRF-1:RATTAN VLG DICHAOAN KALAN, 100 TRF-1:HOSHIYAR SINGH ANAJ MANDI, ANAJ MANDI-S.STN-2, 100 TRF-:KRISHNA ENCLAVE, DICHAON KALAN, 400 TRF-1:LOKESH PARK EXTN., 400 TRF-1:AGGARWAL COLONY, 100 TRF1:- VIRENDER VILL DICHAOAN KALAN, 400 TRF-1:S/STN NO-2 EKTA VIHAR, 400 TRF1:INDIRA MKT., 100 TRF-1:DHIRE VILLAGE DICHAON KALAN, 630 TRF-1:ANAZ MANDI STN 3, 630 TRF-1:ANAZ MANDI STN NO 1, 400 TRF-1:BABA HARIDASS NAGAR, 630 TRF-2:ANAZ MANDI STN 1, SARASWATI KUNJ DVB DELHI, 400 TRF-1:S/STN NO-1 EKTA VIHAR & RAJIV VIHAR, 100 TRF-1:CHHOTU MOTU VILLAGE D.KALAN, 25 TRF-1: CHUDHARYBHARATSINGH,(M.L.A.,DICHAON KAL, 100 TRF-1:MTNL AANAJ MANDI(AGGARWAL COL), 25 TRF-1: DTC TERMINAL NAJAFGAREH, BABA HARIDAS ENCLAVE BLK B S/STN NO. 2, 630 TRF-2:ANAZ MANDI STN 3 | 449
60 | 12/03/2018 | JKP | 11:00 | 14:05 | 03:05 | PLANNED SHUTDOWN | Grid:REWARI LINE (220/66/11kV, TRANSCO) GRID (NDPL) To Feeder:11KV B-32 MAYAPURI , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : KARAN MOTOR (HT CONSUMER) | 1
61 | 12/03/2018 | JKP | 11:00 | 14:06 | 03:06 | PLANNED SHUTDOWN | Grid:VISHAL (33/11kV) GRID SSTN To Feeder:11kV FDR L.I.G RAJOURI GARDEN , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : C-4 RAJOURI GARDEN JKP (HT CONSUMER) | 1
62 | 12/03/2018 | SKT | 11:00 | 13:59 | 02:59 | PLANNED SHUTDOWN | Grid:66kV C-DOT GRID To Feeder:11KV FDR N.B.C.C , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 630 KVA TRF. GADAIPUR VILLAGE | 216
63 | 12/03/2018 | MDK | 11:00 | 15:29 | 04:29 | PLANNED SHUTDOWN | Grid:66/11KV MUNDKA GRID To Feeder:11kV FDR NEEL WALL , 11KV FEEDER:TREE TRIMMING | RESTORED/ REPAIRED | Part of : 630TRF-1:NEELWALL S/STN-2:PM, 100TRF-1:RAN SINGH NEELWAL:PM, 100TRF-1:HARIZON BASTI NEELWAL:PM, 100TRF-1:PRABHU TUBE WEELL NEELWAL:PM, 630TRF-1:NEELWALL S/STN-1:PM, 25TRF-1:HUKUM SINGH NEELWAL ROAD, 25TRF-1:SIMANDER JAIN MANDIR NEELWAL | 322
64 | 12/03/2018 | NJF | 11:00 | 14:58 | 03:58 | PLANNED SHUTDOWN | Grid:NAJAFGARH (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR ANAJ MANDI , 11KV FEEDER:TREE TRIMMING | RESTORED/ REPAIRED | Part of : 100TRF-:SATYAMPURM T/W, 100 TRF-1:SARDARE 3 VLG JHARODA KALAN, 100 TRF-1:SARDARA 2 VLG JHAROAD AKALN, 25 TRF-1: RISHAL SGH BEHIND DIGUPURA DICHAO K VIL, 25 TRF-1: JAYPAL UMD BEHIND DIGUPURA DICHAO K VIL, 25 TRF-1: GYANI RAM T/W VILL DICHAON KALAN, 25 TRF-1: DILIP SGH BEHIND DIGUPURA DICHAO K VILL, 990 TRF1: JHARODA KALAN STN 2, 990 TRF-1:JHARODA KALAN 3, 100 TRF-1:HOSIYAR SINGH NR DEGUPURA, 25 TRF-1: RATAN SINGH, 25 TRF-1:RMU BRIJWASAN FATAK (BSF FDR), 25 TRF-1: SUBE SINGH DICHAON KALAN, 100 TRF-1:BABA HARI DASS MELA VILL JHAR, AJEET SINGH BHOLA RAM DICHAON KALA, 25 TRF-1: HUKKAM SINGH, 25 TRF-1: P TAKUR MANDIR BHIND DIGUPUR DICHAO VIL, 25 TRF-1: DHARAM DEV DICHAON KALAN, 25 TRF-1: UMED THANDI VILLAGE DICHAON KALAN, 25 TRF-1: RISHAL S/O SERA, DICHOAN VILLAGE, 25 TRF-1: SATYA S/O BAGROO , DICHOAN VILLAGEALAN, 25 TRF-1:DEEP CHANDER JHARODA KALA BEHIND PTC, 25 TRF-1: CHANDE T/W BHIEND PTS DICHAO KALAN, 100 TRF-1:LAKHI VILLAGE JHARODA KALAN, 25 TRF-1:VED PRAKASH JHARODA KALA, 100 TRF-1:BALJEET DICHAON KALAN, 25 TRF-1: SHRI BHAGWAN , DICHOAN VILLAGE, 25 TRF-1: ISHWAR DAS DICHAON KALAN, 25 TRF-1: JOGINDER, JHARODA VILLAGE, 25 TRF-1: MAHENDRE SHARMA T/W VILL DICHAON KALAN, 25 TRF-1: RANBHIR SINGH DICHAON KALAN, 25 TRF-1: S/STN NO-3 WATER SUPPLY VILL JHHARO, 630 TRF-1:JHARODA KALAN 1, 25 TRF-1: DARSHAN SINGH DICHAON KALAN, 100 TRF-1:JEEWAN VILL JHARODA KALAN, 630 TRF-1:BABA HARIDASS ENCLAVE, MUKHTYAR WALA, CHANDER VIHAR, 25 TRF-1:NARESH KUMAR VILL JHARODA KALAN, 25 TRF-1:MAHA SINGH VILL JHARODA KALAN, 25 TRF-1:SUMITRA DEVI VILL JHARODA KALAN, 25 TRF-1:BHOOP SINGH VILL JHARODA KALAN, 25 TRF-1:JEET RAM JHARODA KALA BEHIND PTC, 25 TRF-1:RAGHUBIR SINGH JHARODA KALA BEHIND PTC,*KALI RAM JHARODA KALANCAPITAL TRANSFORMERS*,*DHAN SINGH JHARODA VILLAGE*,*RAVI,JHARODA VILLAGE*,*400 TRF-:SATYAM PURAM, JHRODA KALAN*,*25 TRF-1:RAGHU NATH VILL JHARODA KALAN*,*DHARAMBIR JHARODA VILLAGE*,*BAGROO T/W VILL DICHAON KALAN*,*BHANE VILL DICHAOAN KALAN*,*SATPAL VILL JHARODA KALAN*,*OM PARKASH DICHAON VILLAGE*,*RINKU VILL DICHOAO*,*SATYAM PURAM, JHRODA KALAN*,*SARDARE NO 1 VILL JHARODA KALAN*,*SHRI CHAND VILL DICHAOAN KALAN*,*CHANDER SINGH, DICHOAN VILLAGE*,*RAJESH VILL JHARODHA*,*MTNL TOWER SURKHPUR-JHARODA K RD*,*RAJ KUMAR SAINI JHARODA VILLAGE*,*BHIKOO PURAN VILL JHARODA KALAN*,*JIYA RAM VILL JHARODA KALAN*,*OM PRAKASH JHARODA KALA*,*NAFE SINGH JHARODA VILLAGE*,*RAM PHOOL JHARODA KALA BEHIND PTC*,*100 TRF-1:SATTU VLG DICHOUN KALAN SPDC*,*100 TRF-1:BANI SINGH JHARODA KALAN*,*25 TRF-1: RAM CHANDER SINGH, JHARODA VILLAGE*,*25 TRF-1: SHRI KISHAN JAI NARAYAN, JHARODA VILLAG*,*25 TRF-1:RAM KUMAR JHARODA KALA*,*25 TRF-1: MEER SINGH, JHARODA VILLAGE* | 493
65 | 12/03/2018 | PLM | 11:00 | 13:57 | 02:57 | PLANNED SHUTDOWN | Grid:G-6 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11kV FDR ARMY QTRS. SECTOR-21 , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : RMU XING SEC-20&SEC-9 METRO STN.SVASCA | 215
66 | 12/03/2018 | SVR | 11:00 | 14:58 | 03:58 | PLANNED SHUTDOWN | Grid:MOHAN CO-OPERATIVE (66/11kV) GRID SSTN To Feeder:11kV FDR NEHRU MARKET , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 NEHRU MKT PATERA | 105
67 | 12/03/2018 | JKP | 11:00 | 14:36 | 03:36 | PLANNED SHUTDOWN | Grid:SAGARPUR (66/11kV) GRID SSTN To Feeder:11kV FDR I.A JANAKPURI S/S NO.-1 , RMU:RMU REPLACEMENT | RESTORED/ REPAIRED | Part of : 400TRF-2: VASHIST PARK:1 K | 143
68 | 12/03/2018 | SVR | 11:00 | 15:38 | 04:38 | PLANNED SHUTDOWN | Grid:JAMIA MILIA (33/11kV) GRID SSTN To Feeder:11kV FDR ZAKIR NAGAR , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-2 ZAKIR NAGAR, TRF-1 ZAKIR NAGAR, TRF-2 ZAKIR NAGAR | 205
69 | 12/03/2018 | VKJ | 11:00 | 15:28 | 04:28 | PLANNED SHUTDOWN | Grid:66kV C-DOT GRID To Feeder:11kV FDR TEMPO STAND , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 990 KVA TRF. MEHTA CHOCK MEHRAULI | 274
70 | 12/03/2018 | NHP | 11:00 | 14:24 | 03:24 | PLANNED SHUTDOWN | Grid:EAST OF KAILASH (33/11kV) GRID SSTN To Feeder:11kV FDR E-BLOCK EAST OF KAILASH , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 1000 KVA TRF. TRF-1 D-2 EAST OF KAILASH | 132
71 | 12/03/2018 | SKT | 11:00 | 12:57 | 01:57 | PLANNED SHUTDOWN | Grid:33kV ADHCHINI GRID To Feeder:11kV FDR M.M.T.C(VIA GANGA PLAZA) , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 2*630 KVA TRF. TRF-1 STC SCHOOL COLONY KIOSK | 422
72 | 12/03/2018 | JFR | 11:00 | 15:26 | 04:26 | PLANNED SHUTDOWN | Grid:JAFFARPUR (66/11kV) GRID SSTN To Feeder:11KV MALIKPUR , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 630TRF-1:VILLAGE MALIKPUR(DHARA)P/M, 630TRF-1:VILLAGE MALIKPUR(DHARA)P/M, 100 TRF-1:GOVT SR SEC SCHOOL MALIKPUR, 400 TRF-1:VILL MALIKPUR S/STN-3, 400 TRF-1:VILLAGE MALIKPUR 1 | 387
73 | 12/03/2018 | HKS | 10:45 | 13:55 | 03:10 | PLANNED SHUTDOWN | Grid:BHIKAJI CAMA PLACE (33/11kV) GRID SSTN To Feeder:B-3 JHANDU SINGH MARG , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-2 B-2 SDA NR MERRY SCHOOL:, TRF-1 B-2 SDA NR MERRY SCHOOL: PKG | 243
74 | 12/03/2018 | NJF | 10:40 | 13:58 | 03:18 | PLANNED SHUTDOWN | Grid:DELHI JAL BOARD NAJAFGARH WATER WORKS (66/11) To Feeder:ROSHAN PURA , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : X-BLOCK NR=EW ROSHAN PURA, 400 Roshan Pura-2, 400 TRF-1: BLK DHARAMPURA, R BLK, RASHAN DAFTAR GALI,NEW ROSHANPURAKANOHAR, 100 TRF-1:MTNL A-3 DHARMPURA, 630 TRF-1:P BLOCK ROSHANPURA | 239
75 | 12/03/2018 | HKS | 10:22 | 13:47 | 03:25 | PLANNED SHUTDOWN | Grid:33kV MASJID MOTH GRID To Feeder:11kV FDR SOAMI NAGAR , RMU:RMU REPLACEMENT | RESTORED/ REPAIRED | Part of : TRF-2 SWAMI NAGAR:K, TRF-1 SWAMI NAGAR:K | 274
76 | 12/03/2018 | ALN | 10:00 | 13:28 | 03:28 | PLANNED SHUTDOWN | Grid:V.S.N.L. (33/11kV) GRID SSTN To Feeder:11kV FDR T.C.I.L , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-2 E-BLOCK GK-2 COMPLAINT CENTER:ID:PG | 165
77 | 12/03/2018 | ALN | 10:00 | 12:54 | 02:54 | PLANNED SHUTDOWN | Grid:66 kV OKHLA PHASE-I GRID To Feeder:11 kV FDR S/S NO.-11 O/H , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 CNG SERVICE STATION OKHLA PH- 1:PM | 1
78 | 12/03/2018 | VKJ | 10:00 | 13:30 | 03:30 | PLANNED SHUTDOWN | Grid:66kV I.O.C BIJWASAN GRID To Feeder:11 kV FDR BIJWASAN , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 RAGHUNATH BRIJWASAN | 119
79 | 12/03/2018 | RKP | 10:00 | 13:57 | 03:57 | PLANNED SHUTDOWN | Grid:VASANT VIHAR (33/11kV) GRID SSTN To Feeder:11kV FDR A-BLOCK VASANT VIHAR+B-BLOCK VASANT VIHAR FDR.-2 , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 TAGORE SCHOOL, VASANT VIHAR: PL, TRF-2 TAGORE SCHOOL, VASANT VIHAR: PL | 277
80 | 12/03/2018 | VKJ | 16:24 | 17:34 | 01:09 | EMERGENCY SHUTDOWN | Grid:66kV I.O.C BIJWASAN GRID To Feeder:11 kV FDR KAPASHERA O/H , TRANSFORMER:METER RELOCATION WORK | RESTORED/ REPAIRED | Part of : TRF-1 OBERI FARM BIJWASAN | 1
81 | 12/03/2018 | DWK | 14:25 | 15:46 | 01:21 | EMERGENCY SHUTDOWN | Grid: To Feeder:11kV FDR 210 DDA FLATS SEC-3 , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 630 TRF:-1 EWS FLATS PKT-BandC SEC-3 DWR | 125
82 | 12/03/2018 | SVR | 13:34 | 14:44 | 01:10 | EMERGENCY SHUTDOWN | Grid:SARITA VIHAR (220/66/11kV, TRANSCO) GRID SSTN To Feeder:JAITPUR O/H , RMU:PREVENTIVE MAINTENANCE OF RMU | RESTORED/ REPAIRED | Part of : TRF-1 KHADDA COLONY JAIT PUR, TRF-1 H-BLOCK PEER BABA BASTI JAITPUR, TRF-1 N-BLK PUSTA RD SAURABH VIHAR T/W NO.3, TRF-1 ARPAN VIHAR JAITPUR EXTN PART-1, TRF-1 -E and F BLOCK KHADDA COLONY, TRF-1 SVR236;PRIYANKA CAMP. | 216
83 | 12/03/2018 | NGL | 13:18 | 14:30 | 01:12 | EMERGENCY SHUTDOWN | Grid:NANGLOI WATER WORKS (66/11kV) GRID SSTN To Feeder:11 KV FDR SAINI MOHALLA NEAR WATER TANK , LT CIRCUIT:LOAD BALANCING | RESTORED/ REPAIRED | Part of : 990 TRF-1:Naresh Park Tulsi Wala S/s | 273
84 | 12/03/2018 | VKJ | 12:15 | 13:26 | 01:11 | EMERGENCY SHUTDOWN | Grid:66kV I.O.C BIJWASAN GRID To Feeder:11 kV FDR NAVAL KAPASHERA , LT CIRCUIT:JUMPER REPLACEMENT | RESTORED/ REPAIRED | Part of : TRF-1 MEET MARKET(R.RD.KAPASHERA) | 195
85 | 12/03/2018 | VKJ | 11:52 | 13:03 | 01:10 | EMERGENCY SHUTDOWN | Grid:66kV I.O.C BIJWASAN GRID To Feeder:11 kV FDR INTERCONNECTOTR NO.-1 (KAPASHERA) , 11KV FEEDER:PREVENTIVE MAINTENANCE | RESTORED/ REPAIRED | Part of : TRF-1 JHUGGIWALA SAMALKA | 189
86 | 12/03/2018 | VKP | 09:57 | 10:58 | 01:01 | EMERGENCY SHUTDOWN | Grid:HASTAL (66/11kV) GRID SSTN To Feeder:MAIN BUS STAND , TRANSFORMER:TRANSFORMER REPLACEMENT UNDER LOW IR | RESTORED/ REPAIRED | Part of : 400 TRF-1:OMVIHAR PH-1MATA ROOPRANI, 400 TRF-2:OMVIHAR PH-1MATA ROOPRANI | 232
87 | 12/03/2018 | VKP | 09:55 | 10:56 | 01:00 | EMERGENCY SHUTDOWN | Grid:MATIYALA (G-5 PPK) (66/11kV) GRID SSTN To Feeder:C&D BLOCK MOHAN GARDEN , TRANSFORMER:TRANSFORMER REPLACEMENT UNDER LOW IR | RESTORED/ REPAIRED | Part of : 990 TRF-1:B-BLOCK MOHAN GARDEN | 264

## Reasons (hidden)
DISTRIBUTION TR.
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
EMERGENCY SHUTDOWN
EHV TRIPPING
EHV SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
DAMAGE BY OTHER AGENCIES