## Format
DISCOM : BRPL
OUTAGE REPORT FOR : 15/03/2018 06:00Hr. To 16/03/2018 06:00Hr.
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Area / DT Effected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Detail
1 | 15/03/2018 | JKP | 06:01 | 07:44 | 01:43 | HT SYSTEM FAULT | Grid:D.C. JANAKPURI (33/11kV) GRID SSTN To Feeder:11KV DISTRICT SERVICE CENTRE JANAKPURI , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : 990.TRF-1 :JANTA FLATS SSTN, POSANGI PUR, JKP*,*990 TRF-1 :A/5B-BLOCK (URINAL) SSTN, JANAKPURI*,*990 TRF-1 :A5-BLK (NR. MOTHER DAIRY) SSTN, JKP*,*630 TRF-2 :P and T COLONY SSTN, JANAKPURI*,*630 TRF-2 :D.S.C TRANSPORT AUTHORITY SSTN, JKP*,*630 TRF-1 :D.S.C TRANSPORT AUTHORITY SSTN, JKP*,*630 TRF-2 :A/4C-BLOCK SSTN, POSANGIPUR, JKP*,*1000 TRF-1 :A/4C-BLOCK SSTN, POSANGIPUR, JKP*,*400 TRF-1 :POLICE QUARTERS SSTN, JANAKPURI*,*630 TRF-2 :JANTA FLATS SSTN, POSANGI PUR, JKP | 794
2 | 15/03/2018 | SVR | 06:35 | 07:46 | 01:10 | HT SYSTEM FAULT | Grid:MATHURA ROAD (66/11kV) GRID SSTN To Feeder:11kV FDR S/S NO.-1 M.C.I.E , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : TRF-1 S/STN. NO. 3 MCIE A-BLOCK | 84
3 | 15/03/2018 | KPR | 06:38 | 07:39 | 01:01 | LT FEEDER | Grid:66kV BATRA GRID To Feeder:11kV FDR S/S NO.-5 DAKSHIN PURI , SERVICE LINE,:JUMPER LOOSE/BROKEN FROM DB, | RESTORED/ REPAIRED | Part of : TRF-2 S/S NO-5, DAKSHIN PURI:K | 99
4 | 15/03/2018 | KPR | 06:56 | 08:04 | 01:07 | LT FEEDER | Grid:33kV D.C.SAKET GRID To Feeder:11kV FDR MADANGIRI S/S NO.-1 , SERVICE LINE,:JUMPER LOOSE/BROKEN FROM DB, | RESTORED/ REPAIRED | Part of : TRF-1 MADANGIR PHASE- 1:ID | 103
5 | 15/03/2018 | NZD | 08:00 | 11:21 | 03:21 | PLANNED SHUTDOWN | Grid:DEFENCE COLONY (33/11kV) GRID SSTN To Feeder:11kV FDR MOOLCHAND BOOSTER PUMP , LT ACB:ACB BYPASS | RESTORED/ REPAIRED | Part of : TRF-1 BOOSTER PUMP DEFENCE CLY:ID | 64
6 | 15/03/2018 | JFR | 08:20 | 09:32 | 01:12 | HT SYSTEM FAULT | Grid:JAFFARPUR (66/11kV) GRID SSTN To Feeder:11KV NAVEEN PLACE , ISOLATOR/ GO SWITCH,:ISOLATOR DAMAGE, | RESTORED/ REPAIRED | Part of : 25 TRF-1:MIR SINGH,HBT PURA*,*25 TRF-1: BANWARI HBT PURA*,*100 TRF-1:PAHWA FARM 1 ANAJ MANDI*,*100 TRF-1:RICHHPAL HEBAT PURA*,*400 TRF-1:NANU RAM PARK*,*400 TRF-1:NAVEEN PLACE SUB STN NO 2*,*400 TRF-1:NAVEEN PLACE CRPF ROOD*,*100 TRF-1:JANTA VIHAR JHARODA ROAD*,*100 TRF-2:KARAN SINGH HEBAT PURA*,*400 TRF-:NAVEEN PLACE SUB STN NO 3*,*16 TRF-1:NAPHE VILLAGE HEBAT PURA*,* AZAD SINGH HBT PURA*,*HTC:CRPF CAMP S/S NO 1:PL*,*NAPHE VILLAGE HEBAT PURA*,*CRPF CAMP S/S NO 2A:ID*,*CRPF CAMP S/S NO 2A:ID | 376
7 | 15/03/2018 | NGL | 09:13 | 10:32 | 01:18 | HT SYSTEM FAULT | Grid:UDYOG NAGAR (33/11kV) GRID SSTN To Feeder:11kV FDR UDYOG NGR S/STN NO-4 (OLD) , HT CONSUMER,:METERING CUBICAL FLASH/DAMAGE, | RESTORED/ REPAIRED | Part of : 990 TRF-1:Udyog Nagar S/S No-4(NGI)*,*400TRF-1:UDYOG NAGAR J J CLUSTER S/STN NO:3 | 439
8 | 15/03/2018 | ALN | 10:00 | 13:14 | 03:14 | PLANNED SHUTDOWN | Grid:33 kV ALAKNANDA GRID To Feeder:11 kV FDR E.P.D.P.-1 , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 MKT NO 2 C R PARK PACKAGE S/STN | 78
9 | 15/03/2018 | RKP | 10:00 | 14:02 | 04:02 | PLANNED SHUTDOWN | Grid:VASANT VIHAR (33/11kV) GRID SSTN To Feeder:11kV FDR D-BLOCK VASANT VIHAR , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 D-4/2, VASANT VIHAR: PL*,*TRF-2 D-4/2, VASANT VIHAR: PL | 429
10 | 15/03/2018 | ALN | 10:00 | 12:59 | 02:59 | PLANNED SHUTDOWN | Grid:OKHLA PHASE-II (33/11kV) GRID SSTN To Feeder:11kV FDR B-26 OKHLA PHASE-1 (B-317) , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 SURENDRA ALLOY B-26:ID | 1
11 | 15/03/2018 | TGN | 10:00 | 15:45 | 05:45 | PLANNED SHUTDOWN | Grid:VISHAL (33/11kV) GRID SSTN To Feeder:11kV FDR RMU IN GRID (INTERCONNECTOR) , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 990 TRF-1 :A-6 SSTN, VISHAL ENCLAVE | 232
12 | 15/03/2018 | RKP | 10:00 | 12:07 | 02:07 | PLANNED SHUTDOWN | Grid:VASANT VIHAR (33/11kV) GRID SSTN To Feeder:11kV FDR ANAND NIKETAN , LT ACB:ACB REPLACEMENT | RESTORED/ REPAIRED | Part of : TRF-1 PKG S/STN NEAR 3/2 SHANTI NIKETAN | 47
13 | 15/03/2018 | RKP | 10:03 | 14:17 | 04:14 | PLANNED SHUTDOWN | Grid:R.K.PURAM-II (33/11kV) GRID SSTN To Feeder:11kV FDR NIVEDITA KUNJ S/S NO.-2 , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-2 S/STN-6 NIVEDITA KUNJ SEC-10 RKP :ID | 209
14 | 15/03/2018 | JFR | 10:20 | 16:38 | 06:18 | PLANNED SHUTDOWN | Grid:JAFFARPUR (66/11kV) GRID SSTN To Feeder:11KV RMU IN SIDE GRID , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 25 TRF-1: RATAN SINGH MUNDELA KALAN*,* SURAJ MAL VILL MUNDELA KALAN*,*SHISH RAM VILL MUNDELLA KALAN:PM*,*BHAGWANA NO.-1 VILL. MUNDELLA KALAN*,* TRF-1:BHAI RAM VLG MUNDELLA KALAN*,*ST.LT MUNDELAN KALAN H. MANDIRCAPITAL TRANSFORMER*,*BHAGWANA NO.-2,MUNDELLA KALAN:PM*,*MANGEY VILL SUREHRA*,*BALWAN CHAND-BAKKARGARH*,*25 TRF-1: RAM CHANDER VILL-ISSAPUR*,*RASTOGI FARM-ISSAPUR*,*400 TRF-1:VILLAGE BAKAR GARH*,*ATTER SINGH, VILL BAKKERGARH*,*VED SINGH -BAKKARGARH*,*400 TRF-1:VILLAGE ISSAPUR 3*,*25 TRF-1:DEEP CHAND VILL BAKAR GARH*,*100 TRF-1:W/S DHANSA RD BAKERGARH*,*100 TRF-1:W/SUPPLY VLG ISSAPUR*,*MAHENDER VILL- ISSAPUR*,*100 TRF-1:PUSSA FARM VLG ISSAPUR*,*25 TRF-1: RAJ SINGH VILL-ISSAPUR*,*100 TRF-1:UMRAO VLG ISSAPUR*,*100 TRF-1:CHOPRA FARM V KADIPUR*,*100 TRF-1:SULTAN VILL BAKERGARH:PM*,*SUBHASH KHATRI,BAKKARGARH*,*25 TRF-1: LALCHAND, VILL BAKKERGARH*,*400 TRF-1:VILLAGE KAZIPUR*,*100 TRF-1:HEMRAJ VLG ISSAPUR*,*HARPOOL VILL-ISSAPUR | 768
15 | 15/03/2018 | VKJ | 10:20 | 13:52 | 03:32 | EMERGENCY SHUTDOWN | Grid: 66kV I.O.C BIJWASAN GRID To Feeder:11 kV FDR NAVAL KAPASHERA , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 CHANDGI BIJWASAN | 48
16 | 15/03/2018 | NZD | 10:23 | 13:56 | 03:33 | PLANNED SHUTDOWN | Grid:DEFENCE COLONY (33/11kV) GRID SSTN To Feeder:11kV FDR SEWA NAGAR , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 SEWA NAGAR MAIN:ID | 153
17 | 15/03/2018 | VKJ | 10:24 | 12:00 | 01:36 | EMERGENCY SHUTDOWN | Grid:66kV I.A.A.I PALAM GRID To Feeder:11 kV FDR GMR OPPOSITE PALAM GRID , 11KV FEEDER:PREVENTIVE MAINTENANCE | RESTORED/ REPAIRED | Part of : TRF-1 CHOPAL MAHIPAL PUR PL/M | 248
18 | 15/03/2018 | NJF | 10:27 | 14:15 | 03:48 | PLANNED SHUTDOWN | Grid:NAJAFGARH (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR DICHAON KALAN , 11KV FEEDER:TREE TRIMMING | RESTORED/ REPAIRED | Part of : 100TRF-1:SHRI LAL DICHAUN KALAN NEAR DRAIN*,*100TRF-1:SHRI LAL DICHAUN KALAN NEAR DRAIN*,*25TRF-1:KRISHNA *,*25 TRF-1: RAM NATH VILL DICHAON KALAON*,*GANASHI VILL DICHOAN KALAN*,*100 TRF-1:JAGLUL VLG DICHOAN KALAN*,*25 TRF-1: MAHIPAL NEAR MAIDE DICAHO KALAN*,*100 TRF-1:MAIDE VILLAGE DICHOUN KALAN*,*25 TRF-1: W/S NO-5 DICHAON -BAPROLA MARG NR HOTL*,*25 TRF-1: HOLY FAMILY CHURCH,VILL DICHAON KALAON*,*100 TRF-1:GANGA RAM VILL D.KALAN*,*25 TRF-1:JEEVAN JYOTI VILL-DICHON KALAN*,*VILLAGE DHICHON KALAN, S/ST NO-3*,*400 TRF-1: SHIV ENCLAVE EXTN*,*25 TRF-1: CHARITABLE SOCIETY DICHAON KALAN*,*100 TRF-1:MANGA VILLAGE DICHAON KALAN*,*100 TRF-1:GANESHI VILL DICHAON KALAN*,*100 TRF-1:STREET LIGHT GHEVRA*,*GOVT. W/S AT DIGUPURA*,*100 TRF-1:SHRI LAL VLG DICHAON KALON*,*400 TRF:-1 DICHAO S/TN NO.4 (PHIRNI)*,*990 TRF-1:DICHAON 1*,*400 TRF-1: DIGUPURA | 546
19 | 15/03/2018 | NJF | 10:30 | 14:20 | 03:50 | PLANNED SHUTDOWN | Grid:JAFFARPUR (66/11kV) GRID SSTN To Feeder:11KV PANDWALA , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 25TRF-1*,*W/S VILL UJWA KHARKARI RONDH*,*RAM SINGH VILL UJWA*,*SANDEEP PANWALA KALAN*,*DULI CHAND VILL KHARKRI*,*100 TRF-1:NIADER KHARKHARAI ROND*,*400 TRF-1:VILL KHAR KHARI ROND*,*P/M S/S PREM NGR Z BLK. KASHMIRI COLONYNGEF*,*100 TRF-1:W S(EAST) PANDWALAKALAN*,*25 TRF-1: W/S DJB KHARKAHRI NAHAR*,**,*RAMJI LAL VILL KHERA*,* SHRI KISHAN V KHAIRA*,*GERMAN COLONY G-BLK*,*400 TRF-1:PREM NAGAR Z BLK OPP GERMAN COLNY KHAIRA*,*400 TRF1 : D-BLK SANAT KABEER ASHRAM*,*100 TRF-1: GOVT PRIMARY SCHOOL VILL KHAIRA BOYS*,*GUPTA TENT KHERA*,*100 TRF-1:KHERA VILL TRANSFORMER NO-1*,*100 TRF-1: W/S NO.2 VILL KHIRA*,*630 TRF-1:VILL KHARKHARI NAHAR*,*Vill Kharkhari Nahar SSTN NO 2 | 729
20 | 15/03/2018 | HKS | 10:38 | 11:50 | 01:11 | LT FEEDER | Grid:33kV NDSE-2 GRID To Feeder:11kV FDR YES BANK NDSE-2 , SERVICE LINE,:SERVICE LINE LOOSE FROM POLE, | RESTORED/ REPAIRED | Part of : TRF-2 NDSE-II MKT(HUDCO SIDE): K | 32
21 | 15/03/2018 | PJB | 10:44 | 15:04 | 04:19 | EMERGENCY SHUTDOWN | Grid:MADIPUR (33/11kV) GRID SSTN To Feeder:SHIV MANDIR , LT CIRCUIT:CONNECTION OF NEW LT CABLE | RESTORED/ REPAIRED | Part of : 990 TRF-2: ROAD NO.-43(XEN OFF.),WEST PJB | 139
22 | 15/03/2018 | SVR | 10:44 | 12:45 | 02:00 | EMERGENCY SHUTDOWN | Grid:JAMIA MILIA (33/11kV) GRID SSTN To Feeder:11kV FDR ZAKIR NAGAR , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 ZAKIR NAGAR*,*TRF-2 ZAKIR NAGAR | 398
23 | 15/03/2018 | KPR | 10:47 | 12:03 | 01:15 | EMERGENCY SHUTDOWN | Grid: BATRA GRID To Feeder:11kV FDR S/S NO.-2, DAKSHIN PURI , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 SIDHARTHA MARKET MADANGIR:ID | 169
24 | 15/03/2018 | NZD | 10:50 | 14:17 | 03:27 | PLANNED SHUTDOWN | Grid:33kV NIZAMUDDIN GRID To Feeder:11kV FDR LODHI HOTEL , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 BASTI NIZAMUDDIN (DHOBIWALA): PL | 248
25 | 15/03/2018 | NJF | 10:50 | 14:40 | 03:50 | PLANNED SHUTDOWN | Grid:DELHI JAL BOARD NAJAFGARH WATER WORKS (66/11) To Feeder:KAGAN HERI , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 25TRF-1 BADLU (AJIT),VILL. BADUSARAI*,*100TRF-1*,*25TRF-1*,*NOT IN EMG*,*25TRF-1:AYUSHMAN FARM*,*25TRF-1*,*PARDEEP VILL.REWLA KHANPUR*,*100 TRF-1:TEK CHAND REWLA*,*630 TRF-1:VILLAGE KANGANHERI 1*,*25 TRF-1:NEAR AYUDHAM SOCIETY VILL REWLA KHANPUR*,*100 TRF-1:BRIJESHREWLAKHANPUR*,*MEHRA CHHAWLA*,*400 TRF-1:VILLAGE BADUSARAI*,*630 TRF1: VILL REWLA KHANPUR*,*25 TRF-1: BITAAN FARM REWLA KHAN PUR*,*100 TRF-1:DULICHAND KANGENHERI*,*RAMKALA KANGANHERI*,*400 TRF1:VILL KANGENHERI*,*100 TRF-1:KAYAN FARM DEENPUR*,*100 TRF-1:OLD BHATTEWALA REWLAKHAN*,*100 TRF-1:OSHODHAM MANDIR NEAR PANDWALA MORE*,*100 TRF-1:NATHU JHATIKRA*,*25 TRF-1:NEAR REWLA WATER SUPPLY PUMP VILL REWLA*,*100 TRF-1:RAMKALA SHIKARPUR*,*S.SN NO. 2 VILL. BDUSARAINGEF*,*100 TRF-1:BALESTER REWLA KHANPUR*,*630 TRF-1:VILLAGE KANGANHERI 2*,*16 TRF-1:JAI DEV KANGENHERI*,*W S JHATIKRA X -ING*,*MAHIMA FARM PANDWALA KHURD*,*VILLAGE REWLA KHANPUR*,*NEW BHATTEWALA R KHANPUR*,*S.STN NO. 4 VILL. KANGANHERIPME*,*AI SHI KRISHAN DNPUR P PUMP NR S VIHAR*,*16 TRF-1:KRISHNA KANGENHERI*,*25 TRF-1:SARLA FARM, DAULATPUR MOD*,*25 TRF-1:RAMZAAN, Z- BLK DEENPUR*,*MTNLDHARMPURA*,* JHATIKRA NO-3*,*NIADER BADU SARAITECHNICAL ASSOCIATES | 806
26 | 15/03/2018 | HKS | 10:55 | 14:48 | 03:53 | PLANNED SHUTDOWN | Grid:33 kV SHIVALIK GRID To Feeder:11 kV FDR BHIM NAGRI SDA , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 C-2, SDA: ID | 214
27 | 15/03/2018 | VKJ | 10:56 | 12:01 | 01:04 | EMERGENCY SHUTDOWN | Grid:66kV I.O.C BIJWASAN GRID To Feeder:11 kV FDR INTERCONNECTOTR NO.-1 (KAPASHERA) , 11KV FEEDER:PREVENTIVE MAINTENANCE | RESTORED/ REPAIRED | Part of : TRF-1 SAMALKA-2 PL/M HARAZIN BASTI | 234
28 | 15/03/2018 | KPR | 11:00 | 15:03 | 04:03 | PLANNED SHUTDOWN | Grid:33kV D.C.SAKET GRID To Feeder:11kV FDR DDA GALI NO-20 MADANGIRI , TRANSFORMER:LOAD BALANCING | RESTORED/ REPAIRED | Part of : TRF-1 GALI NO-2O, MADANGIR:K | 108
29 | 15/03/2018 | SKT | 11:00 | 15:00 | 04:00 | PLANNED SHUTDOWN | Grid:33 kV SHIVALIK GRID To Feeder:11kV FDR SARVPRIYA APPAREMENT , LT CIRCUIT:MAINTANCE WORK | RESTORED/ REPAIRED | Part of : TRF-2 HARJAN BASTI BEGUMPUR:PL | 120
30 | 15/03/2018 | SKT | 11:00 | 14:34 | 03:34 | PLANNED SHUTDOWN | Grid:33 kV SHIVALIK GRID To Feeder:11kV FDR C-BLOCK SHIVALIK , LT CIRCUIT:TREE TRIMMING | RESTORED/ REPAIRED | Part of : TRF-2 C BLOCK SHIVALIK:ID | 42
31 | 15/03/2018 | JKP | 11:00 | 14:29 | 03:29 | PLANNED SHUTDOWN | Grid:METAL FORGING (33/11kV) SRID SSTN To Feeder:11KV METAL FORGING , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 990 KVA B-99 MAYAPURI (DDA PARK) | 316
32 | 15/03/2018 | NHP | 11:00 | 13:01 | 02:01 | PLANNED SHUTDOWN | Grid:NEHRU PLACE (33/11kV) GRID SSTN To Feeder:11kV FDR BAHAI MANDIR , LT ACB:MAINTENANCE | RESTORED/ REPAIRED | Part of : TRF-1 S/STN HARIKESH NAGAR:PL | 155
33 | 15/03/2018 | KPR | 11:00 | 15:03 | 04:03 | PLANNED SHUTDOWN | Grid:TUGHLAKABAD (33/11kV) GRID SSTN To Feeder:11kV FDR TIGRI J.J KHANPUR , LT CIRCUIT:NETWORK UPGRADTION WORK | RESTORED/ REPAIRED | Part of : TRF-2 H-BLOCK, TIGRI:PL | 247
34 | 15/03/2018 | MDK | 11:00 | 13:58 | 02:58 | PLANNED SHUTDOWN | Grid:NANGLOI (66/33/11kV) GRID SSTN To Feeder:11kV FDR RAJENDERA PARK , TRANSFORMER:TRANSFORMER REPLACEMENT | RESTORED/ REPAIRED | Part of : 400TRF-1:5and6 BLK KAMRUDDIN NAGAR | 164
35 | 15/03/2018 | SVR | 11:00 | 14:59 | 03:59 | PLANNED SHUTDOWN | Grid:MATHURA ROAD (66/11kV) GRID SSTN To Feeder:11kV FDR S/S NO.-7 M.C.I.E , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : A-46 MCIE:HTC, B-1/H-4A M.C.I.E:HTC | 2
36 | 15/03/2018 | NGL | 11:00 | 14:45 | 03:45 | PLANNED SHUTDOWN | Grid:PASCHIM VIHAR (66/33/11KV) GRID SSTN To Feeder:11kV FDR NILOTHI , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : 400 TRF-1:Gram Sabha Colony Near Dispensary*,*400 TRF-1:DEEPAK VIHAR*,*25 TRF-1:*,*630 TRF-2:DEEPAK VIHAR*,*630 TRF-1:UDAY VIHAR PH-1*,*400 TRF-2:NEW GURU HARKISHAN NAGAR*,*630 TRF-1:CHANDER VIHAR SSTN-4*,*400 TRF-2:NEW GURU HARKISHAN NAGAR*,*400 TRF-2:UDAI VIHAR-2*,*400-TRF-1:BHARAT VIHAR-1*,*400 TRF-1:CHANDER VIHAR STN-5*,*630 TRF-1:NILOTHI VILLAGE STN-3*,*400 TRF-2:BHARAT VIHAR-2*,*16 TRF-1: DILIP VIHAR TUBE-1 WELL 16 KVA*,*TRF-1:CHANDER VIHAR STN-3*,*400 TRF-1 NIHAL VIHAR- 3*,*25 TRF-1: MTNL TOWER NILOTHI | 792
37 | 15/03/2018 | SKT | 11:00 | 15:33 | 04:33 | PLANNED SHUTDOWN | Grid:66kV IGNOU GRID To Feeder:11kV FDR NEB SARAI VADERA P/M SSTN. , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 WADHERA NEBSARAI*,*TRF-1 WADHERA NO-2 | 318
38 | 15/03/2018 | JKP | 11:00 | 14:29 | 03:29 | PLANNED SHUTDOWN | Grid:HARI NAGAR (66/11kV) GRID SSTN To Feeder:11KV FATEH NAGAR , RMU:GAS REFILLING | RESTORED/ REPAIRED | Part of : 1000 TRF-1 :FATEH NAGAR SSTN, MAYAPURI | 324
39 | 15/03/2018 | NHP | 11:00 | 13:01 | 02:01 | PLANNED SHUTDOWN | Grid:EAST OF KAILASH (33/11kV) GRID SSTN To Feeder:11kV FDR FLATTED FACTORY , LT ACB:MAINTENANCE | RESTORED/ REPAIRED | Part of : TRF-1 S/STN SABJI MANDI OKHLA PH-3:ID | 38
40 | 15/03/2018 | JFR | 11:00 | 16:56 | 05:56 | PLANNED SHUTDOWN | Grid:JAFFARPUR (66/11kV) GRID SSTN To Feeder:11KV KHERA DABAR , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 630TRF-1:JAFFARPUR VILL-SSTN NO-2*,*16 TRF-1:PURAN VLG KHAIRA DABAR*,*16 TRF-1:W/SUPPLY VLG JAFFERPUR*,*25 TRF-1:W/SUPPLY VLG JAFFERPUR*,*100 TRF-1:STN 4 VILLAGE KHAIRA DABAR*,*630 TRF-1:VILLAGE KHARKHARI JATMAL*,*RAM BABU HANSNAGAR*,*SUSHIL INTER SCHOOL,VILL- KHARKRI ROADNUCON*,*NIHAL SINGH VILL KHARKRI JATMAL*,*100 TRF-1:CHANDER VLG SUREHRA*,*100 TRF-1:RAJ KRIPAL VLG SURHERA*,*630 TRF-1:VILLAGE SUREHRA 1*,*630 TRF-1:VILLAGE KHERA DABAR*,*100 TRF-1:HANS ASHRAM PANDWALAKALAN*,*25 TRF-1:W/S 3 VILL KHERADABAR*,*100 TRF-1:STN 5 VILLAGE KHAIRA DABAR*,*100 TRF-1:STN 6 VLG KHAIRA DABAR*,*100 TRF-1:STN 1 JATMAL KHAR KHARI*,*100 TRF-1:W/S SHAMSHAN GHAT KHARKHARI*,*25 TRF-2:W/SUPPLY FOR VILLAGE SURHERA*,*W/S NO 2 VILL SURHERA*,*25 TRF-1:MTNL KHERA DABAR*,*25 TRF-1:PYARELAL KHERA DABAR JAFARPUR*,*100 TRF-1:STN 2 VLG KHAIRA DABAR*,*NURSARY VILL KHARKRI JATMAL*,*100 TRF1-:KHAR KHARI JATMAL MODE:PM*,*LACHI ( MAHAVEER) VILL SURHERA*,*100 TRF-1:STN 2 JATMAL KHAR KHARI*,*RELIANCE TOWER RAWATA MORE, DABAR ENC.*,*25 TRF-1:IDEA TOWER NEAR RAWTA MODE*,*MOHAL LAL VILLAGE JAFFARPUR*,*100 TRF-1:GANPATI VLG SURHERA*,*RAGHUVEER VILL SURHERA*,*W/SUPPLY V SURHERA*,*PRATAP VILL KHERADABAR*,*100 TRF-1:LACHHI VLG KHAIRA*,*100 TRF-1:S/S NO.3 VILL KHAIRA DABAR:PM*,*25 TRF-1:SATAYBIR SNG VLG KHAIRA DABAR*,*25 TRF-1:W/S VILL. KHARKRI JATMAL*,*25 TRF-1: DABAR ENCLAVE GALI NO - 11 | 703
41 | 15/03/2018 | NGL | 11:00 | 14:46 | 03:46 | PLANNED SHUTDOWN | Grid:PASCHIM VIHAR (66/33/11KV) GRID SSTN To Feeder:11kV FDR CHANDER VIHAR , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : 990 TRF-1:CHANDER VIHAR No-6*,*630 TRF-1:UDAY VIHAR PH-1*,*630 TRF-1:CHANDER VIHAR SSTN-1*,*400 TRF-1:NEAR SANT KABIR*,*GURU NANAK VIHAR P/M S/STN*,*630 TRF-1:CHANDER VIHAR STN-2 | 689
42 | 15/03/2018 | NHP | 11:00 | 14:37 | 03:37 | PLANNED SHUTDOWN | Grid:OKHLA PHASE-II (33/11kV) GRID SSTN To Feeder:11kV FDR S/S NO.-1, FEEDER-1 PHASE-2 (VIA B-18/2) , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 NEW PLM S/S B-18/2 OKHLA PH-II NEAR MCD | 29
43 | 15/03/2018 | SKT | 11:00 | 14:37 | 03:37 | PLANNED SHUTDOWN | Grid:33kV ADHCHINI GRID To Feeder:11kV FDR SHIVALIK A-BLOCK , LT CIRCUIT:MAINTANCE WORK | RESTORED/ REPAIRED | Part of : TRF-1 I BLOCK MALVIYA NAGAR:PG | 101
44 | 15/03/2018 | NHP | 11:00 | 14:06 | 03:06 | PLANNED SHUTDOWN | Grid:EAST OF KAILASH (33/11kV) GRID SSTN To Feeder:11kV FDR KALA KUTIR , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 GARHI CHAUPAL PLM:PL | 142
45 | 15/03/2018 | SKT | 11:00 | 14:36 | 03:36 | PLANNED SHUTDOWN | Grid:66kV C-DOT GRID To Feeder:11kV FDR RMU BANDH ROAD , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 ANIL GUPTA S/STN PALM DRIVE CHATTERPUR | 149
46 | 15/03/2018 | JKP | 11:00 | 14:29 | 03:29 | PLANNED SHUTDOWN | Grid:SAGARPUR (66/11kV) GRID SSTN To Feeder:11kV FDR TIHAR JAIL NO.-5 , 11KV FEEDER:TREE TRIMMING | RESTORED/ REPAIRED | Part of : 990 TRF-1 :C/4B-BLOCK SSTN, JANAKPURI*,*630 TRF-2 :TIHAR JAIL QTRS S/S JKP*,*400 TRF-1 :TIHAR JAIL QTRS SSTN, JANAKPURI*,*630 TRF-3 :TIHAR JAIL QTRS S/S JKP*,*400 TRF-1 :CAMP JAIL NO.-4 SSTN, JANAKPURI*,*630 TRF-1 :C/4D-BLOCK SSTN, JANAKPURI*,*1000 TRF-1 :C/4G-BLOCK SSTN, JANAKPURI*,*1000 TRF-2 :C/4G-BLOCK SSTN, JANAKPURI | 821
47 | 15/03/2018 | KPR | 11:00 | 15:58 | 04:58 | PLANNED SHUTDOWN | Grid:66kV BATRA GRID To Feeder:11kV FDR SSTN NO.-3, DAKSHINPURI VIA.- BOOSTER PUMP , LT CIRCUIT:NETWORK UPGRADTION WORK | RESTORED/ REPAIRED | Part of : TRF-2 S/S NO-4, DAKSHIN PURI:K | 248
48 | 15/03/2018 | SKT | 11:00 | 13:59 | 02:59 | PLANNED SHUTDOWN | Grid:33kV ANDHERIA BAGH GRID To Feeder:11kV FDR S.T.P MEHRAULI , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 100 KVA D-102 KISSAN HATT | 1
49 | 15/03/2018 | NJF | 11:03 | 15:00 | 03:57 | PLANNED SHUTDOWN | Grid:DELHI JAL BOARD NAJAFGARH WATER WORKS (66/11) To Feeder:VARDHMAN VIHAR , 11KV FEEDER:TREE TRIMMING | RESTORED/ REPAIRED | Part of : 100 TRF-1:W S1 PAPRAWAT*,*100 TRF-1:VO RADAR DEENPUR*,*PAPRAWAT*,*400 TRF-:PREM NAGAR Z BLOCK*,*630 TRF-1:-DINPUR S/STN-2*,*PAPRAWAT VILL NEAR S/S NO.3*,*16 TRF-1:W S PAPRAWAT*,*BRIJ VIHAR MOHAN APPARTMENT*,*100 TRF-1: S/STN NO-4 VILL PAPRAWAT*,*400 TRF-VARDHMAN VIHAR , DEENPUR*,*400 TRF-1:-BAWANI NGR DEENPUR*,*400 DT : KASHMIRI COLONY S/STNNO-2*,*400 TRF-1:DL-1LDTRWN40019454*,*400 TRF-1:PAPRAWAT 1 | 671
50 | 15/03/2018 | NJF | 11:03 | 15:01 | 03:58 | PLANNED SHUTDOWN | Grid:DELHI JAL BOARD NAJAFGARH WATER WORKS (66/11) To Feeder:GOYALA SCHOOL , 11KV FEEDER:TREE TRIMMING | RESTORED/ REPAIRED | Part of : 400TRF-1:VILL GOELA STN 1*,*25TRF-1:ANAND GOELA*,*100TRF-1:VILL GOELA STN 1*,*16 TRF-1:PREM JHAKHAR SHAM VIHAR*,*SHYAM VIHAR PH-II DEENPUR*,*630 TRF-1:DEENPUR 3 | 483
51 | 15/03/2018 | DWK | 11:05 | 13:03 | 01:58 | PLANNED SHUTDOWN | Grid:G-15 DWARKA REL. ENERGY GRID SSTN To Feeder:11kV FDR SEC-3_13 X-ING , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 400 TRF-1,NEAR SULAHKUL MANDIR (MOHIT NGR)*,*400 TRF-1:C-BLK BHARAT VIHAR*,*400 TRF-1:B-BLK BHARAT VIHAR*,*400 TRF-1;SEC-15 SHYAM VIHAR*,*100 TRF:1 NSIT PUMP HOUSE (HARI VIHAR)*,*25 TRF:1 MCD ASSESMENT and COLLEC OFFICE-N*,*400 TRF:1 SEC-15 JJ COLONY A BLK. S/ST-1 | 487
52 | 15/03/2018 | PLM | 11:05 | 14:40 | 03:35 | PLANNED SHUTDOWN | Grid:PAPPANKALAN-I (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR NASIRPUR , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : 630 TRF-2 : Nasirpur Mandir Wala S/s*,*400 TRF-1 : Harijan Basti Nasirpur S/stn*,*400 TRF-1:RZ-BLK GALI NO.-2 MAHAVIR ENCLAVE*,*400 TRF-1 : Harizan Basti (dharamkanta)i*,*400 TRF-2 : Harijan Basti Nasirpur S/stn*,*630 TRF-1 :l Nasirpur Mandir Wala S/s*,*H-2, BLOCK BANGALI COLONY | 542
53 | 15/03/2018 | DWK | 11:06 | 13:03 | 01:57 | PLANNED SHUTDOWN | Grid:PAPPANKALAN-II (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR KAKROLA VILLAGE , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 750 TRF-1:,CRPF SSTN -2*,*630 TRF-1:,CRPF SSTN -2*,*630 TRF-1:KAKROLA S/STN 2*,*16 TRF:DJB T/W S/S HARIJAN BASTI KAKROLA*,*25 TRF-:DJB T/W S/S NEAR KAKROLA DRAIN*,*KAKROLA VILLAGE DJB PUMPING STATION*,*KAKROLA S/ST-3 MANDIRWALA*,*630 TRF:1 KAKROLA S/ST-4 DALALWALA*,*400 TRF:1SEC-16B PKT-2 CRPF S/ST-1*,*400 TRF:2SEC-16B PKT-2 CRPF S/ST-1 | 538
54 | 15/03/2018 | DWK | 11:08 | 13:03 | 01:55 | PLANNED SHUTDOWN | Grid:MATIYALA (G-5 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR MATIYALA , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 630 TRF-1:SAHYOG VIHAR P/M*,*TRF-1:MATILA SCHOOL WALA*,*990 TRF-1:MATILA CHOUPAL*,*CHOUPAL MATIALA SS PL/M | 582
55 | 15/03/2018 | PLM | 11:10 | 14:51 | 03:41 | PLANNED SHUTDOWN | Grid:G-6 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11kV FDR COMMAND TANK-4, SECTOR-20 , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : 400 TRF-1: PLOT NO.87 S/S No.-1*,*400 TRF-1:87 Plot S/stn-2*,*630 TRF 1 :MAHAJAN SHREE, PLOT-13, SEC 23, DWK:ID*,*630 TRF 1 :MAHAJAN SHREE, PLOT-13, SEC 23, DWK:ID*,*630 TRF 1 :MAHAJAN SHREE, PLOT-13, SEC 23, DWK:ID*,*630 TRF-1: Seetal Appt.S/s*,*630 TRF-2:Seetal Appt.S/s*,*630 TRF-1:Chopra appt.*,*400 TRF-1:PERIPHERAL SSTN NO.2 SEC-23 DW*,*630 TRF-2: Manisha tower*,*630 TRF-1:Manisha tower*,*630 TRF-2:CHOPRA SEC-23 PLOT-8 SSTN NO.1 | 714
56 | 15/03/2018 | DWK | 11:10 | 13:03 | 01:53 | PLANNED SHUTDOWN | Grid:G-15 DWARKA REL. ENERGY GRID SSTN To Feeder:11kV FDR KARGIL CHOWK , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 630 TRF-1:SEC-11 SSTN-4*,*630 TRF-2:,SEC-11 I/D PKT-4 S/S-3*,*630 TRF-1:,SEC-11 I/D PKT-4 S/S-1*,*600 TRF-1: PKT-2 SEC-11 I/D S/S*,*630 TRF-2:SEC-11 PKT-4 S/S-2*,*630 TRF-1:SEC-11 PKT-4 S/S-2*,*630 TRF-2:,SEC-11 I/D PKT-4 S/S-1*,*630 TRF-1:SEC-11 I/D PKT-4 S/S-3*,*400 TRF-2:PKT-2 SEC-11 I/D S/S*,*400 TRF-1:,PKT-3 SEC-11 I/D S/S*,*S/STN 1, 63 PLOTS SECT.11 DWK*,*S/STN 2, 63 PLOTS SECT.11 DWK*,*S/STN 1, 63 PLOTS SECT.11 DWK | 867
57 | 15/03/2018 | DWK | 11:10 | 13:03 | 01:53 | PLANNED SHUTDOWN | Grid:G-7 SECTOR -9 DWARKA To Feeder:11kV FDR GODREJ , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : SEC-10 PL-17 MAITRI CGHS:HTC, SEC-10 PL-16 SHAKUNTLAM CGHS:HTC, SEC-10 PL-15 SARAL CGHS:HTC, SEC-10 PL-14 GODREJ CGHS:HTC | 4
58 | 15/03/2018 | PLM | 11:20 | 14:59 | 03:39 | PLANNED SHUTDOWN | Grid:G-2 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11KV SADH NAGAR GALI NO.-9 , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : 630 TRF-2:DDA Paul*,*990 TRF-1: Ram Chock Gali No.-4*,*630 TRF-1:DDA Paul*,*400 TRF-1:Sadh Nagar Gali No-9 P/M*,*990 TRF-2: Ram Chock Gali No.-4 | 587
59 | 15/03/2018 | PLM | 11:20 | 14:58 | 03:38 | PLANNED SHUTDOWN | Grid:PAPPANKALAN-I (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR PAPPANKALAN SECTOR-7 , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : 400 TRF-1:ADERSH GALI PALAM :PLM*,*100 TRF-1:ST LTG BEHIND SRI NIKETA :PM*,*400 TRF-1:SEC-7 PKT-1 SSTN NO-1*,*400 TRF-2:Shri Niketan*,*630 TRF-1:Shri Niketan*,*SEC-7 PKT-1 SSTN NO-1 I/D | 467
60 | 15/03/2018 | SVR | 11:22 | 12:48 | 01:25 | LT FEEDER | Grid:SARITA VIHAR (66/11kV) GRID SSTN To Feeder:11 kV FDR M-BLOCK ABUL FAZAL ENCLAVE , SERVICE LINE,:FIRE IN SERVICE LINE, | RESTORED/ REPAIRED | Part of : TRF-1 M&G BLK ABUL FAZAL ENCLAVE | 49
61 | 15/03/2018 | NZD | 11:23 | 14:49 | 03:26 | PLANNED SHUTDOWN | Grid:33kV NIZAMUDDIN GRID To Feeder:11kV FDR MICROWAVE,NZD EAST , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-2 DDA SLUM QTRS. SARAI KALAY KHAN: ID*,*TRF-1 NH-24 NOIDA MORE STREET LIGHTING: PL*,*TRF-1 PAPUWALA (BARAT GHAR) SARAI.K.KHAN: P/M*,*TRF-1 CISF (CASTING YARD) NANGLA MACHI: P/M*,*TRF-1 MOTU VAIDJI WALA, SARAI KALAY KHAN: PL*,*TRF-1 GATE-1 MILLENIUM PARK DEPOT (DTC)RING RD*,*TRF-1 RLY.STN SARAI K. KHAN(NANGLI VILL.): PL*,*TRF-1 PAPPUWALA OFFICE, SARAI KALEY KHAN: PL*,*TRF-2 MOTU VAIDJI WALA, SARAI KALAY KHAN: PL*,*TRF-1 DDA SLUM QTRS. SARAI KALAY KHAN: ID*,*TRF-1 ISBT SARAI KALE KHAN: PL*,*TRF-1 CNG FILLING STATION NANGLA MANCHI: P/M | 608
62 | 15/03/2018 | MDK | 11:26 | 13:31 | 02:05 | EMERGENCY SHUTDOWN | Grid:NANGLOI WATER WORKS (66/11kV) GRID SSTN To Feeder:11kV FDR RANHOLA , TRANSFORMER:SERVICE LINE REVAMPING | RESTORED/ REPAIRED | Part of : 400TRF-1:DADA BHAI MARG RANHOLLA | 61
63 | 15/03/2018 | PLM | 11:30 | 15:16 | 03:46 | PLANNED SHUTDOWN | Grid:G-2 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:DADA CHHATRI MARG. , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : 990 TRF-1:Mehrauli Road S/stn No-5*,*990 TRF-1:Gali No-11 Raj Ngr S/s*,*990 TRF1:s/s no.4 Raj Nager Mehrauli Road*,*400 TRF-1:D.Parmarth*,*990 TRF-1:CHATRI WALA MARG RAJ NAGAR:PL | 662
64 | 15/03/2018 | PLM | 11:30 | 13:15 | 01:45 | PLANNED SHUTDOWN | Grid:PANKHA ROAD (66/33/11kV) GRID SSTN To Feeder:HARIJAN BASTI SITAPURI , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : 400 TRF-1: Sitapuri S/stn Harijan Basti*,*990-TRF1-DABRI NALEWALA:PL*,*630 TRF-1: C-Block Sitapuri S/stn*,*630 TRF-2:DABRI MORE I/D*,*990 TRF-1:DABRI MORE I/D*,*630 TRF-1:SEETA PURI C BLK | 648
65 | 15/03/2018 | SKT | 11:30 | 14:33 | 03:03 | PLANNED SHUTDOWN | Grid:33kV D.C.SAKET GRID To Feeder:11kV FDR DMRC VIA ANDHRA SCHOOL S/S+BLIND SCHOOL+PUSHP VIHAR S/S NO.-12 , RMU:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-2 STN-15 SEC-7 PUSHAP VIHAR:ID | 252
66 | 15/03/2018 | SKT | 11:30 | 14:32 | 03:02 | PLANNED SHUTDOWN | Grid:66kV MALVIYA NAGAR GRID To Feeder:11kV FDR SEC-1 S/S NO.-1 PUSHP VIHAR , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 LADO SARAI PREM SINGH:PL*,*TRF-1 LADO SARAI PREM SINGH:PL*,*TRF-1 LADO SARAI DHOLPIR:PM | 401
67 | 15/03/2018 | VKJ | 11:40 | 13:26 | 01:45 | EMERGENCY SHUTDOWN | Grid:66kV VASANT KUNJ D-BLK GRID To Feeder:11 kV FDR SUN CITY MALL FEEDER-2+RANG PURI-2 , 11KV FEEDER:PREVENTIVE MAINTENANCE | RESTORED/ REPAIRED | Part of : TRF-2 NAGAL DEWAL RNG PURI(SSTN-1)*,*TRF-1 NAGAL DEWAL RNG PURI(SSTN-1) | 374
68 | 15/03/2018 | SVR | 11:52 | 13:12 | 01:20 | LT FEEDER | Grid:SARAI JULLENA (33/11kV) GRID SSTN To Feeder:11kV FDR TAMUR NAGAR , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : TRF-1 TAMOOR NAGAR | 128
69 | 15/03/2018 | VKP | 11:57 | 14:38 | 02:41 | PLANNED SHUTDOWN | Grid:HASTAL (66/11kV) GRID SSTN To Feeder:VIKASH KUNJ SCHOOLWALA , HVDS:MAINTENANCE WORK | RESTORED/ REPAIRED | Part of : 990 KVA VIKAS KUNJ NEAR CHATTH PUJA MAND | 381
70 | 15/03/2018 | SKT | 12:00 | 14:24 | 02:24 | PLANNED SHUTDOWN | Grid:66kV C-DOT GRID To Feeder:11KV FDR SULTANPUR COLONY , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : TRF-1 SULTAN PUR CLY PL/M NEAR DHARAMSHALA:PM*,*TRF-1 SULTANPUR ESTATE*,*SULTAN PUR VILLAGE:PM*,*TRF-1 SULTAN PUR COLONY:ID*,*TRF-2 SULTAN PUR COLONY:ID*,*TRF-1 SULTAN PUR COLONY KHADHA SUB STATION | 458
71 | 15/03/2018 | KPR | 12:00 | 16:03 | 04:03 | PLANNED SHUTDOWN | Grid:66 kV OKHLA PHASE-I GRID To Feeder:11 kV FDR HOT MIX PLANT , HVDS:MAINTENANCE WORK | RESTORED/ REPAIRED | Part of : TRF-1 ST LIGHT TR MIG FLAT SURAJ KUND RD:PM | 1
72 | 15/03/2018 | SKT | 12:00 | 14:05 | 02:05 | PLANNED SHUTDOWN | Grid:66kV C-DOT GRID To Feeder:11kV FDR PURANA AYA NAGAR , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : TRF-1 BOOSTER PUMP AYA NAGAR:PM*,*TRF-1 BOOSTER PUMP AYA NAGAR:PM*,*TRF-1 KASHYAP AYA NAGAR:PL*,*TRF-1 BALKA CHOWK AYA NAGAR*,*TRF-1 AYA NAGAR, A - BLOCK*,*TRF-1 MAHINDAR AYA NAGAR*,*TRF-1 NEAR SSB,100 KVA S/Stn S. LT*,*TRF-1 AYA NAGAR, B- BLOCK | 473
73 | 15/03/2018 | DWK | 12:02 | 13:21 | 01:19 | HT SYSTEM FAULT | Grid:G-6 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11kV FDR SEC-19 PKT-1 , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : 630 TRF-1:AMBARHI VILLAGE SEC-19*,*DWK DIV*,*BHARTIYA APPTT, SEC-19 PLOT NO -4*,*DTC DEPOT, SEC-10 SSTN, DWARKA*,*BHARTIYA APPTT, SEC-19 PLOT NO -4*,*630 TRF-2:SEC-19 PKT-3 SSTN-1*,*630 TRF-1:SEC-19 PKT-3 SSTN-1*,*100TRF-1 PETROL PUMP*,*ADD NEW DT*,*400TRF-1:INDIAN OIL CNG PUMP SEC-19*,*400-TRF-1;ALL INDIA FOOTBALL FEDERATION*,*630TRF-2:PLOTTED AREA SEC-19 SSTN NO-4*,*630-TRF_1:PLOTTED AREA SEC-19 SSTN NO-4-19 SSTN NO-4*,*630 TRF-1:PLOTTED AREA SEC-19 S/S-3*,*630 TRF-1: PLOTTED AREA SEC-19 S/S-2*,*630 TRF-1: PLOTTED AREA SEC-19 S/S-2 | 732
74 | 15/03/2018 | VKJ | 12:03 | 15:32 | 03:29 | PLANNED SHUTDOWN | Grid:66kV VASANT KUNJ B-BLK GRID To Feeder:11 kV FDR S.T.P FEEDER , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 JNU ROAD (TEK CHAND KISHAN GARH) | 209
75 | 15/03/2018 | TGN | 12:06 | 13:31 | 01:25 | HT SYSTEM FAULT | Grid:BODELLA-II GRID To Feeder:11 KV FDR MBS NAGAR , HT O/H,:INSULATOR BROKEN/PUNCTURED, | RESTORED/ REPAIRED | Part of : 9900 TRF-1 :HARBHAJAN MOTOR SSTN NO-1,SHAHIPURA*,*990 TRF-1 :MADHOK SSTN, GURUNANAK NGR,T.NGR*,*630 TRF-1 :HARBHAJAN MOTOR SSTN NO-2,SHAHIPURA*,*DRY DT*,*990TRF-1 :MADHOK SSTN, GURUNANAK NGR,T.NGR | 628
76 | 15/03/2018 | KPR | 12:13 | 13:24 | 01:11 | HT SYSTEM FAULT | Grid:66kV BATRA GRID To Feeder:11kV FDR D.D.A TIGRI , : 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : TRF-1 F-139,JAWAHAR PARK KHANPUR*,*TRF-1 KRISHNA PARK EXTN.*,*TRF-2 HTC:A-BLOCK, JAWAHAR PARK:ID*,*TRF-1 DDA TIGRI:ID*,*TRF-1 HTC:A-BLOCK, JAWAHAR PARK:ID*,*TRF-1 KRISHNA PARK ( D BLOCK):ID*,*TRF-2 KRISHNA PARK ( D BLOCK):ID | 809
77 | 15/03/2018 | MDK | 12:22 | 14:10 | 01:47 | EMERGENCY SHUTDOWN | Grid: To Feeder:11kV FDR DDA FLAT LOKNAYAK PURAM , TRANSFORMER:SERVICE LINE REVAMPING | RESTORED/ REPAIRED | Part of : 630TRF-1:CHANCHEL PARK S/STN NO - 2 | 102
78 | 15/03/2018 | SVR | 12:25 | 13:37 | 01:12 | LT FEEDER | Grid:MOHAN CO-OPERATIVE (66/11kV) GRID SSTN To Feeder:11kV FDR S/S NO.-2 M.B EXTN. , DISTRIBUTION TRANSFORMER,:LT SOCKET DAMAGED, | RESTORED/ REPAIRED | Part of : TRF-1 S/STN. NO. 2 MOLAR BADH EXTN. | 78
79 | 15/03/2018 | KPR | 12:46 | 14:39 | 01:52 | LT FEEDER | Grid:TUGHLAKABAD (33/11kV) GRID SSTN To Feeder:11kV FDR SSTN NO-1, FEEDER-1 SANGAM VIHAR , LT ACB,:SOCKET DAMAGE, | RESTORED/ REPAIRED | Part of : TRF-1 F-1 S/S-1 SANGAM VIHAR | 109
80 | 15/03/2018 | KPR | 12:51 | 14:42 | 01:51 | LT FEEDER | Grid:TUGHLAKABAD (33/11kV) GRID SSTN To Feeder:11kV FDR SSTN NO.-1, SANGAM VIHAR, FEEDER NO.-2 PLINTH MOUNTED , LT ACB,:SOCKET DAMAGE, | RESTORED/ REPAIRED | Part of : TRF-1 F-2, SANGAM VIHAR | 98
81 | 15/03/2018 | NJF | 12:53 | 14:49 | 01:56 | LT FEEDER | Grid:NAJAFGARH (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR ANAJ MANDI , : ACB TRIPPED | RESTORED/ REPAIRED | Part of : TRF-1 JHARODA VILLAGE | 121
82 | 15/03/2018 | NJF | 12:53 | 16:17 | 03:24 | PLANNED SHUTDOWN | Grid:NAJAFGARH (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR CHAWLA TANK , 11KV FEEDER:TREE TRIMMING | RESTORED/ REPAIRED | Part of : 100 TRF-1:MTNL NAJAFGARH*,*400 TRF: UGRASAIN PARK*,*400 TRF1-UGERSAIN PARK*,*PETROL PUMP VILLAGE KAIRA*,*400 TRF-1:NAJAFGARH PARK*,*16 TRF-1:DHARM SINGH VILLAGE D.KALAN*,*100 TRF-1:FIRE STATION NJF*,*16 TRF-1:RAJ KUMAR DICHAON KALAN*,*HVDS *,*TRF-1:MCD BOOSTER PUMP NEAR DHANSA BUS STAND | 674
83 | 15/03/2018 | DWK | 12:58 | 14:03 | 01:05 | PLANNED SHUTDOWN | Grid:G-6 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11kV FDRNEW HILANSH SECTOR-10 11kV FDR HILANSH , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : SEC-10 PL-2 DHARAM VIHAR CGHS:HTC | 1
84 | 15/03/2018 | NHP | 13:20 | 14:28 | 01:08 | PLANNED SHUTDOWN | Grid:NEHRU PLACE (33/11kV) GRID SSTN To Feeder:11kV FDR TELEPHONE EXCHANGE NHP. , RMU:GAS REFILLING | RESTORED/ REPAIRED | Part of : TELPHONE EXCHANGE:HTC | 1
85 | 15/03/2018 | SVR | 13:26 | 15:00 | 01:34 | HT SYSTEM FAULT | Grid:SARAI JULLENA (33/11kV) GRID SSTN To Feeder:11kV FDR TAMUR NAGAR , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : TRF-1 VILLAGE TAMOOR NAGAR PKG*,*TRF-1 TAIMUR NAGAR CAMAN BABA PARK*,*TRF-1 TAMOOR NAGAR (PILANJI)*,*TRF-2 TAMOOR NAGAR*,*TRF-1 TAMOOR NAGAR | 638
86 | 15/03/2018 | VKJ | 13:31 | 16:04 | 02:32 | EMERGENCY SHUTDOWN | Grid:66kV I.O.C BIJWASAN GRID To Feeder:11 kV FDR KAPASHERA O/H , TRANSFORMER:SERVICE LINE REPLACEMENT | RESTORED/ REPAIRED | Part of : TRF-1 OBERI FARM BIJWASAN | 12
87 | 15/03/2018 | RKP | 14:00 | 16:01 | 02:01 | PLANNED SHUTDOWN | Grid:RIDGE VALLEY (66/33/11kV) GRID SSTN To Feeder:11kV FDR SOUTH CAMPUS NEW , LT ACB:ACB REPLACEMENT | RESTORED/ REPAIRED | Part of : TRF-1 PKG S/STN F-BLOCK NANAKPURA | 198
88 | 15/03/2018 | JFR | 14:00 | 17:22 | 03:22 | PLANNED SHUTDOWN | Grid:JAFFARPUR (66/11kV) GRID SSTN To Feeder:11KV FDR JAFFARPUR , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 100 TRF-1:SHIS RAM MUNDELLA KALAN*,*630 TRF:-1 DARIYAPUR S/STN NO.2*,*400 TRF-1:VILLAGE DARYAPUR*,*16 TRF-1:TEJ RAM VLG UJWA*,*100 TRF-1:SUKHBIR VLG UJWA*,*100 TRF-1:BIRKHA VILL DARIYAPUR:PM*,*25 TRF-1: DE PAUL REHABILITATION CENTRE VILL. UJW*,*16 TRF-1: TUBE WELL NARENDER FARM HOUSE*,*MALIK PUR KHET*,*100 TRF-1:BHAGWANA VLG JAFFERPUR*,*400 DT:JAFFARPUR EXTENSION*,*TRF-1:MEHTAB VILL UJWA:PL*,*400 TRF-1:VILLAGE SAMASPUR 1*,*VILL JAFFARPUR S/S NO 1*,*16 TRF-1:UJWA MTNL VILL. UJWA*,*JUGTA VILL UJWA:PM*,*630 TRF-1:VILLAGE UJWA 1*,*100 TRF-1:SHISH RAM VLG UJWA*,*100 TRF-1:BHAGWAN VLG MUNDELLA KALAN | 721
89 | 15/03/2018 | PLM | 14:00 | 16:36 | 02:36 | PLANNED SHUTDOWN | Grid:G-2 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:SADH NAGAR GALI NO.-22 , LT CIRCUIT:NETWORK UPGRADTION WORK | RESTORED/ REPAIRED | Part of : 630 -TRF 1 : F Block Sadh Ngr S/s | 258
90 | 15/03/2018 | HKS | 14:24 | 15:41 | 01:17 | PLANNED SHUTDOWN | Grid:33kV HUDCO GRID To Feeder:11kV FDR HUDCO 4-PANEL BOARD+200FLAT AYURVIGYAN NAGAR , TRANSFORMER:TO REPLACE OIL SEAL | RESTORED/ REPAIRED | Part of : TRF-1 HUDCO S/STN-2 NEW: ID | 82
91 | 15/03/2018 | SVR | 14:37 | 16:18 | 01:40 | LT FEEDER | Grid:66/11KV MEETHAPUR GRID SUB STN To Feeder:11kV FDR GYAN MANDIR , LT O/H CABLE,:JOINT FAULT, | RESTORED/ REPAIRED | Part of : TRF-1 JAIT PUR VILL. GURADWARA | 58
92 | 15/03/2018 | ALN | 14:53 | 16:31 | 01:38 | HT SYSTEM FAULT | Grid:OKHLA (220/66/33/11kV, TRANSCO) PHASE-2 GRID SSTN To Feeder:GIRI NAGAR NO.-1 , HT O/H,:TREE TOUCHING, | RESTORED/ REPAIRED | Part of : TRF-1 A-BLOCK TRANSIT CAMP*,*TRF-1 GOVINDPURI GALI NO-7:PL*,*TRF-1 TRANJIT CAMP(NEAR PETROL PUMP):PL*,*TRF-2 GOVINDPURI GALI NO-7:PL*,*TRF-1 GOVINDPURI BUDHVIHAR (C LAL):K | 521
93 | 15/03/2018 | SVR | 15:09 | 16:18 | 01:09 | LT FEEDER | Grid:SARITA VIHAR (66/11kV) GRID SSTN To Feeder:11kV FDR SAHEEN BAGH , SERVICE LINE,:FIRE IN SERVICE LINE, | RESTORED/ REPAIRED | Part of : 400 KVA TRF. SHAHEEN BAGH | 45
94 | 15/03/2018 | NJF | 16:03 | 17:22 | 01:18 | HT SYSTEM FAULT | Grid:DELHI JAL BOARD NAJAFGARH WATER WORKS (66/11) To Feeder:KAGAN HERI , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : 630 TRF1: VILL REWLA KHANPUR*,*NEW BHATTEWALA R KHANPUR*,*MAHIMA FARM PANDWALA KHURD*,*400 TRF1:VILL KANGENHERI*,*100 TRF-1:NATHU JHATIKRA*,*100 TRF-1:RAMKALA SHIKARPUR*,*100 TRF-1:KAYAN FARM DEENPUR*,*MEHRA CHHAWLA*,*25 TRF-1: BITAAN FARM REWLA KHAN PUR*,*100 TRF-1:BRIJESHREWLAKHANPUR*,*25trf:-BADLU (AJIT),VILL. BADUSARAI*,*100 TRF-1:BALESTER REWLA KHANPUR*,*VILLAGE REWLA KHANPUR*,*25 TRF-1:NEAR AYUDHAM SOCIETY VILL REWLA KHANPUR*,*100 TRF-1:OSHODHAM MANDIR NEAR PANDWALA MORE*,*NOT IN EMG*,*630 TRF-1:VILLAGE KANGANHERI 1*,*100TRF-1*,*400 TRF-1:VILLAGE BADUSARAI*,*W S JHATIKRA X -ING*,*NOT IN EMG*,*NOT IN EMG*,*25 TRF-1:NEAR REWLA WATER SUPPLY PUMP VILL REWLA*,*S.SN NO. 2 VILL. BDUSARAINGEF*,*PARDEEP VILL.REWLA KHANPUR*,*100 TRF-1:TEK CHAND REWLA*,*25TRF-1*,*NOT IN EMG*,*25TRF-1:AYUSHMAN FARM*,*25TRF-1*,*S.STN NO. 4 VILL. KANGANHERIPME*,*16 TRF-1:KRISHNA KANGENHERI*,*630 TRF-1:VILLAGE KANGANHERI 2*,* JHATIKRA NO-3*,*25 TRF-1:SARLA FARM, DAULATPUR MOD*,*100 TRF-1:OLD BHATTEWALA REWLAKHAN*,*NIADER BADU SARAITECHNICAL ASSOCIATES*,*AI SHI KRISHAN DNPUR P PUMP NR S VIHAR*,*MTNLDHARMPURA*,*100 TRF-1:DULICHAND KANGENHERI*,*NOT IN EMG*,*16 TRF-1:JAI DEV KANGENHERI*,*25 TRF-1:RAMZAAN, Z- BLK DEENPUR*,*RAMKALA KANGANHERI | 827
95 | 15/03/2018 | KPR | 16:51 | 18:37 | 01:45 | LT FEEDER | Grid:66kV BATRA GRID To Feeder:11kV FDR L-15 SANGAM VIHAR , LT ACB,:PHASE NOT COMING OUT, | RESTORED/ REPAIRED | Part of : TRF-1 HARIZAN BASTI | 114
96 | 15/03/2018 | KPR | 16:55 | 18:38 | 01:42 | LT FEEDER | Grid:TUGHLAKABAD (33/11kV) GRID SSTN To Feeder:11kV FDR F-1 SSTN SANGAM VIHAR (NEW) , LT ACB,:SOCKET DAMAGE, | RESTORED/ REPAIRED | Part of : TRF-1 F-1S/S-2 GHANTA GAHR | 102
97 | 15/03/2018 | TGN | 17:03 | 18:47 | 01:43 | HT SYSTEM FAULT | Grid:MADIPUR (33/11kV) GRID SSTN To Feeder:R-G BLOCK RAGHUBIR NAGAR , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : 630 TRF-1: HMP Colony Raghubir Nagar*,*630 TRF-1 :RG-BLOCK PARKWALA SSTN,RAGHUBIR NGR*,*400TRF-1:B-3,12.5 YARD(PARK) SSTN-2*,*630TRF-2:RG-BLOCK RAGHUBIR NAGAR I/D:ID*,*400TRF-1:B-3,12.5 YARD(PARK) SSTN-2*,*630TRF-1:B-3,12.5 YARD(NALA) SSTN-1 | 675
98 | 15/03/2018 | DWK | 18:20 | 21:43 | 01:52 | EMERGENCY SHUTDOWN | Grid:G-15 DWARKA REL. ENERGY GRID SSTN To Feeder:11kV FDR SEC-3_13 X-ING , TRANSFORMER:MOBILE TRANSFORMER REPLACEMENT | RESTORED/ REPAIRED | Part of : 400 TRF-1;SEC-15 SHYAM VIHAR | 142
99 | 15/03/2018 | PLM | 21:21 | 23:02 | 01:40 | HT SYSTEM FAULT | Grid:G-2 PAPPANKALAN (66/11kV) GRID To Feeder:SADH NAGAR GALI NO.-22 , : 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : 400 TRF-1 : Shadh Ngr Gali No-22 S/s*,*630 -TRF 1 : F Block Sadh Ngr S/s*,*630 TRF-1 : F2 Shadh Nagar S/S*,*990 TRF- 1 : Pradhan Chowk Sadh Ngr S/s | 687
100 | 15/03/2018 | PJB | 22:03 | 23:18 | 01:15 | HT SYSTEM FAULT | Grid:MADIPUR (33/11kV) GRID SSTN To Feeder:240 MIG FLATS (208 SFS ) MADIPUR , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : 990 TRF-1: 208 SFS FLATS, MADIPUR,PJB*,*630 TRF-1: 360 LIG FLATS PLM,MADIPUR,PJB*,*400 TRF-1: 240MIG FLATS I/D-2,MADIPUR,PJB*,*TRF-1:360 MADIPUR I/D*,*630 TRF-2: 360 LIG FLATS I/D,MADIPUR,PJB*,*400 TRF-1: 240MIG FLATS P/M ,MADIPUR,PJB*,*990 TRF-2: 208 SFS FLATS, MADIPUR,PJB*,*990 TRF-1: A-BLK, J.J.COLONY,MADIPUR,PJB*,*630 TRF-1: 444 LAL QUARTERS,WEST PJB*,*400 TRF-2: 240MIG FLATS P/M-1,MADIPUR,PJB | 814
101 | 15/03/2018 | PJB | 23:40 | 00:41 | 01:00 | HT SYSTEM FAULT | Grid:PASCHIM PURI (33/11kV) GRID SSTN To Feeder:B-3 PASCHIM VIHAR , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : 990 TRF-1: B-3 BLOCK I/D,PASCHIM VHR,PJB*,*630 TRF-1: PCM-2, BG-6 BLK, P.VHR,PJB*,*990 TRF-2: B-4 BLOCK I/D,PASCHIM VHR,PJB*,*630-TRF2-B3 BLK | 624
102 | 16/03/2018 | SVR | 02:56 | 04:08 | 01:12 | LT FEEDER | Grid:MOHAN CO-OPERATIVE (66/11kV) GRID SSTN To Feeder:11kV FDR DP SKS , SERVICE LINE,:U/G SERVICE CABLE FAULT, | RESTORED/ REPAIRED | Part of : TRF-1 S/STN OPP. GATE NO. 3, NTPC | 81
103 | 16/03/2018 | VKJ | 05:10 | 06:31 | 01:20 | HT SYSTEM FAULT | Grid:66kV VASANT KUNJ C-BLK GRID To Feeder:11 kV FDR S/S NO.-2, C-4 VASANT KUNJ (VIA POLICE STATION) , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : TRF-2 POLICE STATION VASANT KUNJ*,*TRF-2 STN-1 SEC-C POCKET-6and7 VASANT KUNJ*,*TRF-1 STN-1 SEC-C POCKET-6and7 VASANT KUNJ*,*TRF-1 STN-3 SEC-C POCKET-6and7 VASANT KUNJ*,*TRF-2 STN-3 SEC-C POCKET-6and7 VASANT KUNJ*,*TRF-1 STN-1 SEC-C POCKET-4 VASANT KUNJ*,*TRF-2 STN-5 SEC-C POCKET-5 VASANT KUNJ*,*TRF-1 VKJ078;STN-2 SEC-C POCKET-4 VASANT KUNJ*,*TRF-1 STN-2 SEC-C POCKET-6and7 VASANT KUNJ*,*TRF-1 POLICE STATION VASANT KUNJ*,*TRF-1 STN-5 SEC-C POCKET-5 VASANT KUNJ*,*TRF-2 STN-2 SEC-C POCKET-6and7 VASANT KUNJ | 581