## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## Sheet 1
DISCOM : ___TATA Power-DDL_________
OUTAGE REPORT FOR :___05-03-2018___________
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Details
1 | 2018-03-05 16:20 | Badli | 43164.6806 | 43164.7528 | 01:44 | HT SYSTEM FAULT | HT ABC Failure | Restored/Repaired | Parts of : Samaypur | 1027 | Interruption due to fault
2 | 2018-03-05 12:18 | Narela | 43164.5125 | 43164.7316 | 05:15 | PLANNED SHUTDOWN | New HT ABC Replacement | Restored/Repaired | Parts of : Holambi Khurd | 510 | Planned outage
3 | 2018-03-05 10:50 | Bawana | 43164.4515 | 43164.5209 | 01:40 | PLANNED SHUTDOWN | To Attend Hot Spot | Restored/Repaired | Parts of : Harewali Village | 800 | Planned outage
4 | 2018-03-05 11:04 | Badli | 43164.4613 | 43164.6997 | 05:43 | PLANNED SHUTDOWN | HVDS Feeder Maintenance | Restored/Repaired | Parts of : Sec-29 Rohini | 300 | Planned outage
5 | 2018-03-05 10:37 | Bawana | 43164.442 | 43164.579 | 03:17 | PLANNED SHUTDOWN | Tree Trimming and HT Jumper Replacement | Restored/Repaired | Parts of : Pooth Khurd Village | 2000 | Planned outage
6 | 2018-03-05 10:31 | Rohini | 43164.4382 | 43164.6878 | 06:00 | PLANNED SHUTDOWN | General Maintenance | Restored/Repaired | Parts of : Sec-2 Rohini | 300 | Planned outage
7 | 2018-03-05 02:10 | Shalimar Bagh | 43164.0905 | 43164.143 | 01:15 | HT SYSTEM FAULT | Birdage | Restored/Repaired | Parts of : D-Block Jahangir Puri | 1856 | Interruption due to fault
8 | 2018-03-05 10:42 | Badli | 43164.4456 | 43164.5098 | 01:33 | HVDS CABLE & OTHER SYSTEM | HT ABC Faulty | Restored/Repaired | Parts of : Libaspur | 1266 | Interruption due to fault
9 | 2018-03-05 14:18 | Shalimar Bagh | 43164.5961 | 43164.667 | 01:42 | HT SYSTEM FAULT | HT Jumper Burnt | Restored/Repaired | Parts of : Mahindra Park | 2518 | Interruption due to fault
10 | 2018-03-05 | Moti Nagar | 11:21 | 13:05 | 1:44 | LT FEEDER | Tyco Box Burnt | Restored/Repaired | Parts of : Naraina Vihar | 400 | Interruption due to fault
11 | 2018-03-05 | Civil Lines | 11:11 | 17:25 | 6:14 | PLANNED SHUTDOWN | Tree Trimming and LT Pole Cleaning | Restored/Repaired | Parts of : Vijay Nagar | 583 | Scheduled system outage
12 | 2018-03-05 | Shalimar Bagh | 9:51 | 16:30 | 6:39 | PLANNED SHUTDOWN | LT ACB Replacement | Restored/Repaired | Parts of : Sant Nagar | 308 | Scheduled system outage
13 | 2018-03-05 | Badli | 12:35 | 14:30 | 1:55 | LT FEEDER | LT Cable Faulty | Restored/Repaired | Parts of : Shahbad Dairy | 381 | Interruption due to fault

## Sheet2 (hidden)
42976.2569 | 42976.3056 | 01:10 | 1:10
42976.2389 | 42976.2812 | 01:01 | 1:01
42976.241 | 42976.2882 | 01:08 | 1:08
42976.2833 | 42976.3403 | 01:22 | 1:22
42976.3438 | 42976.4035 | 01:26 | 1:26
42976.4896 | 42976.5896 | 02:24 | 2:24
42976.7535 | 42976.7986 | 01:05 | 1:05
42976.4215 | 42976.655 | 05:36 | 5:36
42976.3403 | 42976.5208 | 04:20 | 4:20
42976.4472 | 42976.7087 | 06:16 | 6:17
42976.3208 | 42976.3929 | 01:43 | 1:44
42976.3288 | 42976.3796 | 01:13 | 1:13
42976.3591 | 42976.4029 | 01:03 | 1:03
42976.5701 | 42976.6737 | 02:29 | 2:29
42976.4215 | 42976.5654 | 03:27 | 3:27
42976.5461 | 42976.5916 | 01:05 | 1:06
42976.5975 | 42976.7538 | 03:45 | 3:45
42976.906 | 42976.9657 | 01:26 | 1:26
19:00 | 20:30 | 1:30 | 1:30
13:03 | 17:40 | 4:37 | 4:37
13:55 | 15:22 | 1:27 | 1:27
14:39 | 17:00 | 2:21 | 2:21
15:13 | 16:27 | 1:14 | 1:14
11:18 | 17:05 | 5:47 | 5:47
11:19 | 16:00 | 4:41 | 4:41
12:24 | 14:08 | 1:44 | 1:44
23:05 | 0:17 | 1:12 | -0.95
22:25 | 23:48 | 1:23 | 1:23
13:49 | 15:40 | 1:51 | 1:51