## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## Sheet 1
DISCOM : ___TATA Power-DDL_________
OUTAGE REPORT FOR :___14-03-2018___________
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Details
1 | 2018-03-14 10:22 | Shalimar Bagh | 43173.4319 | 43173.4965 | 01:33 | HT SYSTEM FAULT | Cat Electrocuted | Restored/Repaired | Parts of : Swaroop Nagar | 500 | Interruption due to fault
2 | 2018-03-14 17:46 | Narela | 43173.7403 | 43173.8194 | 01:54 | HT SYSTEM FAULT | HT Jumper Burnt | Restored/Repaired | Parts of : Tigipur Village | 3319 | Interruption due to fault
3 | 2018-03-14 16:50 | Civil Lines | 43173.7014 | 43173.7604 | 01:25 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | HT Cable Damaged by External Agency | Restored/Repaired | Parts of : Timarpur | 593 | Force majeure due to sabotage
4 | 2018-03-14 18:20 | Bawana | 43173.7639 | 43173.875 | 02:40 | HT SYSTEM FAULT | Rat Electrocuted | Restored/Repaired | Parts of : Garhi Rindhala | 1560 | Interruption due to fault
5 | 2018-03-14 18:00 | Keshav Puram | 43173.75 | 43173.8299 | 01:55 | HT SYSTEM FAULT | Birdage | Restored/Repaired | Parts of : Rampura | 563 | Interruption due to fault
6 | 2018-03-14 18:45 | Narela | 43173.7812 | 43173.8319 | 01:13 | HVDS CABLE & OTHER SYSTEM | HT ABC Faulty | Restored/Repaired | Parts of : Bakhtawarpur Village | 2500 | Interruption due to fault
7 | 2018-03-14 10:27 | Bawana | 43173.4353 | 43173.7433 | 07:24 | PLANNED SHUTDOWN | General Maintenance | Restored/Repaired | Parts of : Vijay Nagar | 700 | Planned Outage
8 | 2018-03-14 10:15 | Shalimar Bagh | 43173.4271 | 43173.729 | 07:14 | PLANNED SHUTDOWN | HT ABC Laying | Restored/Repaired | Parts of : Kamal Vihar | 500 | Planned Outage
9 | 2018-03-14 12:30 | Shalimar Bagh | 43173.5205 | 43173.724 | 04:53 | PLANNED SHUTDOWN | DT Augmentation | Restored/Repaired | Parts of : Burari | 1200 | Planned Outage
10 | 2018-03-14 10:23 | Shalimar Bagh | 43173.4325 | 43173.573 | 03:23 | PLANNED SHUTDOWN | HT ABC Laying | Restored/Repaired | Parts of : Sant Nagar | 1000 | Planned Outage
11 | 2018-03-14 10:32 | Shalimar Bagh | 43173.4387 | 43173.497 | 01:24 | HT SYSTEM FAULT | Squirrel Electrocuted | Restored/Repaired | Parts of : Bhalswa Village | 6430 | Interruption due to fault
12 | 2018-03-14 10:57 | Narela | 43173.4563 | 43173.573 | 02:48 | HT SYSTEM FAULT | Birdage | Restored/Repaired | Parts of : Bhorgarh Village | 304 | Interruption due to fault
13 | 2018-03-14 14:02 | Narela | 43173.5849 | 43173.6359 | 01:13 | HT SYSTEM FAULT | HT Jumper Burnt | Restored/Repaired | Parts of : Ibrahimpur Village | 1545 | Interruption due to fault
14 | 2018-03-14 15:59 | Narela | 43173.6658 | 43173.7561 | 02:10 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | HT Pole Damaged by Unknown Vehicle | Restored/Repaired | Parts of : Khampur Viillage | 1326 | Force majeure due to sabotage
15 | 2018-03-14 18:33 | Bawana | 43173.7731 | 43173.8686 | 02:17 | HVDS CABLE & OTHER SYSTEM | HT ABC Faulty | Restored/Repaired | Parts of : Jain Nagar | 484 | Interruption due to fault
16 | 2018-03-14 18:33 | Pitam Pura | 12:59 | 17:00 | 4:01 | PLANNED SHUTDOWN | Tyco Box Installation | Restored/Repaired | Parts of : Raja Park | 488 | Scheduled system outage
17 | 2018-03-14 18:33 | Rohini | 6:56 | 9:13 | 2:17 | PLANNED SHUTDOWN | Bus Bar Replacement | Restored/Repaired | Parts of : Sec-3 Rohini | 488 | Scheduled system outage
18 | 2018-03-14 18:33 | Moti Nagar | 9:27 | 10:30 | 1:03 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | Tyco Box Burnt | Restored/Repaired | Parts of : Naraina Vihar | 329 | Interruption due to fault
19 | 2018-03-14 18:33 | Badli | 13:32 | 16:28 | 2:56 | PLANNED SHUTDOWN | LT ABC Replacement | Restored/Repaired | Parts of : Samaypur | 799 | Scheduled system outage
20 | 2018-03-14 18:33 | Model Town | 16:51 | 18:20 | 1:29 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | Tyco Box Burnt | Restored/Repaired | Parts of : Bharolla Village | 483 | Interruption due to fault
21 | 2018-03-14 18:33 | Model Town | 14:28 | 17:08 | 2:40 | PLANNED SHUTDOWN | LT Pole Cleaning | Restored/Repaired | Parts of : Outram Line | 570 | Scheduled system outage
22 | 2018-03-14 18:33 | Bawana | 16:26 | 17:50 | 1:24 | PLANNED SHUTDOWN | LT Pole Installation | Restored/Repaired | Parts of : Poothkhurd | 449 | Scheduled system outage

## Sheet5 (hidden)
43136.5729 | 43136.6944 | 02:55 | 2:55
43136.4986 | 43136.6583 | 03:50 | 3:50
43136.7722 | 43136.8285 | 01:21 | 1:21
43136.4549 | 43136.7139 | 06:13 | 6:13
43136.4285 | 43136.7118 | 06:48 | 6:48
43136.441 | 43136.684 | 05:50 | 5:50
43136.4479 | 43136.6667 | 05:15 | 5:15
43136.475 | 43136.6625 | 04:30 | 4:30
43136.4243 | 43136.6806 | 06:09 | 6:09
43136.4153 | 43136.7104 | 07:05 | 7:05
43136.6979 | 43136.7486 | 01:13 | 1:13
43136.8778 | 43136.9549 | 01:51 | 1:51
0.45833 | 0.68403 | 05:25 | 5:25
0.55764 | 0.73125 | 4:10 | 4:10
0.68819 | 0.75764 | 1:40 | 1:40
0.49167 | 0.71806 | 5:26 | 5:26

## Sheet4 (hidden)
|  | 43131.4583 | 43131.5174 | 01:25 | 1:25 | 0:00
|  | 43131.6153 | 43131.6667 | 01:14 | 1:14 | 0:00
2018-01-31 | 2018-01-31 14:53 | 43131.5236 | 0.62014 | 02:19 | 2:19 | 0:00
|  | 43131.7222 | 43131.7917 | 01:40 | 1:40 | 0:00
|  | 43131.491 | 43131.7111 | 05:17 | 5:17 | -2.7487e-12
|  | 43131.4479 | 43131.6583 | 05:03 | 5:03 | -3.444e-11
|  | 43131.4458 | 43131.7479 | 07:15 | 7:15 | 0:00
|  | 43131.466 | 43131.7431 | 06:39 | 6:39 | 0:00
|  | 43131.4604 | 43131.7049 | 05:52 | 5:52 | -3.5572e-12
|  | 43131.4368 | 43131.7132 | 06:38 | 6:38 | -1.2935e-12
|  | 43131.4271 | 43131.6667 | 05:45 | 5:45 | -4.8506e-12
|  | 43131.4181 | 43131.7042 | 06:52 | 6:52 | 0:00
|  | 43131.45 | 43131.6285 | 04:17 | 4:17 | -3.2338e-13
|  | 43131.4868 | 43131.5382 | 01:14 | 1:14 | 0:00
|  | 43131.3028 | 43131.3576 | 01:19 | 1:19 | 0:00
|  | 43131.4924 | 44227.5382 | 01:06 | 1096.0458 | 1096
|  | 43131.5757 | 43131.7549 | 04:18 | 4:18 | 0:00
|  | 43131.6014 | 43131.6604 | 01:25 | 1:25 | -4.0422e-12
|  | 43131.5993 | 43131.7222 | 02:57 | 2:57 | -6.7909e-12
|  | 43131.6993 | 43131.7681 | 01:39 | 1:39 | -1.4552e-12
|  | 43131.6674 | 43131.809 | 03:24 | 3:24 | 0:00
|  | 0.33611 | 0.39097 | 1:19 | 1:19 | 0:00
|  | 0.30278 | 0.37847 | 1:49 | 1:49 | 0:00
|  | 0.44583 | 0.59097 | 3:29 | 3:29 | 0:00
|  | 0.72431 | 0.78542 | 1:28 | 1:28 | 0:00
|  | 0.80347 | 0.89583 | 2:13 | 2:13 | 0:00

## Sheet3 (hidden)
43105.5833 | 43105.6319 | 01:10 | 1:10
43105.7257 | 43105.8056 | 01:55 | 1:55
43105.4215 | 43105.7167 | 07:05 | 7:05
43105.4778 | 43105.7083 | 05:32 | 5:32
43105.4618 | 43105.7479 | 06:52 | 6:52
43105.5479 | 43105.625 | 01:51 | 1:51
43105.5035 | 43105.7118 | 05:00 | 5:00
43105.5146 | 43105.6833 | 04:03 | 4:03
43105.4764 | 43105.5667 | 02:10 | 2:10
43105.5257 | 43105.5972 | 01:43 | 1:43
43105.5049 | 43105.625 | 02:53 | 2:53
43105.2021 | 43105.3021 | 02:24 | 2:24
43105.3757 | 43105.4653 | 02:09 | 2:09
43105.4167 | 43105.7042 | 06:54 | 6:54
43105.4347 | 43105.6667 | 05:34 | 5:34
43105.5299 | 43105.6167 | 02:05 | 2:05
43105.5507 | 43105.6215 | 01:42 | 1:42
43105.6049 | 43105.6632 | 01:24 | 1:24
43105.6417 | 43105.7882 | 03:31 | 3:31
43105.8743 | 43105.9479 | 01:46 | 1:46
0.49514 | 0.55417 | 1:25 | 1:25
0.45694 | 0.71389 | 6:10 | 6:10
0.50486 | 0.59653 | 2:12 | 2:12
0.53542 | 0.72222 | 4:29 | 4:29
0.57708 | 0.625 | 1:09 | 1:09

## Sheet2 (hidden)
42976.2569 | 42976.3056 | 01:10 | 1:10
42976.2389 | 42976.2812 | 01:01 | 1:01
42976.241 | 42976.2882 | 01:08 | 1:08
42976.2833 | 42976.3403 | 01:22 | 1:22
42976.3438 | 42976.4035 | 01:26 | 1:26
42976.4896 | 42976.5896 | 02:24 | 2:24
42976.7535 | 42976.7986 | 01:05 | 1:05
42976.4215 | 42976.655 | 05:36 | 5:36
42976.3403 | 42976.5208 | 04:20 | 4:20
42976.4472 | 42976.7087 | 06:16 | 6:17
42976.3208 | 42976.3929 | 01:43 | 1:44
42976.3288 | 42976.3796 | 01:13 | 1:13
42976.3591 | 42976.4029 | 01:03 | 1:03
42976.5701 | 42976.6737 | 02:29 | 2:29
42976.4215 | 42976.5654 | 03:27 | 3:27
42976.5461 | 42976.5916 | 01:05 | 1:06
42976.5975 | 42976.7538 | 03:45 | 3:45
42976.906 | 42976.9657 | 01:26 | 1:26
19:00 | 20:30 | 1:30 | 1:30
13:03 | 17:40 | 4:37 | 4:37
13:55 | 15:22 | 1:27 | 1:27
14:39 | 17:00 | 2:21 | 2:21
15:13 | 16:27 | 1:14 | 1:14
11:18 | 17:05 | 5:47 | 5:47
11:19 | 16:00 | 4:41 | 4:41
12:24 | 14:08 | 1:44 | 1:44
23:05 | 0:17 | 1:12 | -0.95
22:25 | 23:48 | 1:23 | 1:23
13:49 | 15:40 | 1:51 | 1:51