## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## Sheet3
DISCOM : BYPL
OUTAGE REPORT FOR:06:00HRS. OF 16.03.2018 TO 06:00 HRS OF 17.03.2018
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
Details
1 | 17.03.2018 | CCK | 43176.1632 | 43176.2104 | 1:08 | HT SYSTEM FAULT | TRIPPING | CABLE FAULTY AREA BACKFEEDED | NAYA BAZAR-CHANDNI CHOWK | 5354
2 | 16.03.2018 | DGN | 43175.4899 | 43175.5458 | 1:21 | HT SYSTEM FAULT | TRIPPING | HT PANEL FLASHED SAME ATTENDED | POCKET E & F DILSHAD GARDEN | 2078
3 | 16.03.2018 | DGN | 43175.4983 | 43175.5764 | 1:52 | LT FEEDER | FIRE IN LTAB | LTAB REPAIRED | ROHITASH NAGAR EAST-SILAMPUR | 276
4 | 16.03.2018 | DGN | 43175.5486 | 43175.7465 | 4:45 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | RAM NAGAR-SILAMPUR | 105 | PREVENTIVE MAINTENANCE CARRIED OUT
5 | 16.03.2018 | DRG | 43175.6547 | 43175.7107 | 1:21 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LTAB FAULTY SAME REPAIRED | BALMIKI BASTI-FEROJ SHAH KOTLA STADIUM | 39
6 | 16.03.2018 | JLM | 43175.4236 | 43175.5036 | 1:55 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | PRATAP KHAND | 270
7 | 16.03.2018 | JLM | 43175.4514 | 43175.5239 | 1:44 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | TELIBARA-SHAHDARA | 223
8 | 16.03.2018 | JLM | 43175.4896 | 43175.5568 | 1:37 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | J J COLONY-ANAND VIHAR | 43
9 | 16.03.2018 | JLM | 43175.5243 | 43175.6613 | 3:17 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | SURAJMAL VIHAR | 207 | PREVENTIVE MAINTENANCE CARRIED OUT
10 | 16.03.2018 | JLM | 43175.5799 | 43175.6993 | 2:52 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | SHANTI VIHAR-KARKAR DUMA | 1027 | PREVENTIVE MAINTENANCE CARRIED OUT
11 | 16.03.2018 | JLM | 43175.8737 | 43175.9544 | 1:56 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | SERVICE LINE DAMAGED DUE TO FLASH ON POLE | SERVICE LINE REPAIRED | AGCR ENCLAVE-ANAND VIHAR | 14
12 | 16.03.2018 | KRN | 43175.425 | 43175.5382 | 2:43 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | CHAND MOHALLA-RAJGARH COLONY | 1526 | PREVENTIVE MAINTENANCE CARRIED OUT
13 | 16.03.2018 | KRN | 43175.4639 | 43175.7285 | 6:21 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | SHANKAR NAGAR EXTENSION-AZAD NAGAR | 883 | PREVENTIVE MAINTENANCE CARRIED OUT
14 | 16.03.2018 | KRN | 43175.5049 | 43175.5817 | 1:51 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | RAGHUBARPURA NO 2-SEELAMPUR | 488
15 | 16.03.2018 | KRN | 43175.5104 | 43175.6292 | 2:51 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK 9-DHARAM PURA | 742 | PREVENTIVE MAINTENANCE CARRIED OUT
16 | 16.03.2018 | KRN | 43175.5125 | 43175.5914 | 1:54 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | HTAB BURNT SAME REPAIRED | BLOCK B-KRISHNA NAGAR | 1279
17 | 16.03.2018 | KWN | 43175.4187 | 43175.5382 | 2:52 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK B-KHAJURI KHAS | 242 | PREVENTIVE MAINTENANCE CARRIED OUT
18 | 16.03.2018 | KWN | 43175.4187 | 43175.6564 | 5:42 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | JOHRIPUR VILLAGE | 149 | PREVENTIVE MAINTENANCE CARRIED OUT
19 | 16.03.2018 | KWN | 43175.5049 | 43175.7274 | 5:20 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK A-SADAT PUR | 1050 | PREVENTIVE MAINTENANCE CARRIED OUT
20 | 16.03.2018 | KWN | 43175.5075 | 43175.5628 | 1:20 | LT FEEDER | TO ATTEND FAULT IN THE LINE | FIRE IN LTAB SAME ATTENDED | SHRI RAM COLONY KWR | 988
21 | 16.03.2018 | KWN | 43175.5225 | 43175.6044 | 1:58 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD FAULTY SAME ATTENDED | VILLAGE-KAMAL VIHAR | 130
22 | 16.03.2018 | KWN | 43175.5642 | 43175.6389 | 1:48 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | LT LEAD FAULTY SAME ATTENDED | BLOCK-A GALI NO-9 PREM NAGAR | 1276
23 | 16.03.2018 | LNR | 43175.4389 | 43175.5729 | 3:13 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK D-PREET VIHAR | 55 | PREVENTIVE MAINTENANCE CARRIED OUT
24 | 16.03.2018 | LNR | 43175.4458 | 43175.6059 | 3:50 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | PRIYADARSHINI APARTMENT-MOTHER DAIRY | 92 | PREVENTIVE MAINTENANCE CARRIED OUT
25 | 16.03.2018 | LNR | 43175.4678 | 43175.5245 | 1:22 | LT FEEDER | TO ATTEND FAULT IN THE LINE | BIRDAGE FOUND ON LINE SAME REMOVED | BLOCK F-PREET VIHAR | 406
26 | 16.03.2018 | LNR | 43175.4743 | 43175.7393 | 6:22 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK K-JAGAT RAM PARK | 597 | PREVENTIVE MAINTENANCE CARRIED OUT
27 | 16.03.2018 | LNR | 43175.4861 | 43175.6476 | 3:53 | DISTRIBUTION TR. | LUGS THEFT BY SOME MISCREANTS | NEW LUGS CONNECTED | KUNDAN NAGAR-LAKSHMI NAGAR | 1011 | LUGS THEFT BY SOME MISCREANTS SO NEW LUGS CONNECTED
28 | 16.03.2018 | LNR | 43175.5174 | 43175.5687 | 1:14 | LT FEEDER | TO ATTEND FAULT IN THE LINE | BIRDAGE FOUND ON LINE SAME REMOVED | PANDAV NAGAR-LNR | 86
29 | 16.03.2018 | LNR | 43175.5298 | 43175.5973 | 1:37 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | FAULT IN LT ACB | LT ACB REPLACED | BLOCK D-LALITA PARK | 86
30 | 16.03.2018 | LNR | 43175.5681 | 43175.7049 | 3:17 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK A-SHAKARPUR KHAS | 1523 | PREVENTIVE MAINTENANCE CARRIED OUT
31 | 16.03.2018 | LNR | 43175.5882 | 43175.7014 | 2:43 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BHARAT GAS-GAZIPUR VILLAGE | 170 | PREVENTIVE MAINTENANCE CARRIED OUT
32 | 16.03.2018 | LNR | 43175.6472 | 43175.7188 | 1:43 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | FAZALPUR-MANDAWALI VILLAGE | 143
33 | 16.03.2018 | LNR | 43175.6479 | 43175.7118 | 1:32 | HT SYSTEM FAULT | TRIPPING | TRANSIENT FAULT | RAMESH PARK-LAKSHMI NAGAR | 5564
34 | 16.03.2018 | LNR | 43175.65 | 43175.7118 | 1:29 | HT SYSTEM FAULT | TRIPPING | TRANSIENT FAULT | KRISHAN KUNJ-LAKSHMI NAGAR, | 6978
35 | 16.03.2018 | LNR | 43175.6637 | 43175.7334 | 1:40 | LT FEEDER | LOAD UNBALANCED | LOAD BALANCING CARRIED OUT | F-BLOCK PREET VIHAR | 406
36 | 17.03.2018 | LNR | 43176.0215 | 43176.1035 | 1:58 | HT SYSTEM FAULT | TRIPPING | ELECTROCUTION OF EXTERNAL ELEMENT | BLOCK B-MANDAWALI VILLAGE | 3428
37 | 16.03.2018 | MVR | 43175.4818 | 43175.5537 | 1:44 | LT FEEDER | REPLACEMENT OF BURNT PIERCING CONNECTOR | BURNT PIERCING CONNECTOR REPLACED | BLOCK 10-TRILOKPURI PHASE I | 706
38 | 16.03.2018 | MVR | 43175.5069 | 43175.7115 | 4:55 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | PKT B-MAYUR VIHAR PHASE II | 246 | PREVENTIVE MAINTENANCE CARRIED OUT
39 | 16.03.2018 | MVR | 43175.5842 | 43175.6562 | 1:44 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LT JUMPER FOUND LOOSE SAME ATTENDED | POCKET- A-MAYUR VIHAR PHASE II | 706
40 | 16.03.2018 | NNG | 43175.3243 | 43175.3771 | 1:16 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | SOCKET DAMAGED SAME REPLACED | KACHHI KARDAM PURI NNG | 3935
41 | 16.03.2018 | NNG | 43175.3455 | 43175.4241 | 1:53 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | HTAB DAMAGED SAME REPAIRED | BLOCK A-EAST GOKUL PURI | 549
42 | 16.03.2018 | NNG | 43175.3458 | 43175.4184 | 1:45 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | HT LEAD FAULTY SAME ATTENDED | BLOCK C-EAST GOKUL PURI | 773
43 | 16.03.2018 | NNG | 43175.4253 | 43175.5041 | 1:53 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | DISTRIBUTION BOX FAULTY | DISTRIBUTION BOX REPLACED | BLOCK M-DURGA PURI | 753
44 | 16.03.2018 | NNG | 43175.4257 | 43175.5567 | 3:09 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK D-ASHOK NAGAR | 1154 | PREVENTIVE MAINTENANCE CARRIED OUT
45 | 16.03.2018 | NNG | 43175.4264 | 43175.6814 | 6:07 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK A-HARSH VIHAR | 3557 | PREVENTIVE MAINTENANCE CARRIED OUT
46 | 16.03.2018 | NNG | 43175.4906 | 43175.5437 | 1:17 | HT SYSTEM FAULT | TRIPPING | CABLE FAULTY AREA BACKFEEDED | C-BLK KABIR NAGAR | 5701
47 | 16.03.2018 | NNG | 43175.5557 | 43175.6132 | 1:23 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | SOCKET DAMAGED SAME REPLACED | BLOCK A-ANUP VIHAR | 3341
48 | 16.03.2018 | NNG | 43175.557 | 43175.6132 | 1:21 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD FAULTY SAME ATTENDED | BLOCK D-MEET NAGAR | 1530
49 | 16.03.2018 | PHG | 43175.4181 | 43175.6665 | 5:58 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | CHOWK NAI BASTI-SADAR BAZAR | 1071 | PREVENTIVE MAINTENANCE CARRIED OUT
50 | 16.03.2018 | PHG | 43175.4931 | 43175.6356 | 3:25 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | CHUNA MANDI-PAHAR GANJ | 1356 | PREVENTIVE MAINTENANCE CARRIED OUT
51 | 16.03.2018 | PNR | 43175.5035 | 43175.6916 | 4:31 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK F-PUNJABI BASTI | 155 | PREVENTIVE MAINTENANCE CARRIED OUT
52 | 16.03.2018 | PNR | 43175.5674 | 43175.655 | 2:06 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | DMS COLONY-PREM NAGAR | 610 | PREVENTIVE MAINTENANCE CARRIED OUT
53 | 16.03.2018 | PNR | 43175.5687 | 43175.6552 | 2:04 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | CHETAN BASTI- BLOCK J-NEHRU NAGAR | 155 | PREVENTIVE MAINTENANCE CARRIED OUT
54 | 16.03.2018 | SRD | 43175.4583 | 43175.5228 | 1:33 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK 22 RAJENDRA NAGAR | 185
55 | 16.03.2018 | SRD | 43175.4653 | 43175.7083 | 5:50 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK 4E-JHANDEWALAN EXTENSION | 390 | PREVENTIVE MAINTENANCE CARRIED OUT
56 | 17.03.2018 | SRD | 43176.1569 | 43176.2049 | 1:09 | HT SYSTEM FAULT | TRIPPING | CABLE FAULTY AREA BACKFEEDED | BLOCK T-ASHOKA PAHARI | 120
57 | 16.03.2018 | VSE | 43175.45 | 43175.6189 | 4:03 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK-G1/A-KONDALI GHAROLI SECTOR G | 86 | PREVENTIVE MAINTENANCE CARRIED OUT
58 | 16.03.2018 | VSE | 43175.5472 | 43175.6656 | 2:50 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK C2-NEW KONDALI | 4330 | PREVENTIVE MAINTENANCE CARRIED OUT
59 | 16.03.2018 | YVR | 43175.4306 | 43175.5515 | 2:54 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK B4-YAMUNA VIHAR | 1728 | PREVENTIVE MAINTENANCE CARRIED OUT
60 | 16.03.2018 | YVR | 43175.4444 | 43175.5931 | 3:34 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK E-SHASTRI PARK | 86 | PREVENTIVE MAINTENANCE CARRIED OUT
61 | 16.03.2018 | YVR | 43175.4451 | 43175.548 | 2:28 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK J-KARTAR NAGAR | 1375 | PREVENTIVE MAINTENANCE CARRIED OUT
62 | 16.03.2018 | YVR | 43175.4472 | 43175.5519 | 2:31 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK C-BHAJANPURA | 1153 | PREVENTIVE MAINTENANCE CARRIED OUT
63 | 16.03.2018 | YVR | 43175.459 | 43175.5947 | 3:15 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK H-GHONDA PATTI | 1452 | PREVENTIVE MAINTENANCE CARRIED OUT
64 | 16.03.2018 | YVR | 43175.4649 | 43175.5435 | 1:53 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | SOCKET DAMAGED SAME REPLACED | JAG JEEVAN NAGAR-NEW KATWARA-SHASTRI PARK | 1122
65 | 16.03.2018 | YVR | 43175.4917 | 43175.7112 | 5:16 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | ADARSH MOHALLA-MAUJPUR | 2295 | PREVENTIVE MAINTENANCE CARRIED OUT
66 | 16.03.2018 | YVR | 43175.5871 | 43175.6392 | 1:15 | HT SYSTEM FAULT | REPLACEMENT OF BURNT PIERCING CONNECTOR | BURNT PIERCING CONNECTOR REPLACED | NAYAGAON-NEW KATWARA | 5808
67 | 16.03.2018 | YVR | 43175.6201 | 43175.7109 | 2:11 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | NEW USMANPUR-NEW KATWARA | 444 | PREVENTIVE MAINTENANCE CARRIED OUT
68 | 16.03.2018 | YVR | 43175.6201 | 43175.7101 | 2:10 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK J-KARTAR NAGAR | 1245 | PREVENTIVE MAINTENANCE CARRIED OUT