## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## Sheet3
DISCOM : BYPL
OUTAGE REPORT FOR:06:00HRS. OF 18.03.2018 TO 06:00 HRS OF 19.03.2018
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
Details
1 | 18.03.2018 | CCK | 43177.4628 | 43177.5372 | 1:47 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | WIRE DAMAGED DUE TO FLASH ON POLE | DAMAGED WIRE REPAIRED | MOSQUE-LAL KUAN BAZAR CCK | 737
2 | 18.03.2018 | CCK | 43177.6136 | 43177.6866 | 1:45 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | WIRE DAMAGED DUE TO FLASH ON POLE | DAMAGED WIRE REPAIRED | ROSHAN PURA-CHANDNI CHOWK | 747
3 | 18.03.2018 | DGN | 43177.3527 | 43177.3958 | 1:02 | LT FEEDER | TRIPPING | CABLE FAULTY AREA BACKFEEDED | SUBHASH PARK EXTENSION DWARKAPURI | 330
4 | 18.03.2018 | DRG | 43177.4583 | 43177.5172 | 1:25 | LT FEEDER | LOAD UNBALANCED | LOAD BALANCING CARRIED OUT | LIG/MIG DDA FLATS FEROJ SHAH KOTLA STADIUM | 116
5 | 18.03.2018 | DRG | 43177.6275 | 43177.705 | 1:52 | LT FEEDER | LOAD UNBALANCED | LOAD BALANCING CARRIED OUT | 14TH STOREY DARYA GANJ | 103
6 | 18.03.2018 | KWN | 43177.3924 | 43177.4612 | 1:39 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS DP FUSE BLOWN SAME REPLACED | SHANTI NAGAR-KWR | 751
7 | 18.03.2018 | KWN | 43177.4387 | 43177.509 | 1:41 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD FAULTY SAME REPAIRED | F-BLK BHAGHIRATHI VIHAR | 2183
8 | 18.03.2018 | KWN | 43177.5069 | 43177.5833 | 1:50 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | SOCKET BURNT SAME REPLACED | BABU NAGAR KWR | 1250
9 | 18.03.2018 | KWN | 43177.5327 | 43177.5988 | 1:35 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD FAULTY SAME REPAIRED | SONIA VIHAR 2ND PUSTA | 173
10 | 18.03.2018 | KWN | 43177.7583 | 43177.8292 | 1:42 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD FAULTY SAME REPAIRED | TUNDA NAGAR-BHAGIRATHI VIHAR | 4209
11 | 18.03.2018 | KWN | 43177.8681 | 43177.9375 | 1:40 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS CABLE FAULTY SAME REPAIRED | SHIV VIHAR GALI NO-10 PHASE 6 | 604
12 | 18.03.2018 | LNR | 43177.5847 | 43177.6627 | 1:52 | HT SYSTEM FAULT | FAULT IN LT ACB | FAULTY ACB REPLACED | BLOCK D-LALITA PARK | 86
13 | 18.03.2018 | NNG | 43177.2905 | 43177.3531 | 1:30 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | LT SOCKET DAMAGED SAME REPLACED | BLOCK B-KABIR NAGAR | 1595
14 | 18.03.2018 | NNG | 43177.4275 | 43177.5082 | 1:56 | HVDS CABLE & OTHER SYSTEM | HVDS CABLE FAULTY | HVDS CABLE REPAIRED | BLOCK E-RAJIV NAGAR NNG | 259
15 | 18.03.2018 | NNG | 43177.5644 | 43177.6301 | 1:35 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | HTAB FAULTY SAME REPAIRED | BLOCK D-MEET NAGAR | 1530
16 | 18.03.2018 | PHG | 43177.4243 | 43177.6597 | 5:39 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | SADAR BAZAR-RAM NAGAR | 840 | PREVENTIVE MAINTENANCE CARRIED OUT
17 | 19.03.2018 | PNR | 43177.9733 | 43178.0521 | 1:53 | HVDS CABLE & OTHER SYSTEM | TRIPPING | CABLE FAULTY AREA BACKFEEDED | THAN SINGH NAGAR-ANAND PARBAT | 4344
18 | 18.03.2018 | YVR | 43177.5187 | 43177.5925 | 1:46 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | EXTERNAL ELEMENT FOUND ON LINE SAME REMOVED | GALI NO-5 CHAUHAN BANGAR | 1354
19 | 18.03.2018 | YVR | 43177.5395 | 43177.5854 | 1:06 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | BIRDAGE FOUND ON LINE SAME REMOVED | MAUJ PUR COMPLEX NO-1 | 1212