## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## Sheet3
DISCOM : BYPL
OUTAGE REPORT FOR:06:00HRS. OF 19.03.2018 TO 06:00 HRS OF 20.03.2018
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
Details
1 | 19.03.2018 | DGN | 43178.4498 | 43178.5053 | 1:20 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | FIRE IN DISTRIBUTION BOX | DAMAGED WIRE'S REPAIRED | J.J.C.-KALANDER COLONY,DILSHAD GARDEN. | 165
2 | 19.03.2018 | DGN | 43178.4549 | 43178.5945 | 3:21 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE WORK | PREVENTIVE MAINTENANCE CARRIED OUT | ROHITASH NAGAR EAST,DILSHAD GARDEN. | 1934 | PREVENTIVE MAINTENANCE CARRIED OUT
3 | 19.03.2018 | DGN | 43178.4591 | 43178.5215 | 1:30 | LT FEEDER | TO ATTEND FAULT IN THE LINE | JUMPER FOUND BROKEN, SAME REPAIRED | PETROL PUMP-POCKET C,DILSHAD GARDEN. | 118
4 | 19.03.2018 | DGN | 43178.5483 | 43178.625 | 1:50 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | FIRE IN DISTRIBUTION BOX | DAMAGED WIRE'S REPAIRED | BLOCK C- MOD PRIMARY SCHOOL-JHILMIL-TAHIRPUR. | 340
5 | 19.03.2018 | DRG | 43178.4264 | 43178.5053 | 1:54 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LT CABLE BURNT, SAME REPAIRED | DARYA GANJ. | 322
6 | 19.03.2018 | DRG | 43178.45 | 43178.5367 | 2:05 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE WORK | PREVENTIVE MAINTENANCE CARRIED OUT | SOC SCHOOL-CONNAUGHT PLACE DARIYAGANJ. | 640 | PREVENTIVE MAINTENANCE CARRIED OUT
7 | 19.03.2018 | DRG | 43178.6042 | 43178.6617 | 1:23 | PLANNED SHUTDOWN | NETWORK UPGRADATION WORK | JUMPER REPLACEMENT WORK CARRIED OUT | MINTO ROAD,DARYAGANJ. | 1168
8 | 19.03.2018 | DRG | 43178.6358 | 43178.6818 | 1:06 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LT CABLE DAMAGED DUE TO FLASH, SAME REPAIRED | KASHMERE GATE,CHRISTAN COLONY-KHABAS PURA. | 1199
9 | 19.03.2018 | JLM | 43178.4271 | 43178.5511 | 2:59 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE WORK | PREVENTIVE MAINTENANCE CARRIED OUT | VISHWAS NAGAR-SHAHDARA. | 111 | PREVENTIVE MAINTENANCE CARRIED OUT
10 | 19.03.2018 | JLM | 43178.4417 | 43178.5862 | 3:28 | PLANNED SHUTDOWN | PROJECT WORK | DISTRIBUTION BOX REPAIRED | VISHWAS NAGAR EXTN.-SHAHDARA. | 1053 | FAULTY DISTRIBUTION BOX REPAIRED
11 | 19.03.2018 | JLM | 43178.5458 | 43178.6934 | 3:33 | PLANNED SHUTDOWN | PROJECT WORK | NEW LTAB LAID | ANAND VIHAR BLOCK A. | 344 | NEW LTAB LAID TO INCREASE THE NETWORK CAPACITY
12 | 19.03.2018 | JLM | 43178.5514 | 43178.6202 | 1:39 | PLANNED SHUTDOWN | LOAD UNBALANCED | LOAD BALANCING CARRIED OUT | DAYA NAND VIHAR-ANAND VIHAR. | 358
13 | 19.03.2018 | JLM | 43178.5583 | 43178.7083 | 3:36 | PLANNED SHUTDOWN | NETWORK UPGRADATION WORK | NEW TPD CABLE LAID | J J COLONY-ANAND VIHAR. | 172 | NEW TPD CABLE LAID TO IMPROVE THE NETWORK
14 | 19.03.2018 | JLM | 43178.5729 | 43178.6842 | 2:40 | PLANNED SHUTDOWN | PROJECT WORK | LT POLE SHIFTING WORK CARRIED OUT | VIVEK VIHAR BLOCK C. | 552 | LT POLE SHIFTING WORK CARRIED OUT
15 | 19.03.2018 | KRN | 43178.4292 | 43178.5441 | 2:45 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE WORK | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK 9-GANDHI NAGAR. | 868 | PREVENTIVE MAINTENANCE CARRIED OUT
16 | 19.03.2018 | KRN | 43178.4535 | 43178.6625 | 5:01 | PLANNED SHUTDOWN | PROJECT WORK | DT CLEANING WORK CARRIED OUT | BLOCK 9-GANDHI NAGAR,KRISHNA NAGAR. | 980 | DT CLEANING WORK CARRIED OUT
17 | 19.03.2018 | KRN | 43178.5312 | 43178.649 | 2:49 | PLANNED SHUTDOWN | PROJECT WORK | DT CLEANING WORK CARRIED OUT | WEST AZAD NAGAR,RAGHUVIR PURA. | 808 | DT CLEANING WORK CARRIED OUT
18 | 19.03.2018 | KRN | 43178.6073 | 43178.6846 | 1:51 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | WIRES DAMAGED DUE TO FLASH ON POLE | DAMAGED WIRE'S REPAIRED | BLOCK F-RAM NAGAR. | 156
19 | 19.03.2018 | KWN | 43178.4181 | 43178.6794 | 6:16 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE WORK | PREVENTIVE MAINTENANCE CARRIED OUT | BHAGAT NAGAR-DAYALPUR,BHAJANPURA. | 1033 | PREVENTIVE MAINTENANCE CARRIED OUT
20 | 19.03.2018 | KWN | 43178.4187 | 43178.5514 | 3:11 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE WORK | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK A-SHRI RAM COLONY,KARAWAL NGR. | 138 | PREVENTIVE MAINTENANCE CARRIED OUT
21 | 19.03.2018 | KWN | 43178.4187 | 43178.5007 | 1:58 | HVDS CABLE & OTHER SYSTEM | HVDS CABLE FAULTY | HVDS CABLE DAMAGED DUE TO FLASH, SAME REPAIRED | BLOCK E-INDIRA VIHAR,BLOCK F-SHIV VIHAR. | 173
22 | 19.03.2018 | KWN | 43178.4222 | 43178.5045 | 1:58 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE WORK | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK A-KARAWAL NAGAR. | 2403
23 | 19.03.2018 | KWN | 43178.5549 | 43178.625 | 1:41 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS DP FUSE BLOWN SAME REPLACED | BLOCK D-SHIV VIHAR. | 86
24 | 19.03.2018 | KWN | 43178.5625 | 43178.6444 | 1:58 | HVDS CABLE & OTHER SYSTEM | HVDS CABLE FAULTY | HVDS CABLE REPAIRED | BLOCK E-SONIA VIHAR EXTENSION. | 1156
25 | 19.03.2018 | KWN | 43178.5778 | 43178.6458 | 1:38 | HT SYSTEM FAULT | TRIPPING | CABLE FAULTY AREA BACKFEEDED | BLOCK M-OLD MUSTAFABAD. | 6147
26 | 19.03.2018 | KWN | 43178.6215 | 43178.7035 | 1:58 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | TRANSFORMER FUSE BLOWN, SAME REPLACED | BLOCK D-OLD MUSTAFABAD. | 10484
27 | 19.03.2018 | KWN | 43178.9271 | 43178.98 | 1:16 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD END BOX FAULTY, SAME REPAIRED | NON COMM AREA-SONIA VIHAR. | 169
28 | 19.03.2018 | LNR | 43178.4333 | 43178.549 | 2:47 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE WORK | PREVENTIVE MAINTENANCE CARRIED OUT | TRANG APPARTMENT-MOTHER DAIRY,LAXMI NGR. | 129 | PREVENTIVE MAINTENANCE CARRIED OUT
29 | 19.03.2018 | LNR | 43178.4403 | 43178.5729 | 3:11 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE WORK | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK E-MADHU VIHAR. | 107 | PREVENTIVE MAINTENANCE CARRIED OUT
30 | 19.03.2018 | LNR | 43178.4736 | 43178.7074 | 5:37 | PLANNED SHUTDOWN | LOAD UNBALANCED | LOAD BALANCING CARRIED OUT | BLOCK E-LALITA PARK,LAXMI NAGAR. | 1200 | LOAD BALANCING CARRIED OUT TO AVOID TRIPPING
31 | 19.03.2018 | LNR | 43178.5437 | 43178.6806 | 3:17 | DISTRIBUTION TR. | REPLACEMENT OF 990KVA TRANSFORMER DUE TO OIL LEAKAGE | ONE 990KVA TRANSFORMER REPLACED | BLOCK G-LAKSHMI NAGAR. | 854 | ONE 990KVA TRANSFORMER REPLACED DUE TO OIL LEAKAGE
32 | 19.03.2018 | LNR | 43178.5569 | 43178.695 | 3:19 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE WORK | PREVENTIVE MAINTENANCE CARRIED OUT | LAXMI NAGAR. | 305 | PREVENTIVE MAINTENANCE CARRIED OUT
33 | 19.03.2018 | LNR | 43178.6069 | 43178.7473 | 3:22 | PLANNED SHUTDOWN | PROJECT WORK | RMU REPLACEMENT WORK CARRIED OUT | INDUSTRIAL AREA-PATPAR GANJ INDUSTRIAL AREA. | 130 | RMU REPLACEMENT WORK CARRIED OUT
34 | 19.03.2018 | NNG | 43178.2885 | 43178.3646 | 1:50 | HVDS CABLE & OTHER SYSTEM | TRIPPING | HVDS CABLE FAULTY, SAME REPAIRED | BLOCK A-ANUP VIHAR,BLOCK D-MEET NAGAR. | 3341
35 | 19.03.2018 | NNG | 43178.2911 | 43178.3705 | 1:54 | HVDS CABLE & OTHER SYSTEM | REPLACEMENT OF HVDS LEAD | HVDS LEAD BURNT, SAME REPLACED | BLOCK D-MEET NAGAR,NAND NAGRI. | 1530
36 | 19.03.2018 | NNG | 43178.3964 | 43178.4674 | 1:42 | HVDS CABLE & OTHER SYSTEM | TRIPPING | HVDS CABLE FAULTY, SAME REPAIRED | SABOLI EXTN.-MANDOLI. | 124
37 | 19.03.2018 | NNG | 43178.4057 | 43178.4861 | 1:56 | HVDS CABLE & OTHER SYSTEM | REPLACEMENT OF HVDS LEAD | HVDS LEAD BURNT, SAME REPLACED | BLOCK D-HARSH VIHAR. | 259
38 | 19.03.2018 | NNG | 43178.4264 | 43178.5832 | 3:46 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE WORK | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK B-NATHU PURA,BLOCK C-DURGA PURI. | 3209 | PREVENTIVE MAINTENANCE CARRIED OUT
39 | 19.03.2018 | NNG | 43178.4264 | 43178.6743 | 5:57 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE WORK | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK D-HARSH VIHAR. | 1335 | PREVENTIVE MAINTENANCE CARRIED OUT
40 | 19.03.2018 | NNG | 43178.4639 | 43178.509 | 1:05 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HTAB FAULTY, SAME REPAIRED | BLOCK A-EAST GOKUL PURI. | 1530
41 | 19.03.2018 | NNG | 43178.5405 | 43178.6132 | 1:45 | HVDS CABLE & OTHER SYSTEM | TRIPPING | HVDS CABLE DAMAGED DUE TO FLASH, SAME REPAIRED | BLOCK D-HARSH VIHAR,MANDOLI. | 259
42 | 19.03.2018 | PHG | 43178.4115 | 43178.4792 | 1:37 | HT SYSTEM FAULT | TRIPPING | CABLE FAULTY AREA BACKFEEDED | BLOCK L-RAM NAGAR,PAHADGANJ. | 916
43 | 19.03.2018 | PHG | 43178.4187 | 43178.6512 | 5:35 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE WORK | PREVENTIVE MAINTENANCE CARRIED OUT | ARAM NAGAR-SADAR BAZAR. | 2379 | PREVENTIVE MAINTENANCE CARRIED OUT
44 | 19.03.2018 | PNR | 43178.5458 | 43178.6218 | 1:49 | PLANNED SHUTDOWN | NETWORK UPGRADATION WORK | FAULTY DISTRIBUTION BOX REPAIRED | BLOCK T-PANJABI BASTI. | 49
45 | 19.03.2018 | PNR | 43178.5465 | 43178.6222 | 1:49 | PLANNED SHUTDOWN | NETWORK UPGRADATION WORK | LT STRAIGHT THROUGH JOINT MADE | RAJASTHAN COLONY-FARIDPURI. | 169
46 | 19.03.2018 | SRD | 43178.4583 | 43178.7406 | 6:46 | PLANNED SHUTDOWN | CIVIL WORK | PLINTH RAISING WORK CARRIED OUT | BLOCK A-JHANDEWALAN. | 390 | PLINTH RAISING WORK CARRIED OUT
47 | 19.03.2018 | SRD | 43178.4757 | 43178.5738 | 2:21 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE WORK | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK_35M-BEADON PURA. | 778 | PREVENTIVE MAINTENANCE CARRIED OUT
48 | 19.03.2018 | VSE | 43178.4458 | 43178.5632 | 2:49 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE WORK | PREVENTIVE MAINTENANCE CARRIED OUT | MANAVSTHALI APPARTMENT-VASUNDHARA ENCLAVE. | 86 | PREVENTIVE MAINTENANCE CARRIED OUT
49 | 19.03.2018 | VSE | 43178.55 | 43178.6789 | 3:06 | PLANNED SHUTDOWN | REPLACEMENT OF DISTRIBUTION BOX | FAULTY DISTRIBUTION BOX REPLACED BY NEW ONE | BLOCK_G3/C-KONDALI GHAROLI SECTOR G. | 43 | FAULTY DISTRIBUTION BOX REPLACED BY NEW ONE
50 | 19.03.2018 | VSE | 43178.5977 | 43178.6634 | 1:35 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | FEEDER PILLAR MAINTENANCE WORK | FEEDER PILLAR MAINTENANCE WORK CARRIED OUT | GHAROLI VILLAGE-GHAROLI KONDLI. | 158
51 | 20.03.2018 | VSE | 43179.0153 | 43179.0629 | 1:08 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | ONE 630KVA TRANSFORMER SUSPECTED FAULTY, AREA BACKFEEDED | MANAVSTHALI APPARTMENT-VASUNDHARA ENCLAVE. | 86
52 | 19.03.2018 | YVR | 43178.4167 | 43178.5596 | 3:26 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE WORK | PREVENTIVE MAINTENANCE CARRIED OUT | MAUJ PUR COMPLEX 1,NORTH GHONDA. | 897 | PREVENTIVE MAINTENANCE CARRIED OUT
53 | 19.03.2018 | YVR | 43178.45 | 43178.5997 | 3:36 | PLANNED SHUTDOWN | NETWORK UPGRADATION WORK | DISTRIBUTION BOX REPAIRED & LT STRAIGHT THROUGH JOINT MADE | GAUTAM VIHAR-GHONDA. | 2396 | DISTRIBUTION BOX REPAIRED & LT STRAIGHT THROUGH JOINT MADE
54 | 19.03.2018 | YVR | 43178.4556 | 43178.514 | 1:24 | PLANNED SHUTDOWN | PROJECT WORK | DISTRIBUTION BOX REPAIRED & LT STRAIGHT THROUGH JOINT MADE | NON COMM AREA-SHASTRI PARK. | 1155
55 | 19.03.2018 | YVR | 43178.4597 | 43178.7009 | 5:47 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE WORK | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK E-NEW SEELAMPUR PHASE II. | 11 | PREVENTIVE MAINTENANCE CARRIED OUT
56 | 19.03.2018 | YVR | 43178.4653 | 43178.6001 | 3:14 | PLANNED SHUTDOWN | NETWORK UPGRADATION WORK | LT STRAIGHT THROUGH JOINT MADE | BLOCK B-MANUJPUR,YAMUNA VIHAR. | 657 | NETWORK IMPROVEMENT WORK
57 | 19.03.2018 | YVR | 43178.4733 | 43178.5203 | 1:08 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LT SOCKET DAMAGED SAME REPLACED | BLOCK B-KARTAR NAGAR,GAMRI-GHONDA. | 1206
58 | 19.03.2018 | YVR | 43178.4771 | 43178.6994 | 5:20 | PLANNED SHUTDOWN | PROJECT WORK | NEW DISTRIBUTION BOX INSTALLED | JAFFRABAD-MAUJ PUR. | 3783 | FAULTY DISTRIBUTION BOX REPLACD BY NEW ONE
59 | 19.03.2018 | YVR | 43178.4886 | 43178.5555 | 1:36 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LT CABLE BURNT, SAME REPAIRED | BLOCK P-BRAHM PURI. | 1519
60 | 19.03.2018 | YVR | 43178.4979 | 43178.6071 | 2:37 | PLANNED SHUTDOWN | NETWORK UPGRADATION WORK | NEW CABLE LAID | BLOCK J-SEELAMPUR COLONY,YAMUNA VIHAR. | 1622 | NEW CABLE LAID TO INCREASE THE NETWORK CAPACITY
61 | 19.03.2018 | YVR | 43178.5111 | 43178.5861 | 1:48 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | REMOVAL OF ILLEGAL TAPPING | ILLEGAL TAPPING REMOVED | SUBHASH PARK-GORAKH PARK. | 1233
62 | 19.03.2018 | YVR | 43178.6021 | 43178.6534 | 1:14 | PLANNED SHUTDOWN | NETWORK UPGRADATION WORK | DISTRIBUTION BOX REPAIRED | JAFFRABAD-MAUJ PUR. | 86
63 | 19.03.2018 | YVR | 43178.6181 | 43178.7381 | 2:53 | PLANNED SHUTDOWN | PROJECT WORK | NEW CABLE LAID | BLOCK C-GHONDA PATTI. | 1375 | NEW CABLE LAID TO INCREASE THE NETWORK CAPACITY
64 | 19.03.2018 | YVR | 43178.6194 | 43178.6921 | 1:45 | PLANNED SHUTDOWN | NETWORK UPGRADATION WORK | JUMPER REPLACEMENT WORK CARRIED OUT | SUBHASH PARK-GORAKH PARK. | 290
65 | 19.03.2018 | YVR | 43178.6194 | 43178.6938 | 1:47 | PLANNED SHUTDOWN | NETWORK UPGRADATION WORK | DISTRIBUTION BOX REPAIRED & LT STRAIGHT THROUGH JOINT MADE | SUBHASH PARK,YAMUNA VIHAR. | 221
66 | 19.03.2018 | YVR | 43178.6428 | 43178.6987 | 1:20 | HT SYSTEM FAULT | REPLACEMENT OF BURNT PIERCING CONNECTOR | PIERCING CONNECTOR REPLACED | SEELAMPUR. | 2661
67 | 19.03.2018 | YVR | 43178.6431 | 43178.7383 | 2:17 | PLANNED SHUTDOWN | PROJECT WORK | DISTRIBUTION BOX REPAIRED | BLOCK B-MANUJPUR. | 1193 | FAULTY DISTRIBUTION BOX REPAIRED