## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## Sheet3
DISCOM : BYPL
OUTAGE REPORT FOR:06:00HRS. OF 22.03.2018 TO 06:00 HRS OF 23.03.2018
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
Details
1 | 22.03.2018 | CCK | 43181.4306 | 43181.5942 | 3:56 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | KATRA NAWAB-CHANDNI CHOWK | 1509 | PREVENTIVE MAINTENANCE CARRIED OUT
2 | 22.03.2018 | DGN | 43181.4618 | 43181.5708 | 2:37 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK-F DWARKAPURI | 173 | PREVENTIVE MAINTENANCE CARRIED OUT
3 | 22.03.2018 | DGN | 43181.4818 | 43181.5604 | 1:53 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | WIRE DAMAGED DUE TO FLASH ON POLE | DAMAGED WIRE REPAIRED | BLOCK-E-JHILMIL COLONY | 21
4 | 22.03.2018 | DRG | 43181.375 | 43181.4375 | 1:30 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | CHRISTAN COLONY-KHABAS PURA | 280
5 | 22.03.2018 | DRG | 43181.4896 | 43181.5868 | 2:20 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | EVERGREEN PUBLICATION-KALA MAHAL | 401 | PREVENTIVE MAINTENANCE CARRIED OUT
6 | 22.03.2018 | JLM | 43181.4549 | 43181.5729 | 2:50 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | SUNDER PARK-SHAHDARA | 146 | PREVENTIVE MAINTENANCE CARRIED OUT
7 | 22.03.2018 | JLM | 43181.4639 | 43181.7373 | 6:34 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | JHILMIL INDUSTRIAL AREA-JHILMIL COLONY | 946 | PREVENTIVE MAINTENANCE CARRIED OUT
8 | 22.03.2018 | JLM | 43181.4757 | 43181.6 | 2:59 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | VISHWAS NAGAR BLOCK-B | 182 | PREVENTIVE MAINTENANCE CARRIED OUT
9 | 22.03.2018 | JLM | 43181.5306 | 43181.6042 | 1:46 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | PRATAP KHAND-JHILMIL COLONY | 633
10 | 22.03.2018 | KRN | 43181.4236 | 43181.5539 | 3:08 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK A-KANTI NAGAR NORTH | 1656 | PREVENTIVE MAINTENANCE CARRIED OUT
11 | 22.03.2018 | KRN | 43181.4646 | 43181.6111 | 3:31 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK D-AJIT NAGAR | 1026 | PREVENTIVE MAINTENANCE CARRIED OUT
12 | 22.03.2018 | KRN | 43181.6 | 43181.6706 | 1:42 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK C-KRISHNA NAGAR | 302
13 | 22.03.2018 | KRN | 43181.6181 | 43181.6987 | 1:56 | HT SYSTEM FAULT | HTAB CONDUCTOR DAMAGED | HTAB CONDUCTOR REPAIRED | RAGHUBARPURA NO 2-SEELAMPUR | 1424
14 | 22.03.2018 | KWN | 43181.4271 | 43181.6816 | 6:07 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK R-SHIV VIHAR | 173 | PREVENTIVE MAINTENANCE CARRIED OUT
15 | 22.03.2018 | KWN | 43181.4965 | 43181.5756 | 1:54 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD FAULTY SAME REPAIRED | GALI NO-14, SHIV VIHR PHASE-6 | 466
16 | 22.03.2018 | KWN | 43181.5241 | 43181.5906 | 1:36 | HT SYSTEM FAULT | FIRE IN LTAB | LT AB REPAIRED | BLOCK A-SADAT PUR | 1050
17 | 22.03.2018 | KWN | 43181.5437 | 43181.6215 | 1:52 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS CABLE FAULTY SAME REPAIRED | GALI NO-2 PKT-5 SONIA VIHAR | 3410
18 | 22.03.2018 | KWN | 43181.5715 | 43181.6271 | 1:20 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS DP FUSE REPLACED | GALI NO-12, JAGDAMBHA COLONY | 1672
19 | 22.03.2018 | LNR | 43181.4458 | 43181.6689 | 5:21 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK WA&O-SHAKARPUR KHAS | 86 | PREVENTIVE MAINTENANCE CARRIED OUT
20 | 22.03.2018 | LNR | 43181.4611 | 43181.6555 | 4:40 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | LAKSHMI NAGAR BLOCK L | 290 | PREVENTIVE MAINTENANCE CARRIED OUT
21 | 22.03.2018 | LNR | 43181.4736 | 43181.6599 | 4:28 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK D-PREET VIHAR | 55 | PREVENTIVE MAINTENANCE CARRIED OUT
22 | 22.03.2018 | LNR | 43181.5222 | 43181.5972 | 1:48 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | FAULT IN LT ACB | LT ACB REPLACED | BLOCK M-PATPAR GANJ INDUSTRIAL AREA | 86
23 | 22.03.2018 | LNR | 43181.6134 | 43181.6759 | 1:30 | LT FEEDER | LTAB CONDUCTOR DAMAGED | LTAB CONDUCTOR REPAIRED | FAJALPUR-MANDAWALI | 559
24 | 22.03.2018 | LNR | 43181.6146 | 43181.6848 | 1:41 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LT JUMPER FOUND LOOSE SAME ATTENDED | BLOCK J-PANDAV NAGAR | 916
25 | 22.03.2018 | LNR | 43181.6722 | 43181.7346 | 1:30 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | ENGINEERING ESTATE-MOTHER DAIRY | 130
26 | 22.03.2018 | MVR | 43181.6354 | 43181.7171 | 1:58 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK 12-KALYAN PURI | 1058
27 | 22.03.2018 | NNG | 43181.3113 | 43181.3875 | 1:50 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS CABLE FAULTY SAME REPAIRED | BLOCK A-ANUP VIHAR | 3346
28 | 22.03.2018 | NNG | 43181.3129 | 43181.3883 | 1:49 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD FAULTY SAME REPAIRED | BLOCK D-MEET NAGAR | 1531
29 | 22.03.2018 | NNG | 43181.4369 | 43181.5183 | 1:57 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | HVDS LEAD FAULTY SAME REPAIRED | SEWA DHAM-MANDOLI | 259
30 | 22.03.2018 | NNG | 43181.4583 | 43181.5307 | 1:44 | HVDS CABLE & OTHER SYSTEM | HVDS DP FUSE BLOWN | HVDS DP FUSE REPLACED | BLOCK C-HARSH VIHAR | 259
31 | 22.03.2018 | NNG | 43181.4653 | 43181.5283 | 1:31 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | DISTRIBUTION BOX FAULTY | DISTRIBUTION BOX REPAIRED | BLOCK A-NORTH CHHAJUPUR | 749
32 | 22.03.2018 | NNG | 43181.4799 | 43181.5467 | 1:36 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | HT SOCKET BURNT SAME REPLACED | BLOCK C-AMAR COLONY | 1531
33 | 22.03.2018 | NNG | 43181.4989 | 43181.5616 | 1:30 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | LT SOCKET DAMAGED SAME REPLACED | BLOCK B-NATHU PURA | 9563
34 | 22.03.2018 | NNG | 43181.5333 | 43181.576 | 1:01 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | SERVICE LINE DAMAGED DUE TO FLASH ON POLE | SERVICE LINE REPAIRED | BLOCK C1-NAND NAGARI | 353
35 | 22.03.2018 | NNG | 43181.6205 | 43181.6908 | 1:41 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | LT SOCKET DAMAGED SAME REPLACED | SABOLI VILLAGE-MANDOLI | 259
36 | 22.03.2018 | NNG | 43181.8264 | 43181.9033 | 1:51 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS CABLE FAULTY SAME REPAIRED | BLOCK A-HARSH VIHAR | 422
37 | 22.03.2018 | PHG | 43181.4201 | 43181.6686 | 5:58 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK T-AHATA KEDARA | 1150 | PREVENTIVE MAINTENANCE CARRIED OUT
38 | 22.03.2018 | PHG | 43181.4688 | 43181.6663 | 4:44 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | CHUNA MANDI-PAHAR GANJ | 656 | PREVENTIVE MAINTENANCE CARRIED OUT
39 | 22.03.2018 | PNR | 43181.4729 | 43181.5555 | 1:59 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK F-PUNJABI BASTI | 125
40 | 22.03.2018 | PNR | 43181.4729 | 43181.5553 | 1:59 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK 28-WEST PATEL NAGAR | 82
41 | 22.03.2018 | PNR | 43181.4729 | 43181.5551 | 1:58 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK F-PUNJABI BASTI | 49
42 | 22.03.2018 | PNR | 43181.4896 | 43181.5557 | 1:35 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | RAJASTHAN COLONY-FARIDPURI | 169
43 | 22.03.2018 | PNR | 43181.5924 | 43181.6617 | 1:40 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | WIRE DAMAGED DUE TO FLASH ON POLE | DAMAGED WIRE REPAIRED | THAKKAR BAPA NAGAR-DEV NAGAR | 372
44 | 22.03.2018 | SRD | 43181.4127 | 43181.4868 | 1:47 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | SERVICE LINE DAMAGED DUE TO FLASH ON POLE | SERVICE LINE REPAIRED | BLOCK 15-OLD RAJENDRA NAGAR | 220
45 | 22.03.2018 | YVR | 43181.4563 | 43181.5837 | 3:03 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | NAYAGAON-NEW KATWARA | 5800 | PREVENTIVE MAINTENANCE CARRIED OUT
46 | 22.03.2018 | YVR | 43181.4563 | 43181.5858 | 3:07 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK P-BRAHM PURI | 940 | PREVENTIVE MAINTENANCE CARRIED OUT
47 | 22.03.2018 | YVR | 43181.4569 | 43181.5458 | 2:08 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK D-SHASTRI PARK | 259 | PREVENTIVE MAINTENANCE CARRIED OUT
48 | 22.03.2018 | YVR | 43181.4572 | 43181.5183 | 1:28 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | LT SOCKET DAMAGED SAME REPLACED | BLOCK F-NEW SILAMPURI PHASE II | 259
49 | 22.03.2018 | YVR | 43181.4694 | 43181.5569 | 2:06 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | JAFFRABAD-MAUJ PUR | 86 | PREVENTIVE MAINTENANCE CARRIED OUT
50 | 22.03.2018 | YVR | 43181.4701 | 43181.5937 | 2:58 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK N-BRAHM PURI | 308 | PREVENTIVE MAINTENANCE CARRIED OUT
51 | 22.03.2018 | YVR | 43181.4903 | 43181.6864 | 4:42 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK B-GARI MANDU | 1193 | PREVENTIVE MAINTENANCE CARRIED OUT
52 | 22.03.2018 | YVR | 43181.5223 | 43181.5905 | 1:38 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | EXTERNAL ELEMENT FOUND ON LINE SAME REMOVED | NEW USMANPUR-NEW KATWARA | 1230
53 | 22.03.2018 | YVR | 43181.5359 | 43181.5867 | 1:13 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | EXTERNAL ELEMENT FOUND ON LINE SAME REMOVED | BLOCK M-BRAHM PURI | 5011
54 | 22.03.2018 | YVR | 43181.5861 | 43181.6851 | 2:23 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK P-BRAHM PURI | 2646 | PREVENTIVE MAINTENANCE CARRIED OUT
55 | 22.03.2018 | YVR | 43181.7035 | 43181.7487 | 1:05 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK C-6 YAMUNA VIHAR | 1056
56 | 22.03.2018 | YVR | 43181.7042 | 43181.7492 | 1:05 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK C-NEW SILAMPURI PHASE IV | 569