## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## Sheet3
DISCOM : BYPL
OUTAGE REPORT FOR:06:00HRS. OF 23.03.2018 TO 06:00 HRS OF 24.03.2018
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
Details
1 | 23.03.2018 | CCK | 43182.4847 | 43182.5495 | 1:33 | LT FEEDER | TO ATTEND FAULT IN THE LINE | EXTERNAL ELEMENT FOUND ON LINE SAME REMOVED | LALKUAN BAZAR-FRASH KHANA | 754
2 | 23.03.2018 | CCK | 43182.4889 | 43182.646 | 3:46 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | NAI SARAK-KATRA ASRAFI | 405 | PREVENTIVE MAINTENANCE CARRIED OUT
3 | 23.03.2018 | DGN | 43182.434 | 43182.559 | 3:00 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | GTB MIG FLATS-POCKET D | 627 | PREVENTIVE MAINTENANCE CARRIED OUT
4 | 23.03.2018 | DGN | 43182.4618 | 43182.5403 | 1:53 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | EXTERNAL ELEMENT FOUND ON LINE SAME REMOVED | DDA FLATS-RAJIV NAGAR DGN | 579
5 | 23.03.2018 | DGN | 43182.4994 | 43182.5757 | 1:50 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LT SOCKET BURNT SAME REPLACED | JHILMIL INDUSTRIAL AREA-JHILMIL COLONY | 164
6 | 23.03.2018 | DGN | 43182.5625 | 43182.6413 | 1:53 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | LT JUMPER FOUND LOOSE SAME ATTENDED | DDA FLATS-RAJIV NAGAR DGN | 579
7 | 23.03.2018 | DRG | 43182.4375 | 43182.5353 | 2:21 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | MTNL TELEPHONE EXCHANGE-PATODI HOUSE | 160 | PREVENTIVE MAINTENANCE CARRIED OUT
8 | 23.03.2018 | DRG | 43182.4576 | 43182.5278 | 1:41 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LT POLE REPLACED | COMMUNITY CENTER JAMA MASJID | 335
9 | 23.03.2018 | DRG | 43182.4845 | 43182.5659 | 1:57 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | WIRE DAMAGED DUE TO FIRE ON POLE | DAMAGED WIRE REPAIRED | DDA FLATS-KALA MASZID | 1066
10 | 23.03.2018 | JLM | 43182.4222 | 43182.6035 | 4:21 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | VISHWAS NAGAR-SHAHDARA | 327 | PREVENTIVE MAINTENANCE CARRIED OUT
11 | 23.03.2018 | JLM | 43182.4549 | 43182.5316 | 1:50 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK A-VIVEK VIHAR PHASE II | 178
12 | 23.03.2018 | JLM | 43182.5181 | 43182.5972 | 1:54 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK C-JHILMIL COLONY | 578
13 | 23.03.2018 | JLM | 43182.5222 | 43182.7306 | 5:00 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | SAINI ENCLAVE-ANAND VIHAR | 82 | PREVENTIVE MAINTENANCE CARRIED OUT
14 | 23.03.2018 | JLM | 43182.5403 | 43182.5889 | 1:10 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | SHANTI VIHAR-KARKAR DOOMA | 59
15 | 23.03.2018 | KRN | 43182.4278 | 43182.5442 | 2:48 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | RAGHUVIR PURA-SHANKAR NAGAR | 882 | PREVENTIVE MAINTENANCE CARRIED OUT
16 | 23.03.2018 | KRN | 43182.4618 | 43182.5095 | 1:09 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | WIRE DAMAGED DUE TO FIRE ON POLE | DAMAGED WIRE REPAIRED | SUKH VIHAR-SWASTHYA VIHAR | 2754
17 | 23.03.2018 | KRN | 43182.4632 | 43182.5969 | 3:12 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | CHANDER NAGAR BLOCK F | 6667 | PREVENTIVE MAINTENANCE CARRIED OUT
18 | 23.03.2018 | KRN | 43182.5972 | 43182.6543 | 1:22 | LT FEEDER | LOAD UNBALANCED | LOAD BALANCING CARRIED OUT | SHANKAR NAGAR EXTENSION-AZAD NAGAR | 1386
19 | 23.03.2018 | KRN | 43182.6285 | 43182.68 | 1:14 | DISTRIBUTION TR. | TRANSFORMER REPLACEMENT UNDER LOW IR | TRANSFORMER REPLACED | BLOCK X-RAJGARH COLONY | 1529
20 | 23.03.2018 | KWN | 43182.409 | 43182.5417 | 3:11 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK B-NEHRU VIHAR | 715 | PREVENTIVE MAINTENANCE CARRIED OUT
21 | 23.03.2018 | KWN | 43182.4104 | 43182.4924 | 1:58 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD FAULTY SAME REPAIRED | BLOCK C-MAN SINGH NAGAR | 1252
22 | 23.03.2018 | KWN | 43182.4187 | 43182.68 | 6:16 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | VILLAGE-KAMAL VIHAR | 173 | PREVENTIVE MAINTENANCE CARRIED OUT
23 | 23.03.2018 | KWN | 43182.4354 | 43182.4931 | 1:23 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | TRANSFORMER FUSE BLOWN SAME REPLACED | BLOCK M-OLD MUSTAFABAD | 6147
24 | 23.03.2018 | KWN | 43182.5021 | 43182.5694 | 1:37 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD FAULTY SAME REPAIRED | BLOCK D-SHIV VIHAR | 518
25 | 23.03.2018 | KWN | 43182.7153 | 43182.7778 | 1:30 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | HT LEAD FAULTY SAME REPAIRED | BLOCK J-KHAJURI KHAS | 5478
26 | 24.03.2018 | KWN | 43183.1389 | 43183.1944 | 1:20 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS DP FUSE BLOWN SAME REPLACED | BLOCK F-MUSTAFABAD | 427
27 | 23.03.2018 | LNR | 43182.3799 | 43182.5458 | 3:59 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK C1-NEW ASHOK NAGAR | 340 | PREVENTIVE MAINTENANCE CARRIED OUT
28 | 23.03.2018 | LNR | 43182.4417 | 43182.691 | 5:59 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK F-PREET VIHAR | 55 | PREVENTIVE MAINTENANCE CARRIED OUT
29 | 23.03.2018 | LNR | 43182.4569 | 43182.5521 | 2:17 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BHARAT APARTMENT-MOTHER DAIRY | 82 | PREVENTIVE MAINTENANCE CARRIED OUT
30 | 23.03.2018 | LNR | 43182.475 | 43182.5733 | 2:22 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | MEENA APPARTMENT-MOTHER DAIRY | 68 | PREVENTIVE MAINTENANCE CARRIED OUT
31 | 23.03.2018 | LNR | 43182.5472 | 43182.684 | 3:17 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | KUNDAN NAGAR-LAKSHMI NAGAR | 86 | PREVENTIVE MAINTENANCE CARRIED OUT
32 | 23.03.2018 | LNR | 43182.5646 | 43182.6285 | 1:32 | LT FEEDER | TO ATTEND FAULT IN THE LINE | BUSHING DAMAGED SAME REPLACED | GANESH NAGAR-SHAKARPUR KHAS | 1214
33 | 23.03.2018 | LNR | 43182.6636 | 43182.7083 | 1:04 | LT FEEDER | TO ATTEND FAULT IN THE LINE | BIRDAGE FOUND ON LINE SAME REMOVED | BLOCK S-SHAKARPUR KHAS | 1917
34 | 24.03.2018 | LNR | 43183.0697 | 43183.1271 | 1:23 | DISTRIBUTION TR. | TRANSFORMER REPLACEMENT | MOBILE TRANSFORMER REPLACED | W-BLOCK SHAKARPUR | 1019
35 | 23.03.2018 | MVR | 43182.3435 | 43182.4132 | 1:40 | HT SYSTEM FAULT | TRIPPING | CABLE FAULTY AREA BACKFEEDED | BLOCK B-GAZIPUR DAIRY FARM | 2978
36 | 23.03.2018 | NNG | 43182.2826 | 43182.3561 | 1:46 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS CABLE FAULTY SAME REPAIRED | BLOCK A-UTTARANCHAL COLONY | 3346
37 | 23.03.2018 | NNG | 43182.2837 | 43182.3568 | 1:45 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD FAULTY SAME REPAIRED | BLOCK D-MEET NAGAR | 1531
38 | 23.03.2018 | NNG | 43182.434 | 43182.5234 | 2:09 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK A-MANDOLI VILLAGE | 393 | PREVENTIVE MAINTENANCE CARRIED OUT
39 | 23.03.2018 | NNG | 43182.434 | 43182.6788 | 5:53 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | RAJEEV NAGAR-SEWA DHAM | 216 | PREVENTIVE MAINTENANCE CARRIED OUT
40 | 23.03.2018 | NNG | 43182.4377 | 43182.5156 | 1:52 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS DP FUSE BLOWN SAME REPLACED | GAGAN CINEMA STREET NNG | 1362
41 | 23.03.2018 | NNG | 43182.4988 | 43182.5477 | 1:10 | LT FEEDER | TO ATTEND FAULT IN THE LINE | BIRDAGE FOUND ON LINE SAME REMOVED | BABARPUR EXTENSION-BABAR PUR | 959
42 | 23.03.2018 | NNG | 43182.6063 | 43182.6815 | 1:48 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS CABLE FAULTY SAME REPAIRED | SEWA DHAM-MANDOLI | 173
43 | 23.03.2018 | NNG | 43182.6165 | 43182.6812 | 1:33 | LT FEEDER | TO ATTEND FAULT IN THE LINE | EXTERNAL ELEMENT FOUND ON LINE SAME REMOVED | BLOCK A-KABIR NAGAR | 392
44 | 23.03.2018 | PHG | 43182.4194 | 43182.4823 | 1:30 | LT FEEDER | REPLACEMENT OF PIERCING CONNECTOR | PIERCING CONNECTOR REPLACED | GGS INDRAPRASTHA UNIVERSITY-KASHMERE GATE | 990
45 | 23.03.2018 | PHG | 43182.4201 | 43182.6498 | 5:31 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | HATHI KHANA-NAWAB GANJ | 1467 | PREVENTIVE MAINTENANCE CARRIED OUT
46 | 23.03.2018 | PHG | 43182.6111 | 43182.713 | 2:27 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK L-AMAR NAGAR | 916 | PREVENTIVE MAINTENANCE CARRIED OUT
47 | 23.03.2018 | PNR | 43182.4931 | 43182.575 | 1:58 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK M-PUNJABI BASTI | 331
48 | 23.03.2018 | PNR | 43182.4931 | 43182.5748 | 1:58 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | DMS COLONY-PREM NAGAR | 610
49 | 23.03.2018 | PNR | 43182.4938 | 43182.5752 | 1:57 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | CHETAN BASTI- BLOCK J PNR | 243
50 | 23.03.2018 | PNR | 43182.6254 | 43182.6966 | 1:43 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | WIRE DAMAGED DUE TO FIRE ON POLE | DAMAGED WIRE REPAIRED | BLOCK 26-WEST PATEL NAGAR | 155
51 | 23.03.2018 | SRD | 43182.4139 | 43182.4601 | 1:07 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | DP FUSE BLOWN SAME REPLACED | BLOCK 57-AJMAL KHAN PARK | 434
52 | 23.03.2018 | SRD | 43182.4799 | 43182.559 | 1:54 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LT JUMPER FOUND LOOSE SAME ATTENDED | BLOCK 13-OLD RAJENDRA NAGAR | 150
53 | 23.03.2018 | SRD | 43182.4809 | 43182.5279 | 1:08 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | BIRDAGE FOUND ON LINE SAME REMOVED | E-BLOCK JHANDEWALAN | 113
54 | 23.03.2018 | VSE | 43182.6125 | 43182.6771 | 1:33 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | GHAROLI KONDLI | 86
55 | 23.03.2018 | YVR | 43182.4361 | 43182.6574 | 5:19 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | ARVIND NAGAR-GHONDA | 1480 | PREVENTIVE MAINTENANCE CARRIED OUT
56 | 23.03.2018 | YVR | 43182.4486 | 43182.6168 | 4:02 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK A-NEW SILAMPURI PHASE IV | 404 | PREVENTIVE MAINTENANCE CARRIED OUT
57 | 23.03.2018 | YVR | 43182.4785 | 43182.6582 | 4:19 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | YAMUNA VIHAR YAMUNA FLOOD PLAINS | 139 | PREVENTIVE MAINTENANCE CARRIED OUT
58 | 23.03.2018 | YVR | 43182.5665 | 43182.615 | 1:10 | HT SYSTEM FAULT | ACB FAULTY | ACB REPLACED | BLOCK V-GHONDA PATTI CHAUHAN | 1288
59 | 23.03.2018 | YVR | 43182.5847 | 43182.6589 | 1:47 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK B-GARI MANDU | 1225
60 | 23.03.2018 | YVR | 43182.6208 | 43182.7244 | 2:29 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | GOVT. SARVODAY SCHOOL-ZERO PUSTA | 290 | PREVENTIVE MAINTENANCE CARRIED OUT
61 | 23.03.2018 | YVR | 43182.6229 | 43182.6791 | 1:21 | HT SYSTEM FAULT | WIRE DAMAGED DUE TO FIRE ON POLE | DAMAGED WIRE REPAIRED | JAFFRABAD-MAUJ PUR | 966
62 | 23.03.2018 | YVR | 43182.6427 | 43182.6897 | 1:08 | HT SYSTEM FAULT | FAULT IN LT ACB | ACB REPLACED | BLOCK C-GHONDA | 642
63 | 23.03.2018 | YVR | 43182.6795 | 43182.7239 | 1:04 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | DP FUSE BLOWN SAME REPLACED | BLOCK U-WELCOME COLONY | 2663