## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## Sheet3
DISCOM : BYPL
OUTAGE REPORT FOR:06:00HRS. OF 24.03.2018 TO 06:00 HRS OF 25.03.2018
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
Details
1 | 24.03.2018 | CCK | 43183.4792 | 43183.5536 | 1:47 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LT SOCKET DAMAGED, SAME REPLACED | CHAWRI BAZAR-KHUSH DIL. | 387
2 | 24.03.2018 | DGN | 43183.4479 | 43183.5726 | 3:00 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK J & K-POCKET J&K,DILSHAD GARDEN. | 170 | PREVENTIVE MAINTENANCE CARRIED OUT
3 | 24.03.2018 | DGN | 43183.4835 | 43183.5588 | 1:48 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LT CABLE DAMAGED DUE TO FLASH, SAME REPAIRED | SHAMBHU NATH COMPOUND,DILSHAD GARDEN. | 164
4 | 24.03.2018 | DGN | 43183.4861 | 43183.5531 | 1:36 | LT FEEDER | TO ATTEND FAULT IN THE LINE | JUMPER FOUND BROKEN, SAME REPLACED | DAMODAR PARK. | 36
5 | 24.03.2018 | DGN | 43183.4925 | 43183.5708 | 1:53 | HT SYSTEM FAULT | TO REPAIR RMU | OPERATION MECHANISM OF RMU FAULTY, SAME REPAIRED | DDA FLATS-RAJIV NAGAR DGN. | 579
6 | 24.03.2018 | DRG | 43183.5312 | 43183.6105 | 1:54 | PLANNED SHUTDOWN | PROJECT WORK | DISTRIBUTION BOX REPAIRED | 84 GHANTA,MINTO ROAD. | 1168
7 | 24.03.2018 | DRG | 43183.6212 | 43183.6988 | 1:52 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LT CABLE FAULTY, SAME REPAIRED | SHANKAR GALI ,DARYAGANJ. | 1704
8 | 24.03.2018 | JLM | 43183.4375 | 43183.5194 | 1:58 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | VILL KARKARDOOMA-KARKAR DUMA. | 152
9 | 24.03.2018 | JLM | 43183.4861 | 43183.5687 | 1:59 | PLANNED SHUTDOWN | PROJECT WORK | LT STRAIGHT THROUGH JOINT MADE | KIRAN VIHAR-ANAND VIHAR. | 849
10 | 24.03.2018 | JLM | 43183.5 | 43183.7368 | 5:41 | PLANNED SHUTDOWN | PROJECT WORK | NEW LTAB INSTALLED | JHILMIL INDUSTRIAL AREA-JHILMIL COLONY. | 641 | NEW LTAB INSTALLED TO INCREASE THE NETWORK CAPACITY
11 | 24.03.2018 | JLM | 43183.5 | 43183.6653 | 3:58 | PLANNED SHUTDOWN | NETWORK UPGRADATION WORK | NEW TPD CABLE INSTALLED | J J COLONY-ANAND VIHAR. | 43 | NEW TPD CABLE INSTALLED TO IMPROVE THE NETWORK
12 | 24.03.2018 | JLM | 43183.5417 | 43183.6111 | 1:40 | LT FEEDER | REPLACEMENT OF BURNT PIERCING CONNECTOR | PIERCING CONNECTOR REPLACED | BIHARI COLONY-SHAHDARA. | 576
13 | 24.03.2018 | KRN | 43183.4264 | 43183.5347 | 2:36 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK J-KRISHNA NAGAR EAST. | 1137 | PREVENTIVE MAINTENANCE CARRIED OUT
14 | 24.03.2018 | KRN | 43183.5 | 43183.6009 | 2:25 | PLANNED SHUTDOWN | PROJECT WORK | DT CLEANING WORK CARRIED OUT | BLOCK 9-KAILASH NAGAR. | 388 | DT CLEANING WORK CARRIED OUT
15 | 24.03.2018 | KWN | 43183.4167 | 43183.562 | 3:29 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK D-OLD MUSTAFABAD. | 1751 | PREVENTIVE MAINTENANCE CARRIED OUT
16 | 24.03.2018 | KWN | 43183.4201 | 43183.6519 | 5:34 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK H-SHIV VIHAR. | 1307 | PREVENTIVE MAINTENANCE CARRIED OUT
17 | 24.03.2018 | KWN | 43183.4285 | 43183.5139 | 2:03 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | NON COMM AREA-DAYALPUR EXTN. | 5478 | PREVENTIVE MAINTENANCE CARRIED OUT
18 | 24.03.2018 | KWN | 43183.472 | 43183.5419 | 1:41 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | TRANSFORMER FUSE BLOWN SAME REPLACED | BLOCK 4B-SADAT PUR. | 1492
19 | 24.03.2018 | KWN | 43183.5417 | 43183.6224 | 1:56 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD DAMAGED, SAME REPAIRED | BHAGAT NAGAR-DAYALPUR,KARAWAL NGR. | 2218
20 | 24.03.2018 | KWN | 43183.5558 | 43183.6333 | 1:52 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS CABLE DAMAGED, SAME REPLACED | NON COMM AREA-SONIA VIHAR. | 1601
21 | 24.03.2018 | KWN | 43183.7257 | 43183.7858 | 1:26 | HT SYSTEM FAULT | TRIPPING | RMU FAULTY, SAME ATTENDED | BLOCK B-KARAWAL NAGAR. | 330
22 | 25.03.2018 | KWN | 43184.0625 | 43184.1271 | 1:33 | PLANNED SHUTDOWN | TRIPPING | BIRDAGE FOUND ON LINE, SAME REMOVED | BLOCK F-MUSTAFABAD (DAYALPUR). | 345
23 | 24.03.2018 | LNR | 43183.4472 | 43183.6925 | 5:53 | PLANNED SHUTDOWN | LAYING OF NEW LTAB | LTAB DAMAGED, SAME REPLACED | BLOCK G-PREET VIHAR. | 119 | DAMAGED LTAB REPLACED BY NEW ONE
24 | 24.03.2018 | LNR | 43183.5318 | 43183.5854 | 1:17 | LT FEEDER | LOAD UNBALANCED | LOAD BALANCING CARRIED OUT | BLOCK S1-SCHOOL BLOCK,LAXMI NGR. | 1246
25 | 24.03.2018 | LNR | 43183.5563 | 43183.609 | 1:16 | HT SYSTEM FAULT | TRIPPING | CABLE FAULTY, AREA BACKFEEDED | LAXMI NAGAR. | 1109
26 | 24.03.2018 | LNR | 43183.5738 | 43183.6303 | 1:21 | LT FEEDER | LOAD UNBALANCED | LOAD BALANCING CARRIED OUT | RAILWAY COLONY-MANDAWALI VILLAGE. | 1628
27 | 25.03.2018 | LNR | 43184.0987 | 43184.2113 | 2:42 | DISTRIBUTION TR. | TRIPPING | OIL LEAKAGE FROM 990KVA TRANSFORMER, SAME ATTENDED | SCHOOL BLOCK SHAKARPUR. | 1896 | OIL LEAKAGE FROM 990KVA TRANSFORMER, SAME ATTENDED
28 | 24.03.2018 | MVR | 43183.4632 | 43183.5652 | 2:27 | PLANNED SHUTDOWN | PROJECT WORK | DT CLEANING WORK CARRIED OUT | BLOCK 12-KALYAN PURI. | 330 | DT CLEANING WORK CARRIED OUT
29 | 24.03.2018 | MVR | 43183.4708 | 43183.5448 | 1:47 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | MAYUR VIHAR EXTN. | 51
30 | 24.03.2018 | NNG | 43183.4333 | 43183.5104 | 1:51 | PLANNED SHUTDOWN | PROJECT WORK | DISTRIBUTION BOX REPAIRED | BLOCK B-NATHU PURA. | 3211
31 | 24.03.2018 | NNG | 43183.4347 | 43183.6794 | 5:52 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | ANUP VIHAR-MANDOLI. | 3436 | PREVENTIVE MAINTENANCE CARRIED OUT
32 | 24.03.2018 | NNG | 43183.4347 | 43183.5638 | 3:06 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK A-NATHU COLONY,NAND NAGRI. | 902 | PREVENTIVE MAINTENANCE CARRIED OUT
33 | 24.03.2018 | NNG | 43183.4451 | 43183.5229 | 1:52 | HVDS CABLE & OTHER SYSTEM | TRIPPING | HVDS CABLE FAULTY SAME REPAIRED | SABOLI EXTN.-MANDOLI. | 124
34 | 24.03.2018 | NNG | 43183.452 | 43183.5299 | 1:52 | HVDS CABLE & OTHER SYSTEM | TRIPPING | HVDS CABLE FAULTY SAME REPAIRED | BLOCK B-ANUP VIHAR. | 259
35 | 24.03.2018 | NNG | 43183.508 | 43183.5819 | 1:46 | HVDS CABLE & OTHER SYSTEM | REPLACEMENT OF HVDS LEAD | HVDS LEAD DAMAGED, SAME REPLACED | BLOCK A-MANDOLI EXTN. | 1362
36 | 24.03.2018 | NNG | 43183.5486 | 43183.6225 | 1:46 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD DAMAGED, SAME REPAIRED | BLOCK D-MEET NAGAR. | 1531
37 | 24.03.2018 | PHG | 43183.4243 | 43183.6711 | 5:55 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | A.K.TANKI ,PAHADGANJ. | 1855 | PREVENTIVE MAINTENANCE CARRIED OUT
38 | 24.03.2018 | PNR | 43183.4986 | 43183.5799 | 1:57 | PLANNED SHUTDOWN | PROJECT WORK | NEW CABLE LAID | BLOCK T-PANJABI BASTI. | 331
39 | 24.03.2018 | PNR | 43183.4986 | 43183.5793 | 1:56 | PLANNED SHUTDOWN | NETWORK UPGRADATION WORK | FAULTY SERVICE LINE REPLACED | BLOCK T-BALJIT NAGAR. | 274
40 | 24.03.2018 | PNR | 43183.4986 | 43183.5797 | 1:57 | PLANNED SHUTDOWN | PROJECT WORK | DISTRIBUTION BOX REPAIRED | BLOCK L-WEST PATEL NAGAR. | 57
41 | 24.03.2018 | PNR | 43183.4986 | 43183.5801 | 1:57 | PLANNED SHUTDOWN | NETWORK UPGRADATION WORK | LT STRAIGHT THROUGH JOINT MADE | BLOCK 30-WEST PATEL NAGAR. | 84
42 | 24.03.2018 | PNR | 43183.559 | 43183.6335 | 1:47 | HT SYSTEM FAULT | TO REPAIR RMU | OPERATION MECHANISM OF RMU FAULTY, SAME REPAIRED | PREM NAGAR-BALJIT NAGAR. | 351
43 | 24.03.2018 | SRD | 43183.4444 | 43183.5183 | 1:46 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK_24N-BEADON PURA. | 295
44 | 24.03.2018 | VSE | 43183.4868 | 43183.5917 | 2:31 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | SARASWATI KUNJ- EAST END APPARTMENT-NEW ASHOK NAGAR. | 124 | PREVENTIVE MAINTENANCE CARRIED OUT
45 | 24.03.2018 | VSE | 43183.5437 | 43183.6875 | 3:27 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | FIRE ON POLE | LT CABLE BURNT, SAME REPLACED | KONDALI VILLAGE-GHAROLI KONDLI. | 132 | LT CABLE BURNT, SAME REPLACED
46 | 24.03.2018 | VSE | 43183.5931 | 43183.6925 | 2:23 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | SARASWATI KUNJ- EAST END APPARTMENT-NEW ASHOK NAGAR. | 202 | PREVENTIVE MAINTENANCE CARRIED OUT
47 | 24.03.2018 | YVR | 43183.4514 | 43183.5726 | 2:55 | PLANNED SHUTDOWN | NETWORK UPGRADATION WORK | DISTRIBUTION BOX REPAIRED & LT STRAIGHT THROUGH JOINT MADE | BLOCK V-GHONDA PATTI CHAUHAN. | 639 | DISTRIBUTION BOX REPAIRED & LT STRAIGHT THROUGH JOINT MADE
48 | 24.03.2018 | YVR | 43183.4625 | 43183.5615 | 2:22 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK E-NEW SEELAMPUR PHASE II. | 843 | PREVENTIVE MAINTENANCE CARRIED OUT
49 | 24.03.2018 | YVR | 43183.4625 | 43183.5707 | 2:36 | PLANNED SHUTDOWN | PROJECT WORK | DISTRIBUTION BOX REPAIRED & LT STRAIGHT THROUGH JOINT MADE | BLOCK B-MANUJPUR. | 657 | DISTRIBUTION BOX REPAIRED & LT STRAIGHT THROUGH JOINT MADE
50 | 24.03.2018 | YVR | 43183.4701 | 43183.613 | 3:26 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | YAMUNA RIVER-BLOCK 9. | 7 | PREVENTIVE MAINTENANCE CARRIED OUT
51 | 24.03.2018 | YVR | 43183.4757 | 43183.713 | 5:42 | PLANNED SHUTDOWN | NETWORK UPGRADATION WORK | NEW DISTRIBUTION BOX INSTALLED | GHONDA PATTI CHAUHAN. | 1546 | NEW DISTRIBUTION BOX INSTALLED TO IMPROVE THE NETWORK
52 | 24.03.2018 | YVR | 43183.5078 | 43183.5656 | 1:23 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | REPLACEMENT OF LT ACB | LT ACB FAULTY,SAME REPLACED | JAFFRABAD-MAUJ PUR. | 86
53 | 24.03.2018 | YVR | 43183.5179 | 43183.5653 | 1:08 | HT SYSTEM FAULT | TO INSTALL FPI | FPI INSTALLATION WORK CARRIED OUT | BLOCK C-SHASTRI PARK. | 1224
54 | 24.03.2018 | YVR | 43183.5248 | 43183.5874 | 1:30 | HT SYSTEM FAULT | TO REMOVE ILLEGAL TAPPINGS | ILLEGAL TAPPINGS REMOVED | NON COMM AREA-SHASTRI PARK. | 1155
55 | 24.03.2018 | YVR | 43183.5389 | 43183.7144 | 4:13 | PLANNED SHUTDOWN | PROJECT WORK | DISTRIBUTION BOX REPAIRED & LT STRAIGHT THROUGH JOINT MADE | JAFFRABAD-MAUJ PUR. | 3783 | DISTRIBUTION BOX REPAIRED & LT STRAIGHT THROUGH JOINT MADE
56 | 24.03.2018 | YVR | 43183.54 | 43183.6123 | 1:44 | HT SYSTEM FAULT | TO INSTALL FPI | FPI INSTALLATION WORK CARRIED OUT | JHUGI-NEW SEELAMPUR PHASE I. | 857
57 | 24.03.2018 | YVR | 43183.5875 | 43183.7127 | 3:00 | PLANNED SHUTDOWN | PROJECT WORK | DISTRIBUTION BOX REPAIRED & LT STRAIGHT THROUGH JOINT MADE | BLOCK P-BRAHM PURI. | 1670 | DISTRIBUTION BOX REPAIRED & LT STRAIGHT THROUGH JOINT MADE
58 | 24.03.2018 | YVR | 43183.6367 | 43183.6935 | 1:22 | LT FEEDER | LOAD UNBALANCED | LOAD BALANCING CARRIED OUT | BLOCK A-SEELAMPUR COLONY. | 1609
59 | 24.03.2018 | YVR | 43183.6375 | 43183.694 | 1:21 | HT SYSTEM FAULT | FOR TAKING LOAD ON REPAIRED CABLE | HT CABLE REPAIRED & ENERGISED | MAUJ PUR COMPLEX 1. | 1623