## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## Sheet3
DISCOM : BYPL
OUTAGE REPORT FOR:06:00HRS. OF 25.03.2018 TO 06:00 HRS OF 26.03.2018
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
Details
1 | 25.03.2018 | CCK | 43184.5273 | 43184.6037 | 1:50 | HT SYSTEM FAULT | WIRE DAMAGED DUE TO FLASH ON POLE | DAMAGED WIRE REPAIRED | TOWN HALL-KUCHA NATWA | 314
2 | 25.03.2018 | DRG | 43184.4447 | 43184.5193 | 1:47 | LT FEEDER | FOR CONNECTING NEW CABLE | NEW CABLE CONNECTED | HINDI PARK DARYA GANJ | 265
3 | 25.03.2018 | DRG | 43184.5401 | 43184.6113 | 1:42 | LT FEEDER | FOR CONNECTING NEW CABLE | NEW CABLE CONNECTED | SOME PART OF DRG | 322
4 | 25.03.2018 | JLM | 43184.5903 | 43184.7486 | 3:48 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | SHRESHTHA VIHAR | 43 | PREVENTIVE MAINTENANCE CARRIED OUT
5 | 25.03.2018 | KWN | 43184.6079 | 43184.6835 | 1:49 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD FAULTY SAME REPAIRED | SAGAR MARKET E-4 SONIA VIHAR | 345
6 | 25.03.2018 | NNG | 43184.2572 | 43184.3241 | 1:36 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | HTAB SOCKET DAMAGED SAME REPLACED | POCKET B-CHITRAKOOT | 2076
7 | 25.03.2018 | NNG | 43184.4153 | 43184.4792 | 1:32 | LT FEEDER | TO ATTEND FAULT IN THE LINE | EXTERNAL ELEMENT FOUND ON LINE SAME REMOVED | BLOCK B-EAST GOKUL PURI | 178
8 | 25.03.2018 | NNG | 43184.5277 | 43184.5977 | 1:41 | HVDS CABLE & OTHER SYSTEM | HVDS CABLE FAULTY | HVDS CABLE REPAIRED | BLOCK D-HARSH VIHAR | 173
9 | 25.03.2018 | NNG | 43184.6577 | 43184.7361 | 1:53 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS DP FUSE BLOWN SAME REPLACED | BLOCK D-MANDOLI EXTENSION | 1362
10 | 25.03.2018 | NNG | 43184.669 | 43184.7396 | 1:42 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD FAULTY SAME REPAIRED | BLOCK D-MEET NAGAR | 1531
11 | 25.03.2018 | NNG | 43184.9138 | 43184.9722 | 1:24 | HVDS CABLE & OTHER SYSTEM | HVDS CABLE FAULTY | HVDS CABLE REPAIRED | BLOCK E-UTTARANCHAL COLONY | 1531
12 | 25.03.2018 | PHG | 43184.4655 | 43184.5366 | 1:42 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LT LEAD FAULTY SAME REPAIRED | AMARPURI PAHARGANJ | 1399
13 | 25.03.2018 | PHG | 43184.54 | 43184.6069 | 1:36 | LT FEEDER | FIRE IN LTAB | LTAB REPAIRED | 12 TOOTI CHOWK PHG | 1225
14 | 25.03.2018 | SRD | 43184.6307 | 43184.7085 | 1:52 | HT SYSTEM FAULT | TRIPPING | POLE DAMAGED BY UNKNOWN VEHICLE SAME ATTENDED | KIKARWALAN SHANKAR ROAD | 147
15 | 25.03.2018 | YVR | 43184.5064 | 43184.5836 | 1:51 | HT SYSTEM FAULT | FOR INSTALLING NEW PANEL | NEW PANEL INSTALLED AT RMU | BLOCK C-BHAJANPURA | 5810