## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## OUTAGE
DISCOM : BYPL
OUTAGE REPORT FOR:06:00HRS. OF 26.03.2018 TO 06:00 HRS OF 27.03.2018
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
Details
1 | 26.03.2018 | CCK | 43185.4396 | 43185.5477 | 2:36 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | FRASH KHANA | 2081 | PREVENTIVE MAINTENANCE CARRIED OUT
2 | 26.03.2018 | CCK | 43185.4805 | 43185.5445 | 1:32 | DISTRIBUTION TR. | SOCKET DAMAGED | SOCKET REPLACED | MOSQUE-LAL KUAN BAZAR | 800
3 | 26.03.2018 | CCK | 43185.5196 | 43185.5838 | 1:32 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | LAJPAT RAI MARKET-CHANDNI CHOWK | 94
4 | 26.03.2018 | DGN | 43185.4458 | 43185.5104 | 1:33 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | PKT R DILSHAD GARDEN | 874
5 | 26.03.2018 | DGN | 43185.4736 | 43185.5831 | 2:38 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | RAJIV COLONY | 435 | PREVENTIVE MAINTENANCE CARRIED OUT
6 | 26.03.2018 | DGN | 43185.5483 | 43185.6283 | 1:55 | DISTRIBUTION TR. | TRANSFORMER FAULTY | TRANSFORMER REPLACEMENT UNDER LOW IR VALUE | BLOCK A-JHILMIL INDUSTRIAL AREA | 128
7 | 26.03.2018 | DRG | 43185.4333 | 43185.5147 | 1:57 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | AB BOX FAULTY | AB BOX REPAIRED | GURUDWARA ROAD DARYA GANJ | 322
8 | 26.03.2018 | DRG | 43185.434 | 43185.5712 | 3:18 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | LT SOCKET DAMAGED | LT SOCKET REPLACED | CHATTA LAL DARYA GANJ | 844 | LT SOCKET REPLACED
9 | 26.03.2018 | DRG | 43185.5139 | 43185.5868 | 1:45 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | ZAKIR HUSAIN P.G. EVENING COLLAGE | 24
10 | 26.03.2018 | DRG | 43185.5208 | 43185.6296 | 2:37 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | CHANDANI MAHAL | 500 | PREVENTIVE MAINTENANCE CARRIED OUT
11 | 26.03.2018 | DRG | 43185.5326 | 43185.6097 | 1:51 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | AB BOX FAULTY | AB BOX REPAIRED | GURUDWARA ROAD DARYA GANJ | 322
12 | 26.03.2018 | DRG | 43185.5903 | 43185.6358 | 1:06 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | COMMUNITY CENTRE-JAMA MASZID | 427
13 | 26.03.2018 | JLM | 43185.4167 | 43185.5417 | 3:00 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | VISHWAS NAGAR | 1324 | PREVENTIVE MAINTENANCE CARRIED OUT
14 | 26.03.2018 | JLM | 43185.5035 | 43185.625 | 2:55 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | J J COLONY-ANAND VIHAR | 43 | PREVENTIVE MAINTENANCE CARRIED OUT
15 | 26.03.2018 | JLM | 43185.5069 | 43185.7465 | 5:45 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK B-SURAJMAL VIHAR | 395 | PREVENTIVE MAINTENANCE CARRIED OUT
16 | 26.03.2018 | JLM | 43185.5486 | 43185.6128 | 1:32 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK A-SURAJMAL VIHAR | 184
17 | 26.03.2018 | KRN | 43185.4187 | 43185.5344 | 2:47 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | MAHILA COLONY | 326 | PREVENTIVE MAINTENANCE CARRIED OUT
18 | 26.03.2018 | KRN | 43185.4722 | 43185.6042 | 3:10 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK 9-GANDHI NAGAR | 980 | PREVENTIVE MAINTENANCE CARRIED OUT
19 | 26.03.2018 | KRN | 43185.4792 | 43185.5243 | 1:05 | DISTRIBUTION TR. | TO ATTEND OIL LEAKAGE | OIL LEAKAGE ATTENDED | RAGHUBARPURA | 954
20 | 26.03.2018 | KRN | 43185.4979 | 43185.5958 | 2:21 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | 6 BLK GEETA COLONY | 141 | PREVENTIVE MAINTENANCE CARRIED OUT
21 | 26.03.2018 | KRN | 43185.6076 | 43185.6725 | 1:33 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | FIRE IN DISTRIBUTION BOX | DISTRIBUTION BOX REPAIRED | BLOCK D-BALDEV PARK EAST | 469
22 | 26.03.2018 | KRN | 43185.6236 | 43185.675 | 1:14 | DISTRIBUTION TR. | TRANSFORMER FAULTY | TRANSFORMER REPLACEMENT UNDER LOW IR VALUE | BLOCK 9-SUBHASH MOHALLA | 878
23 | 26.03.2018 | KWN | 43185.3059 | 43185.3798 | 1:46 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | BIRDAGE ON LINE | BIRDAGE ON LINE SAME ATTENDED | C BLOCK SONIA VIHAR | 518
24 | 26.03.2018 | KWN | 43185.535 | 43185.5903 | 1:20 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK A-SADAT PUR | 1050
25 | 26.03.2018 | KWN | 43185.5391 | 43185.5854 | 1:07 | LT FEEDER | TREE TOUCHING ON LINE | TREE TRIMMING WORK DONE | AREA OF SABHEPUR | 759
26 | 26.03.2018 | KWN | 43185.5476 | 43185.6271 | 1:54 | DISTRIBUTION TR. | TRANSFORMER REPLACEMENT | MOBILE TRANSFORMER REPLACEMENT AT NEW ONE | A BLK GOKULPURI | 1187
27 | 26.03.2018 | KWN | 43185.6039 | 43185.6583 | 1:18 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | SOCKET DAMAGED | SOCKET REPLACED | BLOCK A-KARAWAL NAGAR | 509
28 | 26.03.2018 | LNR | 43185.4236 | 43185.4861 | 1:30 | LT FEEDER | FAULT IN LT CIRCUIT | SPARKING ON LT CABLE SAME ATTENDED | BLOCK D-PANDAV NAGAR | 139
29 | 26.03.2018 | LNR | 43185.434 | 43185.7328 | 7:10 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK G-PREET VIHAR | 119 | PREVENTIVE MAINTENANCE CARRIED OUT
30 | 26.03.2018 | LNR | 43185.4479 | 43185.5694 | 2:55 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | ORIENTAL APARTMENT-MOTHER DAIRY | 78 | PREVENTIVE MAINTENANCE CARRIED OUT
31 | 26.03.2018 | LNR | 43185.4618 | 43185.6839 | 5:20 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK C-PANDAV NAGAR | 766 | PREVENTIVE MAINTENANCE CARRIED OUT
32 | 26.03.2018 | LNR | 43185.466 | 43185.6944 | 5:29 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK C-LALITA PARK | 815 | PREVENTIVE MAINTENANCE CARRIED OUT
33 | 26.03.2018 | LNR | 43185.4674 | 43185.5514 | 2:01 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | TAKSHILA APARTMENT-MOTHER DAIRY | 163 | PREVENTIVE MAINTENANCE CARRIED OUT
34 | 26.03.2018 | LNR | 43185.5778 | 43185.703 | 3:00 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | TAKSHILA APARTMENT-MOTHER DAIRY | 110 | PREVENTIVE MAINTENANCE CARRIED OUT
35 | 26.03.2018 | LNR | 43185.7708 | 43185.8422 | 1:43 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | FAULT IN LT ACB | LT ACB REPAIRED | BLOCK C-MANDAWALI VILLAGE | 578
36 | 26.03.2018 | MVR | 43185.5167 | 43185.6856 | 4:03 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK C-VINOD NAGAR EAST | 590 | PREVENTIVE MAINTENANCE CARRIED OUT
37 | 26.03.2018 | NNG | 43185.4236 | 43185.6834 | 6:14 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK A-MEET NAGAR | 90 | PREVENTIVE MAINTENANCE CARRIED OUT
38 | 26.03.2018 | NNG | 43185.4424 | 43185.5489 | 2:33 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK B-KABIR NAGAR | 705 | PREVENTIVE MAINTENANCE CARRIED OUT
39 | 26.03.2018 | NNG | 43185.5983 | 43185.6687 | 1:41 | HVDS CABLE & OTHER SYSTEM | HVDS LEAD FAULTY | HVDS LEAD REPAIRED | PART OF HARSH VIHAR | 1362
40 | 26.03.2018 | NNG | 43185.858 | 43185.9286 | 1:42 | HVDS CABLE & OTHER SYSTEM | HVDS LEAD FAULTY | HVDS LEAD REPAIRED | RAJIV NAGAR | 430
41 | 26.03.2018 | NNG | 43185.8591 | 43185.9294 | 1:41 | HVDS CABLE & OTHER SYSTEM | HVDS LEAD REPAIRED | HVDS LEAD REPAIRED | BLOCK A-MANDOLI EXTN. | 435
42 | 26.03.2018 | NNG | 43185.8598 | 43185.9308 | 1:42 | HVDS CABLE & OTHER SYSTEM | HVDS LEAD REPAIRED | HVDS LEAD REPAIRED | ANUP VIHAR | 425
43 | 26.03.2018 | NNG | 43185.8652 | 43185.9317 | 1:36 | HVDS CABLE & OTHER SYSTEM | HVDS LEAD REPAIRED | HVDS LEAD REPAIRED | SABOLI EXTN. | 124
44 | 26.03.2018 | NNG | 43185.8663 | 43185.9346 | 1:38 | HVDS CABLE & OTHER SYSTEM | HVDS LEAD REPAIRED | HVDS LEAD REPAIRED | SHAKTI GARDEN | 1412
45 | 26.03.2018 | PHG | 43185.4236 | 43185.6585 | 5:38 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | CHOWK NAI BASTI-SADAR BAZAR | 771 | PREVENTIVE MAINTENANCE CARRIED OUT
46 | 26.03.2018 | PHG | 43185.4826 | 43185.5942 | 2:41 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | ARAM NAGAR | 881 | PREVENTIVE MAINTENANCE CARRIED OUT
47 | 26.03.2018 | PNR | 43185.4882 | 43185.6134 | 3:00 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK T-PANJABI BASTI | 49 | PREVENTIVE MAINTENANCE CARRIED OUT
48 | 26.03.2018 | PNR | 43185.4882 | 43185.6131 | 3:00 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | RAJASTHAN COLONY | 169 | PREVENTIVE MAINTENANCE CARRIED OUT
49 | 26.03.2018 | PNR | 43185.4889 | 43185.6137 | 3:00 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK 28-WEST PATEL NAGAR | 82 | PREVENTIVE MAINTENANCE CARRIED OUT
50 | 26.03.2018 | PNR | 43185.5694 | 43185.6139 | 1:04 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | PREM NAGAR | 350
51 | 26.03.2018 | SRD | 43185.4295 | 43185.4919 | 1:30 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK 3E-JHANDEWALAN EXTENSION | 198
52 | 26.03.2018 | SRD | 43185.4889 | 43185.5363 | 1:08 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | OPD. DR. N.C. JOSHI MEMORIAL HOSPITAL JOSHI ROAD | 910
53 | 26.03.2018 | SRD | 43185.5031 | 43185.5747 | 1:43 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | SLUM-JHANDEWALAN | 434
54 | 26.03.2018 | VSE | 43185.4917 | 43185.6502 | 3:48 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | SULOCHANA APPARTMENT-VASUNDHARA ENCLAVE | 63 | PREVENTIVE MAINTENANCE CARRIED OUT
55 | 26.03.2018 | VSE | 43185.4924 | 43185.6264 | 3:13 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK A-MAYUR VIHAR PHASE III | 756 | PREVENTIVE MAINTENANCE CARRIED OUT
56 | 26.03.2018 | YVR | 43185.4389 | 43185.6034 | 3:57 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK E-NEW SILAMPURI PHASE II | 11 | PREVENTIVE MAINTENANCE CARRIED OUT
57 | 26.03.2018 | YVR | 43185.4458 | 43185.5692 | 2:58 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK P-BRAHM PURI | 2993 | PREVENTIVE MAINTENANCE CARRIED OUT
58 | 26.03.2018 | YVR | 43185.4465 | 43185.5751 | 3:05 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | MAUJ PUR COMPLEX 1 | 1623 | PREVENTIVE MAINTENANCE CARRIED OUT
59 | 26.03.2018 | YVR | 43185.4604 | 43185.7013 | 5:47 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK C-BHAJANPURA | 1527 | PREVENTIVE MAINTENANCE CARRIED OUT
60 | 26.03.2018 | YVR | 43185.4611 | 43185.6963 | 5:39 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK C-NEW SILAMPURI PHASE IV | 569 | PREVENTIVE MAINTENANCE CARRIED OUT
61 | 26.03.2018 | YVR | 43185.4729 | 43185.7014 | 5:29 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | CHAUHAN BANGAR | 3783 | PREVENTIVE MAINTENANCE CARRIED OUT
62 | 26.03.2018 | YVR | 43185.5364 | 43185.5838 | 1:08 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK J-SILAMPUR | 184
63 | 26.03.2018 | YVR | 43185.5405 | 43185.5848 | 1:04 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | PART OF JAFFRABAD | 1354
64 | 26.03.2018 | YVR | 43185.5604 | 43185.7367 | 4:14 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK B-GARI MANDU | 1193 | PREVENTIVE MAINTENANCE CARRIED OUT
65 | 26.03.2018 | YVR | 43185.5826 | 43185.7369 | 3:42 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK P-BRAHM PURI | 940 | PREVENTIVE MAINTENANCE CARRIED OUT
66 | 26.03.2018 | YVR | 43185.6288 | 43185.6823 | 1:17 | LT FEEDER | TO ATTEND FAULT IN LT CIRCUIT | BIRDAGE ON LINE SAME ATTENDED | GHONDA PATTI CHAUHAN | 1566