## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## OUTAGE
DISCOM : BYPL
OUTAGE REPORT FOR:06:00HRS. OF 27.03.2018 TO 06:00 HRS OF 28.03.2018
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
Details
1 | 27.03.2018 | CCK | 43186.434 | 43186.538 | 2:30 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | SUBHASH MARG CCK | 64 | PREVENTIVE MAINTENANCE CARRIED OUT
2 | 27.03.2018 | CCK | 43186.4511 | 43186.5312 | 1:55 | LT FEEDER | LOAD UNBALANCED | LOAD BALANCING CARRIED OUT | PART OF TOWN HALL AREA | 40
3 | 27.03.2018 | CCK | 43186.4711 | 43186.5382 | 1:37 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LT SOCKET DAMAGED SAME REPLACED | OLD HAUZ QUAZI CCK | 54
4 | 27.03.2018 | DGN | 43186.4285 | 43186.4931 | 1:33 | LT FEEDER | TO ATTEND FAULT IN THE LINE | EXTERNAL ELEMENT FOUND ON LINE SAME REMOVED | GORAKH PARK DWARKAPURI | 69
5 | 27.03.2018 | DGN | 43186.4375 | 43186.5382 | 2:25 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | A-BLOCK TAHIRPUR | 164 | PREVENTIVE MAINTENANCE CARRIED OUT
6 | 27.03.2018 | DGN | 43186.4514 | 43186.7429 | 7:00 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | INDIRA CAMP-JHILMIL INDUSTRIAL AREA | 435 | PREVENTIVE MAINTENANCE CARRIED OUT
7 | 27.03.2018 | DGN | 43186.4979 | 43186.5705 | 1:44 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LT LEAD FAULTY SAME REPAIRED | C-BLOCK SEEMAPURI | 160
8 | 27.03.2018 | DRG | 43186.4698 | 43186.5449 | 1:48 | LT FEEDER | TO ATTEND FAULT IN THE LINE | SOCKET BURNT SAME REPLACED | MCD CAR PARKING DRG | 64
9 | 27.03.2018 | DRG | 43186.5606 | 43186.6424 | 1:58 | LT FEEDER | LT LEAD FAULTY | LT LEAD REPAIRED | KAL;A MASJID DRG | 103
10 | 27.03.2018 | DRG | 43186.6285 | 43186.6953 | 1:36 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | COMMUNITY CENTRE-JAMA MASZID | 299
11 | 27.03.2018 | JLM | 43186.4313 | 43186.4866 | 1:20 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | KARKARDOOMA VILLAGE | 88
12 | 27.03.2018 | JLM | 43186.4583 | 43186.5374 | 1:54 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | EAST ROHTASH NAGAR-SHAHDARA | 10
13 | 27.03.2018 | JLM | 43186.4604 | 43186.5378 | 1:51 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK E-JHILMIL COLONY | 421
14 | 27.03.2018 | JLM | 43186.5181 | 43186.7012 | 4:24 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | DAYA NAND VIHAR-ANAND VIHAR | 358 | PREVENTIVE MAINTENANCE CARRIED OUT
15 | 27.03.2018 | JLM | 43186.5347 | 43186.6802 | 3:29 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | SHRESHTHA VIHAR | 5205 | PREVENTIVE MAINTENANCE CARRIED OUT
16 | 27.03.2018 | KRN | 43186.4201 | 43186.538 | 2:50 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | GAGAN VIHAR | 184 | PREVENTIVE MAINTENANCE CARRIED OUT
17 | 27.03.2018 | KRN | 43186.4674 | 43186.6368 | 4:04 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | OLD SEELAMPUR DHRAM PURA | 1100 | PREVENTIVE MAINTENANCE CARRIED OUT
18 | 27.03.2018 | KRN | 43186.4743 | 43186.5174 | 1:02 | HT SYSTEM FAULT | TRIPPING | TRANSIENT FAULT | C BLOCK KRISHNA NAGAR | 828
19 | 27.03.2018 | KRN | 43186.5049 | 43186.6213 | 2:48 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | RAGHUBARPURA NO 2-SEELAMPUR | 345 | PREVENTIVE MAINTENANCE CARRIED OUT
20 | 27.03.2018 | KWN | 43186.3472 | 43186.4028 | 1:20 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS DP FUSE BLOWN SAME REPLACED | BADARPUR KHADAR KWR | 949
21 | 27.03.2018 | KWN | 43186.4146 | 43186.5229 | 2:36 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | KAMAL VIHAR | 155 | PREVENTIVE MAINTENANCE CARRIED OUT
22 | 27.03.2018 | KWN | 43186.441 | 43186.5139 | 1:45 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | EXTERNAL ELEMENT FOUND ON LINE SAME REMOVED | MOONGA NAGAR | 80
23 | 27.03.2018 | KWN | 43186.5146 | 43186.5694 | 1:19 | DISTRIBUTION TR. | OIL LEAKAGE PROBLEM IN TRANSFORMER | OIL LEAKAGE PROBLEM ATTENDED | BABU NAGAR KWR | 170
24 | 27.03.2018 | KWN | 43186.5352 | 43186.6111 | 1:49 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD FAULTY SAME REPAIRED | F&C BLOCK KARAWAL NAGAR | 172
25 | 27.03.2018 | KWN | 43186.5361 | 43186.616 | 1:55 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LT JUMPER SNAPPED SAME REPLACED | SHIV VIHAR PHASE-6 | 85
26 | 27.03.2018 | KWN | 43186.75 | 43186.8194 | 1:40 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS CABLE FAULTY SAME REPAIRED | BLOCK B-BHAGAT SINGH COLONY | 2473
27 | 27.03.2018 | KWN | 43186.7708 | 43186.8507 | 1:55 | HT SYSTEM FAULT | CABLE END BOX DAMAGED | CABLE END BOX REPAIRED | TUNDA NAGAR-BHAGIRATHI VIHAR | 484
28 | 27.03.2018 | LNR | 43186.4451 | 43186.5694 | 2:59 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | GHAZIPUR FISH MARKET | 120 | PREVENTIVE MAINTENANCE CARRIED OUT
29 | 27.03.2018 | LNR | 43186.4639 | 43186.6834 | 5:16 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK G-PREET VIHAR | 119 | PREVENTIVE MAINTENANCE CARRIED OUT
30 | 27.03.2018 | LNR | 43186.4861 | 43186.5446 | 1:24 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | D BLOCK LAXMI NAGAR | 122
31 | 27.03.2018 | LNR | 43186.4951 | 43186.5933 | 2:21 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | LAKSHMI NAGAR BLOCK J&K | 86 | PREVENTIVE MAINTENANCE CARRIED OUT
32 | 27.03.2018 | LNR | 43186.5702 | 43186.6462 | 1:49 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | POLE SHIFTING WORK | POLE SHIFTED ON RQUEST OF CONSUMER | BLOCK C-PANDAV NAGAR | 1473
33 | 27.03.2018 | LNR | 43186.6146 | 43186.6686 | 1:18 | LT FEEDER | TO ATTEND FAULT IN THE LINE | EXTERNAL ELEMENT FOUND ON LINE SAME REMOVED | BLOCK D-PANDAV NAGAR | 139
34 | 27.03.2018 | LNR | 43186.8019 | 43186.8542 | 1:15 | LT FEEDER | TO ATTEND FAULT IN THE LINE | BIRDAGE FOUND ON LINE SAME REMOVED | BLOCK D-PANDAV NAGAR | 139
35 | 27.03.2018 | NNG | 43186.4278 | 43186.5331 | 2:32 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | WEAVERS COMPLEX NNG | 420 | PREVENTIVE MAINTENANCE CARRIED OUT
36 | 27.03.2018 | NNG | 43186.4514 | 43186.6979 | 5:55 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | MANDOLI VILLAGE NNG | 430 | PREVENTIVE MAINTENANCE CARRIED OUT
37 | 27.03.2018 | NNG | 43186.5184 | 43186.5724 | 1:18 | HT SYSTEM FAULT | LOAD UNBALANCED | LOAD BALANCING CARRIED OUT | D BLOCK HARSH VIHAR | 425
38 | 27.03.2018 | NNG | 43186.5981 | 43186.6636 | 1:34 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LTAB FAULTY SAME REPAIRED | BLOCK A-EAST GOKUL PURI | 178
39 | 27.03.2018 | NNG | 43186.7458 | 43186.8056 | 1:26 | HT SYSTEM FAULT | TRIPPING | CABLE FAULTY AREA BACKFEEDED | B- BLOCK HARSH VIHAR | 585
40 | 27.03.2018 | PHG | 43186.4181 | 43186.6263 | 5:00 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | RAM NAGAR PHG | 125 | PREVENTIVE MAINTENANCE CARRIED OUT
41 | 27.03.2018 | PHG | 43186.4514 | 43186.5148 | 1:31 | LT FEEDER | REPLACEMENT OF PIERCING CONNECTOR | PIERCING CONNECTOR REPLACED | PAHARGANJ DISPENSARY PHG | 124
42 | 27.03.2018 | PHG | 43186.5552 | 43186.6261 | 1:42 | HT SYSTEM FAULT | WIRE DAMAGED DUE TO FLASH ON POLE | DAMAGED WIRE REPAIRED | SOME PART OF PHG | 256
43 | 27.03.2018 | PNR | 43186.4194 | 43186.5556 | 3:16 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK 23 WEST PATEL NAGAR | 155 | PREVENTIVE MAINTENANCE CARRIED OUT
44 | 27.03.2018 | PNR | 43186.4826 | 43186.6493 | 4:00 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | DMS COLONY-PREM NAGAR | 610 | PREVENTIVE MAINTENANCE CARRIED OUT
45 | 27.03.2018 | PNR | 43186.4861 | 43186.5597 | 1:46 | LT FEEDER | FOR ATTENDING CONSUMER COMPLAINT | SERVICE LINE FOUND LOOSE SAME ATTENDED | HOLY CHOWK PATEL NAGAR | 155
46 | 27.03.2018 | SRD | 43186.4375 | 43186.5504 | 2:43 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | DDA COMPLEX PRASAD NAGAR | 517 | PREVENTIVE MAINTENANCE CARRIED OUT
47 | 27.03.2018 | VSE | 43186.4208 | 43186.6565 | 5:39 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK B-DALLU PURA VSE | 349 | PREVENTIVE MAINTENANCE CARRIED OUT
48 | 27.03.2018 | VSE | 43186.4611 | 43186.5592 | 2:21 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | KONDALI GHARAULI | 25 | PREVENTIVE MAINTENANCE CARRIED OUT
49 | 27.03.2018 | VSE | 43186.4972 | 43186.5891 | 2:12 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | 31 BLOCK TRILOKPURI | 448 | PREVENTIVE MAINTENANCE CARRIED OUT
50 | 27.03.2018 | VSE | 43186.5103 | 43186.5854 | 1:48 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | FAULT IN RMU SAME ATTENDED | B BLOCK MAYUR VIHAR PHASE 2 | 70
51 | 27.03.2018 | VSE | 43186.5685 | 43186.6486 | 1:55 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | FEEDER PILLAR DAMAGED | FEEDER PILLAR REPLACED | BLOCK C1-NEW ASHOK NAGAR | 897
52 | 27.03.2018 | YVR | 43186.4424 | 43186.5948 | 3:40 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK E-SUBHASH MOHALLA | 1223 | PREVENTIVE MAINTENANCE CARRIED OUT
53 | 27.03.2018 | YVR | 43186.4431 | 43186.5912 | 3:33 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | ARVIND NAGAR-GHONDA | 1245 | PREVENTIVE MAINTENANCE CARRIED OUT
54 | 27.03.2018 | YVR | 43186.4444 | 43186.6902 | 5:54 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | JAFFRABAD-MAUJ PUR | 2609 | PREVENTIVE MAINTENANCE CARRIED OUT
55 | 27.03.2018 | YVR | 43186.4519 | 43186.4952 | 1:02 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | BIRDAGE FOUND ON LINE SAME REMOVED | ZAFRABAD YVR | 87
56 | 27.03.2018 | YVR | 43186.4563 | 43186.6919 | 5:39 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | GHONDA PATTI CHAUHAN | 965 | PREVENTIVE MAINTENANCE CARRIED OUT
57 | 27.03.2018 | YVR | 43186.4812 | 43186.6898 | 5:00 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK J-SILAMPUR COLONY | 1622 | PREVENTIVE MAINTENANCE CARRIED OUT
58 | 27.03.2018 | YVR | 43186.4832 | 43186.5443 | 1:28 | HT SYSTEM FAULT | FOR INSTALLING FPI | FPI INSTALLED AT RMU | JANTA COLONY DWARKAPURI | 602
59 | 27.03.2018 | YVR | 43186.4896 | 43186.6938 | 4:54 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | SUBHASH PARK-GORAKH PARK, | 299 | PREVENTIVE MAINTENANCE CARRIED OUT
60 | 27.03.2018 | YVR | 43186.4979 | 43186.7089 | 5:04 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK A-NEW SILAMPURI PHASE IV | 569 | PREVENTIVE MAINTENANCE CARRIED OUT
61 | 27.03.2018 | YVR | 43186.5275 | 43186.5884 | 1:28 | HT SYSTEM FAULT | FOR CONNECTING NEW CABLE | NEW CABLE CONNECTED | C-6 YAMUNA VIHAR | 80
62 | 27.03.2018 | YVR | 43186.559 | 43186.6797 | 2:54 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK R-BRAHM PURI | 317 | PREVENTIVE MAINTENANCE CARRIED OUT
63 | 27.03.2018 | YVR | 43186.5597 | 43186.7086 | 3:34 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK B-MANUJPUR | 1279 | PREVENTIVE MAINTENANCE CARRIED OUT
64 | 27.03.2018 | YVR | 43186.5704 | 43186.6441 | 1:46 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | HT LEAD FAULTY SAME REPAIRED | BLOCK E-NEW SILAMPURI PHASE II | 835
65 | 27.03.2018 | YVR | 43186.6125 | 43186.67 | 1:23 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | MAUJPUR VILLAGE | 1215
66 | 27.03.2018 | YVR | 43186.7983 | 43186.8581 | 1:26 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | WIRE DAMAGED DUE TO FLASH ON POLE | DAMAGED WIRE REPAIRED | AMBEDKAR BASTI GHONDA | 1259