## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## OUTAGE
DISCOM : BYPL
OUTAGE REPORT FOR:06:00HRS. OF 28.03.2018 TO 06:00 HRS OF 29.03.2018
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
Details
1 | 28.03.2018 | CCK | 43187.4306 | 43187.5858 | 3:44 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | MAIN BAZAR-KHUSH DIL | 1064 | PREVENTIVE MAINTENANCE CARRIED OUT
2 | 28.03.2018 | CCK | 43187.4889 | 43187.553 | 1:32 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LT SOCKET BURNT SAME REPLACED | LALKUAN BAZAR-FRASH KHANA | 868
3 | 28.03.2018 | CCK | 43187.4924 | 43187.557 | 1:33 | HT SYSTEM FAULT | LOAD UNBALANCED | LOAD BALANCING CARRIED OUT | ROSHAN PURA-CHANDNI CHOWK | 405
4 | 28.03.2018 | CCK | 43187.7455 | 43187.8125 | 1:36 | LT FEEDER | TO ATTEND FAULT IN THE LINE | ELECTROCUTION OF EXTERNAL ELEMENT | MOR SARAY COLONY-CHANDNI CHOWK | 25
5 | 28.03.2018 | DGN | 43187.4516 | 43187.5298 | 1:53 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LT JUMPER FOUND LOOSE SAME ATTENDED | BLOCK 1-BALBIR NAGAR | 105
6 | 28.03.2018 | DGN | 43187.4653 | 43187.5416 | 1:50 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK A-JHILMIL INDUSTRIAL AREA | 13
7 | 28.03.2018 | DGN | 43187.4792 | 43187.6458 | 4:00 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK A-JHILMIL COLONY | 31 | PREVENTIVE MAINTENANCE CARRIED OUT
8 | 28.03.2018 | DGN | 43187.4996 | 43187.7306 | 5:33 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | LT POLE DAMAGED BY UNKNOWN VEHICLE | POLE REPLACED | RAJIV COLONY-JHILMIL INDUSTRIAL AREA | 164 | LT POLE DAMAGED BY UNKNOWN VEHICLE SAME REPLACED
9 | 28.03.2018 | DRG | 43187.4694 | 43187.5278 | 1:24 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | COMMUNITY CENTRE-JAMA MASZID | 4601
10 | 28.03.2018 | DRG | 43187.5021 | 43187.5891 | 2:05 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | CHRISTAN COLONY-KHABAS PURA | 500 | PREVENTIVE MAINTENANCE CARRIED OUT
11 | 28.03.2018 | JLM | 43187.4361 | 43187.5306 | 2:16 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | PRATAP KHAND | 311 | PREVENTIVE MAINTENANCE CARRIED OUT
12 | 28.03.2018 | JLM | 43187.5549 | 43187.7398 | 4:26 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | ANAND VIHAR C BLOCK | 942 | PREVENTIVE MAINTENANCE CARRIED OUT
13 | 28.03.2018 | KRN | 43187.425 | 43187.5092 | 2:01 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | RAGHUVIR PURA-KANTI NAGAR | 934 | PREVENTIVE MAINTENANCE CARRIED OUT
14 | 28.03.2018 | KRN | 43187.4382 | 43187.618 | 4:19 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK 5-GEETA COLONY | 3473 | PREVENTIVE MAINTENANCE CARRIED OUT
15 | 28.03.2018 | KRN | 43187.4716 | 43187.545 | 1:46 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LT LEAD FOUND FAULTY SAME REPAIRED | BLOCK J-KRISHNA NAGAR EAST | 190
16 | 28.03.2018 | KRN | 43187.4764 | 43187.6241 | 3:33 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | DHRAM PURA-KAILASH NAGAR | 941 | PREVENTIVE MAINTENANCE CARRIED OUT
17 | 28.03.2018 | KRN | 43187.6056 | 43187.675 | 1:40 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | WIRE DAMAGED DUE TO FLASH ON POLE | DAMAGED WIRE REPAIRED | SHANKAR NAGAR WEST-AZAD NAGAR | 555
18 | 28.03.2018 | KWN | 43187.3709 | 43187.4355 | 1:33 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS DP FUSE BLOWN SAME REPLACED | BLOCK C-SADAT PUR | 1566
19 | 28.03.2018 | KWN | 43187.4208 | 43187.5239 | 2:28 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK A-SHRI RAM COLONY | 1038 | PREVENTIVE MAINTENANCE CARRIED OUT
20 | 28.03.2018 | KWN | 43187.5094 | 43187.5644 | 1:19 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD FAULTY SAME REPAIRED | PART-6 SONIA VIHAR | 125
21 | 28.03.2018 | KWN | 43187.5312 | 43187.6046 | 1:46 | HT SYSTEM FAULT | LTAB FAULTY | LTAB REPAIRED | BLOCK B-KARAWAL NAGAR | 330
22 | 28.03.2018 | KWN | 43187.5357 | 43187.5828 | 1:08 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD FAULTY SAME REPAIRED | PHASE-7 SHIV VIHAR | 124
23 | 28.03.2018 | KWN | 43187.5486 | 43187.6293 | 1:56 | HVDS CABLE & OTHER SYSTEM | HVDS DP FUSE BLOWN | HVDS DP FUSE REPLACED | GALI NO-2 INDRA VIHAR | 345
24 | 28.03.2018 | KWN | 43187.5578 | 43187.6369 | 1:54 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD FAULTY SAME REPAIRED | MADINA MASJID SONIA VIHAR | 84
25 | 28.03.2018 | KWN | 43187.6206 | 43187.674 | 1:17 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD FAULTY SAME REPAIRED | GALI NO-15 AMBIKA VIHAR | 846
26 | 28.03.2018 | LNR | 43187.4521 | 43187.5751 | 2:57 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | MITRA APPARTMENT-MOTHER DAIRY | 60 | PREVENTIVE MAINTENANCE CARRIED OUT
27 | 28.03.2018 | LNR | 43187.4979 | 43187.6022 | 2:30 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK C-GURU ANGAD NAGAR WEST | 1740 | PREVENTIVE MAINTENANCE CARRIED OUT
28 | 28.03.2018 | LNR | 43187.6401 | 43187.691 | 1:13 | DISTRIBUTION TR. | TRANSFORMER REPLACEMENT | MOBILE TRANSFORMER REPLACED | LALITA PARK LNR | 1034
29 | 28.03.2018 | NNG | 43187.4405 | 43187.494 | 1:17 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | WIRE DAMAGED DUE TO FLASH ON POLE | DAMAGED WIRE REPAIRED | BLOCK KK-SUNDER NAGRI | 170
30 | 28.03.2018 | NNG | 43187.4491 | 43187.5285 | 1:54 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | SOCKET DAMAGED SAME REPLACED | BLOCK B-DURGA PURI | 2633
31 | 28.03.2018 | NNG | 43187.4878 | 43187.5634 | 1:49 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD FAULTY SAME REPAIRED | GAGAN CINEMA STREET NNG | 250
32 | 28.03.2018 | NNG | 43187.6471 | 43187.7182 | 1:42 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | DP FUSE BLOWN SAME REPLACED | BLOCK D-MEET NAGAR | 1490
33 | 28.03.2018 | NNG | 43187.648 | 43187.713 | 1:34 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | HTAB FAULTY SAME REPAIRED | SABOLI EXTENSION-MANDOLI | 3306
34 | 28.03.2018 | NNG | 43187.673 | 43187.7396 | 1:36 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | HTAB FAULTY SAME REPAIRED | BLOCK A-NATHU PURA | 5713
35 | 28.03.2018 | NNG | 43187.693 | 43187.742 | 1:11 | HT SYSTEM FAULT | LOAD REDUCED | TRANSIENT FAULT | BLOCK A-HARSH VIHAR | 256
36 | 28.03.2018 | NNG | 43187.7194 | 43187.7882 | 1:39 | HT SYSTEM FAULT | TRIPPING | CABLE FAULTY AREA BACKFEEDED | JYOTI NAGAR HARISAN BASTI | 445
37 | 28.03.2018 | NNG | 43187.8007 | 43187.8819 | 1:57 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD FAULTY SAME REPAIRED | BLOCK E-UTTARANCHAL COLONY | 430
38 | 28.03.2018 | NNG | 43187.8018 | 43187.8819 | 1:55 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LTAB FAULTY SAME REPAIRED | BLOCK E-RAJIV NAGAR | 75
39 | 28.03.2018 | PHG | 43187.4171 | 43187.6688 | 6:02 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | PANCHKUIAN ROAD RAILWAY COLONY-PAHAR GANJ | 702 | PREVENTIVE MAINTENANCE CARRIED OUT
40 | 28.03.2018 | PNR | 43187.4187 | 43187.5364 | 2:49 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK 3-DEV NAGAR | 1939 | PREVENTIVE MAINTENANCE CARRIED OUT
41 | 28.03.2018 | SRD | 43187.4326 | 43187.5694 | 3:17 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK 50-AJMAL KHAN PARK | 408 | PREVENTIVE MAINTENANCE CARRIED OUT
42 | 28.03.2018 | VSE | 43187.4819 | 43187.6868 | 4:55 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | EAST END APPARTMENT-NEW ASHOK NAGAR | 150 | PREVENTIVE MAINTENANCE CARRIED OUT
43 | 28.03.2018 | VSE | 43187.4979 | 43187.5462 | 1:10 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | GHAROLI VILLAGE-GHAROLI KONDLI | 1009
44 | 28.03.2018 | VSE | 43187.652 | 43187.724 | 1:44 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | FIRE IN FEEDER PILLAR | SERVICE LINE DAMAGED SAME ATTENDED | BLOCK B1-NEW ASHOK NAGAR | 827
45 | 28.03.2018 | YVR | 43187.4392 | 43187.4887 | 1:11 | HT SYSTEM FAULT | FOR ATTENDING CONSUMER COMPLAINT | SERVICE LINE FOUND LOOSE SAME ATTENDED | CHAUHAN BANGAR-JAFFRABAD | 3785
46 | 28.03.2018 | YVR | 43187.4431 | 43187.5748 | 3:10 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | C-BLOCK MAUJPUR | 1546 | PREVENTIVE MAINTENANCE CARRIED OUT
47 | 28.03.2018 | YVR | 43187.4443 | 43187.4906 | 1:07 | HT SYSTEM FAULT | FOR REMOVING ILLEGAL TAPPING | ILLEGAL TAPPING REMOVED | BLOCK C-NEW SILAMPURI PHASE II | 835
48 | 28.03.2018 | YVR | 43187.4486 | 43187.5775 | 3:06 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | VIJAY PARK-YAMUNA VIHAR | 2304 | PREVENTIVE MAINTENANCE CARRIED OUT
49 | 28.03.2018 | YVR | 43187.4563 | 43187.6587 | 4:51 | PLANNED SHUTDOWN | PREVENTIVE MAINTENANCE | PREVENTIVE MAINTENANCE CARRIED OUT | BLOCK B-GARI MANDU | 1225 | PREVENTIVE MAINTENANCE CARRIED OUT
50 | 28.03.2018 | YVR | 43187.4691 | 43187.5212 | 1:15 | HVDS TRANSFORMER | REPLACEMENT OF HVDS TRANSFORMER | HVDS TRANSFORMER REPLACED | B-BLOCK NEW SEELAMPUR | 80
51 | 28.03.2018 | YVR | 43187.5026 | 43187.56 | 1:23 | HT SYSTEM FAULT | FOR REMOVING ILLEGAL TAPPING | ILLEGAL TAPPING REMOVED | BLOCK B-BRAHM PURI | 1079
52 | 28.03.2018 | YVR | 43187.5128 | 43187.5614 | 1:10 | HT SYSTEM FAULT | LOAD UNBALANCED | LOAD BALANCING CARRIED OUT | BLOCK B-MANUJPUR | 1129
53 | 28.03.2018 | YVR | 43187.522 | 43187.573 | 1:13 | HT SYSTEM FAULT | FOR ATTENDING CONSUMER COMPLAINT | SERVICE LINE FOUND LOOSE SAME ATTENDED | BLOCK F-SHIV VIHAR | 41
54 | 28.03.2018 | YVR | 43187.5413 | 43187.6008 | 1:26 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | SOCKET DAMAGED SAME REPLACED | WELCOME COLONY SEELAMPUR | 82
55 | 28.03.2018 | YVR | 43187.57 | 43187.6296 | 1:26 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | BIRDAGE FOUND ON LINE SAME REMOVED | CHAUHAN BANGAR-JAFFRABAD | 211
56 | 28.03.2018 | YVR | 43187.5823 | 43187.6298 | 1:08 | HT SYSTEM FAULT | LOAD UNBALANCED | LOAD BALANCING CARRIED OUT | ZERO PUSTA-USMAN PUR | 73
57 | 28.03.2018 | YVR | 43187.5853 | 43187.63 | 1:04 | HT SYSTEM FAULT | FOR ATTENDING CONSUMER COMPLAINT | JUMPER FOUND LOOSE SAME ATTENDED | BLOCK U-WELCOME COLONY | 1855
58 | 28.03.2018 | YVR | 43187.9017 | 43187.9479 | 1:07 | LT FEEDER | FOR ATTENDING CONSUMER COMPLAINT | SERVICE LINE FOUND LOOSE SAME ATTENDED | C BLOCK-SHASTRI PARK | 89