## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## OUTAGE
DISCOM : BYPL
OUTAGE REPORT FOR:06:00HRS. OF 29.03.2018 TO 06:00 HRS OF 30.03.2018
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
Details
1 | 29.03.2018 | CCK | 43188.4976 | 43188.5619 | 1:33 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | WIRE DAMAGED DUE TO FLASH ON LINE | DAMAGED WIRE REPAIRED | CHABI GANJ-MORI GATE | 1046
2 | 29.03.2018 | CCK | 43188.5111 | 43188.5751 | 1:32 | LT FEEDER | TO ATTEND FAULT IN THE LINE | BIRDAGE FOUND ON LINE SAME REMOVED | AJMERI GATE-CHANDNI CHOWK | 447
3 | 29.03.2018 | CCK | 43188.5744 | 43188.6181 | 1:03 | HT SYSTEM FAULT | TRIPPING | TRANSIENT FAULT | FATEHPURI MASJID-CHANDNI CHOWK | 4227
4 | 29.03.2018 | CCK | 43188.5744 | 43188.6285 | 1:18 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | BIRDAGE FOUND ON LINE SAME REMOVED | FATEHPURI-KUCHA HASIRAM | 1131
5 | 29.03.2018 | CCK | 43188.6279 | 43188.7083 | 1:56 | HT SYSTEM FAULT | TRIPPING | SOCKET BURNT SAME REPLACED | BARSHABULLAH CHANDNI CHOWN | 980
6 | 29.03.2018 | DGN | 43188.4479 | 43188.5236 | 1:49 | HT SYSTEM FAULT | FAULT IN RMU | MAINTENANCE OF RMU CARRIED OUT | MIG FLATS-POCKET F & E DILSHAD GARDEN | 267
7 | 29.03.2018 | DGN | 43188.4741 | 43188.5535 | 1:54 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LT SOCKET BURNT SAME REPLACED | JHILMIL INDUSTRIAL AREA-JHILMIL COLONY | 30
8 | 29.03.2018 | DGN | 43188.4792 | 43188.55 | 1:42 | LT FEEDER | TO ATTEND FAULT IN THE LINE | JUMPER FOUND LOOSE SAME ATTENDED | BLOCK A-PRATAP PURA | 14
9 | 29.03.2018 | DGN | 43188.5104 | 43188.5896 | 1:54 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | LT POLE DAM,AGED | DAMAGED POLE REPAIRED | BLOCK A-PRATAP PURA | 164
10 | 29.03.2018 | DRG | 43188.5604 | 43188.6321 | 1:43 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LT LEAD FAULTY SAME REPAIRED | HAWELI AZAM KHAN & CHITLI QABAR | 64
11 | 29.03.2018 | KWN | 43188.2639 | 43188.3208 | 1:22 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS DP FUSE BLOWN SAME REPLACED | BLOCK F-INDIRA VIHAR | 690
12 | 29.03.2018 | KWN | 43188.3299 | 43188.4463 | 2:48 | HVDS CABLE & OTHER SYSTEM | HVDS LEAD BURNT | HVDS LEAD REPAIRED | BLOCK C-1 SONIA VIHAR | 345 | HVDS LEAD BURNT SAME REPAIRED
13 | 29.03.2018 | KWN | 43188.4334 | 43188.5033 | 1:41 | HT SYSTEM FAULT | CABLE END BOX DAMAGED | CABLE END BOX REPAIRED | BLOCK H-SHIV VIHAR | 1837
14 | 29.03.2018 | KWN | 43188.5926 | 43188.6479 | 1:20 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD FAULTY SAME REPAIRED | BLOCK M-SHIV VIHAR | 1837
15 | 29.03.2018 | KWN | 43188.6022 | 43188.6646 | 1:30 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | HT SOCKET BURNT SAME REPLACED | CHAUHAN PATTI SHIV VIHAR | 5058
16 | 29.03.2018 | KWN | 43188.6939 | 43188.7471 | 1:17 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS DP FUSE BLOWN SAME REPLACED | O & P BLOCKS SHIV VIHAR KARWAL NAGAR | 124
17 | 30.03.2018 | KWN | 43189.0021 | 43189.0678 | 1:35 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | TRANSFORMER FUSE BLOWN SAME REPLACED | KACHI COLONY-JAGJEET NAGAR | 5058
18 | 30.03.2018 | KWN | 43189.0941 | 43189.1467 | 1:16 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | BIRDAGE FOUND ON LINE SAME REMOVED | A & B BLOCK WEST KARAWAL NAGAR | 924
19 | 29.03.2018 | LNR | 43188.5709 | 43188.6269 | 1:21 | LT FEEDER | LOAD UNBALANCED | LOAD BALANCING CARRIED OUT | FAZALPUR-MANDAWALI VILLAGE | 720
20 | 29.03.2018 | LNR | 43188.6212 | 43188.6953 | 1:47 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LT LEAD FAULTY SAME REPAIRED | BLOCK G-PREET VIHAR | 164
21 | 29.03.2018 | NNG | 43188.5263 | 43188.6019 | 1:49 | HT SYSTEM FAULT | WIRE DAMAGED DUE TO FLASH ON LINE | DAMAGED WIRE REPAIRED | BLOCK A-EAST GOKUL PURI | 252
22 | 29.03.2018 | NNG | 43188.5539 | 43188.6201 | 1:35 | HVDS TRANSFORMER | REPLACEMENT OF HVDS TRANSFORMER | HVDS TRANSFORMER REPLACED | SABOLI COLONY-MANDOLI | 5294
23 | 29.03.2018 | NNG | 43188.5567 | 43188.6176 | 1:28 | HVDS CABLE & OTHER SYSTEM | HVDS CABLE FAULTY | HVDS CABLE REPAIRED | VILLAGE SABOLI-SABOLI EXTENSION | 124
24 | 29.03.2018 | NNG | 43188.587 | 43188.6645 | 1:51 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | HTAB FAULTY SAME REPAIRED | BLOCK D-MANDOLI EXTENSION | 1362
25 | 29.03.2018 | NNG | 43188.6556 | 43188.7074 | 1:15 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HTAB FAULTY SAME REPAIRED | MILAN GARDEN NNG | 215
26 | 29.03.2018 | NNG | 43188.7221 | 43188.7972 | 1:48 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD FAULTY SAME REPAIRED | NEW MANDOLI INDUSTRIAL AREA | 258
27 | 29.03.2018 | NNG | 43188.7404 | 43188.8141 | 1:46 | HVDS CABLE & OTHER SYSTEM | HVDS CABLE FAULTY | HVDS CABLE REPAIRED | BLOCK D-HARSH VIHAR | 863
28 | 29.03.2018 | PHG | 43188.4814 | 43188.5381 | 1:22 | LT FEEDER | TO ATTEND FAULT IN THE LINE | EXTERNAL ELEMENT FOUND ON LINE SAME REMOVED | BLOCK B-ARAM BAGH | 656
29 | 29.03.2018 | PHG | 43188.5148 | 43188.5871 | 1:44 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LT SOCKET BURNT SAME REPLACED | CHOWK NAI BASTI-SADAR BAZAR | 830