## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## OUTAGE
DISCOM : BYPL
OUTAGE REPORT FOR:06:00HRS. OF 30.03.2018 TO 06:00 HRS OF 31.03.2018
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
Details
1 | 30.03.2018 | CCK | 43189.4907 | 43189.5603 | 1:40 | LT FEEDER | TO ATTEND FAULT IN THE LINE | LT SOCKET BURNT SAME REPLACED | LALKUAN BAZAR-FRASH KHANA | 868
2 | 30.03.2018 | CCK | 43189.5203 | 43189.5851 | 1:33 | LT FEEDER | FOR CONNECTING NEW CABLE | NEW CABLE CONNECTED | ZEENAT BARI-MORI GATE | 1283
3 | 30.03.2018 | KWN | 43189.3194 | 43189.3854 | 1:35 | HT SYSTEM FAULT | CABLE END BOX DAMAGED | END BOX REPAIRED | BLOCK C-KARAWAL NAGAR | 2370
4 | 30.03.2018 | KWN | 43189.4028 | 43189.4514 | 1:10 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | BIRDAGE FOUND ON LINE SAME REMOVED | BLOCK C-BHAGAT SINGH COLONY | 1038
5 | 30.03.2018 | KWN | 43189.4167 | 43189.5417 | 3:00 | HT SYSTEM FAULT | CABLE END BOX DAMAGED | CABLE END BOX REPAIRED | BADARPUR KHADAR,SABHAPUR VILLAGE | 1285 | CABLE END BOX DAMAGED SAME REPAIRED
6 | 30.03.2018 | KWN | 43189.6042 | 43189.6839 | 1:55 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD FAULTY SAME REPAIRED | JOHRI ENCLAVE-BHAGIRATHI VIHAR | 84
7 | 30.03.2018 | KWN | 43189.656 | 43189.7258 | 1:41 | LT FEEDER | FOR CONNECTING NEW CABLE | NEW CABLE CONNECTED | POCKET C1-SADATPUR EXTENSION-PUSTA AREA | 1050
8 | 30.03.2018 | KWN | 43189.6667 | 43189.7292 | 1:30 | HT SYSTEM FAULT | TRANSFORMER FUSE BLOWN | TRANSFORMER FUSE REPLACED | BLOCK C-SHERPUR | 5501
9 | 30.03.2018 | KWN | 43189.6743 | 43189.7326 | 1:24 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS DP FUSE BLOWN SAME REPLACED | BLOCK F-MUSTAFABAD | 690
10 | 30.03.2018 | KWN | 43189.6765 | 43189.75 | 1:46 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD FAULTY SAME REPAIRED | BLOCK L-SHIV VIHAR | 1837
11 | 31.03.2018 | LNR | 43190.1925 | 43190.2458 | 1:17 | HT SYSTEM FAULT | TRIPPING | CABLE FAULTY AREA BACKFEEDED | MOTHER DAIRY-INDRAPRASTHA EXTENSION LNR | 480
12 | 30.03.2018 | NNG | 43189.4991 | 43189.5771 | 1:52 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS LEAD FAULTY SAME REPAIRED | BLOCK D-HARSH VIHAR | 1643
13 | 30.03.2018 | NNG | 43189.5119 | 43189.5852 | 1:45 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HVDS DP FUSE BLOWN SAME REPLACED | BLOCK B-SEWA | 172
14 | 30.03.2018 | NNG | 43189.6449 | 43189.7102 | 1:34 | HVDS CABLE & OTHER SYSTEM | TO ATTEND FAULT IN THE LINE | HTAB FAULTY SAME REPAIRED | BLOCK B-ANUP VIHAR | 254
15 | 30.03.2018 | NNG | 43189.6758 | 43189.7454 | 1:40 | HT SYSTEM FAULT | TO ATTEND FAULT IN THE LINE | HTAB CABLE END BOX FAULTY SAME ATTENDED | GALI NO-3 SHAKTI GARDEN | 250
16 | 30.03.2018 | NNG | 43189.7868 | 43189.8508 | 1:32 | HVDS TRANSFORMER | OIL LEAKAGE FROM 25KVA HVDS TRANSFORMER | OIL LEAKAGE PROBLEM ATTENDED | RAJEEV NAGAR INDUSTRIAL AREA | 1362
17 | 31.03.2018 | NNG | 43190.1542 | 43190.2083 | 1:18 | HT SYSTEM FAULT | TRIPPING | TRANSFORMER FUSE BLOWN SAME REPLACED | JANTA FLATS-NAND NAGARI | 5798
18 | 30.03.2018 | PNR | 43189.6695 | 43189.7326 | 1:31 | HT SYSTEM FAULT | TRIPPING | RMU HT PANEL FLASHED SAME ATTENDED | BLOCK 1B-DEV NAGAR | 4685
19 | 30.03.2018 | YVR | 43189.4723 | 43189.6369 | 3:57 | HT SYSTEM FAULT | FOR INSTALLING NEW DISTRIBUTION BOX | DISTRIBUTION BOX AND CABLE INSTALLED ON NEW POLE | BLOCK T-GAUTAM PURI | 345 | NEW DISTRIBUTION BOX AND CABLE INSTALLED ON NEW POLE
20 | 30.03.2018 | YVR | 43189.4836 | 43189.5439 | 1:27 | HT SYSTEM FAULT | WIRE DAMAGED DUE TO FIRE ON POLE | DAMAGED WIRE REPAIRED | NEW SILAMPURI PHASE II | 256