## Format
DISCOM : BRPL
OUTAGE REPORT FOR : 17/03/2018 06:00Hr. To 18/03/2018 06:00Hr.
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Area / DT Effected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Detail
1 | 17/03/2018 | KPR | 07:47 | 09:26 | 01:38 | LT FEEDER | Grid:66kV BATRA GRID To Feeder:11kV FDR TIGRI KIOSK , LT ACB,:PHASE NOT COMING OUT, | RESTORED/ REPAIRED | Part of : *TRF-2 HTC:DDA KURA WALA,NR Jal Board,SV* | 1
2 | 17/03/2018 | KPR | 07:56 | 09:30 | 01:33 | LT FEEDER | Grid:TUGHLAKABAD (33/11kV) GRID SSTN To Feeder:11kV FDR DMS TRUST , LT ACB,:LT ACB FLASH, | RESTORED/ REPAIRED | Part of : *TRF-1 NAI BASTI DEVLI (NEW):PL* | 98
3 | 17/03/2018 | ALN | 10:00 | 13:32 | 03:32 | PLANNED SHUTDOWN | Grid:33kV MASJID MOTH GRID To Feeder:11kV FDR VIPS INDIA , 11KV FEEDER:TO SHIFT THE CABLE | RESTORED/ REPAIRED | Part of : *TRF-1 M.MOTH COMMUNITY CENTRE:ID*,*TRF-2 M.MOTH COMMUNITY CENTRE:ID*,*TRF-3 M.MOTH COMMUNITY CENTRE:ID* | 203
4 | 17/03/2018 | ALN | 10:00 | 13:32 | 03:32 | PLANNED SHUTDOWN | Grid:33kV MASJID MOTH GRID To Feeder:11kV FDR E-BLOCK G.K-2 COMP. CENTER , 11KV FEEDER:TO SHIFT THE CABLE | RESTORED/ REPAIRED | Part of : *TRF-1E-BLOCK GK-2 COMPLAINT CENTER:ID:PG*,*TRF-2 E-BLOCK GK-2 COMPLAINT CENTER:ID:PG* | 218
5 | 17/03/2018 | KPR | 10:00 | 15:58 | 05:58 | PLANNED SHUTDOWN | Grid:66kV MALVIYA NAGAR GRID To Feeder:11kV FDR JJ KHANPUR , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 MCD SCHOOL ROAD:PL | 245
6 | 17/03/2018 | VKJ | 10:00 | 15:36 | 05:36 | PLANNED SHUTDOWN | Grid:66kV I.O.C BIJWASAN GRID To Feeder:11 kV FDR NAVAL KAPASHERA , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of :400 KVA HARDAT | 73
7 | 17/03/2018 | VKP | 10:00 | 12:32 | 02:32 | PLANNED SHUTDOWN | Grid:HASTAL (66/11kV) GRID SSTN To Feeder:HASTAL VIHAR , HVDS:MAINTENANCE WORK | RESTORED/ REPAIRED | Part of : *630 TRF-2:HASTAL VHIAR I/D*,*400 TRF-1:HASTAL VHIAR I/D* | 350
8 | 17/03/2018 | ALN | 10:00 | 13:33 | 03:33 | PLANNED SHUTDOWN | Grid:33 kV ALAKNANDA GRID To Feeder:11 kV FDRW-1 BLOCK G.K-2 , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-2 W-1 GKII* | 98
9 | 17/03/2018 | NZD | 10:00 | 15:21 | 05:21 | PLANNED SHUTDOWN | Grid:DEFENCE COLONY (33/11kV) GRID SSTN To Feeder:11kV FDR SEWA NAGAR , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 K-BLOCK SEWA NAGAR KOTLA MUBARAKPUR: PL* | 245
10 | 17/03/2018 | VKP | 10:03 | 14:39 | 04:36 | PLANNED SHUTDOWN | Grid:BODELLA-II GRID To Feeder:11KV FDR DDA TRANSIT CAMP NO.-2 , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *SHIV VIHAR, JJ COLONY*,*25 TRF-1: SHIV VIHAR J J COLONY NEAR ROAD*,*630 TRF-1:SHIV VIHAR SHANI MARKET*,*SHIV VIHAR JJ CLNY NR ROAD*,*400 TRF-1:RAJ HANS :PL*,*100 TRF-1:COL BHATIA FARM* | 627
11 | 17/03/2018 | VKP | 10:03 | 14:52 | 04:49 | PLANNED SHUTDOWN | Grid:HASTAL (66/11kV) GRID SSTN To Feeder:PRESS ENCLAVE , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *630 TRF-1:PHIRNI WALA PL/M S/STN* | 245
12 | 17/03/2018 | NJF | 10:15 | 15:03 | 04:48 | PLANNED SHUTDOWN | Grid:DELHI JAL BOARD NAJAFGARH WATER WORKS (66/11) To Feeder:GOYALA SCHOOL , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *630 TRF-1:DEENPUR 3*,*25TRF-1:ANAND GOELA*,*400TRF-1:VILL GOELA STN 1*,*100TRF-1:VILL GOELA STN 1*,*NOT IN EMG*,*16 TRF-1:PREM JHAKHAR SHAM VIHAR*,*SHYAM VIHAR PH-II DEENPUR* | 462
13 | 17/03/2018 | NJF | 10:15 | 15:03 | 04:48 | PLANNED SHUTDOWN | Grid:DELHI JAL BOARD NAJAFGARH WATER WORKS (66/11) To Feeder:KAPOOR FARM , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRNSF OILDT 11KV/433V 400KVA*,*25 TRF-1: SBI BANK NAGLI DAIRY*,*3W RMU DandE-BLK S/S-3 NANGLI VIHAR*,*400 TRF-1:NANGLI VIHAR*,*100 TRF-:MUKESH SHARMA P/M S/STN*,*400 TRF:-NANGLI VIHAR EXTN*,*100 TRF-1:ST LT NANGLI MOOR*,*400 TRF-1: N I T U NEAR STATE BANK NANGLI DAIRY*,*400 TRF : NANGLI SAKRAWATI*,*HTC KANT DARBAR NANGLI S*,*100 TRF-1:GREEN TREE SCHOOL INDIRA PARK*,*100 TRF-1:SAI BABA TEMPLE NANGLI*,*DJB STAFF Q, GOVT NURSURY*,*AKASH PUBLIC SCHOOL ARJUN PARK*,*3PH TR HVDS INDRA PARK* | 623
14 | 17/03/2018 | NJF | 10:15 | 14:15 | 04:00 | PLANNED SHUTDOWN | Grid:NAJAFGARH (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR KAKROLA FEEDER , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *400TRF-1:NS BLK *,*100 TRF-1:RAGHUBIR BOHARA VLG NANGLI*,*400 TRF:- RANAJI ENCLAVE*,*400 TRF1: SAINIK ENCLAVE MAKSUDABAD*,*CAPITAL TYAGI FARM*,*25 TRF-1: DELHI JAL BOARD NEAR RANA BABA MANDIR*,*25 TRF-1:ST LTG MATA MANDIR NANGLI*,*DIVYANSHU FACTORY* | 512
15 | 17/03/2018 | SKT | 10:29 | 12:25 | 01:55 | PLANNED SHUTDOWN | Grid:33kV ANDHERIA BAGH GRID To Feeder:11kV FDR SATABARI , 11KV FEEDER:MAKING OF END BOX | RESTORED/ REPAIRED | Part of : *TRF-1 D-2 ANSAL SATBARI:PM*,ASHOK PRADHAN:PM*RELIANCE TOWER CHANDAN HOLLA*TRF-1 JAIN FARM SULTANPUR,100 KVA S/Stn.*,*TRF-1 VILLAGE CHANDANHOLA:PM*,*TRF-1 A-31 ANSAL SATBARI:PM*,*TRF-1 D-16 ANSAL SATBARI:PL*,*TRF-1 AGGARWAL COLONY*,*TRF-1 GURINDER KAUR FARM NO 11 SAHURPUR*,*TRF-1 PATEL FARM SAHURPUR*,**,*TRF-1 F-55, SURI FARM SATBARI:PM*;E- ANSAL FARM*,*TRF-1 E-7 ANSAL VILLA SATBARI*TRF-1 VIDHA DHARI SAHURPUR:PM*,*TRF-1 SKT844;D 21A ANSAL VILLA, SATBARI*,*TRF-1 C-8 ANSAL SATBARI;PM*,E-1 ANSAL VILLA SATBARI GUPTA FARM*,*TRF-1 ;SANT YOGA ASHRAM:PM*,*TRF-1 JAIN FARM -SAHURPUR*,*TRF-1 PRABHU CHAWLA*,*TRF-1 HTC:CHADHA FARM-1:PM*SAHUR PUR (CHRISHAN):PM*UPPAL STN:PM*,*TRF-1 KHADHAK VILL*EXECUTIVE CLUB-SAHURPUR*,*TRF-1 D-31 ANSAL VILLA SATBARI* | 419
16 | 17/03/2018 | PJB | 10:30 | 16:05 | 05:35 | PLANNED SHUTDOWN | Grid:VISHAL (33/11kV) GRID SSTN To Feeder:11kV FDR PUNJABI BAGH BOOSTER PUMP , RMU:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *630 TRF-1: NORTHWEST AVENUE CHOWK (NWA),PJB* | 241
17 | 17/03/2018 | SKT | 10:30 | 14:52 | 04:22 | PLANNED SHUTDOWN | Grid:66kV MALVIYA NAGAR GRID To Feeder:11kV FDR SEC-1 S/S NO.-1 PUSHP VIHAR , 11KV FEEDER:TREE TRIMMING | RESTORED/ REPAIRED | Part of : *TRF-1 SAKET GHK PUBLIC SCHOOL:PM(GURUDWARA)*,*TRF-2 STN-6 SEC-1 PUSHAP VIHAR:ID*,*TRF-1 STN-2 SEC-1 PUSHAP VIHAR:ID*,*TRF-1 STN-1 SEC-1 PUSHAP VIHAR:ID*,*TRF-1 LADO SARAI PREM SINGH:PL*STN-2 SEC-1 PUSHAP VIHAR:ID*,*TRF-2 STN-1 SEC-3 PUSHAP VIHAR:ID*,*TRF-1 LADO SARAI PREM SINGH:PL*,*TRF-1 LADO SARAI PREM SINGH:PL*STN-6 SEC-1 PUSHAP VIHAR:ID*,*TRF-1 LADO SARAI DHOLPIR:PM*,*TRF-1 SAIDULA JAB M B RD:PG*,*TRF-2 STN-1 SEC-1 PUSHAP VIHAR:ID*,*TRF-1 STN-1 SEC-3 PUSHAP VIHAR:ID* | 512
18 | 17/03/2018 | SKT | 10:30 | 14:55 | 04:25 | PLANNED SHUTDOWN | Grid:66kV MALVIYA NAGAR GRID To Feeder:11kV FDR SPORTS COMPLEX SAKET , 11KV FEEDER:TREE TRIMMING | RESTORED/ REPAIRED | Part of : *TRF-1 SAIDULA JAB MCD SCHOOL:PM*SAIDULA JAB RAM PAL:PL*,*TRF-1 GARDEN OF 5 SENSES ROAD SAIDULAJAB*,*TRF-1 GARDEN OF 5 SENSES ROAD SAIDULAJAB*,*TRF-2 SAIDULA JAB RAM PAL:PL*,*TRF-1 OPPOSITE BANERJEE HOSP. SAIDULAJAB*,*TRF-1 ;KHER SINGH* | 486
19 | 17/03/2018 | VKP | 10:30 | 14:33 | 04:03 | PLANNED SHUTDOWN | Grid:HASTAL (66/11kV) GRID SSTN To Feeder:GURUDWARA HASTAL ROAD , LT ACB:MAINTENANCE | RESTORED/ REPAIRED | Part of : *990 TRF-2:GURUDWARA STN-1* | 124
20 | 17/03/2018 | PLM | 10:31 | 11:33 | 01:01 | HT SYSTEM FAULT | Grid:BINDAPUR (G-3 PPK) (66/11kV) GRID SSTN To Feeder:DABRI NO 1 , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : *990 TRF-1:DABRI MORE I/D*,*630 TRF-1:A-3 DURGA PARK NANDLAL WALA*,*630 TRF-2:Durga Park Gali no.4 S/s*,*630 TRF-1 : DABRI PONDWALA*,*Durga park gali no.-4*,*ADD NEW DT*,*630 TRF-3:Durga Park Gali no.4 S/s*,*630 TRF-2:DABRI MORE I/D* | 578
21 | 17/03/2018 | NJF | 10:40 | 15:03 | 04:23 | PLANNED SHUTDOWN | Grid:NAJAFGARH (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR PUMPING FEEDER , 11KV FEEDER:TREE TRIMMING | RESTORED/ REPAIRED | Part of : *990 TRF-1:TODARMAL COLONY*,*630 TRF-1:THANA STN NO 1*,*100 TRF-1:SHO THANA NJF*,*THANA S/STN NO.-1*,*630 TRF-1:PREM NAGAR STN 1*,*100 TRF-1:P.HOUSE CAMPUS 220 GRID NJF*,*400 TRF-1:PAPRAWAT MORE*,*JAIN MANDIR OLD KAIRA ROAD* | 489
22 | 17/03/2018 | JFR | 10:41 | 16:03 | 05:22 | PLANNED SHUTDOWN | Grid:JAFFARPUR (66/11kV) GRID SSTN To Feeder:11KV NEW MUNDHELA , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *25 TRF-1:KHAZAN SINGH VILL M. KHURD*,*100 TRF-1:AOP VILL V MUNDELLA KALAN*,*MANOJ VILL MUNDELA KHURD*,*NOT IN EMG*,*25 TRF-1: NAFE SINGH MUNDELA KHURD*,* BADLEY VILL MUNDELA KALAN/ SATISH*,*NOT IN EMG*,*100 TRF-1:JOTE RAM VLG MUNDELLA KALAN*,*KARAN SINGH VILL MUNDELA KHURD*,* TRANSFORMER,11/0.433KV 100KVA OIL TYPE*,*25 TRF-1: MER SINGH MUNDELA KHURD,P/M,S/STN*,* TRANSFORMER,11/0.433KV 100KVA OIL TYPE*,*100 TRF: T/WELL S/TN. DICHAON*100 TRF-1:RAM KISHN VLG MUNDELLA KALAN*,*16 TRF-1:J P FARM NR REWTA MODE*NAWAL SINGH MUNDELA KHURD*,* TRANSFORMER,11/0.433KV 100KVA OIL TYPE*,*100 TRF-1:ATTAR SNG VLG MUNDELLA KALAN*,*100 TRF-1:PARTAP VLG MUNDELLA KALAN*,*25 TRF-1:W/SPLY MUNDELLA KHURD*,*OMPRAKASH VILL-KAIR*,*25 TRF-1: PURAN MUNDELA KHURD ,P/M,S/STN.*,*SANJEEV -VILL MUNDELA KALANVIJAY ELECTRIC*,*25 TRF-2: HARDWARI NO.1 MUNDELA KHURD* | 671
23 | 17/03/2018 | JFR | 10:41 | 15:55 | 05:14 | PLANNED SHUTDOWN | Grid:JAFFARPUR (66/11kV) GRID SSTN To Feeder:11KV DHANSA , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *ST.LT MUNDLAN KALAN,SHANI MANDRKANOHAR*BSES ISSAPUR**100 TRF-1:MTNL VILL DHANSA*25 TRF-1: KHUBI RAM VILL- ISSAPUR*,*25 TRF-1:VASHIT FARM GOPAL NGR*,*100 TRF-1:SHIV SHANKAR VLG DHANSA*,*16 TRF-1:PREM WATI VLG DHANSA*,*100 TRF-1:RATTAN VLG DHANSA*,*NOT IN EMG*,*S/S:SANDEEP,ISSAPUR*,*NOT IN EMG*,*SHER SINGH VILL DHANSA:PM*,*RANDHIR VILL DHANSA*100 TRF-1:JAGE VILLAGE DHANSA*,*25 TRF-1:S/S BALJEET -ISSAPURP/M*100 TRF-:CHEHEL VILL DHANSA:PM*,*630 TRF-1:VILLAGE ISSAPUR 1*,*100 TRF-1:RISHAL VLG SAMASPUR*,*400 TRF-1:S/S NO 1 VILL DHANSA:PM*100 TRF-1:BAKHTAWAR VLG DHANSA**25 TRF-1:S/S RANDHIR -ISSAPURP/M*,*100 TRF-1:RAMPAT VLG SAMASPUR*,*100 TRF-1:RAMSAWROOP VLG DHANSA*,*100 TRF-1:M I D VILL DHANSA BORDER:PM*,*100 TRF-1:BALDEVA VLG ISSAPUR*,*100 TRF-1:CHANDER VLG DHANSA*,*16 TRF-1:RAN VIR SINGH VLG DHANSA*,*100 TRF-1:PIARE LAL VLG DHANSA* | 759
24 | 17/03/2018 | NJF | 10:45 | 15:02 | 04:17 | PLANNED SHUTDOWN | Grid:66kV I.O.C BIJWASAN GRID To Feeder:11kV FDR B.S.F CHAWLA CAMP , 11KV FEEDER:TREE TRIMMING | RESTORED/ REPAIRED | Part of : TRF-1:CHHAWLA STN 2*,*VILLAGE BAMNAULI GRID*,*100 TRF-1:STEEPLE FARM CHHAWLA*,*100 TRF-1:-BRIGADIER*,*100 TRF-1:ASHIRWAD FARM CHHAWLA*,*S/S NO-6 CHAWLA*,*100 TRF-2: STN 3 CHHAWLA*,*630 TRF-1:CHHAWLA 3*,*100 TRF-1:SURI FARM BIJWASAN*,*400 TRF-1: S/S-6,VILCHHAWLA,NR SHIV M.*,*NOT IN EMG* | 462
25 | 17/03/2018 | VKP | 10:47 | 14:31 | 03:41 | EMERGENCY SHUTDOWN | Grid:BODELLA-I GRID SSTN To Feeder:HIMGIRI APPARTMENT LIONS , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *400 TRF-1:JG-2 LIG P/M VIKAS PURI* | 159
26 | 17/03/2018 | SVR | 10:47 | 12:12 | 01:25 | LT FEEDER | Grid:33kV KILOKARI GRID SSTN To Feeder:11kV FDR SRI NIWAS PURI MAIN S/STN , LT POLE,:CURRENT LEAKAGE, | RESTORED/ REPAIRED | Part of : *TRF-1 H-BLOCK S.N PURI;;* | 72
27 | 17/03/2018 | PLM | 11:00 | 14:53 | 03:53 | PLANNED SHUTDOWN | Grid:G-6 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11kV FDR RANJIT VIHAR SECTOR-23 DWARKA , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : *HT CONSUMER INDIAN HEIGHT SCHOOL SEC-23* | 1
28 | 17/03/2018 | SVR | 11:00 | 15:06 | 04:06 | PLANNED SHUTDOWN | Grid:JAMIA MILIA (33/11kV) GRID SSTN To Feeder:11kV FDR JAMIA STADIUM + RMU NO.-2 , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-2 ALTAKWA MASJID BATLA HOUSE*,*TRF-2 ALTAKWA MASJID BATLA HOUSE* | 294
29 | 17/03/2018 | SKT | 11:00 | 14:56 | 03:56 | PLANNED SHUTDOWN | Grid:66kV C-DOT GRID To Feeder:11kV FDR RMU BANDH ROAD , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 F-37A RADHEY MOHAN DRIVE*,NATIA PRADHAN*,*TRF-1 F-48 RADHEY MOHAN DRIVE*,*TRF-1 FARM NO 12 RMD JONAPUR*,*TRF-1 SANSKRITI BUILDCON, F 56, RMD*ANIL GUPTA S/STN PALM DRIVE CHATTERPUR*F-49 RADHEY MOHAN DRIVE LOCHAN SINGH*,*TRF-1 PANCHWATI-GHORA FARM RADHEMOHAN DRIVE:PM*,*TRF-1 SKT060;TEK CHAND FATEHPUR:PM*DHANTA FATEH PUR BERI:PM*F-51 RADHEY MOHAN DRIVE*,*TRF-1 F-48 RADHEY MOHAN DRIVE*,*TRF-1 ANANDMANGAL BANDH ROAD GADAIPUR*,F-54 RADHEY MOHAN DRIVE*,*TRF-1 F-25 RADHEY MOHAN DRIVE*TRF-1 F-48 RADHEY MOHAN DRIVE*F-49 RADHEY MOHAN DRIVE*F-50 RADHEY MOHAN DRIVE*,*TRF-1 ANIL GUPTA S/STN PALM DRIVE CHATTERPUR*, | 523
30 | 17/03/2018 | MDK | 11:00 | 16:21 | 05:21 | PLANNED SHUTDOWN | Grid:66/11KV MUNDKA GRID To Feeder:11kV FDR SUBHASH VIHAR-2 , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *100TRF-1:MTNL TIKRI KALAN:PM*,*400TRF-1:TIKRI S/S-8 NR SHAHEED BHAGAT SINGH PARK*,*990TRF-1:TIKRI VILLAGE S/STN-6:PL*,*630 TRF-1:TIKRI VILLAGE STN-3*,*400 TRF-1: NEAR TIKRI LALTEN*,*100TRF-1:HINDUSTAN SANIT NR CC CENTER*,*990TRF-1:TIKRI VILLAGE S/STN-5:PL*,*990 TRF-1:TIKRI VILLAGE S/STN-2:PL*,*630 TRF-1:TIKRI VILLAGE STN-1*,*400 TRF-1:TIKRI VILLAGE S/STN-4:PM* | 628
31 | 17/03/2018 | SKT | 11:00 | 13:52 | 02:52 | PLANNED SHUTDOWN | Grid:33kV D.C.SAKET GRID To Feeder:11kV FDR JAHAPANAH NO.-1 + MGF MALL VIA RMU NEAR GATE , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 JAHAPANAH STN-2:ID*,*TRF-1 JAHAPANAH STN-1:ID : 11 KV FSS*JAHAPANAH STN-1:ID : 11 KV FSS*TRF-1 GANDHI PARK HAUZRANI:PL*,*TRF-2 JAHAPANAH STN-2:ID* | 428
32 | 17/03/2018 | MDK | 11:00 | 14:20 | 03:20 | PLANNED SHUTDOWN | Grid:NANGLOI (66/33/11kV) GRID SSTN To Feeder:11kV FDR PUNJABI BASTI , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *630TRF-1:KAVITA COLONY PL*,*630TRF-2:KAVITA COLONY*,*630TRF-1:METRO SHOPPING COMPLEX*,*630TRF-2:PUNJABI BASTI:PL*,*630TRF-1:PUNJABI BASTI:PL*,*990TRF-1:WORK CENTER NGL*,*990TRF-1:A-2 BLOCK, JJ-NO. 2, NANGLAOI:PL* | 539
33 | 17/03/2018 | PLM | 11:00 | 14:55 | 03:55 | PLANNED SHUTDOWN | Grid:PAPPANKALAN-I (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR PERIPEHERIAL-1 , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : *400 TRF-1:DDA Flat Sec-1 Pocket-3 *,*400 TRF-1:BENGALI COLONY EXT:PM*,*100 TRF-1:PETROL PUMP SEC 1:PM*,*ADD NEW DT*,*400 TRF-1:DDA Flat Sec-I PKT-I S/Stn-2*,*630 TRF-1:DDA FLAT SEC-1 PKT-1S/SNO-1*,*400 TRF-1:ANIMAL DISPENSARY*,*630 TRF-1:Mahaveer Vihar Sec-I, S/S No-1 *,*630 TRF-1:DDA. Flat Sec-1 Pocket-2 S/stn No-1*,*ADD NEW DT*,*400 TRF-1:Mahavir Vihar S/Stn II* | 563
34 | 17/03/2018 | SVR | 11:00 | 15:10 | 04:10 | PLANNED SHUTDOWN | Grid:SARITA VIHAR (66/11kV) GRID SSTN To Feeder:11kV FDR THOKAR NO.-5 DHARAM KANTA , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 1*990 T/F THOKER NO.5, 1*630 T/F THOKER NO.4, 2*990 T/F D BLK ABUL FAZAL | 0
35 | 17/03/2018 | MDK | 11:00 | 14:31 | 03:31 | PLANNED SHUTDOWN | Grid:NANGLOI (66/33/11kV) GRID SSTN To Feeder:11kV FDR MUNDKA , 11KV FEEDER:TREE TRIMMING | RESTORED/ REPAIRED | Part of : *990TRF-1:POLICE QUATER*,*630TRF-3:POLICE QTRS NGL I/D*,*990TRF-2:POLICE QUATER ID*,*990TRF-1:SAWARN PARK S/STN-2:PL*,*630TRF-4:POLICE QUTR NGL I/D*,*990TRF-1:MUNDKA VILLAGE S/STN-1:PL* | 482
36 | 17/03/2018 | SKT | 11:00 | 14:37 | 03:37 | PLANNED SHUTDOWN | Grid:66kV C-DOT GRID To Feeder:11KV FDR I.I.P.M NO.-2 , 11KV FEEDER:TREE TRIMMING | RESTORED/ REPAIRED | Part of : *TRF-1 F-50 RADHEY MOHAN DRIVE*,LANGARI DHANI:PM*,*TRF-1 MAHABALIPURAM S/STN NO 3, BHATI*,DSM DC CHUNGI:PM*,*TRF-1 FRAM NO A10, ANSAL BHATI, BHALLA FARM.*,*TRF-1 RADHA SWAMI SATSANG, NEAR LANGAR GATE*,*TRF-1 POORAN MANGLI:PL*TRF-1 MAHABALI PURAM MANDIR ROAD*TRF-1 HANS LOAK SATSANG BHATTI*,*TRF-1 INDRA PRASTTHA*,*TRF-1 GOVT. SCHOOL BHATI:PM*BALBIR NAGAR:PM*TRF-1 B-4 ARYA BHAT:PM*TRF-1 KAPOOR BHATI:PM*, | 511
37 | 17/03/2018 | MDK | 11:00 | 16:46 | 05:46 | PLANNED SHUTDOWN | Grid:66/11KV MUNDKA GRID To Feeder:11kV FDR HIRAN KUDNA , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *25TRF-1:CHADDHA FARM HOUSE HIRANKUDANA*,*400TRF-1:GANGA INTERNATIONAL HIRAN KUDNA*,*100 TRF-1:PARMOD GHEVRA*,*100 TRF1-:NSVT-2 ROHTAK ROAD*,*100 TRF1-:NSVT-1 ROHTAK ROAD*,*100TRF-1:MCD DISPANSARY HIRANKUDANA*,*100TRF-1:SRISTI VATICA HIRANKUDANA*,*400TRF-1:GANGA INTERNATIONAL HIRAN KUDNA*,*25TRF-1:RASHMI DANDONA HIRANKUDANA P/M*,*TRNSF OILDT 11KV/433V 990KVA*,*990TRF-1:HIRANKUDNA VILLAGE S/STN-2:PL* | 623
38 | 17/03/2018 | SKT | 11:00 | 14:38 | 03:38 | PLANNED SHUTDOWN | Grid:33kV PUSHP VIHAR GRID To Feeder:11kV FDR CHIRAG DELHI KHATTA , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 CHIRAG DEHLI KHATTA:PL*TRF-2 CHIRAG DEHLI KHATTA:PL*,*TRF-3 CHIRAG DEHLI KHATTA:PL* | 278
39 | 17/03/2018 | PLM | 11:00 | 15:04 | 04:04 | PLANNED SHUTDOWN | Grid:66kV I.O.C BIJWASAN GRID To Feeder:11kV FDR SAHIBABAD GIRLS SCHOOL , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *400 TRF-1:Sahabad Mohamd pur Harijan Basti* | 122
40 | 17/03/2018 | PLM | 11:00 | 15:09 | 04:09 | PLANNED SHUTDOWN | Grid:PAPPANKALAN-I (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR PAPPANKALAN SECTOR-7 , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *YOUNG AHERA(HTC)* | 1
41 | 17/03/2018 | SVR | 11:00 | 15:05 | 04:05 | PLANNED SHUTDOWN | Grid:SARAI JULLENA (33/11kV) GRID SSTN To Feeder:11kV FDR TAMUR NAGAR , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-2 TAMOOR NAGAR;;*,*TRF-1 TAMOOR NAGAR | 263
42 | 17/03/2018 | MDK | 11:00 | 16:21 | 05:21 | PLANNED SHUTDOWN | Grid:NANGLOI (66/33/11kV) GRID SSTN To Feeder:11kV FDR I.O.C , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1:100 KVA S/STN NO.23 S/PARK UDYOG NAGAR*,*400TRF-1:ASSAM TIMBER MKT SS4*,*630TRF-1:NEAR DEEP HUNDAI RAILWAY ROAD CROSSING*,*100TRF-1:S/STN-19 SWARN PARK*,*400TRF-1: S/PARK NR PLOT 271 PL/M*,*100TRF-1:BHISHAM AGRO PLOT NO 255*,*100TRF-1:S/PARK NR PLOT NO 233*,*100TRF-1:S/STN-20 SWARN PARK*,*ASSAM TIMBER MKT SS2*,*400TRF-1:S/STN-18 SWARN PARK PL/M*,*630TRF-1:MUNDKA VILLAGE S/STN-5:PL*,*400TRF-1:RMU RANIKHERA ROAD*,*630TRF-3:POLICE QTRS NGL I/D*,*400TRF-1:S/STN NO-22 S PARK*,*TRF-1 SKT454;GIRDHARI (BHIKHAM)*,*400TRF-1_ASSAM TIMBER MKT SS1*,*400TRF-1:ASSAM TIMBER MKT SS3*, | 527
43 | 17/03/2018 | PLM | 11:00 | 14:57 | 03:57 | PLANNED SHUTDOWN | Grid:PAPPANKALAN-I (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR MAHAVIR ENCLAVE , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : *630 TRF-1:PUMP HOUSE SEC-7:PLM*,*400 TRF-1: C-2 Block Mahavir Encl. Sec-1 | 315
44 | 17/03/2018 | SKT | 11:00 | 13:51 | 02:51 | PLANNED SHUTDOWN | Grid:33kV MASJID MOTH GRID To Feeder:11kV FDR R.P.S SEKH SARAI PHASE-1 , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-2 SAVITRI NAGAR PHATAK:PL*,*TRF-2 SAVITRI NAGAR KHATTA:PM*SAVITRI NAGAR KHATTA:PM*,SAVITRI NAGAR PHATAK:PL*,*TRF-1 RPS SHEIKH SARAI PHASE-1:ID : 11 KV FSS*,*TRF-2 RPS SHEIKH SARAI PHASE-1:ID : 11 KV FSS* | 395
45 | 17/03/2018 | SVR | 11:00 | 15:09 | 04:09 | PLANNED SHUTDOWN | Grid:MOHAN CO-OPERATIVE (66/11kV) GRID SSTN To Feeder:11kV FDR MEETHAPUR WATER PMP. STN. , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-2 MEETHA PUR VILL.*,*TRF-1 MEETHA PUR VILL.* | 352
46 | 17/03/2018 | SVR | 11:00 | 15:07 | 04:07 | PLANNED SHUTDOWN | Grid:MATHURA ROAD (66/11kV) GRID SSTN To Feeder:11kV FDR OKHLA SEWAGE , RMU:REPAIR/REPLACEMENT OF DEFECTIVE MECHANISM | RESTORED/ REPAIRED | Part of : *TRF-2 SUKHDAVE VIHAR MAIN;TRF-1 SUKHDAVE VIHAR MAIN | 374
47 | 17/03/2018 | RKP | 11:00 | 14:20 | 03:20 | PLANNED SHUTDOWN | Grid:VASANT VIHAR (33/11kV) GRID SSTN To Feeder:11kV FDR SUBROTO PARK (MES) , 11KV FEEDER:TREE TRIMMING | RESTORED/ REPAIRED | Part of : *TRF-1 ST.LTG NEAR NHAI FLYOVER PALAM RD:PM* | 3
48 | 17/03/2018 | SVR | 11:00 | 15:03 | 04:03 | PLANNED SHUTDOWN | Grid:SARITA VIHAR (66/11kV) GRID SSTN To Feeder:11kV FDR N POCKET S/S NO.-1 SARITA VIHAR , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 STN NO-2 INST AREA SVR* | 11
49 | 17/03/2018 | SVR | 11:00 | 15:02 | 04:02 | PLANNED SHUTDOWN | Grid:SARAI JULLENA (33/11kV) GRID SSTN To Feeder:11kV FDR S/S NO.-5 NEW FRIENDS COLONY , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-3 S/STN-5 NEW FRIENDS COLONY; | 84
50 | 17/03/2018 | NHP | 11:00 | 14:20 | 03:20 | PLANNED SHUTDOWN | Grid:EAST OF KAILASH (33/11kV) GRID SSTN To Feeder:11kV FDR SAI PLAZA , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 S/STN SANT NAGAR PAHARI NO.1:PL* | 98
51 | 17/03/2018 | PLM | 11:00 | 13:56 | 02:56 | PLANNED SHUTDOWN | Grid:G-2 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:PINK APPARTMENT , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : *630 TRF-1:PKT -10 NASIRPUR DDA FLAT S/S-2*,*400 TRF-1: Gali No-8 Durga park HVDS S/s*,*630 TRF-1Pocket-6/2 DDA Flat S/s*,*400 TRF-1 Pkt-9 DDA Flat S/s*,*400 TRF-1:PKT 9 S/S-2 JANTA FLAT NASEERPUR*,*400 TRF-1 PKT-10 S/S NO.-2* | 359
52 | 17/03/2018 | RKP | 11:00 | 14:49 | 03:49 | PLANNED SHUTDOWN | Grid:VASANT VIHAR (33/11kV) GRID SSTN To Feeder:11kV FDR S/S NO.-2, VASANT ENCLAVE , TRANSFORMER:NETWORK UPGRADATION WORK | RESTORED/ REPAIRED | Part of : *TRF-1 288 JANTA FLATS, VASANT VIHAR: ID* | 125
53 | 17/03/2018 | SKT | 11:00 | 14:56 | 03:56 | PLANNED SHUTDOWN | Grid:66kV C-DOT GRID To Feeder:11KV FDR MCD PARK CHATTARPUR NO.-1 , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : MCD PARK OPP CHHATAR PUR-1:PL*HANS BHAWAN CHATTERPUR ENCLAVE PH I*SONIA GANDHI FARM (MANDI ROAD) | 364
54 | 17/03/2018 | SVR | 11:00 | 15:08 | 04:08 | PLANNED SHUTDOWN | Grid:MOHAN CO-OPERATIVE (66/11kV) GRID SSTN To Feeder:11kV FDR D.P NTPC , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 H. VHR, A, B, C BLOCKS H N EXT-3* | 322
55 | 17/03/2018 | VKJ | 11:00 | 15:18 | 04:18 | PLANNED SHUTDOWN | Grid:66kV VASANT KUNJ B-BLK GRID To Feeder:11 kV FDR MOTHER DAIRY S/S VIA WARD NO.2 (RMU) , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : KALI MANDIR NEAR WARD NO 2*MOTHER DAIRY MEHRAULI;BABA KI TANKI* | 268
56 | 17/03/2018 | ALN | 11:00 | 13:33 | 02:33 | PLANNED SHUTDOWN | Grid:66 kV OKHLA PHASE-I GRID To Feeder:11 kV FDR S/S NO.-E(E.S.I) OKHLA PHASE-1 , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 400KVA TRF A-199 OIA PH-1* | 12
57 | 17/03/2018 | PLM | 11:00 | 15:06 | 04:06 | PLANNED SHUTDOWN | Grid:G-2 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:NASIRPUR M.C.D SCHOOL , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *630 TRF-1:Kailash Puri DDA Park S/S* | 251
58 | 17/03/2018 | VKJ | 11:00 | 12:56 | 01:56 | PLANNED SHUTDOWN | Grid:66kV VASANT KUNJ C-BLK GRID To Feeder:11 kV FDR NANGAL DAIRY FEEDER (LIG MASUDPUR) ISID VASANT KUNJ , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 NBT P/M* | 4
59 | 17/03/2018 | MDK | 11:00 | 16:21 | 05:21 | PLANNED SHUTDOWN | Grid:66/11KV MUNDKA GRID To Feeder:11kV FDR NEEL WALL , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *630TRF-1:NEELWALL S/STN-2:PM*,*100TRF-1:RAN SINGH NEELWAL:PM*,*100TRF-1:HARIZON BASTI NEELWAL:PM*,*100TRF-1:PRABHU TUBE WEELL NEELWAL:PM*,*630TRF-1:NEELWALL S/STN-1:PM*,*25TRF-1:HUKUM SINGH NEELWAL ROAD*,*25TRF-1:SIMANDER JAIN MANDIR NEELWAL* | 433
60 | 17/03/2018 | PLM | 11:00 | 14:52 | 03:52 | PLANNED SHUTDOWN | Grid:G-6 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11kV FDR ARMY QTRS. SECTOR-21 , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : *400 TFR-1:CNG PUMP SEC 9*,*630 TRF-1:GALAXY TOYOTA*630 TRF-1:MARBLE MKT S/S NO.2*,*630 TRF-1:MARBLE MKT S/S NO.2*,*400 TRF-1:COMMERCIAL BUILDING PLOT NO.20*,*100 TRF-1:PETROL PUMP*,*100 TRF 1 :APJ SCHOOL SEC-8 DWK*,*MARBLE MKTSS- 3 :ID*,*MARBEL MARKET SECTOR-20, DWARKA*,*RMU XING SEC-20&SEC-9 METRO STN.SVASCA*,*COMM.PLOTS AT SERVICE CENTRE SEC-9 DWK* | 489
61 | 17/03/2018 | NHP | 11:00 | 14:22 | 03:22 | PLANNED SHUTDOWN | Grid:EAST OF KAILASH (33/11kV) GRID SSTN To Feeder:11kV FDR KALA KUTIR , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 SHERA MOHALLA GARHI:PL* | 102
62 | 17/03/2018 | MDK | 11:00 | 14:28 | 03:28 | PLANNED SHUTDOWN | Grid:NANGLOI (66/33/11kV) GRID SSTN To Feeder:11kV FDR J.J COLONY NO.-2 , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *630TRF-1:KAVITA COLONY PL*,*990TRF-1:E BLK NGL*,*630TRF-2:KAVITA COLONY*,*630TRF-2:PUNJABI BASTI:PL*,*630TRF-1:C BLK JJ NO-2*,*630TRF-1:PUNJABI BASTI:PL*,*990 TRF-1: D BLOCK CAMP NO-2 NANGLOI*,*400TRF-3:C BLK JJ NO-2*,*630TRF-2:C BLK JJ NO-2* | 521
63 | 17/03/2018 | VKJ | 11:00 | 14:15 | 03:15 | PLANNED SHUTDOWN | Grid:66kV VASANT KUNJ D-BLK GRID To Feeder:11 kV FDR NANGAL DAIRY FEEDER NO.-1 , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 RYN SCHOOL P/M;MATA CHOWK MAHIPALPUR P/M*ST. LT NEAR POLICE STATION VKJ;TRF-1 DDA FLY OVER VASANT KUNJ*DEFENCE ENCLAVE P/M*,*TRF-1 CISF CAM P (HTC)*,*TRF-1 MASJID CAMP, MAHIPALPUR (NEAR CAMMANDO)*,*TRF-1 MATA CHOCK MAHIPALPUR-2 PL/M;TRF-1 HODWALA(BOOSTER PUMP) MAHIPALPUR*ST.LT. (CONG- 1 OFFICE MAHIPALPUR); | 359
64 | 17/03/2018 | PLM | 11:00 | 15:03 | 04:03 | PLANNED SHUTDOWN | Grid:G-2 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:RMU NO.-1 , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : *990 TRF-1:DADA DEV HOSPITAL SSTN-1*,*400 TRF-1:NAYANTARA SEC.7*,*400 TRF-2:NAYANTARA SEC.7*,*400 TRF-1:CHANDER VIHAR:PLM* | 448
65 | 17/03/2018 | JKP | 11:02 | 16:23 | 05:21 | PLANNED SHUTDOWN | Grid:MAYAPURI (33/11kV) GRID SSTN To Feeder:11KV KACHA TIHAR , TRANSFORMER:TRANSFORMER REPLACEMENT | RESTORED/ REPAIRED | Part of : *400 TRF-1 :MANAK VIHAR SSTN, RAJOURI GARDEN* | 143
66 | 17/03/2018 | HKS | 11:03 | 13:09 | 02:06 | PLANNED SHUTDOWN | Grid:33kV SIRI FORT GRID To Feeder:11kV FDR INSTITUTIONAL AREA HAUZ KHAS , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of :630 TRF : SARJOWALA COMM. CENTER SHAHPURJAT | 171
67 | 17/03/2018 | VKJ | 11:03 | 14:22 | 03:19 | PLANNED SHUTDOWN | Grid:33kV ANDHERIA BAGH GRID To Feeder:11kV FDR GHITORANI , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-2 MCD SCHOOL RMU,GHITORNI*,*TRF-1 MCD SCHOOL RMU,GHITORNI* | 332
68 | 17/03/2018 | JKP | 11:09 | 15:15 | 04:06 | PLANNED SHUTDOWN | Grid:HARI NAGAR (66/11kV) GRID SSTN To Feeder:11KV 14-BLOCK SUBHASH NAGAR , LT CIRCUIT:MAINTANCE WORK | RESTORED/ REPAIRED | Part of : *630 TRF-2 :BLOCK NO.-14/15 SSTN, SUBHASH NAGAR* | 258
69 | 17/03/2018 | JKP | 11:12 | 15:15 | 04:03 | PLANNED SHUTDOWN | Grid:REWARI LINE (220/66/11kV, TRANSCO) GRID (NDPL) To Feeder:11KV B-32 MAYAPURI , 11KV FEEDER:REPLACEMENT OF RMU | RESTORED/ REPAIRED | Part of : *400 TRF-1 :PLOT NO:B-38 (WH-34) SSTN, PH-1,MYP*,*1000 TRF-2 :PLOT NO:B-32 SSTN, PH-1, MAYAPURI*,*990 TRF-1 :PLOT NO:B-125 SSTN, PH-1, MAYAPURI*,*990 TRF-3 :PLOT NO:B-32 SSTN, PH-1, MAYAPURI*,*990 TRF-2:B-125 MAYAPURI PH-1:K*,*1000 TRF-1 :PLOT NO:B-32 SSTN, PH-1, MAYAPURI* | 681
70 | 17/03/2018 | TGN | 11:15 | 15:26 | 04:10 | PLANNED SHUTDOWN | Grid:BODELLA-I GRID SSTN To Feeder:11 kV FDR 20-BLOCK TILAK NAGAR , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : *990 TRF-1 :20-BLK GURUDWARAWALA SSTN,TILAK NGR* | 319
71 | 17/03/2018 | JKP | 11:15 | 15:15 | 04:00 | PLANNED SHUTDOWN | Grid:HARI NAGAR (66/11kV) GRID SSTN To Feeder:11KV LIG FLATS-149 , LT ACB:ACB REPLACEMENT | RESTORED/ REPAIRED | Part of : *630TRF:1 :L-BLOCK PRY.SCHOOL SSTN,H.NAGAR* | 121
72 | 17/03/2018 | JKP | 11:16 | 12:40 | 01:24 | HT SYSTEM FAULT | Grid:MUKHERJEE PARK (33/11kV) GRID SSTN To Feeder:11kV FDR SUBHASH NAGAR , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : *400 TRF-2 :BLK NO.-3 (DABOURWALA) SSTN, S.NGR*,*990 TRF-1 :SSTN NO.-1 (ZONAL OFFICE), S.NGR*,*630 TRF-1 :BLK NO.-3 PARK SSTN, SUBHASH NGR*,*990 TRF-2 :SSTN NO.-1 (ZONAL OFFICE), S.NGR*,*630 TRF-1 :BLOCK NO.-1 SSTN, SUBHASH NAGAR*,*630 TRF-1 :BLK NO.-3 (DABOURWALA) SSTN, S.NGR*,*990 TRF-1 :BLK NO.-3/1(SCHOOLWALA) SSTN, S.NGR*,*630TRF-1 :5 :BLOCK NO.-5 SSTN, SUBHASH NAGAR* | 625
73 | 17/03/2018 | TGN | 11:19 | 15:26 | 04:06 | PLANNED SHUTDOWN | Grid:BODELLA-I GRID SSTN To Feeder:11 kV FDR I-BLOCK TILAK NAGAR , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : *630 TRF-1 :B-BLOCK SSTN, GANESH NAGAR* | 251
74 | 17/03/2018 | TGN | 11:26 | 15:26 | 03:59 | PLANNED SHUTDOWN | Grid:MUKHERJEE PARK (33/11kV) GRID SSTN To Feeder:11 kV FDR TELEPHONE EXCHANGE , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *630 TRF-1:FLATED FACTORIES NR P.STN*,*FLATED FACTORIES (BEHIND P.STATION):ID* | 120
75 | 17/03/2018 | VKP | 11:27 | 12:40 | 01:12 | LT FEEDER | Grid:BINDAPUR (G-3 PPK) (66/11kV) GRID SSTN To Feeder:S/S NO.-4 , LT U/G CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : *630 TRF-1:BINDAPUR DDA-4:ID* | 87
76 | 17/03/2018 | JFR | 11:30 | 16:42 | 05:12 | PLANNED SHUTDOWN | Grid:JAFFARPUR (66/11kV) GRID SSTN To Feeder:11KV RTRM HOSPITAL , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : * OM PRAKASH VILL UJWA*,*100 TRF-1:JAI RAM VLG UJWA*,*630 TRF-1: JAFFARPUR POLICE STATION*,*400 TRF-1:RAO TULA RAM HOSPITAL 2*,*630 TRF-2: JAFFARPUR POLICE STATION*,*100 TRF-1:SHIS RAM MUNDELLA KALAN*,*100 TRF-1:SHIS RAM MUNDELLA KALAN*,*100 TRF-1:AYURVEDIC HOSPKHAIRA DABAR*,*100 TRF-1:SHIS RAM MUNDELLA KALAN*,*100 TRF-1:SHIS RAM MUNDELLA KALAN*,*100 TRF-1:MAN SINGH VLG UJWA* | 568
77 | 17/03/2018 | DWK | 11:30 | 15:33 | 04:03 | PLANNED SHUTDOWN | Grid:BINDAPUR (G-3 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR MADHU VIHAR , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *630 TRF-1:MADHU VIHAR NO-2*,*MAHAVIR ENCLAVE F-BLOCK S/S-1*,*630 TRF-1:MADHU VIHAR S/STN NO 3*,*630 TRF-2:MADHU VIHAR NO-2*,*630 TRF-1:MADHU VIHAR S/S-4*,*630 TRF-1:MADHU VIHAR S/S-4*,*630 TRF-1:MAHAVIR ENCLAVE S/STN NO 1*,*MADHU VIHAR S/STN NO 4:ID* | 512
78 | 17/03/2018 | PJB | 11:32 | 13:31 | 01:59 | EMERGENCY SHUTDOWN | Grid:A-4 PASCHIM VIHAR (33/11kV) GRID SSTN To Feeder:PRAGATI APPARTMENT , LT ACB:PREVENTIVE MAINTENANCE | RESTORED/ REPAIRED | Part of : *990 TRF-1: PKT-1(NALEWALA),PASCHIM PURI,PJB* | 98
79 | 17/03/2018 | PJB | 11:35 | 13:31 | 01:56 | EMERGENCY SHUTDOWN | Grid:MADIPUR (33/11kV) GRID SSTN To Feeder:B-G-3 PRAGATI APPT. PASCHIM VIHAR , HT INTERMEDIATE FEEDER:PREVENTIVE MAINTENANCE | RESTORED/ REPAIRED | Part of : *990 TRF-2: 1644 QTRS(PKT-3),PASCHIM PURI,PJB* | 274
80 | 17/03/2018 | VKP | 11:38 | 14:36 | 02:57 | EMERGENCY SHUTDOWN | Grid: To Feeder:11kV FDR PERIPHERIAL S/S NO.-2 SECTOR-3, VIKAS PURI , RMU:PREVENTIVE MAINTENANCE OF RMU | RESTORED/ REPAIRED | Part of : *630 TRF-1:D-BLK NAWADA HOUSING PARK PL/M SS-1* | 253
81 | 17/03/2018 | JFR | 11:40 | 16:03 | 04:23 | PLANNED SHUTDOWN | Grid:JAFFARPUR (66/11kV) GRID SSTN To Feeder:11KV CRPF FEEDER , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *400 TRF-1:GOPAL NAGAR PR BLOCK*,*400 TRF-2:GOPAL NAGAR P BLOCK*,*FATAH VILL MITRAON*,*MANGAT VILL-MITRAON*,*400 TRF-1:NX-BLOCK GOPAL NAGAR*,*100 TRF:- SHANTI PETROL PUMP VIL MITRA*,*100 TRF:MEHER RAM *,*400 TRF-1:N-BLOCK GOPAL NAGAR*,*100 TRF-1:MADHAV FUEL VILL MITRAON* | 678
82 | 17/03/2018 | JFR | 11:45 | 15:56 | 04:11 | PLANNED SHUTDOWN | Grid:JAFFARPUR (66/11kV) GRID SSTN To Feeder:11KV NAJAFGARH THANA , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *25 TRF-1: ASHIRWAD VATIKA GOPAL NAGAR*,*100 TRF-1:STN GOVERDHAN VLG KHAIRA*,*630 TRF-1: KHAIRA MORE*,*400 TRF-2:B BLOCK GOPAL NAGAR 2*25 TRF-1:DJB, VILL MITRAON DIVISION JFR*16 TRF-1:RAM PARSAD VLG KHAIRA*,*630 TRF-1:B BLOCK GOPAL NAGAR 1*,*HARI KISHAN VILL MITRAON:PM * | 624
83 | 17/03/2018 | DWK | 11:48 | 13:34 | 01:46 | PLANNED SHUTDOWN | Grid:G-15 DWARKA REL. ENERGY GRID SSTN To Feeder:11kV FDR SEC-12 PLOTTED AREA , 11KV FEEDER:TREE TRIMMING | RESTORED/ REPAIRED | Part of : *630 TRF-1:GANGOTRI(SEC-12 PKT-1 DDA SS-1)* | 281
84 | 17/03/2018 | SKT | 12:00 | 14:46 | 02:46 | PLANNED SHUTDOWN | Grid:66kV C-DOT GRID To Feeder:11KV FDR N.B.C.C , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of :630 KVA GADAI PUR | 219
85 | 17/03/2018 | SKT | 12:00 | 14:47 | 02:47 | PLANNED SHUTDOWN | Grid:66kV C-DOT GRID To Feeder:11KV FDR SULTANPUR COLONY , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 SULTAN PUR COLONY:ID* | 203
86 | 17/03/2018 | DWK | 12:02 | 13:34 | 01:32 | PLANNED SHUTDOWN | Grid:MATIYALA (G-5 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR MATIYALA , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *630 TRF-1:SAHYOG VIHAR P/M*,*CHOUPAL MATIALA SS PL/M *,*TRF-1:MATILA SCHOOL WALA*,*990 TRF-1:MATILA CHOUPAL* | 369
87 | 17/03/2018 | DWK | 12:04 | 13:34 | 01:30 | PLANNED SHUTDOWN | Grid:G-15 DWARKA REL. ENERGY GRID SSTN To Feeder:11kV FDR SSTN NO-4 L AND T FLATS SEC-18 , 11KV FEEDER:TREE TRIMMING | RESTORED/ REPAIRED | Part of : * 400 TRF-2: DDA SEC-18 B S/S-4* | 143
88 | 17/03/2018 | SKT | 12:10 | 13:15 | 01:05 | LT FEEDER | Grid:66kV MALVIYA NAGAR GRID To Feeder:11kV FDR J-BLOCK SAKET , SERVICE LINE,:DAMAGED DUE TO EXTERNAL AGENCY DIGGING, | RESTORED/ REPAIRED | Part of : *TRF-1 SUB/STN NEAR J-BLK MKT SKT* | 53
89 | 17/03/2018 | NHP | 12:12 | 15:03 | 02:51 | EMERGENCY SHUTDOWN | Grid:OKHLA PHASE-II (33/11kV) GRID SSTN To Feeder:11kV FDR DDA LSC OKH PHASE-2 , LT ACB:PREVENTIVE MAINTENANCE | RESTORED/ REPAIRED | Part of : *TRF-2 S/STN NO-3 OKHLA PH-2:ID* | 41
90 | 17/03/2018 | NGL | 12:15 | 15:17 | 03:02 | PLANNED SHUTDOWN | Grid:BODELLA-II GRID To Feeder:11KV FDR DJB SPS NILOTHI NO.-1 , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : 400KVA AMRITAPURI, 630, 400, 990KVA NILOTHI VILL. , 630,400 KVA DEFFENCE COLONY, | 612
91 | 17/03/2018 | PLM | 12:35 | 14:14 | 01:39 | HT SYSTEM FAULT | Grid: G-2 PAPPAN KALANTo Feeder:D.D.A OFFICE MANGLAPURI , HT CABLE FAULTY | RESTORED/ REPAIRED | Part of : *400 TRF- 1: DDA PROJECT OFFICE* | 2
92 | 17/03/2018 | DWK | 13:33 | 15:03 | 01:30 | PLANNED SHUTDOWN | Grid:G 4 DWARKA SEC 19 GRID SSTN To Feeder:11kV FDR KRISHNA RESIDENCY , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *400 TRF-2:RAJ VIHAR* | 71
93 | 17/03/2018 | SVR | 14:00 | 16:36 | 02:36 | PLANNED SHUTDOWN | Grid:JAMIA MILIA (33/11kV) GRID SSTN To Feeder:11kV FDR ZAKIR NAGAR , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 ZAKIR NAGAR;TRF-2 ZAKIR NAGAR | 259
94 | 17/03/2018 | PLM | 14:03 | 16:05 | 02:02 | PLANNED SHUTDOWN | Grid:PAPPANKALAN-I (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR PAPPANKALAN SECTOR-7 , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *RASHI APPT(HTC)* | 1
95 | 17/03/2018 | VKP | 14:42 | 16:29 | 01:47 | PLANNED SHUTDOWN | Grid:HASTAL (66/11kV) GRID SSTN To Feeder:DAAL MILL , LT ACB:MAINTENANCE | RESTORED/ REPAIRED | Part of : *630 TRF-1:OM VIHAR PHASE-II, S/S NO.3* | 64
96 | 17/03/2018 | NZD | 15:03 | 16:47 | 01:44 | PLANNED SHUTDOWN | Grid:33kV NIZAMUDDIN GRID To Feeder:11kV FDR DEFENCE COLONY (G-BLOCK NIZAMUDDINE WEST) , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 G-BLOCK NALA, NIZAMUDDIN WEST: PL* | 231
97 | 17/03/2018 | VKP | 15:06 | 19:12 | 04:05 | HT SYSTEM FAULT | Grid: BODELA-2 To Feeder:11KV FDR DDA TRANSIT CAMP NO.-2 , CABLE FAULTY | RESTORED/ REPAIRED | Part of : *SHIV VIHAR, JJ COLONY*,*25 TRF-1: SHIV VIHAR J J COLONY NEAR ROAD*,*630 TRF-1:SHIV VIHAR SHANI MARKET*,*SHIV VIHAR JJ CLNY NR ROAD*,*400 TRF-1:RAJ HANS :PL*,*100 TRF-1:COL BHATIA FARM* | 524
98 | 17/03/2018 | JKP | 15:17 | 16:36 | 01:19 | PLANNED SHUTDOWN | Grid:REWARI LINE (220/66/11kV, TRANSCO) GRID (NDPL) To Feeder:11KV B-32 MAYAPURI , 11KV FEEDER:REPLACEMENT OF RMU | RESTORED/ REPAIRED | Part of : *400 TRF-1 :PLOT NO:B-38 (WH-34) SSTN, PH-1,MYP*,*1000 TRF-2 :PLOT NO:B-32 SSTN, PH-1, MAYAPURI*,*990 TRF-1 :PLOT NO:B-125 SSTN, PH-1, MAYAPURI*,*990 TRF-3 :PLOT NO:B-32 SSTN, PH-1, MAYAPURI*,*990 TRF-2:B-125 MAYAPURI PH-1:K*,*1000 TRF-1 :PLOT NO:B-32 SSTN, PH-1, MAYAPURI* | 481
99 | 17/03/2018 | JKP | 15:41 | 16:55 | 01:14 | PLANNED SHUTDOWN | Grid:HARI NAGAR (66/11kV) GRID SSTN To Feeder:11KV FATEH NAGAR , LT ACB:ACB REPLACEMENT | RESTORED/ REPAIRED | Part of : *400 TRF-1 :ASHA PARK SSTN NO.-1, HARI NAGAR* | 42
100 | 17/03/2018 | DWK | 15:50 | 17:03 | 01:12 | HVDS CABLE & OTHER SYSTEM | Grid:MATIYALA (G-5 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR MATIYALA , HVDS,:HVDS DP FUSE BLOWN, | RESTORED/ REPAIRED | Part of : *CHOUPAL MATIALA SS PL/M *,*990 TRF-1:MATILA CHOUPAL*,*TRF-1:MATILA SCHOOL WALA*,*630 TRF-1:SAHYOG VIHAR P/M* | 425
101 | 17/03/2018 | NJF | 16:30 | 17:32 | 01:02 | HVDS CABLE & OTHER SYSTEM | Grid:DELHI JAL BOARD NAJAFGARH WATER WORKS (66/11) To Feeder:KAPOOR FARM , HVDS,:TRANSFORMER BUSHING DAMAGE, | RESTORED/ REPAIRED | Part of : *TRNSF OILDT 11KV/433V 400KVA*,*25 TRF-1: SBI BANK NAGLI DAIRY*,*3W RMU DandE-BLK S/S-3 NANGLI VIHAR*,*400 TRF-1:NANGLI VIHAR*,*100 TRF-:MUKESH SHARMA P/M S/STN*,*400 TRF:-NANGLI VIHAR EXTN*,*100 TRF-1:ST LT NANGLI MOOR*,*400 TRF-1: N I T U NEAR STATE BANK NANGLI DAIRY*,*400 TRF : NANGLI SAKRAWATI*,*HTC KANT DARBAR NANGLI S*,*100 TRF-1:GREEN TREE SCHOOL INDIRA PARK*,*100 TRF-1:SAI BABA TEMPLE NANGLI*,*DJB STAFF Q, GOVT NURSURY*,*AKASH PUBLIC SCHOOL ARJUN PARK*,*3PH TR HVDS INDRA PARK* | 674
102 | 17/03/2018 | KPR | 16:50 | 18:15 | 01:24 | LT FEEDER | Grid:66kV BATRA GRID To Feeder:11kV FDR SSTN NO.-3, DAKSHINPURI VIA.- BOOSTER PUMP , SERVICE LINE,:JUMPER LOOSE/BROKEN FROM DB, | RESTORED/ REPAIRED | Part of : *TRF-2 S/S NO-4, DAKSHIN PURI:K* | 142
103 | 17/03/2018 | SVR | 23:17 | 00:19 | 01:01 | LT FEEDER | Grid:SARITA VIHAR (66/11kV) GRID SSTN To Feeder:11kV FDR D-BLOCK SHAHIN BAGH , LT O/H CABLE,SERVICE LINE,:CABLE FAULT,JUMPER LOOSE/BROKEN FROM DB, | RESTORED/ REPAIRED | Part of :D BLK SHAHEEN BAGH | 124
104 | 17/03/2018 | SVR | 23:25 | 00:38 | 01:12 | LT FEEDER | Grid:SARITA VIHAR (66/11kV) GRID SSTN To Feeder:11kV FDR ABU BAKER MASJID , SERVICE LINE,:FIRE IN SERVICE LINE, | RESTORED/ REPAIRED | Part of : 1*990 T/F THOKER NO.5, | 102
105 | 18/03/2018 | DWK | 03:30 | 05:03 | 01:32 | HT SYSTEM FAULT | Grid:MATIYALA (G-5 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR MATIYALA , HT O/H,:INSULATOR BROKEN/PUNCTURED, | RESTORED/ REPAIRED | Part of : *CHOUPAL MATIALA SS PL/M *,*990 TRF-1:MATILA CHOUPAL*,*TRF-1:MATILA SCHOOL WALA*,*630 TRF-1:SAHYOG VIHAR P/M* | 423