## Format
DISCOM : BRPL
OUTAGE REPORT FOR : 18/03/2018 06:00Hr. To 19/03/2018 06:00Hr.
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Area / DT Effected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Detail
1 | 18/03/2018 | KPR | 06:44 | 07:48 | 01:03 | LT FEEDER | Grid:66kV BATRA GRID To Feeder:11kV FDR D.D.A TIGRI , SERVICE LINE,:JUMPER LOOSE/BROKEN FROM DB, | RESTORED/ REPAIRED | Part of : TRF-2 KRISHNA PARK ( D BLOCK):ID | 62
2 | 18/03/2018 | PLM | 07:03 | 10:52 | 03:49 | PLANNED SHUTDOWN | Grid:BINDAPUR (G-3 PPK) (66/11kV) GRID SSTN To Feeder:DABRI NO 1 , 11KV FEEDER:TO MEET EMERGENCY | RESTORED/ REPAIRED | Part of : 990 TRF-1:DABRI MORE I/D*,*630 TRF-1:A-3 DURGA PARK NANDLAL WALA*,*630 TRF-2:Durga Park Gali no.4 S/s* | 438
3 | 18/03/2018 | PLM | 07:03 | 10:51 | 03:48 | PLANNED SHUTDOWN | Grid:G-2 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11KV DWARKA PURI , 11KV FEEDER:TO MEET EMERGENCY | RESTORED/ REPAIRED | Part of : 990 TRF-1:DABRI MORE I/D*,*630 TRF-2:DWARKA PURI S/S*,*100 TRF-1:BARAAT GHAR (M.C.D Offices)*,*630 TRF-2: TAMIL ENCL S/S* | 586
4 | 18/03/2018 | NZD | 09:00 | 16:02 | 07:02 | PLANNED SHUTDOWN | Grid:DEFENCE COLONY (33/11kV) GRID SSTN To Feeder:11kV FDR MOOLCHAND BOOSTER PUMP , LT ACB:ACB REPLACEMENT | RESTORED/ REPAIRED | Part of : TRF-1 BOOSTER PUMP DEFENCE CLY:ID | 76
5 | 18/03/2018 | VKJ | 09:09 | 11:06 | 01:56 | EMERGENCY SHUTDOWN | Grid: To Feeder:11 kV FDR KAPASHERA U/G , TRANSFORMER:LT CIRCUIT MAINTENANCE | RESTORED/ REPAIRED | Part of : TRF-1 BHARNA KUAN S/STN.*,*TRF-1 DR.CHOPRA(SAMSAN GHAT)*,*TRF-1 PARMAL KAPASHERA*,*TRF-1 FARM NO.16 KAPASHERA ESTATE | 374
6 | 18/03/2018 | VKP | 10:00 | 11:55 | 01:55 | PLANNED SHUTDOWN | Grid:HASTAL (66/11kV) GRID SSTN To Feeder:HASTAL SOCIETY , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *400 TRF-1:G1andG2 MOHAN GDN*,*TRF-2:HASTSAL SOCIETY:K*,*HASTSAL POND O/D*, | 193
7 | 18/03/2018 | VKP | 10:00 | 11:57 | 01:57 | PLANNED SHUTDOWN | Grid:BODELLA-II GRID To Feeder:11KV PANCHVATI SOCITY NO.-1 , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : HTC : DAV PUBLIC SCHOOL | 1
8 | 18/03/2018 | VKJ | 10:00 | 11:39 | 01:39 | PLANNED SHUTDOWN | Grid:66kV I.O.C BIJWASAN GRID To Feeder:11 kV FDR INTERCONNECTOTR NO.-1 (KAPASHERA) , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 C-11 PUSPANJALI BIJWASAN | 63
9 | 18/03/2018 | VKP | 10:00 | 11:55 | 01:55 | PLANNED SHUTDOWN | Grid:HASTAL (66/11kV) GRID SSTN To Feeder:UTTAM NGR TERMINAL , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 990 TRF-1:UPKAR HOTEL*,*630 TRF-1:DTC TERMINAL*,*630 TRF-1:OM VIHAR PHASE-5(JHANDA CHOWK) | 231
10 | 18/03/2018 | VKP | 10:00 | 11:56 | 01:56 | PLANNED SHUTDOWN | Grid:BODELLA-II GRID To Feeder:11KV SHIV VIHAR , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 100 TRF-1:MANJEET WALA*,*16 TRF-1:AP1 GUPTA ENCLAVE RANHOLLA RD*,*400TRF-1:DEEP ENCLAVE BARAT GHAR | 346
11 | 18/03/2018 | VKP | 10:00 | 11:56 | 01:56 | PLANNED SHUTDOWN | Grid:BODELLA-II GRID To Feeder:11KV L.I.G-2 HASTSAL , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 630 TRF-1:HASTSAL VILLAGE(DAL MILL):PL | 274
12 | 18/03/2018 | PJB | 10:41 | 12:16 | 01:35 | LT FEEDER | Grid:A-4 PASCHIM VIHAR (33/11kV) GRID SSTN To Feeder:11KV A-4 CASH OFFICE , LT POLE,:POLE BROKEN DUE TO STRUCK BY VEHICLE, | RESTORED/ REPAIRED | Part of : 400 TRF-1:A-4 P/M PASCHIM VIHAR | 89
13 | 18/03/2018 | MDK | 11:00 | 15:20 | 04:20 | PLANNED SHUTDOWN | Grid:66/11KV MUNDKA GRID To Feeder:11kV FDR SUBHASH VIHAR-2 , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 100TRF-1:MTNL TIKRI KALAN:PM*,*400TRF-1:TIKRI S/S-8 NR SHAHEED BHAGAT SINGH PARK*,*990TRF-1:TIKRI VILLAGE S/STN-6:PL | 478
14 | 18/03/2018 | JKP | 11:00 | 14:16 | 03:16 | PLANNED SHUTDOWN | Grid:MAYAPURI (33/11kV) GRID SSTN To Feeder:11KV MIG RAJURI GARDEN , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *630TRF-2: C2/12 MAYAPURI PH-2 K* | 241
15 | 18/03/2018 | MDK | 11:00 | 15:40 | 04:40 | PLANNED SHUTDOWN | Grid:66/11KV MUNDKA GRID To Feeder:11kV FDR HIRAN KUDNA , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 25TRF-1:CHADDHA FARM HOUSE HIRANKUDANA*,*400TRF-1:GANGA INTERNATIONAL HIRAN KUDNA*, | 148
16 | 18/03/2018 | PJB | 11:00 | 16:34 | 05:34 | PLANNED SHUTDOWN | Grid:PASCHIM PURI (33/11kV) GRID SSTN To Feeder:B-2 SSTN. , LT CIRCUIT:NETWORK UPGRADTION WORK | RESTORED/ REPAIRED | Part of : 990 TRF-2: B-2 INDOOR,PASCHIM VHR | 267
17 | 18/03/2018 | MDK | 11:00 | 15:19 | 04:19 | PLANNED SHUTDOWN | Grid:66/11KV MUNDKA GRID To Feeder:11kV FDR NEEL WALL , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 630TRF-1:NEELWALL S/STN-2:PM*,*100TRF-1:RAN SINGH NEELWAL:PM*,*100TRF-1:HARIZON BASTI NEELWAL:PM*,*630TRF-1:NEELWALL S/STN-1:PM | 355
18 | 18/03/2018 | SVR | 11:00 | 14:51 | 03:51 | PLANNED SHUTDOWN | Grid:SARAI JULLENA (33/11kV) GRID SSTN To Feeder:11kV FDR TAMUR NAGAR , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 TAMOOR NAGAR | 148
19 | 18/03/2018 | NHP | 11:00 | 14:49 | 03:49 | PLANNED SHUTDOWN | Grid:OKHLA PHASE-II (33/11kV) GRID SSTN To Feeder:11kV FDR O/H S/S NO.-2 PHASE-2 , RMU:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-2 S/STN NO-2 OKHLA PH-2:ID | 63
20 | 18/03/2018 | SVR | 11:16 | 12:18 | 01:01 | LT FEEDER | Grid:SARITA VIHAR (220/66/11kV, TRANSCO) GRID SSTN To Feeder:JAITPUR O/H , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : D-BLK JATHPUR EXTN PART-II | 171
21 | 18/03/2018 | KPR | 11:23 | 13:35 | 02:12 | LT FEEDER | Grid:66 kV OKHLA PHASE-I GRID To Feeder:11kV FDR I-BLOCK, LAL KUAN , DISTRIBUTION TRANSFORMER,:LOW VOLTAGE COMING OUT, | RESTORED/ REPAIRED | Part of : TRF-1 CHUNGI NO.3:PL | 164
22 | 18/03/2018 | SVR | 11:24 | 12:57 | 01:32 | LT FEEDER | Grid:SARAI JULLENA (33/11kV) GRID SSTN To Feeder:11kV FDR TAMUR NAGAR , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : TRF-1 TAMOOR NAGAR (PILANJI) | 129
23 | 18/03/2018 | SKT | 11:30 | 13:33 | 02:03 | PLANNED SHUTDOWN | Grid:33kV ADHCHINI GRID To Feeder:11kV FDR LADO SARAI , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-2 LADO SARAI DDA JANTA FLAT:ID*,*TRF-1 SLADO SARAI DDA JANTA FLAT:ID*,*TRF-1 LADO SARAI BANK WALI GALI:PG*,*TRF-1 LADO SARAI KALI MANDIR:PL* | 485
24 | 18/03/2018 | SVR | 11:33 | 14:57 | 03:24 | PLANNED SHUTDOWN | Grid:SARAI JULLENA (33/11kV) GRID SSTN To Feeder:11kV FDR ESCORTS HEART INST. NO.-2 , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 2*990 KVA TRF ESCORT HEART HOSPITAL | 124
25 | 18/03/2018 | MDK | 11:59 | 13:23 | 01:24 | HT SYSTEM FAULT | Grid:66/11KV MUNDKA GRID To Feeder:11kV FDR BABA HARIDAS , HT O/H,:BIRDAGE, | RESTORED/ REPAIRED | Part of : 400TRF-1:AZAD HIND GRAM:PL*,*100TRF-1:JUBLI PETROL PUMP TIKRI KALAN*,*ON MAIN ROHTAK ROAD*,*400TRF-1:NEAR OLD POLICE STATION* | 372
26 | 18/03/2018 | SKT | 12:00 | 14:24 | 02:24 | PLANNED SHUTDOWN | Grid:66kV C-DOT GRID To Feeder:11KV FDR JONAPUR , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 MTNL JONA PUR-2:PM*,*TRF-1 GANGA PLAZA:PM*,*TRF-1 MCD TUBEWELL JAWAHAR COLONY MANDI:PM*, TRF-1 BALBEER FARM SHEESHAM LANE FARM NO 2* | 215
27 | 18/03/2018 | SKT | 12:00 | 14:06 | 02:06 | PLANNED SHUTDOWN | Grid:66kV IGNOU GRID To Feeder:11kV FDR IGNOU KIOSK , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 INDRA ENCLAVE NEBSARAI*,*TRF-1 D- BLOCK INDRA ENCLAVE*,*TRF-1 MADANGHARI BUS STAND;PL*, | 284
28 | 18/03/2018 | SKT | 13:03 | 15:17 | 02:14 | PLANNED SHUTDOWN | Grid:66kV C-DOT GRID To Feeder:11KV FDR SULTANPUR COLONY , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 SULTAN PUR COLONY:ID*,*TRF-1;SULTAN PUR COLONY KHADHA SUB STATION*SULTAN PUR COLONY:ID*, | 189
29 | 18/03/2018 | NHP | 13:30 | 15:40 | 02:10 | PLANNED SHUTDOWN | Grid:OKHLA PHASE-II (33/11kV) GRID SSTN To Feeder:11kV FDR S/S NO.-1, FEEDER-1 PHASE-2 (VIA B-18/2) , LT CIRCUIT:TO CONNECT NEW CABLE | RESTORED/ REPAIRED | Part of : TRF-1 NEW PLM S/S B-18/2 OKHLA PH-II NEAR MCD | 52
30 | 18/03/2018 | SVR | 13:39 | 15:00 | 01:21 | LT FEEDER | Grid:MOHAN CO-OPERATIVE (66/11kV) GRID SSTN To Feeder:11kV FDR MEETHAPUR WATER PMP. STN. , LT O/H CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : TRF-1 KAMAL NURSING HOME GALI NO-25 M.B.EXTN | 56
31 | 18/03/2018 | SVR | 14:07 | 15:08 | 01:00 | LT FEEDER | Grid:SARITA VIHAR (66/11kV) GRID SSTN To Feeder:11kV FDR ABU BAKER MASJID , SERVICE LINE,:SERVICE LINE LOOSE FROM POLE, | RESTORED/ REPAIRED | Part of : B&C BLK SHAHEEN BAGH | 39
32 | 18/03/2018 | TGN | 15:32 | 16:37 | 01:05 | HT SYSTEM FAULT | Grid:CHAUKHANDI (33/11kV) GRID SSTN To Feeder:11 kV FDR 224-SFS , HT O/H,:BIRDAGE, | RESTORED/ REPAIRED | Part of : *990 TRF-1 :HARIJAN BASTI 80 SQ.YRDS SSTN,T.NGR*,*630 TRF-1 :20-BLK GHORIWALA SSTN,TILAK NAGAR*,*990 TRF-2 :TILAK VIHAR SSTN NO-1,TILAK NGR*,* | 498
33 | 18/03/2018 | JFR | 16:35 | 18:07 | 01:31 | HT SYSTEM FAULT | Grid: JAFARPUR To Feeder:11KV SUREHRA MORE , HT CABLE FAULTY | RESTORED/ REPAIRED | Part of : TRF-1:S/S NO.1 VILL KAIR:PM*,*630 TRF-1:VILLAGE KAIR 1*,* TRF-1:STN 3 VILLAGE KAIR*,*DILBAG - VILL KAIRVIJAY*,*VINOD VILL MITRAON*,* TRF-1:S/S NO.1 VILL SURHERA | 487
34 | 18/03/2018 | SVR | 16:51 | 18:05 | 01:13 | HVDS CABLE & OTHER SYSTEM | Grid:66/11KV MEETHAPUR GRID SUB STN To Feeder:11kV FDR GYAN MANDIR , HVDS,:ELECTROCUTION OF EXTERNAL ELEMENTS, | RESTORED/ REPAIRED | Part of : TRF-1 GYAN MANDIR JAIT PUR;I-BLOCK EKTA VIHAR JAITPUR EXT PART-1*,*TRF-1 TAJPUR PAHARI ( MCD SEWAGE PUMPING STN)*,*TRF-1 I-BLOCK EKTA VIHAR JAITPUR EXT PART-1 | 421
35 | 18/03/2018 | SVR | 17:35 | 19:05 | 01:29 | HT SYSTEM FAULT | Grid:MATHURA ROAD (66/11kV) GRID SSTN To Feeder:11kV FDR SUKHDEV VIHAR O/H , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : TRF-1 LAPERA HOSPITAL NOIDA ROAD,TRF-1 JASOLA PETROL PUMP AUTO YARD;CNG GAS FILLING S/RC NOIDA ROAD SVR*,*TRF-1 STREET LIGHT SAVITA VIHAR-2*TRF-1 NOIDA ROAD ST. LIG-1 | 15
36 | 18/03/2018 | SKT | 17:35 | 18:52 | 01:16 | HT SYSTEM FAULT | Grid:66kV MALVIYA NAGAR GRID To Feeder:11kV FDR ANUPAM APPARTMENT , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : TRF-1 SAKET BLOCK-E, 74 PLM:PL*OPPOSITE J-57 PARYAVRAN COMPLEX.*,*TRF-1 SAKET BLOCK-D2:PL*,*TRF-1 ANUPAM APPARTMENT:ID*RMU OPP-D-37*,*TRF-2 ANUPAM APPARTMENT:ID | 345