## Format
DISCOM : BRPL
OUTAGE REPORT FOR : 19/03/2018 06:00Hr. To 20/03/2018 06:00Hr.
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Area / DT Effected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Detail
1 | 20/03/2018 | JKP | 05:33 | 06:59 | 01:25 | HT SYSTEM FAULT | Grid:HARI NAGAR (66/11kV) GRID SSTN To Feeder:11KV GANDHI PARK , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : 630 TRF-1 :POLICE STATION SSTN, PH-1,MAYAPURI, 630 TRF-2 :80 SFS FLATS SSTN, HARI NAGAR, POLICE STATION MAYAPURI:ID, 630 TRF-2 :GANDHI PARK SSTN, HARI NAGAR, 1000 TRF-1 :GANDHI PARK SSTN, HARI NAGAR, 990 TRF-1 :80 SFS FLATS SSTN, HARI NAGAR, TRANSFORMER,11/0.433KV 630KVA OIL TYPE, 630 TRF-1 :NEW ERA PUBLIC SCHOOL SSTN, H.NGR, 400 TRF-1 :RAM PURA SSTN, HARI NAGAR, 1000 TRF-1 :NANAK PURA SSTN, HARI NAGAR,NANAK PURA:K | 519
2 | 20/03/2018 | PLM | 03:24 | 04:38 | 01:14 | HT SYSTEM FAULT | Grid:PANKHA ROAD (66/33/11kV) GRID SSTN To Feeder:HARIJAN BASTI SITAPURI , HT O/H,:BIRDAGE, | RESTORED/ REPAIRED | Part of : 990 TRF-1:DABRI MORE I/D, 400 TRF-1: Sitapuri S/stn Harijan Basti, 990-TRF1-DABRI NALEWALA:PL, 630 TRF-1: C-Block Sitapuri S/stn, 630 TRF-2:DABRI MORE I/D, 630 TRF-1:SEETA PURI C BLK | 458
3 | 19/03/2018 | NJF | 22:13 | 23:42 | 01:28 | HT SYSTEM FAULT | Grid:66kV I.O.C BIJWASAN GRID To Feeder:11kV FDR BAMNAULI , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : *25TRF-1:JUGLAL CHAWLA*,*25TRF-1:USHA FARM*,*100 TRF-1:OLD SCH CHHAWLA S/STN KANGANHERI ROAD*,*SATPAL RANA MLA VILL BIJWASAN*,*TRF-2:KHAJAN BIJWASAN*,*25TRF-1:KANSIRAM*,*NOT IN EMG*,*100 TRF-1:SISH RAM KANGENHERI RD CHH*,*25TRF-1;BALVEER KAUR*,*25TRF-1:NEAR USHA FARM*,*100 TRF-1:STN NR MANDIR KANGENHERI*,*25TRF-1*,*RAVINDER KAUR*,*25TRF-1:MANJEET CHAWLA*,*100 TRF-1:BAHI RAM CHHAW LA*,*100TRF-1:DEHLI TOURSIM*,*100 TRF-1:NARAIN SARUP CHHAWLA*,*100 TRF-:KURIA KANGENHERI*,*TEK CHAND RAGHAVPUR*,*100TRF-1:CHET RAM CHHAWLA*,*25TRF-1*,*100 TRF-1:CHIRANJI KANGENHERI*,*400 TRF-1:CHHAWLA 1*,*NOT IN EMG*,*100 TRF-1:ROOP RAM KANGENHERI*,*25 TRF-1: KARNAL FARM BRIJWASAN*,*25TRF-PRITAM SINGH KAGANHERI*,*25TRF-1;BALVEER KAUR*,*25TRF-1:DHRUV AGGARWAL*,*CHANDRABAN VILL BADUSARAI*,*TRF-1:SETNA FARM BAMLI*,*25TRF-1*,*400 TRF-1:LOP BIJWASAN RAILWAY STATION*,*100 TRF-1:NEW STN K HERI RD CHHAWLA*,*100 TRF-1:GHAN SHAMCHHAWLA*,*25TRF-1;BALVEER KAUR*,*400 TRF-1:VILL NANAK HERI*,*25 TRF-1:AZAD BAMLI*,*25TRF-1:JUGLAL CHAWLA*,*ISAPUR KHAIRA VIL BMNULI BHAJHGER*,*16 TRF-1: BADHUR FRM NR ANKUR DABA BAJHRA-RGVPUR*,*25TRF-1*,*25TRF-1:NEENA KANCHAN*,*25TRF-1*,*100 TRF-1:RAM KISHAN CHHAWLA*,*100 TRF-1:STN BAMLI STAND*,*25 TRF-1:GAUSHALA, REWLA KHANPUR*,*400 DT:TRISHUL COLONY, CHHAWLA*,*400 TRF-1:SUKHBIR RAGHAVPUR*,*400 TRF-1:GAUTAM COLONY KAGANHERI ROAD CHHAWLA*,*25TRF-1:BALBIR VILL RAGHOPUR*,*DHEERAJ RANA (NR. NASIR FARM )VILL. BIJWASAN*,*W/S KANGANKHERI*,*25 TRF-1:SURESH DD VILL. KANGANHERI*,*NEANASIR FARM VILL. BIJWASAN*,*100 TRF-1:CHANDU MALI BAMNOLI*,*25TRF-1:JAGDEEP KANGANHERI*,*400 TRF-:BALBIR BIJWASAN*,*100 TRF-1:DATA RAM KANGENHERI*,*25TRF-1:PARVINDER KAUR*,*100 TRF-1:PIARAE LAL BIJWASAN*,*BEFORE NASIR FARM VILL BIJWASAN*,*NOT IN EMG*,*25TRF-1:USHA FARM*,*25TRF-1:KALE CHAWLA*,*100 TRF-1:SETH FARM BAMROLI*,*25TRF-1*,*100 TRF-1:LEKH RAJ KANGENHERI*,*JAI BHAGWAN VILL. KANGANHERI*,*NOT IN EMG*,*25 TRF-1: NASIR FARM BRIJWASAN*,*RICHPAL VILL KANGANHERI*,*100 TRF-1:BHOOPE SAROOPEMCHHAWLA*,*RAJINDER VILL KANAGANHERI*,*100 TRF-1:STN RAGHAV PUR*,*TRISHUL COLONY SSTN-2*,*ASHIRWAD ASHRAM VILL. CHHAWLA*,*400 TRF-1:HARIZON BASTI RAILWAY PHATAK BIJWASAN* | 421
4 | 19/03/2018 | HKS | 21:16 | 23:00 | 01:44 | HT SYSTEM FAULT | Grid:33kV I.I.T GRID To Feeder:11kV FDR S.I.I.A NO.-4 , : | RESTORED/ REPAIRED | TRF-1 SIIA NO 4 : B-12 SOCIAL WELFARE BOARD (HT CONSUMER), I.I.M (HT CONSUMER), KALINDI BHAWAN (HT CONSUMER), B-26 A HINDI SANGHATAN (HT CONSUMER), I.I.F.T (HT CONSUMER), AMERICAN EMBASSAY (HT CONSUMER), ASSOCIATE OF OLYAMPIC (HT CONSUMER) | 8
5 | 19/03/2018 | VKJ | 17:29 | 18:31 | 01:01 | HT SYSTEM FAULT | Grid:33kV ANDHERIA BAGH GRID To Feeder:11kV FDR MANAGALPURI , HT O/H,:BIRDAGE, | RESTORED/ REPAIRED | Part of : TRF-1 ANANDGRAM PLINTH, TRF-1 ARUN SINGH (SHAKUNTALA), TRF-1 ROSA VILLA FARM, TRF-1 PETROL PUMP, TRF-1 MAUSAM VIBHAG, TRF-1 12-B and 14,SHAKUNTALA FARM, TRF-1 LAL KOTHI DAWN SINGH, TRF-2 TOLL TAX , MG Road, AYA NAGAR, TRF-1 ANAND GRAM, TRF-1 FARM NO.16 P/M SHAKUNTLA(SWAT HOUSE), TRF-1 ST. LTG. NR. SHAKUNTALA FARM, TRF-1 FARM NO.24 P/M SHAKUNTLA, TRF-1 HERO HONDA (RIKKHI FARM), TRF-1 NAVAL, NEAR ANDHERIA MORE, TRF-1 ARJUNGARH METRO STATION, TRF-1 P and T, M G ROAD, GHITTORNI, TRF-1 FARM NO.19 P/M SHAKUNTLA, TRF-1 KAMBOJ, TRF-1 ST.LTG. NEAR KALPANA FARM NO.184, TRF-1 Plinth mounted inside Ahuja Farm le, TRF-1 FARM NO.21 P/M SHAKUNTLA(SILVER OAKS), TRF-1 FARM NO 18 SHAKUNTALA FARMS, TRF-1 FARM NO.9 SHAKUNTALA FARM | 398
6 | 19/03/2018 | NGL | 13:40 | 14:44 | 01:04 | HT SYSTEM FAULT | Grid:NANGLOI WATER WORKS (66/11kV) GRID SSTN To Feeder:11kV FDR BAPROLLA , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : 25 TRF-1: TUBEWELL CHANCHAL PARK 25KVA, 100TRF-1:PWD STREET LIGHT, 400 TRF-1:GANGA RAM PARK, 400 TRF-1:A BLOCK AMRITA PURI P/M, 25 TRF-1:N R NATHU RAM CONVENT SCHOOL NILOTHI, 100TRF-1:PWD STREET LIGHT, 400 TRF-1 AKASH VIHAR, 100TRF-1:PWD STREET LIGHT | 387
7 | 19/03/2018 | DWK | 10:06 | 11:37 | 01:31 | HT SYSTEM FAULT | Grid:PAPPANKALAN-II (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR KAKROLA VILLAGE , HT O/H,:BIRDAGE, | RESTORED/ REPAIRED | Part of : 630 TRF-1:KAKROLA S/STN 2, 630 TRF:1 KAKROLA S/ST-4 DALALWALA, 25 TRF-:DJB T/W S/S NEAR KAKROLA DRAIN, KAKROLA VILLAGE DJB PUMPING STATION, 16 TRF:DJB T/W S/S HARIJAN BASTI KAKROLA, KAKROLA S/ST-3 MANDIRWALA, 400 TRF:2SEC-16B PKT-2 CRPF S/ST-1, 400 TRF:1SEC-16B PKT-2 CRPF S/ST-1 | 509
8 | 19/03/2018 | HKS | 09:34 | 10:40 | 01:05 | HT SYSTEM FAULT | Grid:33kV HUDCO GRID To Feeder:11kV FDR HUDCO S/S NO.-2 (OLD)+YUSUF SARAI COMM. CENTER , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : TRF-1 HUDCO S/STN-2 OLD: ID* | 205
9 | 19/03/2018 | DWK | 09:08 | 10:32 | 01:24 | HVDS TRANSFORMER | Grid:G 4 DWARKA SEC 19 GRID SSTN To Feeder:11kV FDR DDA MEGA HOUSING SEC-18 , HVDS,:HVDS TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : 630 TRF-1: SEC-18B DDA MEGA HOUSING SS-6 I/D, 630 TRF-2: SEC-18B DDA MEGA HOUSING SS-7 I/D, 630 TRF-1:SEC-18B DDA MEGA HOUSING SS-10 I/D, 630 TRF-1: SEC-18B DDA MEGA HOUSING SS-4 I/D*,*ADD NEW DT, 630 TRF-2:SEC-18B DDA MEGA HOUSING SS-2 I/D, 630 TRF-2:1520 LIG/MIG SEC-18B SSTN-2, 630 TRF-2:SEC-18B DDA MEGA HOUSING SS-10 I/D, 630 TRF-2: SEC-18B DDA MEGA HOUSING SS-4 I/D, 630 TRF-2: SEC-18B DDA MEGA HOUSING SS-6 I/D, 630 TRF-2:SEC-18B DDA MEGA HOUSING SS-5 I/D, 630 TRF:-1 E/O 947 MEGA HOUSES IN S-18B, DWK, 630 TRF-1: SEC-18B DDA MEGA HOUSING SS-8 I/D, 630 TRF-1:SEC-18B DDA MEGA HOUSING SS-5 I/D, 400 TRF-1:1520 MIG LIG SEC-18B SSTN-1, 630 TRF:-2 E/O 947 MEGA HOUSES IN S-18B, DWK, 400 TRF-2:1520 MIG LIG SEC-18B SSTN-1, 630 TRF-2:SEC-18B DDA MEGA HOUSING SS-3 I/D, 630 TRF-2: SEC-18B DDA MEGA HOUSING SS-8 I/D, 630 TRF-1:SEC-18B DDA MEGA HOUSING SS-9 I/D, 630 TRF-2:SEC-18B DDA MEGA HOUSING SS-9 I/D, 630 TRF-1:SEC-18B DDA MEGA HOUSING SS-2 I/D, 400 TRF-2:1520 LIG/MIG SEC-18B SSTN-3, 400 TRF-1:1520 LIG/MIG SEC-18B SSTN-3, 630 TRF-1:SEC-18B DDA MEGA HOUSING SS-3 I/D, 630 TRF-1:1520 LIG/MIG SEC-18B SSTN-2 | 532
10 | 19/03/2018 | SVR | 21:38 | 22:38 | 01:00 | LT FEEDER | Grid:JASOLA (66/33/11kV) GRID SSTN To Feeder:11kV FDR SPORTS COMPLEX JASOLA , : | RESTORED/ REPAIRED | Part of : TRF-1 RAJA MOHALLA VILL JASOLA | 103
11 | 19/03/2018 | SVR | 15:29 | 16:43 | 01:13 | LT FEEDER | Grid:SARITA VIHAR (66/11kV) GRID SSTN To Feeder:11kV FDR THOKAR NO.-5 DHARAM KANTA , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : 630 KVA TRF-1 THOKAR NO 4 ABUL FAZAL | 180
12 | 19/03/2018 | PJB | 13:30 | 15:08 | 01:37 | LT FEEDER | Grid:MADIPUR (33/11kV) GRID SSTN To Feeder:SHIV MANDIR , LT POLE,:FIRE ON POLE, | RESTORED/ REPAIRED | Part of : SHIV MANDIR, MADIPUR VILLAGE, PJB | 88
13 | 19/03/2018 | HKS | 10:57 | 12:15 | 01:18 | LT FEEDER | Grid:33kV MASJID MOTH GRID To Feeder:11kV FDR B & C BLOCK PANCHSHEEL ENCL. , LT ACB,:SOCKET DAMAGE, | RESTORED/ REPAIRED | Part of : TRF-2 B and C BLK PANSHEEL ENCLAVE | 74
14 | 19/03/2018 | KPR | 07:51 | 08:53 | 01:01 | LT FEEDER | Grid:TUGHLAKABAD (33/11kV) GRID SSTN To Feeder:11kV FDR DMS TRUST , LT ACB,:LT ACB FLASH, | RESTORED/ REPAIRED | Part of : TRF-1 NAI BASTI DEVLI (OLD):PM | 52
15 | 19/03/2018 | KPR | 07:44 | 09:17 | 01:32 | LT FEEDER | Grid:66kV BATRA GRID To Feeder:11kV FDR TIGRI KIOSK , LT ACB,:PHASE NOT COMING OUT, | RESTORED/ REPAIRED | Part of : 630 KVA TRF. DDA FLATS NEAR SHIV MANDIR | 89
16 | 19/03/2018 | KPR | 06:14 | 07:41 | 01:26 | LT FEEDER | Grid:66kV BATRA GRID To Feeder:11kV FDR S/S NO.-2, DAKSHIN PURI , SERVICE LINE,:JUMPER LOOSE/BROKEN FROM DB, | RESTORED/ REPAIRED | Part of : TRF-1 SIDHARTHA MARKET MADANGIR:ID | 59
17 | 19/03/2018 | NGL | 13:35 | 16:33 | 02:58 | PLANNED SHUTDOWN | Grid:PASCHIM VIHAR (66/33/11KV) GRID SSTN To Feeder:11kV FDR 656 MIG FLATS , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 630TRF-1: GH-14 SSTN NO-1, 630TRF-2: GH-9 SSTN-1 I/D, 630TRF-2: GH-9 SSTN NO-2, 630TRF-1: GH-9 SSTN NO-2, 630TRF-1: GH-9 SSTN-1 I/D, 630TRF-2: GH-14 SSTN NO-1, 400TRF-1: TELEPHONE EXCHANGE SSTN P/M | 452
18 | 19/03/2018 | JFR | 13:30 | 17:10 | 03:40 | PLANNED SHUTDOWN | Grid:JAFFARPUR (66/11kV) GRID SSTN To Feeder:11KV NAVEEN PLACE , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 16 TRF-1:NAPHE VILLAGE HEBAT PURA, NAPHE VILLAGE HEBAT PURA, HAWA SINGH HBT PURA, RAKESH HBT PURA, 100 TRF-1:PAHWA FARM 1 ANAJ MANDI, 25 TRF-1: BANWARI HBT PURA, AZAD SINGH HBT PURA, 100 TRF-1:JANTA VIHAR JHARODA ROAD, 100 TRF-1:RICHHPAL HEBAT PURA, CRPF CAMP S/S NO 2A:ID, 400 TRF-1:NAVEEN PLACE SUB STN NO 2, 400 TRF-:NAVEEN PLACE SUB STN NO 3, HTC:CRPF CAMP S/S NO 1:PL, CRPF CAMP S/S NO 2A:ID, 400 TRF-1:NANU RAM PARK, 100 TRF-2:KARAN SINGH HEBAT PURA, 400 TRF-1:NAVEEN PLACE CRPF ROOD, 25 TRF-1:MIR SINGH,HBT PURA | 407
19 | 19/03/2018 | SKT | 13:30 | 15:44 | 02:14 | PLANNED SHUTDOWN | Grid:33kV ADHCHINI GRID To Feeder:11kV FDR AURVINDO MARG , 11KV FEEDER:TREE TRIMMING | RESTORED/ REPAIRED | Part of : TRF-1 HARYANA GOVT. NURSERY:PM, TRF-1 LADO SARAI AGGRWAL HOTEL:PL, TRF-1 LADO SARAI HANUMAN MANDIR:PL | 227
20 | 19/03/2018 | NGL | 12:59 | 16:04 | 03:05 | PLANNED SHUTDOWN | Grid:PASCHIM VIHAR (66/33/11KV) GRID SSTN To Feeder:11kV FDR 1140 SFS , 11KV FEEDER:REPLACEMENT OF RMU | RESTORED/ REPAIRED | Part of : 630 TRF-1:I/D GH-13 STN-3, 630 TRF-1:I/D GH-13 STN-4, 630 TRF-2:I/D GH-13 STN-3, 400 TRF-2:I/D GH-13 STN-1, 630TRF-1: GHKN SSTN NO-4, 400TRF-2: GH-12 SSTN-2, 630TRF-2*,*400TRF-1: GH-12 SSTN-2, 630TRF-1:GH-13 SSTN NO-2, 400TRF-1: GH-12 SSTN-1, 630TRF-2:GH-13 SSTN NO-2, 630TRF-2: GH-13 SSTN-5, 400TRF-2: GHKN SSTN NO-4, 630TRF-1: GH-13 SSTN-5 | 487
21 | 19/03/2018 | NGL | 12:40 | 14:42 | 02:02 | PLANNED SHUTDOWN | Grid:NANGLOI WATER WORKS (66/11kV) GRID SSTN To Feeder:11kV FDR RATAN NO-2 , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : 630TRF-2:ESS-1- EWS FLATS BAPROLLA I/D, 400 TRF-1:NEAR NALA SSTN AMBEDKAR SCHOOL, 750 TRF-1:NEAR DADA DEV SSTN-2, 100 TRF-1:NEAR NALA SSTN AMBEDKAR SCHOOL, 990 TRF-1:NEAR DADA DEV SSTN-2, 630 TRF-1:, 630 TRF-1:BAPROLA VILLAGE STN-2, 400 TRF-1:P/M JAI VIHAR NR JODH SINGH PRADHAN HOME, P/M JAI VHR PH-III G2 BLK NR PANDIT DABA, 630 TRF-2:JAI VIHAR S/STN-1, 25 TRF-1: RELIANCE TOWER JAI VIHAR 25KVA, BAPROLEXTN NEAR CHANCHAL PARK RMU, 400 TRF-1 P/M SATYAM VIHAR, 400 TRF1: P/M G BLK JAI VIHAR P/M, 100 TRF-1: GADDA COLONY P/M S/STN, OPP. HOUSE NO.64*,*400 TRF1: P/M E BLK JAI VIHAR, 400 TRF1:-PRASHANT ENCLAVE, 990 TRF-1:BAPROLA VILLAGE STN-1 | 513
22 | 19/03/2018 | KPR | 12:11 | 14:33 | 02:22 | PLANNED SHUTDOWN | Grid:66kV BATRA GRID To Feeder:11kV FDR TUGLAKABAD INST. AREA , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 DUGGAL COLONY:ID, TRF-2 DUGGAL COLONY:ID | 212
23 | 19/03/2018 | JKP | 11:50 | 14:08 | 02:18 | PLANNED SHUTDOWN | Grid:MUKHERJEE PARK (33/11kV) GRID SSTN To Feeder:11kV FDR FATEH NAGAR , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 400 TRF-1 :D-BLOCK SSTN, AJAY ENCLAVE, S.NGR | 144
24 | 19/03/2018 | PLM | 11:30 | 15:02 | 03:32 | PLANNED SHUTDOWN | Grid:PANKHA ROAD (66/33/11kV) GRID SSTN To Feeder:HARIJAN BASTI SITAPURI , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : 990 TRF-1:DABRI MORE I/D, 400 TRF-1: Sitapuri S/stn Harijan Basti, 990-TRF1-DABRI NALEWALA:PL, 630 TRF-1: C-Block Sitapuri S/stn, 630 TRF-2:DABRI MORE I/D, 630 TRF-1:SEETA PURI C BLK | 343
25 | 19/03/2018 | SKT | 11:30 | 13:52 | 02:22 | PLANNED SHUTDOWN | Grid:33kV D.C.SAKET GRID To Feeder:11kV FDR DMRC VIA ANDHRA SCHOOL S/S+BLIND SCHOOL+PUSHP VIHAR S/S NO.-12 , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-2 STN-15 SEC-7 PUSHAP VIHAR:ID | 202
26 | 19/03/2018 | SKT | 11:30 | 13:49 | 02:19 | PLANNED SHUTDOWN | Grid:33kV PUSHP VIHAR GRID To Feeder:11kV FDR O/G MAX DEVIKA DEVI HOSPITAL , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-2 253 HAUZ RANI NEAR DJB PUMP, TRF-1 253 HAUZ RANI NEAR DJB PUMP, TRF-1 F-BLOCK MALVIYA NAGAR PARK:PL, TRF-2 253 HAUZ RANI NEAR DJB PUMP | 221
27 | 19/03/2018 | PLM | 11:30 | 15:01 | 03:31 | PLANNED SHUTDOWN | Grid:PANKHA ROAD (66/33/11kV) GRID SSTN To Feeder:RAGHU NAGAR (NEW) , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : 990 TRF-1:Mohan Block Sagar Pur S/S, 990 TRF-1:VASHIST PARK. 2:ID, 990 TRF-1:RAGHU NGR NEW:ID, MOHAN BLK SGR PUR | 315
28 | 19/03/2018 | SKT | 11:30 | 13:21 | 01:51 | PLANNED SHUTDOWN | Grid:66kV IGNOU GRID To Feeder:11kV FDR N-BLOCK SAINIK FARM , 11KV FEEDER:TREE TRIMMING | RESTORED/ REPAIRED | Part of : TRF-1 N 69 A Dumpy Ahmed Western Avenue, TRF-2 S/S OPP. W-23 GENERATOR ROOM S. FARM, TRF-1 S/S OPP. W-23 GENERATOR ROOM S. FARM, TRF-1 HARI SINGH T/WELL SANIK FARM:PM, TRF-1 N Blk Genreter Room Western Avenue, TRF-1 W-20 OBROI S/STN SANIK FARM, TRF-1 N 49 A Western Avenue, TRF-1 N Blk Vinod Anand Western Avenue | 402
29 | 19/03/2018 | TGN | 11:23 | 15:45 | 04:22 | PLANNED SHUTDOWN | Grid:MUKHERJEE PARK (33/11kV) GRID SSTN To Feeder:11 kV FDR RAGHUBIR NAGAR D-BLOCK , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 990 TRF-2 :D-BLK STOREWALA SSTN, RAGHUBIR NGR, 630 TRF-1 :D-BLK STOREWALA SSTN, RAGHUBIR NGR | 344
30 | 19/03/2018 | JFR | 11:20 | 15:32 | 04:12 | PLANNED SHUTDOWN | Grid:JAFFARPUR (66/11kV) GRID SSTN To Feeder:11KV MITRAON , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 100 TRF-1:RED LIGHT SEC 1 : PM,. 630 TRF-1:VILLAGE MITRAON 2, 100 TRF1-:CHET RAM VILL JAFFARPUR:PM, 100 TRF-1:DAYAKISHAN VILL MITRAON:PM, 630 TRF-1:S/STN-5 VILLAGE MITRAON, 25 TRF-1:SITARAM VILL MITRAON, 400 TRF-1:MITRAON COMPLAINT CENTRE, 630 TRF-1:VILLAGE MITRAON 3, 100 TRF-1:MAM CHAND VLG MITRAON, 400 TRF-1:VILLAGE MITRAON 1 , DHANSA ROAD NERA GOVT. SCHOOL, 100 TRF-1:KANSHI RAM VLG SURHERA | 214
31 | 19/03/2018 | NJF | 11:20 | 15:00 | 03:40 | PLANNED SHUTDOWN | Grid:DELHI JAL BOARD NAJAFGARH WATER WORKS (66/11) To Feeder:JHATIKARA MOUR , RMU:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *100TRF-1:GOVT SCHOOL PAPRAWAT*,*25 TRF-1:NO.2 SUSHIL S/SN VILL SHIKARPUR*,*25 TRF-1:WS JHATIKRA X ING*,*W/S NO.3 PAPRAWAT VILLAGE*,*KRISHAN S/STN JHATIKRA NEAR DRAIN*,*S/STN NO.3 VILLAGE SHILKARPUR*,*100 TRF-1:NATHAN PANDWAKAKALAN*,*100 TRF-1:LALOO SHIKARPUR*,*100 TRF-1:RATIRAMSHIKARPUR*,*100 TRF-1:RAMKALA SHIKARPUR*,*100 TRF-1:DAULATPUR MORE*,*NIHAL NO-2*,*400 TRF-1:VILL SHIKARPUR*,*25TRF-1*,*100 TRF-1:BHUPAN JHATIKRA ROAD*,*16 TRF-1:RAM SARAN SHIKARPUR*,*100 TRF-1:RAM SWAROUP-2 SIKARPUR*,*16 TRF-1:SHER SINGH VLG UJWA*,*100 TRF-1:W S2 PAPRAWAT*,*400 TRF-1:VILL PANDWALA KALAN STN 1*,*100 TRF-1:SH BHARTOO PANDWALA MORE*,*100 TRF-1:RATTI RAM JHATIKRA ROAD*,*100 TRF-1:AMRIT JHATIKRA*,*RAM SARUP SHIKARPURJAY BEE*,*100 TRF-1:HET RAM PAPRAWAT*,*100 TRF-1:SHIV LAL PANDWALA KHURD*,*100 TRF-1:PANDWALA KHURD HARIZON BASTI*,*100 TRF-1:KAPOOR FARM PAPRAWAT*,*100 TRF-1:KHAZAN SINGH JHATIKRA*,*100 TRF-1:GOPALREWLA KHANPUR*,*RAM KUMAR VILL JHATIKRA NEAR DRAIN*,*400 TRF-1:VILL PANDWALA KHURD*,*100 TRF-1:NIHAL SHIKARPUR*,*25 TRF-1:BAKSHI FARM PAPRAWAT*,*100 TRF-1:HARI CHAND PANDWALA KHURD*,*100 TRF-1:DHAN SINGH PAPWARAT*,*100 TRF-1:RAMANAND PANDWALAKHURD*,*100 TRF-1:CHET RAM PAPRAWAT*,*100 TRF-1:BRIJESH DEHARREWLAKHANPUR*,*100 TRF-1:RAMPHAL JHATIKRA*,*JAIN PLY WOOD FACTORY PAPRAWAT*,*SARDAR FARM, VILLAGE SHIKARPUR (RATI RAM)*,*100 TRF-1:STN DURGA JHATIKRA*,*100 TRF-1:DAULAT REWLA KHANPUR*,*NO. 1 SUSHIL S/SN VILL SHIKARPUR*,*630 TRF1: VILLAGE JHATIKRA*,*DULI CHAND KHARKHARI NAHAR*,*JUGLAL NO.2 PAPRAWAT VILLAGE*,*100 TRF-1:TEJ RAM PAPRAWAT*,*25 TRF-1:MANGE RAM TYAGI SHIKAR PUR DAHAR ROAD*,*25 TRF-1:RAJESH TYAGI VILL SHIKARPUR*,*MODI TRANSFORMER SHIKARPUR VILLAGE*,*AMIRT SHIKARPUR*,*PANDWALA KALA WATER SUPPLY*,*UDEY RAJ SIKARPUR*,*JAI PRAKASH TRF SHIKARPUR*,*JHATIKARA DHAHAR*,*JUGLAL PAPRAWAT*,*PANDWALA KALAN S/STN NO -3*,*RATI RAM , SHIKARPUR*,*S/STN- 2 VILL PANDWALA KHURD*,*NOT IN EMG*,*NOT IN EMG*,*16trf-1* | 440
32 | 19/03/2018 | TGN | 11:19 | 15:45 | 04:25 | PLANNED SHUTDOWN | Grid:CHAUKHANDI (33/11kV) GRID SSTN To Feeder:11 KV FDR RAM NAGAR EXTENSION , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 630 TRF-1 :SCHOOLWALA SSTN, SANT NAGAR | 187
33 | 19/03/2018 | TGN | 11:16 | 15:44 | 04:28 | PLANNED SHUTDOWN | Grid:BODELLA-I GRID SSTN To Feeder:11 kV FDR 72-SFS NO-1 T.GDN , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 990 TRF-2 :72 SFS FLATS SSTN, MAHAVIR NAGAR, 400 TRF-1 :72 SFS FLATS SSTN, MAHAVIR NAGAR | 331
34 | 19/03/2018 | PLM | 11:15 | 15:00 | 03:45 | PLANNED SHUTDOWN | Grid:G-2 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:D.D.A OFFICE MANGLAPURI , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : 400 TRF- 1: DDA PROJECT OFFICE | 169
35 | 19/03/2018 | PLM | 11:15 | 15:01 | 03:46 | PLANNED SHUTDOWN | Grid:G-7 SECTOR -9 DWARKA To Feeder:STORE SECTOR-8 (PLM) , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : 990 TRF-1:Dharma Wala, 630 TRF-1:Dharma Wala, 990 TRF-1 Gali No-10 Raj Ngr S/s, 990 TRF-1:GALI NO 13 RAJ NAGAR | 393
36 | 19/03/2018 | TGN | 11:11 | 15:44 | 04:32 | PLANNED SHUTDOWN | Grid:CHAUKHANDI (33/11kV) GRID SSTN To Feeder:11 kV FDR 224-SFS , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 400 TRF-1 :224 SFS SSTN, VIKASPURI EXTN, 400 TRF-2 :224 SFS SSTN, VIKASPURI EXTN | 264
37 | 19/03/2018 | DWK | 11:11 | 12:33 | 01:22 | PLANNED SHUTDOWN | Grid:MATIYALA (G-5 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR JAIN COLONY , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 1000 TRF-1:NEW T UTTAM NAGAR, 630 TRF-2:NEW T UTTAM NAGAR, 630 TRF-1:SAHYOG VIHAR P/M | 403
38 | 19/03/2018 | DWK | 11:09 | 13:03 | 01:54 | PLANNED SHUTDOWN | Grid:G 4 DWARKA SEC 19 GRID SSTN To Feeder:11kV FDR KRISHNA RESIDENCY , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 400 TRF-2:JANAKSAR SOCIETY | 95
39 | 19/03/2018 | TGN | 11:08 | 15:43 | 04:35 | PLANNED SHUTDOWN | Grid:GURU GOVIND SINGH HOSPITAL GRID SSTN - WTC123. To Feeder:11 kV FDR 608-JANTA FLAT , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 400 TRF-2 :608 SLUM QTRS SSTN, RAGHUBIR NAGAR, 630 TRF-1 :608 SLUM QTRS SSTN, RAGHUBIR NAGAR | 307
40 | 19/03/2018 | TGN | 11:03 | 15:43 | 04:40 | PLANNED SHUTDOWN | Grid:CHAUKHANDI (33/11kV) GRID SSTN To Feeder:11 KV FDR RAM NAGAR EXTENSION , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 630 TRF-1 :SCHOOLWALA SSTN, SANT NAGAR | 187
41 | 19/03/2018 | DWK | 11:01 | 12:26 | 01:25 | PLANNED SHUTDOWN | Grid:PAPPANKALAN-I (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR MAHALAXMI , LT CIRCUIT:MAINTANCE WORK | RESTORED/ REPAIRED | Part of : SEC-6 PL-8 KATYANI CGHS SS I/D (HT CONSUMER) | 1
42 | 19/03/2018 | KPR | 11:00 | 14:43 | 03:43 | PLANNED SHUTDOWN | Grid:66kV BATRA GRID To Feeder:11kV FDR S/S NO.-5 DAKSHIN PURI , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 POLICE STATION, AMBEDKAR NR.:ID | 188
43 | 19/03/2018 | VKJ | 11:00 | 16:21 | 05:21 | PLANNED SHUTDOWN | Grid:33kV ANDHERIA BAGH GRID To Feeder:11kV FDR GHITORANI , LT CIRCUIT:MAINTANCE WORK | RESTORED/ REPAIRED | Part of : 100 KVA TRF-1 SUNDER P/M | 15
44 | 19/03/2018 | SKT | 11:00 | 13:50 | 02:50 | PLANNED SHUTDOWN | Grid:33kV MASJID MOTH GRID To Feeder:11kV FDR BALMIKI MANDIR CHIRAG DELHI , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 RAVIDASS MANDIR S/STN CHIRAG DELHI, TRF-1 BALMIKI MANDIR S/STN. : 11 KV FSS | 188
45 | 19/03/2018 | SKT | 11:00 | 13:53 | 02:53 | PLANNED SHUTDOWN | Grid:33kV ANDHERIA BAGH GRID To Feeder:11kV FDR SATABARI , TRANSFORMER:NETWORK UPGRADATION WORK | RESTORED/ REPAIRED | Part of : 100 KVA TRF-1 E- ANSAL FARM | 11
46 | 19/03/2018 | NHP | 11:00 | 14:19 | 03:19 | PLANNED SHUTDOWN | Grid:OKHLA PHASE-II (33/11kV) GRID SSTN To Feeder:11kV FDR Z-BLOCK OKHLA PHASE-1 (VIA -X-BLOCK) , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-3 S/STN X BLOCK OKHLA PH-2:ID | 174
47 | 19/03/2018 | SVR | 11:00 | 15:02 | 04:02 | PLANNED SHUTDOWN | Grid:SARAI JULLENA (33/11kV) GRID SSTN To Feeder:11kV FDR TAMUR NAGAR , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 VILLAGE TAMOOR NAGAR PKG | 201
48 | 19/03/2018 | SVR | 11:00 | 14:58 | 03:58 | PLANNED SHUTDOWN | Grid:SARAI JULLENA (33/11kV) GRID SSTN To Feeder:11kV FDR S/S NO.-3 NEW FRIENDS COLONY , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 990 KVA TRF. KHIDRA BAD PLM | 307
49 | 19/03/2018 | SKT | 11:00 | 14:56 | 03:56 | PLANNED SHUTDOWN | Grid:66kV C-DOT GRID To Feeder:11KV FDR ASHWANI KUMAR MEHRA HOTEL(D-1) , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 BLK - F 213 AYA NGR, TRF-1 FARM NO 23 CLUB DRIVE GHITORNI, TRF-1 CHHABRA FARM MANGLA PURI, TRF-1 H - BLOCK AYA NAGAR, TRF-1 BLK -F 33 AYA NGR, TRF-1 C - III AYA NGR, TRF-1 BLK - G 663 AYA NGR, TRF-1 AMBEDKAR COLONY AYA NGR, GOVT TUBE WEL, TRF-1 G-BLOCK AYA NAGAR:PL, TRF-1 BLK - G 523 AYA NGR, TRF-1 BLK - F 204 AYA NGR, TRF-1 BLK - C I MLA OFFICE AYA NGR, TRF-2 BLK - F 204 AYA NGR, TRF-1 OPP GHITORNI MARKET, 100 KVA S/S S. LT, TRF-1 C-2 AYA NAGAR:PL | 389
50 | 19/03/2018 | SVR | 11:00 | 15:00 | 04:00 | PLANNED SHUTDOWN | Grid:SARITA VIHAR (66/11kV) GRID SSTN To Feeder:11kV FDR N-BLOCK ABUL FAZAL ENCLAVE , LT ACB:MAINTENANCE | RESTORED/ REPAIRED | Part of : 990 KVA TRF. N BLOCK AF ENCLAVE | 293
51 | 19/03/2018 | DWK | 11:00 | 15:54 | 04:54 | PLANNED SHUTDOWN | Grid:MATIYALA (G-5 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR SEC-3 PP-1 , 11KV FEEDER:TREE TRIMMING | RESTORED/ REPAIRED | Part of : 2*630 TRF-1: JHELAM APP | 276
52 | 19/03/2018 | VKP | 11:00 | 13:51 | 02:51 | PLANNED SHUTDOWN | Grid:HASTAL (66/11kV) GRID SSTN To Feeder:RAJHANS VIHAR , HVDS:FAULTY HVDS TRANSFORMER | RESTORED/ REPAIRED | Part of : 400 KVA TRF COL BHATIA RAJ HANS VIHAR(TUTIWALA) | 116
53 | 19/03/2018 | MDK | 11:00 | 14:15 | 03:15 | PLANNED SHUTDOWN | Grid:NANGLOI WATER WORKS (66/11kV) GRID SSTN To Feeder:11kV FDR RANHOLA , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 990TRF-1:RANHOLLA TALAB WALA, 400TRF-1:HARIJAN BASTI RANHOLLA NO-1, TRANSFORMER,11/0.433KV 990KVA OIL TYPE, 400TRF-1:DADA BHAI MARG RANHOLLA, RANHOLLA BUS STAND, 400TRF-1:DADA BHAI MARG RANHOLLA, 25 TRF-1: SABKA BAZAAR,KUNWAR SINGH NAGAR,NJF ROA, 630TRF-1:RANHOLLA SSTN-5, 400TRF-1:HARIJAN BASTI RANHOLLA S/STN NO 2, 400TRF-1:DADA BHAI MARG RANHOLLA, 630TRF-2:RANHOLLA TALAB WALA | 406
54 | 19/03/2018 | SKT | 11:00 | 13:25 | 02:25 | PLANNED SHUTDOWN | Grid:33kV ADHCHINI GRID To Feeder:11kV FDR M.M.T.C(VIA GANGA PLAZA) , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 2*630 KVA TRF MMT COLONY :ID | 316
55 | 19/03/2018 | SVR | 11:00 | 15:01 | 04:01 | PLANNED SHUTDOWN | Grid:SARITA VIHAR (220/66/11kV, TRANSCO) GRID SSTN To Feeder:JAITPUR O/H , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 H-BLOCK PEER BABA BASTI JAITPUR | 227
56 | 19/03/2018 | HKS | 11:00 | 14:24 | 03:24 | PLANNED SHUTDOWN | Grid:33kV HUDCO GRID To Feeder:11kV FDR HARDEV PURI (HKS) , TRANSFORMER:BUSHING REPLACEMENT | RESTORED/ REPAIRED | Part of : TRF-1 HARDEVPURI VILLAGE: PL, TRF-2 HARDEVPURI VILLAGE: PL | 219
57 | 19/03/2018 | SKT | 11:00 | 15:39 | 04:39 | PLANNED SHUTDOWN | Grid:66kV MALVIYA NAGAR GRID To Feeder:11kV FDR IGNOU S/S NO.-5+NBCC PLAZA , 11KV FEEDER:TREE TRIMMING | RESTORED/ REPAIRED | Part of : TRF-1 SAIDULA JAB FLOOD CONTROLE:PM, TRF-1 SAIDULA JAB VIDHYA SAGAR HOSP:PM, TRF-1 NIGAM NEBSARAI | 360
58 | 19/03/2018 | PLM | 11:00 | 14:48 | 03:48 | PLANNED SHUTDOWN | Grid:G-2 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11KV D-1 & D-2, MAHAVIR ENCLAVE , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : 990 TRF-1:F1,F2 MAHAVIR ENCL.:ID, 630 TRF-2:D1, D2 BLOCK MAHAVIR ENCLAVE, 630 TRF-2: MAHAVIR ENCL. D3:ID, 990 TRF-2:F1,F2 MAHAVIR ENCL.:ID, 630 TRF-1:MAHAVIR ENCL. D3:ID, 630 TRF-1:D1, D2 BLOCK MAHAVIR ENCLAVE | 415
59 | 19/03/2018 | SVR | 11:00 | 14:59 | 03:59 | PLANNED SHUTDOWN | Grid:MATHURA ROAD (66/11kV) GRID SSTN To Feeder:11kV FDR S/S NO.-4 SARITA VIHAR , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : SEC-6 PL-8 KATYANI CGHS SS I/D (HT CONSUMER) | 1
60 | 19/03/2018 | SKT | 11:00 | 14:09 | 03:09 | PLANNED SHUTDOWN | Grid:66kV C-DOT GRID To Feeder:11KV FDR MCD PARK CHATTARPUR NO.-1 , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 D PARK OPP CHHATAR PUR-1:Pl, TRF-1 HANS BHAWAN CHATTERPUR ENCLAVE PH I, TRF-1 SONIA GANDHI FARM (MANDI ROAD) | 265
61 | 19/03/2018 | SKT | 11:00 | 13:25 | 02:25 | PLANNED SHUTDOWN | Grid:33 kV SHIVALIK GRID To Feeder:11kV FDR SARVOPRIYA VIHAR , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-2 SARVAPRIYA VIHAR:ID, TRF-1 BEGUMPUR VILLAGE:PL, TRF-2 SKT371;BEGUMPUR VILLAGE:PL, TRF-1 SARVAPRIYA VIHAR:ID | 244
62 | 19/03/2018 | SKT | 11:00 | 13:53 | 02:53 | PLANNED SHUTDOWN | Grid:MEHRAULI (220/66/11kV, TRANSCO) GRID SSTN To Feeder:DERA BHATI , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 100 KVA TRF. TRF-1 ANITA SINGH:PM | 13
63 | 19/03/2018 | SVR | 11:00 | 15:00 | 04:00 | PLANNED SHUTDOWN | Grid:MATHURA ROAD (66/11kV) GRID SSTN To Feeder:11kV FDR BADARPUR O/H , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 400 KVA TRF-1 PASCO MCIE* | 186
64 | 19/03/2018 | VKJ | 11:00 | 16:53 | 05:53 | PLANNED SHUTDOWN | Grid:66kV VASANT KUNJ B-BLK GRID To Feeder:11 kV FDR WARD-2 MEHRAULI , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 BALMIKI MANDIR, TRF-1 S/S DESU ROADMEHRAULI, TRF-1 KHATTE WALLA (HANUMAN MANDIR) | 350
65 | 19/03/2018 | MDK | 11:00 | 12:20 | 01:20 | PLANNED SHUTDOWN | Grid:NANGLOI (66/33/11kV) GRID SSTN To Feeder:11kV FDR J.J COLONY NO.-2 , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 630TRF-1:KAVITA COLONY PL, 990TRF-1:E BLK NGL, 630TRF-2:KAVITA COLONY, 630TRF-2:PUNJABI BASTI:PL, 630TRF-1:C BLK JJ NO-2, 630TRF-1:PUNJABI BASTI:PL, 990 TRF-1: D BLOCK CAMP NO-2 NANGLOI, 400TRF-3:C BLK JJ NO-2, 630TRF-2:C BLK JJ NO-2 | 395
66 | 19/03/2018 | SKT | 11:00 | 14:27 | 03:27 | PLANNED SHUTDOWN | Grid:66kV C-DOT GRID To Feeder:11kV FDR RMU BANDH ROAD , 11KV FEEDER:TREE TRIMMING | RESTORED/ REPAIRED | Part of : *TRF-1 SKT777;F-37A RADHEY MOHAN DRIVE*,**,*TRF-1 SKT459;NATIA PRADHAN*,*TRF-1 SKT775;F-48 RADHEY MOHAN DRIVE*,*TRF-1 SKT889;FARM NO 12 RMD JONAPUR*,*TRF-1 SKT830;SANSKRITI BUILDCON, F 56, RMD*,**,*TRF-1 SKT869;ANIL GUPTA S/STN PALM DRIVE CHATTERPUR*,**,**,**,*TRF-1 SKT819;F-49 RADHEY MOHAN DRIVE LOCHAN SINGH*,*TRF-1 SKT151;PANCHWATI-GHORA FARM RADHEMOHAN DRIVE:PM*,*TRF-1 SKT060;TEK CHAND FATEHPUR:PM*,**,*TRF-1 SKT155;DHANTA FATEH PUR BERI:PM*,**,**,*TRF-1 SKT547;F-51 RADHEY MOHAN DRIVE*,*TRF-1 SKT775;F-48 RADHEY MOHAN DRIVE*,*TRF-1 SKT413;ANANDMANGAL BANDH ROAD GADAIPUR*,**,*TRF-1 SKT154;F-54 RADHEY MOHAN DRIVE*,*TRF-1 SKT811;F-25 RADHEY MOHAN DRIVE*,*TRF-1 SKT775;F-48 RADHEY MOHAN DRIVE*,**,**,*TRF-1 SKT818;F-49 RADHEY MOHAN DRIVE*,**,*TRF-1 SKT431;F-50 RADHEY MOHAN DRIVE*,*TRF-1 SKT869;ANIL GUPTA S/STN PALM DRIVE CHATTERPUR*,**,**,**,*TRF-1 SKT545;F-63 RADHEY MOHAN DRIVE*,**,*SKT825;FARM NO. 79*,*TRF-1 SKT630;16/17, RADHEY MOHAN DRIVE*,*TRF-1 SKT153;RAJPAL RENCH FATEH PUR BERI:PM*,*TRF-1 SKT548;F-19A RADHEY MOHAN DRIVE(OMEX)*,*TRF-1 SKT095;S.P PURI FARM (MURGI FARM):PM*,*TRF-1 SKT433;RAJA FARM GOVT T/W*,**,**,*TRF-1 SKT200;PK JAIN RADHE MOHAN DRIVE:PM*,*SKT853;F-65 RMU*,**,*TRF-1 SKT771;F-9 KHURANA FARM RADHEY MOHAN DRIVE*,*TRF-1 SKT861;F-48A RADHEY MOHAN DRIVE RANBIR TRF*,**,**,*TRF-1 SKT429;F-56, R.M.D*,*TRF-1 SKT547;F-51 RADHEY MOHAN DRIVE*,*TRF-1 SKT459;NATIA PRADHAN*,*TRF-1 SKT775;F-48 RADHEY MOHAN DRIVE*,*TRF-1 SKT774;F-33A RADHEY MOHAN DRIVE*,*TRF-1 SKT772;F-26 RADHEY MOHAN DRIVE*,**,*TRF-1 SKT048;F-57 B RADHEY MOHAN DRIVE*,*TRF-1 SKT430;F-57 KALYANI FARM RADHEY MOHAN DRIVE*,**,**,*TRF-1 SKT776;F-33 RADHEY MOHAN DRIVE*,**,*TRF-1 SKT778;SHARDHA FARM THIRD AVENUE*,**,**,**,**,** | 248
67 | 19/03/2018 | SVR | 11:00 | 15:01 | 04:01 | PLANNED SHUTDOWN | Grid:JAMIA MILIA (33/11kV) GRID SSTN To Feeder:11kV FDR SANJAY JHEEL , LT ACB:MAINTENANCE | RESTORED/ REPAIRED | Part of : TRF-1 SANJAY JHEEL PLM+P/M | 201
68 | 19/03/2018 | PLM | 11:00 | 14:48 | 03:48 | PLANNED SHUTDOWN | Grid:G-6 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11kV FDR SECTOR-8 RMU + 11kV FDR PKT-2, SEC-9 , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : 500 TRF-1:S/S no.4 Bagdola, 400 TRF-2:Police S/Stn Sec.-9, 500 TRF-2:S/S no.4 Bagdola, 400 TRF-1:CSC Sec-9, 630 TFR-1:S/S no. 12 Bagdola, 250 TRF-1:CSC Sec-9, 400 TRF-1:Police S/Stn Sec.-9, 400TRF-1 S/S no. 12 Bagdola, 400 TRF -1 : RD RAJPAL SCHOOL SEC-9 DWARKA:PL/M | 437
69 | 19/03/2018 | TGN | 10:59 | 15:42 | 04:43 | PLANNED SHUTDOWN | Grid:VISHAL (33/11kV) GRID SSTN To Feeder:11kV FDR 1040 JANTA COLONY , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 990 TRF-1 :G-BLOCK SSTN, SHIVAJI ENCLAVE, 630 TRF-2 :G-BLOCK SSTN, SHIVAJI ENCLAVE | 331
70 | 19/03/2018 | TGN | 10:57 | 15:42 | 04:45 | PLANNED SHUTDOWN | Grid:BODELLA-I GRID SSTN To Feeder:11 kV FDR 72-SFS NO-1 T.GDN , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 990 TRF-2 :72 SFS FLATS SSTN, MAHAVIR NAGAR, 400 TRF-1 :72 SFS FLATS SSTN, MAHAVIR NAGAR | 329
71 | 19/03/2018 | TGN | 10:54 | 15:41 | 04:47 | PLANNED SHUTDOWN | Grid:MUKHERJEE PARK (33/11kV) GRID SSTN To Feeder:11 kV FDR MUKHERJEE PARK SCHOOL WALA , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 630 TRF-2 :TALWARWALA SSTN, MUKH RAM PARK | 220
72 | 19/03/2018 | JFR | 10:49 | 16:31 | 05:42 | PLANNED SHUTDOWN | Grid:JAFFARPUR (66/11kV) GRID SSTN To Feeder:11KV RAWTA , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 400 TRF-1:VILLAGE RAWTA 1*,*MANGERAM- VILL DAURALA*,*S/STN NO-3, RAWTA VILLAGE*,*SR. SEC. SCHOOL- VILL RAWTA*,*25 TRF-1:DEVENDER VILL. RAWTA NEAR SHAMSHAN GHAT*,*100 TRF-1:W/SUPLY 1 FOR VLG JHUL JHULI*,*25 TRF-1: RAJESH/DARAMVIR RAWTA NEAR SCHOOL*,*25 TRF-1:SOMBIR VILL RAWTA*,*25 TRF-1:RAGHUVEER, VILL RAWTA*,* DEEPA-1 VILL RAWTA*,*NOT IN EMG*,*100 TRF-1:REWA RAM VLG DARYIAPUR*,*25 TRF-1: RAMKARAN, RAWTA*,*100 TRF-1:FATEY VLG RAWTA*,*100 TRF-1:W/SUPPLY 1 VLG DAURALLA*,*100 TRF-1:MAMCHAND VLG RAWTA*,*25 TRF-1: SAUPAL, RAWTA*,*HARKE RAM VILL. RAWTA*,*400 TRF-1:VILLAGE DAURALA*,*25 TRF-1:ASHIL/SAUPAL VILL. RAWTA*,*25 TRF-1:KULDEEP KAUR, JHULJHULI MOD*,*LALIT KUMAR RAWTA*,*400 TRF-1:VILLAGE RAWTA 2*,*NOT IN EMG*,*100 TRF-1:HARI SINGH VILL DARIAPUR:PM*,*100 TRF-1:DEEP CHAND VLG RAWTA*,*MANGE RAM VILL RAWTA*,*TRANSFORMER,11/0.433KV 25KVA OIL TYPE*,*100 TRF-1:SARDARE VLG DARYIAPUR*,*25 TRF-1: MUKHTIYARI, RAWTA* | 442
73 | 19/03/2018 | NZD | 10:44 | 13:44 | 03:00 | PLANNED SHUTDOWN | Grid:33kV NIZAMUDDIN GRID To Feeder:11kV FDR C-BLOCK, NZD EAST , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 A-86, NIZAMUDDIN EAST: PKG | 199
74 | 19/03/2018 | NZD | 10:43 | 13:44 | 03:01 | PLANNED SHUTDOWN | Grid:33kV NIZAMUDDIN GRID To Feeder:11kV FDR NIZAMUDDINE TIE-1 , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 A-30, NIZAMUDDIN WEST: PKG | 143
75 | 19/03/2018 | NZD | 10:43 | 13:47 | 03:04 | PLANNED SHUTDOWN | Grid:33kV NIZAMUDDIN GRID To Feeder:11kV FDR LAJPAT NAGAR-2,FDR.3 , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-2 ROXY DRY CLEANER, LAJPAT NAGAR-2: PL, TRF-1 ROXY DRY CLEANER, LAJPAT NAGAR-2: PL | 234
76 | 19/03/2018 | JFR | 10:30 | 16:33 | 06:03 | PLANNED SHUTDOWN | Grid:JAFFARPUR (66/11kV) GRID SSTN To Feeder:11KV SUREHRA MORE , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 100 TRF-1:S/S NO.1 VILL KAIR:PM, 630 TRF-1:VILLAGE KAIR 1, 100 TRF-1:STN 3 VILLAGE KAIR, DILBAG - VILL KAIRVIJAY, VINOD VILL MITRAON, 100 TRF-1:S/S NO.1 VILL SURHERA :PM, 100 TRF-1:STN 2 VLG SURHERA, NEAR MATA DANKOUR SCHOOL ON DHANSA ROAD, S/STN NO.-3 VILL. SURHERA, 400 TRF2: BHAGNI NIVEDITA COLLEGE VILL KAIR:PM, 16 TRF-1: DHAPU FARM ( ASHIYANA FARM ) VILL.KAIR, 400 TRF-1:VILLAGE KAIR 2, 400 TRF-1:VILLAGE SUREHRA 2, 25 KVA-PATNA SISTER NOTARY VILL.KAIR P/M | 346
77 | 19/03/2018 | NJF | 10:30 | 16:03 | 05:33 | PLANNED SHUTDOWN | Grid:JAFFARPUR (66/11kV) GRID SSTN To Feeder:11KV DAULATPUR , 11KV FEEDER:TREE TRIMMING | RESTORED/ REPAIRED | Part of : *100TRF-1:MID SHIKARPUR*,*25TRF-1:SANDEEP S/O TEJA RAM , DAULATPUR*,*630TRF-1:VILL DAULATPUR STN 1*,*100TRF-1:INSHARAM SHIKARPUR*,*25TRF-1;MADAN PARK*,*25TRF-1:TARA CHAND, SHIKARPUR*,*16TRF-1*,*25TRF-1:DARAM SINGH , DAULATPURI*,*25TRF-1:HAR SWARUP , DAULATPUR*,*25TRF-1:JAI LAL PRADHAN , DAULATPUR*,*TRANSFORMER,11/0.433KV 400KVA OIL TYPE*,*25TRF-1:HIRA LAL , ASALATPUR , KHAWAD*,* TRF-1:VILLAGE UJWA 2*,*25 TRF-1: CHANDER SINGH , SHIKARPUR*,*400 TRF-1:VILLAGE DAULATPUR 2*,*SATYAPAL & ANIL TRF DAUALTPUR*,*RAM KALA KHABAD MORE*,*SIRI CHAND KHARKHARI ROND*,*KRISHAN TRF KHARKHARI ROUND*,*25 TRF-1: GOPI CHAND,NARANG FARM , DAULATPUR*,*RANDHIR , DAULATPUR*,*MILAN TRF DAULATPUR OPP GOVT SCHOOL*,*100 TRF-1:PARAS RAM SHIKARPUR*,*400 TRF1 : S/STN-2 NIHAL VILLAGE SHIKARP*,*100 TRF-1:RAM KARAN DAULATPUR*,*400 TRF-1:VILLAGE HASSANPUR*,*100 TRF-1:CHET RAM HASSANPUR*,*100 TRF-1:RAM CHANDER HASSANPUR*,*100 TRF-1:SONU DUT PANDWALAKALAN*,*630 TRF-1:VILLAGE PANDWALA KALAN 2*,*100 TRF-1:PURAN PANDWALAKALAN*,*400: VILLAGE HASSANPUR S.STN-2*,*16 TRF-1:SCHOOL STN KHARKHARI RAUND*,*100 TRF-1:DALIP PANDWALA KALAN* | 453
78 | 19/03/2018 | JFR | 10:30 | 16:31 | 06:01 | PLANNED SHUTDOWN | Grid:JAFFARPUR (66/11kV) GRID SSTN To Feeder:11KV JHUL JHULI , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *100 TRF-1:KANYIA VLG SARANGPUR*,*RAJROOP VILL GALIBPUR*,*NOT IN EMG*,*400 TRF-1:VILLAGE GALIBPUR*,*NEAR CAMP CENTER GHUMANHERA*,*400 TRF-1:VILLAGE JHUL JHULI*,*100 TRF-1:BANWARI VLG SAMASPUR*,*RAM KISHAN VILL SAMASPUR:PM*,*100 TRF-1:M I D W/SUPLY VLG JHUL JHULI*,*100 TRF-1:W/S 2 DHANSA SARANGPUR RD*,*400 TRF-1:JHULJHULI S/STATION NO-2*,*JEEVAN VILL GALIBPUR*,*AMAR SINGH VILL SARANGPUR:PM*,*400 TRF1-:GIRDHARA VILL GALIBPUR:PM*,*RAMKUMAR VILL GALIBPUR*,*100 TRF-1:I T I JAFFERPUR*,* TRF-1:PARSA DHARA V UJWA*,*400 TRF-1:SAMASPUR S/STN NO. 3*,*HARIJAN BASTI*,*100 TRF-1:NAVODAYA VIDAYALYA JAFFERPUR*,*VILL SAMASPUR S/S NO 2:PM*,*100 TRF-1:DARIAB SINGH VILL SAMASPUR:PM*,*100 TRF-1:SHIS RAM MUNDELLA KALAN*,*400 TRF-1:DURGA ENCLAVE JAFFERPUR*,*400 TRF-1:VILLAGE SARANGPUR*,*100 TRF-1:RAM KUMAR VILL. GALIBPUR*,*RAM NARAYAN VILL SAMASPUR:PM*,*25 TRF-1:PRAVESH KUMAR VILL DAURALLA*,*NIHAL SINGH VILL. JHULJHULI*,*NATHU RAM VILL DARIYAPURABC*,*100 TRF-1:PARWATI VLG MALIKPUR* | 424
79 | 19/03/2018 | NJF | 10:20 | 13:59 | 03:39 | PLANNED SHUTDOWN | Grid:G-6 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11kV FDR 810-DDA FLATS SECTOR-26 DWK. (VILLAGE POCHANPUR) , 11KV FEEDER:TREE TRIMMING | RESTORED/ REPAIRED | Part of : 990TRF-1 COMMUNITY CTR DHULSIRAS, 100 TRF-1:GOVT STN BAMROLI STAND, S/S.2, 810 DDA FLATS SECTOR 26 DWK CHAWLA, 100 TRF-1:CHAUDHARY FARM BAMROLI, VILL BAMNAULI SSTN-2, SEC-23 PH-2 EWS FLATS 2400 SS-2 ID, /S.2, 810 DDA FLATS SECTOR 26 DWK CHAWLA, 400 TRF-1:-BAMNOLI, S/STN. NO-5 VILLAGE BAMNAULI, 400 TRF-1:-BAMNOLI VILL DT-4, S/S.1, 810 DDA FLAT, S/S.1, 810 DDA FLATS SECTOR 26 DWK, 630 TRF-1:VILL BAMNAULI STN 1, SEC-23 PH-2 EWS FLATS 2400 SS-2 ID | 310
80 | 19/03/2018 | RKP | 10:00 | 14:17 | 04:17 | PLANNED SHUTDOWN | Grid:VASANT VIHAR (33/11kV) GRID SSTN To Feeder:11kV FDR D-BLOCK VASANT VIHAR , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 D-BLOCK, VASANT VIHAR: ID | 225
81 | 19/03/2018 | VKJ | 10:00 | 15:26 | 05:26 | PLANNED SHUTDOWN | Grid:66kV I.O.C BIJWASAN GRID To Feeder:11 kV FDR BIJWASAN , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 400 KVA TRF-1 SALVE BIJWASAN | 107
82 | 19/03/2018 | ALN | 10:00 | 13:33 | 03:33 | PLANNED SHUTDOWN | Grid:V.S.N.L. (33/11kV) GRID SSTN To Feeder:11kV FDR T.C.I.L , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 E-BLOCK GK-2 SEHGAL MARKET- 1:K | 103
83 | 19/03/2018 | RKP | 10:00 | 13:58 | 03:58 | PLANNED SHUTDOWN | Grid:R.K.PURAM-II (33/11kV) GRID SSTN To Feeder:11kV FDR NIVEDITA KUNJ S/S NO.-2 , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 S/STN-2 NIVEDITA KUNJ SEC-10 RKP :ID, TRF-2 S/STN-2 NIVEDITA KUNJ SEC-10 RKP :ID | 181
84 | 19/03/2018 | NJF | 10:00 | 15:56 | 05:56 | PLANNED SHUTDOWN | Grid:NAJAFGARH (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR DVB COLONY , 11KV FEEDER:TREE TRIMMING | RESTORED/ REPAIRED | Part of : 630 TRF-1:DELHI SPINER, 630 TRF-1:CHARA MANDI, 630 TRF-1:ZONE-NAJAFGARH, 990 TRF-1:STN NO 1 ZONAL OFFICE NAJAFGA, 990 TRF-1:JHARODA STAND, TRF-1:VIJAY PARK, 630 TRF-1:DVB COLONY,NAJAFGAR, 400 TRF-1:MAKSUDABAD 2, 630 TRF-1:KRISHAN MANDIR, 630 TRF-1:JAWAHAR CHOWK | 521
85 | 19/03/2018 | NZD | 09:00 | 12:17 | 03:17 | PLANNED SHUTDOWN | Grid:33kV NIZAMUDDIN GRID To Feeder:11kV FDR NIZAMUDDINE TIE-1 , RMU:RELAY REPLACEMEMT | RESTORED/ REPAIRED | Part of : TRF-1 POLICE STATION, NIZAMUDDIN WEST: PL, TRF-2 POLICE STATION, NIZAMUDDIN WEST: PL | 219
86 | 19/03/2018 | VKJ | 21:55 | 00:09 | 02:14 | EMERGENCY SHUTDOWN | Grid:66kV VASANT KUNJ D-BLK GRID To Feeder:11 kV FDR NANGAL DAIRY-2 , LT CIRCUIT:REPAIR/REPLACEMENT OF LTAB | RESTORED/ REPAIRED | Part of : 400 KVA TRF. J.J. CLAUSTER MASJID RANGPURI | 87
87 | 19/03/2018 | MDK | 14:52 | 16:28 | 01:36 | EMERGENCY SHUTDOWN | Grid:66kV NANGLOI GRID To Feeder:11kV FDR J.J COLONY NO.-2 , 11KV FEEDER:PREVENTIVE MAINTENANCE | RESTORED/ REPAIRED | Part of : 400 KVA TRF-3:C BLK JJ NO-2, 630 KVA TRF-1:C BLK JJ NO-2, 630 KVA TRF-2:C BLK JJ NO-2 | 158
88 | 19/03/2018 | VKP | 12:39 | 13:51 | 01:11 | EMERGENCY SHUTDOWN | Grid:MATIYALA (G-5 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR PERIPHERIAL S/S NO.-2 SECTOR-3, VIKAS PURI , LT ACB:REPAIRING OF ACB | RESTORED/ REPAIRED | Part of : 400 TRF-1:AMAR SHOPPING COMPLEX | 79
89 | 19/03/2018 | VKP | 12:35 | 13:51 | 01:15 | EMERGENCY SHUTDOWN | Grid:MATIYALA (G-5 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR MOHAN GARDEN , LT ACB:REPAIRING OF ACB | RESTORED/ REPAIRED | Part of : 990 TRF-1:BG BLOCK MOHAN GARDEN | 91
90 | 19/03/2018 | VKP | 12:13 | 13:50 | 01:37 | EMERGENCY SHUTDOWN | Grid:BODELLA-I GRID SSTN To Feeder:KESHOPUR , 11KV FEEDER:PREDICTIVE MAINTENANCE | RESTORED/ REPAIRED | Part of : 630 KVA TRNX KESHVPUR STAFF QUARTER | 121
91 | 19/03/2018 | VKJ | 11:46 | 13:50 | 02:03 | EMERGENCY SHUTDOWN | Grid:66kV VASANT KUNJ D-BLK GRID To Feeder:11 kV FDR NANGAL DAIRY-2 , 11KV FEEDER:PREVENTIVE MAINTENANCE | RESTORED/ REPAIRED | Part of : RMU ATDARA SINGH FARM (HT CONSUMER) | 126
92 | 19/03/2018 | VKP | 11:06 | 12:17 | 01:10 | EMERGENCY SHUTDOWN | Grid:BODELLA-II GRID To Feeder:11KV SHIV VIHAR , 11KV FEEDER:ATTENDING WEAK POINTS/HOT SPOT | RESTORED/ REPAIRED | Part of : 630TRF-1: S-BLK VIKAS NAGAR VKP | 82
93 | 19/03/2018 | MDK | 10:58 | 14:28 | 03:29 | EMERGENCY SHUTDOWN | Grid:NANGLOI WATER WORKS (66/11kV) GRID SSTN To Feeder:11kV FDR YADAV PARK EXT. , 11KV FEEDER:PREVENTIVE MAINTENANCE | RESTORED/ REPAIRED | Part of : 400TRF-1 NAJAFGARH ROAD NANGLOI, 400TRF-1:MAHARAJA WALA, 100TRF-1:KAMRUDDIN NAGAR HVDS, KAMRUDDIN NAGAR EXTN S/S-1, 400TRF-1:DEEPANSU(DAULAT RAM SCHOOL), 630TRF-1:RAM NAGAR I/D, 990TRF-1:RAJENDER WALA(MCD) SSTN, 400TRF-1:CHAJJU RAM COLONY (YADAV PARK), 400TRF-1:A2 BLK KUNWAR SINGH NGR | 239
94 | 19/03/2018 | MDK | 10:48 | 12:39 | 01:50 | EMERGENCY SHUTDOWN | Grid:NANGLOI (66/33/11kV) GRID SSTN To Feeder:11kV FDR MUNDKA , TRANSFORMER:BUSHING REPLACEMENT | RESTORED/ REPAIRED | Part of : 630TRF-3:POLICE QTRS NGL I/D, 990TRF-2:POLICE QUATER ID, 630TRF-4:POLICE QUTR NGL I/D, 990TRF-1:POLICE QUARTER | 329
95 | 19/03/2018 | PJB | 10:44 | 12:28 | 01:44 | EMERGENCY SHUTDOWN | Grid:MADIPUR (33/11kV) GRID SSTN To Feeder:1212-JANTA FLATS , TRANSFORMER:LT CIRCUIT MAINTENANCE | RESTORED/ REPAIRED | Part of : 990 TRF-1: D-BLK DISPENSARY,JJ CLY,MADIPUR | 109
96 | 19/03/2018 | VKP | 10:39 | 11:51 | 01:11 | EMERGENCY SHUTDOWN | Grid:MATIYALA (G-5 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR NWADA , HVDS:REPAIR/REPLACEMENT WORK OF HVDS CABLE | RESTORED/ REPAIRED | Part of : 1000 TRF-1:GULAB BAGH | 295
97 | 19/03/2018 | PJB | 10:34 | 12:13 | 01:38 | EMERGENCY SHUTDOWN | Grid:A-4 PASCHIM VIHAR (33/11kV) GRID SSTN To Feeder:PUNJABI BAGH POLICE STATION , HT INTERMEDIATE FEEDER:PREVENTIVE MAINTENANCE | RESTORED/ REPAIRED | Part of : 630TRF-1: MGS HOSPITAL,PJB | 79
98 | 19/03/2018 | NGL | 09:26 | 11:57 | 02:31 | EMERGENCY SHUTDOWN | Grid:PASCHIM VIHAR (66/33/11KV) GRID SSTN To Feeder:11kV FDR NILOTHI STP , LT CIRCUIT:LOAD BALANCING | RESTORED/ REPAIRED | Part of : 630 TRF-1:SHIV RAM PARK NILOTHI MORE | 71

## Reasons (hidden)
DISTRIBUTION TR.
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
EMERGENCY SHUTDOWN
EHV TRIPPING
EHV SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
DAMAGE BY OTHER AGENCIES