## Format
DISCOM : BRPL
OUTAGE REPORT FOR : 24/03/2018 06:00Hr. To 25/03/2018 06:00Hr.
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Area / DT Effected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Detail
1 | 24/03/2018 | KPR | 07:00 | 08:05 | 01:05 | LT FEEDER | Grid:66kV BATRA GRID To Feeder:11kV FDR A-BLOCK RAJU PARK , SERVICE LINE,:JUMPER LOOSE/BROKEN FROM DB, | RESTORED/ REPAIRED | Part of : *TRF-1 C-1, RAJU PARK | 58
2 | 24/03/2018 | KPR | 07:21 | 08:23 | 01:01 | LT FEEDER | Grid:66 kV OKHLA PHASE-I GRID To Feeder:11kV FDR I-BLOCK, LAL KUAN , SERVICE LINE,:JUMPER LOOSE/BROKEN FROM DB, | RESTORED/ REPAIRED | Part of : *TRF-1 CHUNGI NO.3:PL | 67
3 | 24/03/2018 | PLM | 07:28 | 08:49 | 01:20 | HT SYSTEM FAULT | Grid:G-2 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11KV KAILASH PURI NO.-1 , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : *SADH NGR GALI NO. 16:PM S\STN*,*630 TRF-2:Kailashpuri Zonal office*,*400 TRF-1:SADH NGR GALI-17*,*400 TRF-1:MAIDYAL BLD SADH NGR*,*990 TRF-1 : E-Block Sadh Ngr*,*400 TRF-1 : Sadh Ngr Gali No-14*,*990 TRF-1: Sainipura*,*990 TRF-1:Chorasiawala*,*630 TRF-1:Kailashpuri Zonal office*,*990 TRF-2: Chorasiawala* | 512
4 | 24/03/2018 | NHP, ALK | 8:05 | 9:35 | 1:30 | EHV SHUTDOWN | DUE TO B/D FROM OKHLA PHASE-2 TO 11KV 1/3 BUS BAR-1 | RESTORED/ REPAIRED | TODAY HOTEL-2 VIA JK CEMENT, FIEE COMPLEX STN-1, S/S-1 F-2 PH-2, DSIDC SH-1 PH-2 | 1156
5 | 24/03/2018 | PJB | 09:00 | 12:45 | 03:45 | PLANNED SHUTDOWN | Grid:ROHTAK ROAD (NDPL) GRID SSTN To Feeder:TRANSPORT CENTER , LT CIRCUIT:MAINTANCE WORK | RESTORED/ REPAIRED | Part of : *630 TRF-1: TRANSPORT CNTR,ROHTAK ROAD,PJB* | 54
6 | 24/03/2018 | VKP | 09:59 | 13:39 | 03:40 | PLANNED SHUTDOWN | Grid:BINDAPUR (G-3 PPK) (66/11kV) GRID SSTN To Feeder:BINDAPUR SCHOOLWALA , RMU:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *630*,*990 TRF-2:BINDAPUR-1(SCHOOL WALA)* | 426
7 | 24/03/2018 | JFR | 10:00 | 16:37 | 06:37 | PLANNED SHUTDOWN | Grid:JAFFARPUR (66/11kV) GRID SSTN To Feeder:11KV RMU IN SIDE GRID , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *100 TRF-1:W/S DHANSA RD BAKERGARH*,* TRF-1:BHAI RAM VLG MUNDELLA KALAN*,*BHAGWANA NO.-2,MUNDELLA KALAN:PM*,*25 TRF-1: RATAN SINGH MUNDELA KALAN*,*100 TRF-1:SULTAN VILL BAKERGARH:PM*,*100 TRF-1:UMRAO VLG ISSAPUR*,*MAHENDER VILL- ISSAPUR*,*100 TRF-1:HEMRAJ VLG ISSAPUR*,*MANGEY VILL SUREHRA*,*VED SINGH -BAKKARGARH*,*BALWAN CHAND-BAKKARGARH*,*100 TRF-1:W/SUPPLY VLG ISSAPUR*,*ATTER SINGH, VILL BAKKERGARH*,*400 TRF-1:VILLAGE KAZIPUR*,*ST.LT MUNDELAN KALAN H. MANDIRCAPITAL TRANSFORMER*,* SANJEEV NO-1 VILL MUNDELA KALAN*,*HARPOOL VILL-ISSAPUR*,*100 TRF-1:PUSSA FARM VLG ISSAPUR*,*25 TRF-1: LALCHAND, VILL BAKKERGARH*,*NOT IN EMG*,*25 TRF-1:DEEP CHAND VILL BAKAR GARH*,*BHAGWANA NO.-1 VILL. MUNDELLA KALAN*,*25 TRF-1: RAM CHANDER VILL-ISSAPUR*,*400 TRF-1:VILLAGE ISSAPUR 3*,*RASTOGI FARM-ISSAPUR*,*400 TRF-1:VILLAGE BAKAR GARH*,*SHISH RAM VILL MUNDELLA KALAN:PM*,*SUBHASH KHATRI,BAKKARGARH*,* SURAJ MAL VILL MUNDELA KALAN*,*NOT IN EMG*,*25 TRF-1: RAJ SINGH VILL-ISSAPUR*,*100 TRF-1:CHOPRA FARM V KADIPUR* | 648
8 | 24/03/2018 | KPR | 10:00 | 16:03 | 06:03 | PLANNED SHUTDOWN | Grid:TUGHLAKABAD (33/11kV) GRID SSTN To Feeder:11kV FDR G-2 K-19 SANGAM VIHAR , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 K-BLOCK, SANGAM VIHAR:PL* | 215
9 | 24/03/2018 | HKS | 10:00 | 13:15 | 03:15 | PLANNED SHUTDOWN | Grid:BHIKAJI CAMA PLACE (33/11kV) GRID SSTN To Feeder:B-3 JHANDU SINGH MARG , LT CIRCUIT:TO REPLACE THE DAMAGE POLE | RESTORED/ REPAIRED | Part of : *TRF-2 B-3 SDA JHANDU SINGH MARG: K* | 29
10 | 24/03/2018 | ALN | 10:00 | 12:56 | 02:56 | PLANNED SHUTDOWN | Grid:OKHLA PHASE-II (33/11kV) GRID SSTN To Feeder:11kV FDR S/S NO.-8, OKHLA PHASE-1 , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 S/S NO.8, OKHLA PH- 1:ID*,*TRF-2 S/S NO.8, OKHLA PH- 1:ID*,*TRF-3 S/S NO.8, OKHLA PH- 1:ID*,*TRF-4 S/S NO.8, OKHLA PH- 1:ID* | 412
11 | 24/03/2018 | RKP | 10:00 | 12:43 | 02:43 | PLANNED SHUTDOWN | Grid:RIDGE VALLEY (66/33/11kV) GRID SSTN To Feeder:11kV FDR MOTI BAGH , TRANSFORMER:LOAD BALANCING | RESTORED/ REPAIRED | Part of : *TRF-1 MOTI BAGH COMPLAINT CENTRE:ID* | 154
12 | 24/03/2018 | PJB | 10:00 | 12:45 | 02:45 | PLANNED SHUTDOWN | Grid:PASCHIM PURI (33/11kV) GRID SSTN To Feeder:B-3 PASCHIM VIHAR , LT CIRCUIT:MAINTANCE WORK | RESTORED/ REPAIRED | Part of : *990 TRF-2: B-4 BLOCK I/D,PASCHIM VHR,PJB* | 87
13 | 24/03/2018 | RKP | 10:00 | 14:23 | 04:23 | PLANNED SHUTDOWN | Grid:BHIKAJI CAMA PLACE (33/11kV) GRID SSTN To Feeder:11kV FDR N.B.C.C.TOWER , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 NBCC TOWER (PLOT. NO-15) BCP: ID*,*TRF-2 NBCC TOWER (PLOT. NO-15) BCP: ID* | 102
14 | 24/03/2018 | ALN | 10:00 | 12:52 | 02:52 | PLANNED SHUTDOWN | Grid:OKHLA (220/66/33/11kV, TRANSCO) PHASE-2 GRID SSTN To Feeder:POKET A-8 KALKAJI EXTN. , TRANSFORMER:CIVIL WORK | RESTORED/ REPAIRED | Part of : *TRF-1 A-8 KALKA JI EXT.:ID* | 98
15 | 24/03/2018 | ALN | 10:00 | 12:51 | 02:51 | PLANNED SHUTDOWN | Grid:33kV MASJID MOTH GRID To Feeder:11kV FDR E-BLOCK G.K-2 COMP. CENTER , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-3 EPDP S/S-3:ID* | 178
16 | 24/03/2018 | KPR | 10:00 | 16:03 | 06:03 | PLANNED SHUTDOWN | Grid:66kV BATRA GRID To Feeder:11kV FDR A-BLOCK RAJU PARK , LT CIRCUIT:NETWORK UPGRADTION WORK | RESTORED/ REPAIRED | Part of : *TRF-2 C-BLOCK, RAJU PARK:ID*, | 49
17 | 24/03/2018 | ALN | 10:00 | 12:51 | 02:51 | PLANNED SHUTDOWN | Grid:OKHLA (220/66/33/11kV, TRANSCO) PHASE-2 GRID SSTN To Feeder:POKET A-12 KALKAJI EXTN. , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 GALI NO- 13 TKD EXTENTION.* | 304
18 | 24/03/2018 | RKP | 10:00 | 12:52 | 02:52 | PLANNED SHUTDOWN | Grid:RIDGE VALLEY (66/33/11kV) GRID SSTN To Feeder:11kV FDR MOTI BAGH , TRANSFORMER:LOAD BALANCING | RESTORED/ REPAIRED | Part of : *TRF-1 PKG S/STN BandC BLOCK MOTI BAGH* | 219
19 | 24/03/2018 | KPR | 10:00 | 16:03 | 06:03 | PLANNED SHUTDOWN | Grid:TUGHLAKABAD (33/11kV) GRID SSTN To Feeder:11kV FDR LAL QUAN , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 PETROL PUMP LAL KUAN:PL* | 261
20 | 24/03/2018 | NZD | 10:00 | 13:46 | 03:46 | PLANNED SHUTDOWN | Grid:LODHI ROAD (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR INSTITUTIONAL AREA , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 INST.AREA S/S.-1 LODHI ROAD COMPLEX: ID*,*TRF-3 INST.AREA S/S.-1 LODHI ROAD COMPLEX: ID*,*TRF-2 INST.AREA S/S.-1 LODHI ROAD COMPLEX: ID* | 314
21 | 24/03/2018 | KPR | 10:03 | 14:01 | 03:58 | PLANNED SHUTDOWN | Grid:66kV BATRA GRID To Feeder:11kV FDR S/S NO.-2, DAKSHIN PURI , LT CIRCUIT:NETWORK UPGRADTION WORK | RESTORED/ REPAIRED | Part of : *TRF-1 S/S NO-2, DAKSHIN PURI:ID*, | 89
22 | 24/03/2018 | KPR | 10:05 | 11:35 | 01:30 | LT FEEDER | Grid:TUGHLAKABAD (33/11kV) GRID SSTN To Feeder:11kV FDR SSTN NO.-1, SANGAM VIHAR, FEEDER NO.-2 PLINTH MOUNTED , LT ACB,:LT ACB FLASH, | RESTORED/ REPAIRED | Part of : *TRF-1 HTC:F2 BLK SANGAM VIHAR NEAR MCD SCHOOL* | 186
23 | 24/03/2018 | KPR | 10:08 | 12:07 | 01:58 | LT FEEDER | Grid:66kV IGNOU GRID To Feeder:11kV FDR IGNOU CAMPUS S/S NO.-3 FDR.-2 , LT O/H CABLE,:CURRENT LEAKAGE, | RESTORED/ REPAIRED | Part of : *TRF-1 S/STN. AT GALI NO 8 L-I SANGAM VIHAR* | 74
24 | 24/03/2018 | KPR | 10:18 | 11:59 | 01:40 | LT FEEDER | Grid:66kV BATRA GRID To Feeder:11kV FDR L-15 SANGAM VIHAR , LT ACB,:LT ACB BURNT, | RESTORED/ REPAIRED | Part of : *TRF-1 HARIZAN BASTI:PL | 164
25 | 24/03/2018 | SVR | 10:22 | 11:45 | 01:23 | LT FEEDER | Grid:JAMIA MILIA (33/11kV) GRID SSTN To Feeder:11kV FDR JAMIA STADIUM + RMU NO.-2 , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : *TRF-2 ALTAKWA MASJID BATLA HOUSE* | 214
26 | 24/03/2018 | VKP | 10:27 | 13:40 | 03:13 | EMERGENCY SHUTDOWN | Grid:HASTAL (66/11kV) GRID SSTN To Feeder:JHANDA CHOWK OM VIHAR , 11KV FEEDER:PREDICTIVE MAINTENANCE | RESTORED/ REPAIRED | Part of : *630 TRF-1:OM VIHAR PHASE-5(JHANDA CHOWK)*,*TRANSFORMER,11/0.433KV 990KVA OIL TYPE* | 284
27 | 24/03/2018 | HKS | 10:30 | 14:23 | 03:53 | PLANNED SHUTDOWN | Grid:33kV SIRI FORT GRID To Feeder:11kV FDR PANCHSHEEL SHOPPING CENTER , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 D-BLK,SHAHAPUR JAT DCP PS, HAUS KHAS* | 198
28 | 24/03/2018 | VKP | 10:30 | 15:30 | 04:59 | EMERGENCY SHUTDOWN | Grid:MATIYALA (G-5 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR M-BLOCK SHYAM PARK , 11KV FEEDER:PREVENTIVE MAINTENANCE | RESTORED/ REPAIRED | Part of : *400 TRF-1:M-BLOCK SHYAM PARK NAWADA*,*1000 trf-1:GALHOTWALA NAWADA* | 164
29 | 24/03/2018 | MDK | 10:30 | 11:49 | 01:18 | HT SYSTEM FAULT | Grid:NANGLOI WATER WORKS (66/11kV) GRID SSTN To Feeder:11kV FDR KAMARUDDINE NAGAR , ISOLATOR/ GO SWITCH,:DROP DOWN FUSE BLOWN, | RESTORED/ REPAIRED | Part of : *990TRF-1:KAMRUDDIN NAGAR NO-1*,*TRANSFORMER,11/0.433KV 990KVA OIL TYPE*,*990TRF-1:KAMRUDDIN NAGAR NO-4*,*400TRF-1:YADAV PARK S/STN-1:ID*,*990TRF-1:KAMRUDEEN NAGAR S/STN-3:PL*,*100TRF-1:BOOSTER PUMP NGL*,*400TRF-1:YADAV PARK S/STN-2:PM*,*400TRF-1:RISHAL SINGH PARK* | 548
30 | 24/03/2018 | SVR | 10:34 | 11:49 | 01:15 | LT FEEDER | Grid:SARITA VIHAR (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR S/S NO.-21, SARITA VIHAR , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : *TRF-2 S/STN. NO. 23 SARITA VIHAR PKT-D | 124
31 | 24/03/2018 | NGL | 10:35 | 13:38 | 03:03 | PLANNED SHUTDOWN | Grid:PASCHIM VIHAR (66/33/11KV) GRID SSTN To Feeder:11kV FDR NILOTHI , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : *16 TRF-1: DILIP VIHAR TUBE-1 WELL 16 KVA*,*400 TRF-1:CHANDER VIHAR STN-5*,*400 TRF-1:Gram Sabha Colony Near Dispensary*,*400 TRF-1:DEEPAK VIHAR*,*25 TRF-1:*,*400 TRF-1 NIHAL VIHAR- 3*,*630 TRF-2:DEEPAK VIHAR*,*400 TRF-2:BHARAT VIHAR-2*,*TRF-1:CHANDER VIHAR STN-3*,*400 TRF-2:UDAI VIHAR-2*,*400-TRF-1:BHARAT VIHAR-1*,*630 TRF-1:UDAY VIHAR PH-1*,*630 TRF-1:NILOTHI VILLAGE STN-3*,*400 TRF-2:NEW GURU HARKISHAN NAGAR*,*630 TRF-1:CHANDER VIHAR SSTN-4*,*25 TRF-1: MTNL TOWER NILOTHI 25 KVA*,*400 TRF-2:NEW GURU HARKISHAN NAGAR* | 413
32 | 24/03/2018 | NJF | 10:35 | 16:03 | 05:28 | PLANNED SHUTDOWN | Grid:DELHI JAL BOARD NAJAFGARH WATER WORKS (66/11) To Feeder:KAGAN HERI , 11KV FEEDER:TREE TRIMMING | RESTORED/ REPAIRED | Part of : *25TRF-1*,*25trf:-BADLU (AJIT),VILL. BADUSARAI*,25TRF-1:AYUSHMAN FARM*,*25TRF-1*16 TRF-1:JAI DEV KANGENHERI*,*S.STN NO. 4 VILL. KANGANHERIPME*,*25 TRF-1:SARLA FARM, DAULATPUR MOD*,*S.SN NO. 2 VILL. BDUSARAINGEF*,*25 TRF-1:NEAR REWLA WATER SUPPLY PUMP VILL REWLA*,*VILLAGE REWLA KHANPUR*,*100 TRF-1:TEK CHAND REWLA*,*25 TRF-1: BITAAN FARM REWLA KHAN PUR*,*100 TRF-1:RAMKALA SHIKARPUR*,*PARDEEP VILL.REWLA KHANPUR*,*100 TRF-1:OSHODHAM MANDIR NEAR PANDWALA MORE*,*NIADER BADU SARAITECHNICAL ASSOCIATES*,*400 TRF-1:VILLAGE BADUSARAI*,*16 TRF-1:KRISHNA KANGENHERI*,*W S JHATIKRA X -ING*,*400 TRF1:VILL KANGENHERI*,*100 TRF-1:DULICHAND KANGENHERI*,*630 TRF1: VILL REWLA KHANPUR*,*630 TRF-1:VILLAGE KANGANHERI 1*,*MTNLDHARMPURA*,*AI SHI KRISHAN DNPUR P PUMP NR S VIHAR*,*25 TRF-1:RAMZAAN, Z- BLK DEENPUR*,*MEHRA CHHAWLA*,*100 TRF-1:BALESTER REWLA KHANPUR*,*MAHIMA FARM PANDWALA KHURD*,*100 TRF-1:KAYAN FARM DEENPUR*,*NEW BHATTEWALA R KHANPUR*,* JHATIKRA NO-3*,*630 TRF-1:VILLAGE KANGANHERI 2*,*100 TRF-1:OLD BHATTEWALA REWLAKHAN*,*25 TRF-1:NEAR AYUDHAM SOCIETY VILL REWLA KHANPUR*,*100 TRF-1:BRIJESHREWLAKHANPUR*,*100 TRF-1:NATHU JHATIKRA*,*RAMKALA KANGANHERI* | 684
33 | 24/03/2018 | VKJ | 10:36 | 12:17 | 01:41 | EMERGENCY SHUTDOWN | Grid:66kV I.O.C BIJWASAN GRID To Feeder:11 kV FDR BIJWASAN , 11KV FEEDER:PREVENTIVE MAINTENANCE | RESTORED/ REPAIRED | Part of : *TRF-1 BIJWASAN-1 P/M;BRIJWASAN NO.-2;TRF-1 BIJWASAN RLY CROSSING S/STN-3* | 304
34 | 24/03/2018 | JFR | 10:54 | 15:20 | 04:26 | PLANNED SHUTDOWN | Grid:JAFFARPUR (66/11kV) GRID SSTN To Feeder:11KV KHERA DABAR , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *W/S NO 2 VILL SURHERA*,*100 TRF-1:W/S SHAMSHAN GHAT KHARKHARI*,*16 TRF-1:PURAN VLG KHAIRA DABAR*,*630 TRF-1:VILLAGE KHARKHARI JATMAL*,*NURSARY VILL KHARKRI JATMAL*,*25 TRF-2:W/SUPPLY FOR VILLAGE SURHERA*,*25 TRF-1:W/S 3 VILL KHERADABAR*,*LACHI ( MAHAVEER) VILL SURHERA*,*25 TRF-1:W/S VILL. KHARKRI JATMAL*,*630TRF-1:JAFFARPUR VILL-SSTN NO-2*,*100 TRF-1:HANS ASHRAM PANDWALAKALAN*,*25 TRF-1:SATAYBIR SNG VLG KHAIRA DABAR*,*630 TRF-1:VILLAGE KHERA DABAR*,*100 TRF-1:STN 2 VLG KHAIRA DABAR*,*100 TRF-1:CHANDER VLG SUREHRA*,*100 TRF-1:STN 1 JATMAL KHAR KHARI*,*NIHAL SINGH VILL KHARKRI JATMAL*,*100 TRF-1:S/S NO.3 VILL KHAIRA DABAR:PM*,*25 TRF-1:IDEA TOWER NEAR RAWTA MODE*,*100 TRF-1:STN 2 JATMAL KHAR KHARI*,*100 TRF-1:LACHHI VLG KHAIRA*,*16 TRF-1:W/SUPPLY VLG JAFFERPUR*,*100 TRF1-:KHAR KHARI JATMAL MODE:PM*,*RELIANCE TOWER RAWATA MORE, DABAR ENC.*,*SUSHIL INTER SCHOOL,VILL- KHARKRI ROADNUCON*,*100 TRF-1:STN 5 VILLAGE KHAIRA DABAR*,*100 TRF-1:STN 4 VILLAGE KHAIRA DABAR*,*25 TRF-1: DABAR ENCLAVE GALI NO - 11*,*RAM BABU HANSNAGAR*,*100 TRF-1:GANPATI VLG SURHERA*,*100 TRF-1:STN 6 VLG KHAIRA DABAR*,*630 TRF-1:VILLAGE SUREHRA 1*,*RAGHUVEER VILL SURHERA*,*25 TRF-1:W/SUPPLY VLG JAFFERPUR*,*25 TRF-1:PYARELAL KHERA DABAR JAFARPUR*,*MOHAL LAL VILLAGE JAFFARPUR*,*W/SUPPLY V SURHERA*,*100 TRF-1:RAJ KRIPAL VLG SURHERA*,*25 TRF-1:MTNL KHERA DABAR*,*PRATAP VILL KHERADABAR* | 625
35 | 24/03/2018 | DWK | 10:54 | 12:50 | 01:56 | PLANNED SHUTDOWN | Grid:G 4 DWARKA SEC 19 GRID SSTN To Feeder:11kV FDR OPG SCHOOL , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *400 TRF:-2 E/O CHANDRALOK CGHS ST P-13, S-19, DWK* | 159
36 | 24/03/2018 | VKP | 10:56 | 15:31 | 04:34 | EMERGENCY SHUTDOWN | Grid:PAPPANKALAN-II (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR DMRC SHOPPING COMPLEX , HVDS:LOAD SHIFTING FROM HVDS TRANSFORMER | RESTORED/ REPAIRED | Part of : *990 TRF-1:A BLK RAMA PARK*,*400 TRF-1:A BLK RAMA PARK*,*100 TRF-1:GOVT DISPERSEY SEC-16*,*DMRC SHOPPING COMPLEX*,*DMRC SHOPPING COMPLEX*,*990 TRF-1:RAMA PARK STN-1:ID* | 541
37 | 24/03/2018 | VKP | 10:59 | 15:32 | 04:32 | EMERGENCY SHUTDOWN | Grid:MATIYALA (G-5 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR MOHAN GARDEN , HVDS:LOAD SHIFTING FROM HVDS TRANSFORMER | RESTORED/ REPAIRED | Part of : *630 TRF-1 : YADAVWALA*,*990 TRF-1:BG BLOCK MOHAN GARDEN*,*630 TRF-1:BG BLOCK MOHAN GARDEN*,*400 TRF-1:AMAR SHOPPING COMPLEX* | 524
38 | 24/03/2018 | HKS | 11:00 | 14:37 | 03:37 | PLANNED SHUTDOWN | Grid:BHIKAJI CAMA PLACE (33/11kV) GRID SSTN To Feeder:CREAMATION GROUND, G.P EXTN. , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : ARJUN NAGAR | 374
39 | 24/03/2018 | VKP | 11:00 | 15:32 | 04:32 | PLANNED SHUTDOWN | Grid:HASTAL (66/11kV) GRID SSTN To Feeder:VIKASH KUNJ SCHOOLWALA , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *990 DT :VIKAS KUNJ NEAR CHATTH PUJA MAND* | 345
40 | 24/03/2018 | SVR | 11:00 | 15:04 | 04:04 | PLANNED SHUTDOWN | Grid:JASOLA (66/33/11kV) GRID SSTN To Feeder:11kV FDR SPORTS COMPLEX JASOLA , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 ST LTG JASOLA APLRICH ROAD*,*TRF-1 NEAR MASJID OLD VILL JASOLA*,*TRF-1 NEAR MASJID OLD VILL JASOLA*,*TRF-1 JASOLA VILL PL/M OLD VILLAGE(SDC);TRF-1 RAJA MOHALLA VILL JASOLA*,*WITHOUT NUMBER PLATE*,*TRF-1 PLM-SURENDRA WALA VILLAGE-JASOLA*,*TRF-1 JASOLA VILL P/M JAGAN WALA;;* | 512
41 | 24/03/2018 | SKT | 11:00 | 13:48 | 02:48 | PLANNED SHUTDOWN | Grid:66kV C-DOT GRID To Feeder:11kV FDR DLF GATE .-3 (RMU) BEDI JONAPUR , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : BPH - II AYA NGR*,*TRF-1 GOVT. TUBEWELL NEAR BABA NIM KAROLI:PM*DOCTOR DHEESH GADAIPUR:PM*,*TRF-1 BHAGAT MAND*,ORCHID FARM JONAPUR*,*TRF-1 BEDI JONA PUR:PM*;DR. SHYAMA JONA PUR:PM*TRF-1 FAKKAR JONA PUR:PM*TRF-1 MTNL JONA PUR-1:PM*,TRF-1 DOCTOR DHEESH GADAIPUR:PM*,*TRF-1 PANDIT MOHALLA,JONA PUR(PLINTH MOUNTED)*,VILLAGE JONA PUR:ID*TRF-1 AKOI JONA PUR:PM*SLUM PAHARI JONA PUR:PM*TRF-1 SURENDER NATH JONA PUR:PM*,**,*TRF-1 SKT113;RAJDOOT JONA PUR:PM*,*TRF-1 SAMBHAV COMP MANDI*,JRD FARM* | 621
42 | 24/03/2018 | SVR | 11:00 | 15:08 | 04:08 | PLANNED SHUTDOWN | Grid:MATHURA ROAD (66/11kV) GRID SSTN To Feeder:11kV FDR MOHAN BABA NAGAR FDR. NO.-1 , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *RAILWAY YARD TKD*,*B-1/E-27 MCIE*,*B-1/G-8 MCIE* | 2
43 | 24/03/2018 | SVR | 11:00 | 13:49 | 02:49 | PLANNED SHUTDOWN | Grid:33kV KILOKARI GRID SSTN To Feeder:11kV FDR SRI NIWAS PURI MAIN S/STN , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 H-BLOCK S.N PURI | 183
44 | 24/03/2018 | SVR | 11:00 | 15:02 | 04:02 | PLANNED SHUTDOWN | Grid:JASOLA (66/33/11kV) GRID SSTN To Feeder:11kV FDR PLOT NO.-8, D.C JASOLA , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *SSTN NO.-7,TDI CENTRE JASOLA*,*PLOT-8,DC JASOLA* | 367
45 | 24/03/2018 | JKP | 11:00 | 14:34 | 03:34 | PLANNED SHUTDOWN | Grid:PANKHA ROAD (66/33/11kV) GRID SSTN To Feeder:11KV A-4 ASALATPUR , LT CIRCUIT:REPLACEMENT OF DAMAGE LTAB | RESTORED/ REPAIRED | Part of : *1000 TRF-1 :A2-BLK (HARIJAN BASTI),NR.PANKHA RD* | 389
46 | 24/03/2018 | SVR | 11:00 | 15:03 | 04:03 | PLANNED SHUTDOWN | Grid:66/11KV MEETHAPUR GRID SUB STN To Feeder:11kV HARIJAN BASTI (OLD) , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 BARAT GHAR MEETHAPUR*,*TRF-1 HARIJAN BASTI MITHA PUR*,*TRF-1 GAGAN VIHAR, M.PUR EXT.;TRF-1 NEW HARZAN BASTI*,*TRF-1 SR. SEC. SCHOOL MEETHAPUR;HARIJAN BASTI MITHA PUR* | 426
47 | 24/03/2018 | PJB | 11:00 | 12:45 | 01:45 | PLANNED SHUTDOWN | Grid:VISHAL (33/11kV) GRID SSTN To Feeder:11kV FDR PUNJABI BAGH BOOSTER PUMP , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : HT CONSUMER BOSTER PUMP | 1
48 | 24/03/2018 | KPR | 11:00 | 16:11 | 05:11 | PLANNED SHUTDOWN | Grid:66 kV OKHLA PHASE-I GRID To Feeder:11 kV FDR HOT MIX PLANT , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 ST LIGHT TR MIG FLAT SURAJ KUND RD:PM* | 1
49 | 24/03/2018 | VKJ | 11:00 | 13:42 | 02:42 | PLANNED SHUTDOWN | Grid:66kV VASANT KUNJ D-BLK GRID To Feeder:11 kV FDR S/S NO.-11, D-4 VASANT KUNJ , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 RAM NARAYAN MANDIR P/M* | 55
50 | 24/03/2018 | ALN | 11:00 | 13:58 | 02:58 | PLANNED SHUTDOWN | Grid:BALAJI ESTATE (33/11kV) GRID SSTN To Feeder:11 kV FDRGIRI NAGAR NO.-1 (NEAR METRO STATION) , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 GIRI NAGAR BALMUKUND KH.:PL* | 42
51 | 24/03/2018 | VKJ | 11:00 | 12:12 | 01:12 | PLANNED SHUTDOWN | Grid:66kV VASANT KUNJ D-BLK GRID To Feeder:11 kV FDR MEGHA HOUSING S/S NO.-4 , RMU:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 ADJ. TO ESS NO.3 D-6 V KUNJ*,*TRF-2 ADJ. TO ESS NO.3 D-6 V KUNJ* | 231
52 | 24/03/2018 | JKP | 11:00 | 14:41 | 03:41 | PLANNED SHUTDOWN | Grid:PANKHA ROAD (66/33/11kV) GRID SSTN To Feeder:11KV A-4 ASALATPUR , LT CIRCUIT:MAINTANCE WORK | RESTORED/ REPAIRED | Part of : *1000 TRF-1 :A2-BLK (HARIJAN BASTI),NR.PANKHA RD* | 98
53 | 24/03/2018 | MDK | 11:00 | 14:31 | 03:31 | PLANNED SHUTDOWN | Grid:NANGLOI (66/33/11kV) GRID SSTN To Feeder:11kV FDR PUNJABI BASTI , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *990TRF-1:A-2 BLOCK, JJ-NO. 2, NANGLAOI:PL*,*630TRF-2:PUNJABI BASTI:PL*,*630TRF-1:PUNJABI BASTI:PL*,*630TRF-1:METRO SHOPPING COMPLEX*,*630TRF-1:KAVITA COLONY PL*,*630TRF-2:KAVITA COLONY*,*990TRF-1:WORK CENTER NGL* | 523
54 | 24/03/2018 | MDK | 11:00 | 14:02 | 03:02 | PLANNED SHUTDOWN | Grid:NANGLOI (66/33/11kV) GRID SSTN To Feeder:11kV FDR MUNDKA , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *990TRF-1:POLICE QUATER*,*630TRF-3:POLICE QTRS NGL I/D*,*990TRF-2:POLICE QUATER ID*,*990TRF-1:SAWARN PARK S/STN-2:PL*,*630TRF-4:POLICE QUTR NGL I/D*,*990TRF-1:MUNDKA VILLAGE S/STN-1:PL* | 602
55 | 24/03/2018 | TGN | 11:00 | 15:18 | 04:18 | PLANNED SHUTDOWN | Grid:CHAUKHANDI (33/11kV) GRID SSTN To Feeder:11 kV FDR 320-MIG VIKASHPURI , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : *630 TRF-1 :DSIDC SHED SSTN, TILAK VIHAR*,*630 TRF-2 :DSIDC SHED SSTN, TILAK VIHAR*,*990 TRF-2 :320 MIG FLATS SSTN, VIKAS PURI EXTN*,*400 TRF-2 :TILAK VIHAR SSTN NO-2,G-BLK,T.NGR*,*990 TRF-1 :TILAK VIHAR SSTN NO-2,G-BLK,T.NGR*,*990 TRF-1 :HARIJAN BASTI DBL STOREY SSTN,T.NGR*,*630 TRF-1 :320 MIG FLATS SSTN, VIKAS PURI EXTN* | 638
56 | 24/03/2018 | SVR | 11:00 | 15:05 | 04:05 | PLANNED SHUTDOWN | Grid:JAMIA MILIA (33/11kV) GRID SSTN To Feeder:11kV FDR RMU JAMIA + RMU NO.-1 , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-2 ZAKIR NAGAR;ZAKIR NAGAR;;*,*TRF-2 ZAKIR NAGAR;;*,*TRF-2 ZAKIR NAGAR DALLAN*,*TRF-1 TEACHERS HOSTEL JAMIA*,TRF-2 TEACHERS HOSTEL JAMIA*,*TRF-1 REHMANI MASJID PLM*,*TRF-1 GALI NO-8 ZAPIR NAGAR MAIN Ki | 487
57 | 24/03/2018 | JKP | 11:00 | 14:50 | 03:50 | PLANNED SHUTDOWN | Grid:PANKHA ROAD (66/33/11kV) GRID SSTN To Feeder:11KV C-1 JANAK PURI (RMU) , LT CIRCUIT:MAINTANCE WORK | RESTORED/ REPAIRED | Part of : *TRAFO,DISTR,OIL;990KVA | 89
58 | 24/03/2018 | JKP | 11:00 | 14:49 | 03:49 | PLANNED SHUTDOWN | Grid:REWARI LINE (220/66/11kV, TRANSCO) GRID (NDPL) To Feeder:11KV Q-BLOCK RAJOURY GARDEN , LT CIRCUIT:MAINTANCE WORK | RESTORED/ REPAIRED | Part of : *630 TRF-1 :J-3 SSTN, RAJOURI GARDEN* | 78
59 | 24/03/2018 | JKP | 11:00 | 14:49 | 03:49 | PLANNED SHUTDOWN | Grid:HARI NAGAR (66/11kV) GRID SSTN To Feeder:11KV GURUDWARA SUB STATION , LT CIRCUIT:MAINTANCE WORK | RESTORED/ REPAIRED | Part of : *990 TRF-1 :J-6 SSTN, RAJOURI GARDEN* | 85
60 | 24/03/2018 | RKP | 11:00 | 14:31 | 03:31 | PLANNED SHUTDOWN | Grid:J.N.U. (66/33/11kV) GRID SSTN To Feeder:11kV FDR SFS S/S NO.-2 V.VIHAR , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 KUSUMPUR PAHARI: PL* | 48
61 | 24/03/2018 | KPR | 11:00 | 15:03 | 04:03 | PLANNED SHUTDOWN | Grid:TUGHLAKABAD (33/11kV) GRID SSTN To Feeder:11kV FDR DMS TRUST , LT CIRCUIT:NETWORK UPGRADTION WORK | RESTORED/ REPAIRED | Part of : *TRF-1 NAI BASTI DEVLI (NEW):PL*,*TRF-1 DEVLI BUS STAND* | 368
62 | 24/03/2018 | ALN | 11:00 | 13:58 | 02:58 | PLANNED SHUTDOWN | Grid:OKHLA PHASE-II (33/11kV) GRID SSTN To Feeder:11kV FDR O/G S/S NO.-12, PHASE-1 , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-4 S/S NO.12, OKHLA PH- 1:ID* | 24
63 | 24/03/2018 | SKT | 11:00 | 15:14 | 04:14 | PLANNED SHUTDOWN | Grid:33kV PUSHP VIHAR GRID To Feeder:11kV FDR O/G MAX DEVIKA DEVI HOSPITAL , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-2 253 HAUZ RANI NEAR DJB PUMP*,*TRF-1 253 HAUZ RANI NEAR DJB PUMP*,*TRF-1 F-BLOCK MALVIYA NAGAR PARK:PL*,*TRF-2 253 HAUZ RANI NEAR DJB PUMP* | 456
64 | 24/03/2018 | SKT | 11:00 | 13:51 | 02:51 | PLANNED SHUTDOWN | Grid:33 kV SHIVALIK GRID To Feeder:11kV FDR BHAVISYA NIDHI ENCLAVE , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-2 SARVAPRIYA VIHAR:ID*,*TRF-2 BHAVISHYA NIDHI ENCLAVE:ID*,*TRF-1 SARVAPRIYA VIHAR:ID*,*TRF-1 P/M S/S ESS ELL HOUSE SHIVALIK*,*TRF-1 BHAVISHYA NIDHI ENCLAVE:ID*,*TRF-2 VIJAY MANDAL KALOO SARAI:ID*TRF-1 VIJAY MANDAL KALOO SARAI:ID*,*TRF-1 SARVAPRIYA VIHAR PARK:PL* | 421
65 | 24/03/2018 | VKP | 11:00 | 15:33 | 04:33 | PLANNED SHUTDOWN | Grid:PANKHA ROAD (66/33/11kV) GRID SSTN To Feeder:UTTAM NAGAR , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *400 TRF-1:UTTAM NGR SHOE MKT MAIN RD* | 203
66 | 24/03/2018 | SKT | 11:00 | 15:55 | 04:55 | PLANNED SHUTDOWN | Grid:33kV ADHCHINI GRID To Feeder:11kV FDR M.M.T.C(VIA GANGA PLAZA) , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 STC:K*,*TRF-1 STC:K* | 261
67 | 24/03/2018 | HKS | 11:00 | 14:08 | 03:08 | PLANNED SHUTDOWN | Grid:33kV I.I.T GRID To Feeder:11kV FDR TIFAC BUILDING , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-2 DDA FLAT KATWARIA SARAI : ID*,*TRF-1 DDA FLAT KATWARIA SARAI : ID* | 285
68 | 24/03/2018 | SKT | 11:00 | 14:35 | 03:35 | PLANNED SHUTDOWN | Grid:66kV C-DOT GRID To Feeder:11kV FDR DLF GATE NO.-1 , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 NEAR PAHWA FARM SATBARI:PM*TRF-1 B 9A ANSAL, VILLAGE SATBARI*,*TRF-1 C 10, ANSAL VILLA SATBARI*,*TRF-1 B-1 FARM ASOLA*,*TRF-1 BABA HARBANS SATBARI:PL*TRF-1 MAN SINGH GAUSHALA:PM, TRF-1 FARM NO 9 B, ANSAL SATBARI*TRF-1 MAN SINGH GAUSHALA:PM*TRF-1 VARUN FARM-GOSHALA ROAD*,*TRF-1 SKT161;C-8 ANSAL SATBARI;PM*,*TRF-1 TANIA FARM:PM*,*TRF-1 F-10 ANSAL KHULLAR FARM*,*TRF-1 B-3 ANSAL VILLA*,*TRF-1 ANSAL SATBARI A-6*,*TRF-1 A-12 ANSAL SATBARI:PL*,A 18 - ANSAL VILLA, SATBARIA*,*TRF-1 C 11, ANSAL VILLA*,*TRF-1 MAN SINGH GAUSHALA:PM*,C-2 ANAND FARM ANSAL VILLA*,*TRF-1 F-10 ANSAL KHULLAR FARM*,*TRF-1 C-2 ANAND FARM ANSAL VILLA* | 457
69 | 24/03/2018 | JKP | 11:00 | 14:39 | 03:39 | PLANNED SHUTDOWN | Grid:D.C. JANAKPURI (33/11kV) GRID SSTN To Feeder:11KV DISTRICT SERVICE CENTRE JANAKPURI , LT CIRCUIT:MAINTANCE WORK | RESTORED/ REPAIRED | Part of : *630 TRF-1 :D.S.C TRANSPORT AUTHORITY SSTN, JKP* | 34
70 | 24/03/2018 | JKP | 11:00 | 12:29 | 01:29 | PLANNED SHUTDOWN | Grid:D.C. JANAKPURI (33/11kV) GRID SSTN To Feeder:11KV DISTRICT SERVICE CENTRE JANAKPURI , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *630 TRF-2 :D.S.C TRANSPORT AUTHORITY SSTN, JKP* | 39
71 | 24/03/2018 | VKJ | 11:00 | 13:20 | 02:20 | PLANNED SHUTDOWN | Grid:VASANT KUNJ (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11 KV FDR RANG PURI PAHARI , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-2 TARA CHAND COLONY*,*TRF-1 TARA CHAND COLONY* | 219
72 | 24/03/2018 | MDK | 11:00 | 14:21 | 03:21 | PLANNED SHUTDOWN | Grid:NANGLOI (66/33/11kV) GRID SSTN To Feeder:11kV FDR J.J COLONY NO.-2 , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *630TRF-1:KAVITA COLONY PL*,*990TRF-1:E BLK NGL*,*630TRF-2:KAVITA COLONY*,*630TRF-2:PUNJABI BASTI:PL*,*630TRF-1:C BLK JJ NO-2*,*630TRF-1:PUNJABI BASTI:PL*,*990 TRF-1: D BLOCK CAMP NO-2 NANGLOI*,*400TRF-3:C BLK JJ NO-2*,*630TRF-2:C BLK JJ NO-2* | 645
73 | 24/03/2018 | SKT | 11:00 | 15:56 | 04:56 | PLANNED SHUTDOWN | Grid:33kV ADHCHINI GRID To Feeder:11kV FDR SARVODAYA ENCLAVE , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 S/S Nr BARAT GHAR ADHCHINI VILLAGE | 105
74 | 24/03/2018 | JKP | 11:00 | 14:52 | 03:52 | PLANNED SHUTDOWN | Grid:D.C. JANAKPURI (33/11kV) GRID SSTN To Feeder:11KV DISTRICT SERVICE CENTRE JANAKPURI , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *400 TRF-1 :POLICE QUARTERS SSTN, JANAKPURI* | 86
75 | 24/03/2018 | SVR | 11:00 | 15:06 | 04:06 | PLANNED SHUTDOWN | Grid:66/11KV MEETHAPUR GRID SUB STN To Feeder:11kV FDR MDRASI COLONEY , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1*MDRASI COLONEY | 174
76 | 24/03/2018 | PJB | 11:00 | 13:13 | 02:13 | PLANNED SHUTDOWN | Grid:A-4 PASCHIM VIHAR (33/11kV) GRID SSTN To Feeder:ADARSH BHAWAN , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *990 TRF-1: ADARSH BHAWAN,PJB EXTN* | 214
77 | 24/03/2018 | VKJ | 11:00 | 15:24 | 04:24 | PLANNED SHUTDOWN | Grid:33kV ANDHERIA BAGH GRID To Feeder:11kV FDR MANAGALPURI , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 LAL KOTHI DAWN SINGH* | 119
78 | 24/03/2018 | JKP | 11:00 | 14:38 | 03:38 | PLANNED SHUTDOWN | Grid:NARAINA GRID SSTN To Feeder:OLD NANGAL , LT CIRCUIT:MAINTANCE WORK | RESTORED/ REPAIRED | Part of : *400 TRF-2:OLD NANGAL RAYA* | 42
79 | 24/03/2018 | JKP | 11:00 | 14:40 | 03:40 | PLANNED SHUTDOWN | Grid:VISHAL (33/11kV) GRID SSTN To Feeder:11kV FDR GURUDWARA RAJORI GARDEN , LT CIRCUIT:MAINTANCE WORK | RESTORED/ REPAIRED | Part of : *630 TRF-1 :ARYA SAMAJ MANDIR SSTN, RAJOURI GDN* | 198
80 | 24/03/2018 | SVR | 11:00 | 15:01 | 04:01 | PLANNED SHUTDOWN | Grid:SARITA VIHAR (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR S/S NO.-22, SARITA VIHAR , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-2 MADAN PUR KHEDAR MKT.;MADAN PUR KHEDAR MKT.;S/STN. NO. 22 SARITA VIHAR PKT-E;;TRF-2 S/STN. NO. 22 SARITA VIHAR PKT-E;CHAUHAN MOHALLA; | 378
81 | 24/03/2018 | KPR | 11:00 | 16:17 | 05:17 | PLANNED SHUTDOWN | Grid:TUGHLAKABAD (33/11kV) GRID SSTN To Feeder:11kV FDR LAL QUAN , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 NARDAN BASTI LAL KUAN*TRF-1 PREM NAGAR PARKWALA S/S-1 :PM* | 391
82 | 24/03/2018 | DWK | 11:01 | 12:55 | 01:54 | PLANNED SHUTDOWN | Grid:G-15 DWARKA REL. ENERGY GRID SSTN To Feeder:11kV FDR KM CHOWK , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *630 TRF:1 NO.5 MLU SEC-5 MKT.* | 235
83 | 24/03/2018 | PJB | 11:03 | 13:13 | 02:10 | PLANNED SHUTDOWN | Grid:A-4 PASCHIM VIHAR (33/11kV) GRID SSTN To Feeder:11kV FDR HANSRAJ MODEL SCHOOL , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *990 TRF-1: HANSRAJ MODEL SCHOOL,PJB EXTN* | 89
84 | 24/03/2018 | VKJ | 11:03 | 16:53 | 05:50 | PLANNED SHUTDOWN | Grid:66kV VASANT KUNJ B-BLK GRID To Feeder:11 kV FDR S.T.P FEEDER , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 STN-2 SEC-A POCKET-BandC VASANT KUNJ;;* | 187
85 | 24/03/2018 | KPR | 11:03 | 12:28 | 01:24 | LT FEEDER | Grid:TUGHLAKABAD (33/11kV) GRID SSTN To Feeder:11kV FDR DR. KARAN SINGH SHOOTING RANGE , LT ACB,:LT ACB BURNT, | RESTORED/ REPAIRED | Part of : *TRF-1 G-12, RAVINDER THAKUR S.VIHAR:PL* | 245
86 | 24/03/2018 | NJF | 11:05 | 15:03 | 03:58 | PLANNED SHUTDOWN | Grid:DELHI JAL BOARD NAJAFGARH WATER WORKS (66/11) To Feeder:VARDHMAN VIHAR , 11KV FEEDER:TREE TRIMMING | RESTORED/ REPAIRED | Part of : *16TRF-1*, TRANSFORMER,11/0.433KV 100KVA OIL TYPE*,*100 TRF-1:W S1 PAPRAWAT*,*100 TRF-1:VO RADAR DEENPUR*,*PAPRAWAT*,*400 TRF-:PREM NAGAR Z BLOCK*,*630 TRF-1:-DINPUR S/STN-2*,*PAPRAWAT VILL NEAR S/S NO.3*,*16 TRF-1:W S PAPRAWAT*,*BRIJ VIHAR MOHAN APPARTMENT*,*100 TRF-1: S/STN NO-4 VILL PAPRAWAT*,*400 TRF-VARDHMAN VIHAR , DEENPUR*,*400 TRF-1:-BAWANI NGR DEENPUR*,*400 DT : KASHMIRI COLONY S/STNNO-2*,*400 TRF-1:DL-1LDTRWN40019454*,*400 TRF-1:PAPRAWAT 1* | 415
87 | 24/03/2018 | VKP | 11:07 | 13:44 | 02:37 | EMERGENCY SHUTDOWN | Grid:BODELLA-II GRID To Feeder:11KV FDR DDA TRANSIT CAMP NO.-2 , 11KV FEEDER:CONNECTION/DISCONNETION OF HT/LT CABLES | RESTORED/ REPAIRED | Part of : *SHIV VIHAR JJ CLNY NR ROAD* | 171
88 | 24/03/2018 | KPR | 11:20 | 16:21 | 05:01 | PLANNED SHUTDOWN | Grid:MOHAN CO-OPERATIVE (66/11kV) GRID SSTN To Feeder:11kV FDR SSTN NO-1 PUL PRAHLADPUR ID , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : HVDS AREA | 214
89 | 24/03/2018 | NGL | 11:25 | 14:48 | 03:23 | PLANNED SHUTDOWN | Grid:UDYOG NAGAR (33/11kV) GRID SSTN To Feeder:11kV FDR O/G S/STN.NO-3 UDYOG NGR(OLD) , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : *990 TRF-2:UDYOG NAGAR NO-03 S/S*,*400 TRF-1*,*400 TRF-1:UDYOG NAGAR NO-03 S/S*,*630 TRF-3:I/D UDYOG NAGAR STN-3*,*630 TRF-1:PLM A-4 UDYOG NAGAR*,*990 TRF-3:UDYOG NAGAR NO-03 S/S*,*630TRF-1:H-12 ,UDYOG NAGAR* | 512
90 | 24/03/2018 | NGL | 11:25 | 14:11 | 02:46 | PLANNED SHUTDOWN | Grid:PASCHIM VIHAR (66/33/11KV) GRID SSTN To Feeder:11kV FDR E-BLOCK NIHAL VIHAR , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : *630 TRF-2: E- BLK Nihal Vihar* | 245
91 | 24/03/2018 | NGL | 11:27 | 14:13 | 02:46 | PLANNED SHUTDOWN | Grid:NANGLOI (66/33/11kV) GRID SSTN To Feeder:11kV FDR NANGLOI NO-1 , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : *400 TRF-1:BHOOT GALI NANGLAOI*,*990 TRF-1:ZONAL OFFICE NANGLAOI*,*990 TRF-1:MANDIR MARG S/STN-2*,*400 TRF-1 HARIJAN BASTI*,*400 TRF-2:HARIJAN BASTI*,*630 TRF-1:MANDIR MARG STN-1*,*990 TRF-2:ZONAL OFFICE NANGLAOI* | 436
92 | 24/03/2018 | JKP | 11:27 | 14:01 | 02:34 | EMERGENCY SHUTDOWN | Grid:REWARI LINE (220/66/11kV, TRANSCO) GRID (NDPL) To Feeder:11KV 11&12 BLK SUBHASH NAGAR , LT ACB:PREVENTIVE MAINTENANCE | RESTORED/ REPAIRED | Part of : *990 TRF-1 :BLK NO.-11 and 12 SSTN, SUBHASH NAGAR* | 264
93 | 24/03/2018 | DWK | 11:29 | 13:17 | 01:48 | PLANNED SHUTDOWN | Grid:PAPPANKALAN-II (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR NAND VIHAR , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *400 TRF-1:KAKROLA HOUSING NO-1*,*400 TRF-1:SEC-16 J.J CLY A-BLK*,*400 TRF-2:,KAKROLA HOUSING COMPLEX-3*,*630 TRF-1:,KAKROLA HOUSING COMPLEX-3*,*630 TRF-1:KAKROLA HOUSING NO-2*,*630 TRF-1:1472 JANATA FLATS SSTN-2,*,*630 TRF-1 1472 JANATA FLATS SSTN-3 (DT STOLEN)*,*100 TRF-1;SARVODAYA KANYA VIDYALAYA, KAKROLA*,*630 TRF-1:BARAAT GHAR SSTN*,*400 TRF-1:1472 JANTA FLATS SSTN-1*,*400 TRF-1:SEC-16 J.J CLY B-BLK*,*630 TRF-2:KAKROLA HOUSING NO-2*,*400 TRF-2:KAKROLA HOUSING NO-1*,*400 TRF-1:KAKROLA DAIRY PL/M*,*400 TRF-2:BARAAT GHAR SSTN*,*400 TRF-1:SEC-16 J.J CLY C-BLK* | 425
94 | 24/03/2018 | SKT | 11:30 | 15:10 | 03:40 | PLANNED SHUTDOWN | Grid:66kV MALVIYA NAGAR GRID To Feeder:11kV FDR J-BLOCK SAKET , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 SUB/STN NEAR J-BLK MKT SKT* | 185
95 | 24/03/2018 | NJF | 11:30 | 15:25 | 03:55 | PLANNED SHUTDOWN | Grid:JAFFARPUR (66/11kV) GRID SSTN To Feeder:11KV DAULATPUR , 11KV FEEDER:TREE TRIMMING | RESTORED/ REPAIRED | Part of : *100 TRF-1:DALIP PANDWALA KALAN*,*100TRF-1:MID SHIKARPUR*,*25TRF-1:SANDEEP S/O TEJA RAM , DAULATPUR*,*100 TRF-1:PURAN PANDWALAKALAN*,*630TRF-1:VILL DAULATPUR STN 1*,*400 TRF1 : S/STN-2 NIHAL VILLAGE SHIKARP*,*100TRF-1:INSHARAM SHIKARPUR*,*25TRF-1;MADAN PARK*,*400: VILLAGE HASSANPUR S.STN-2*,*25TRF-1:TARA CHAND, SHIKARPUR*,*16TRF-1*,*25 TRF-1: CHANDER SINGH , SHIKARPUR*,*25TRF-1:DARAM SINGH , DAULATPURI*,*RAM KALA KHABAD MORE*,*25TRF-1:HAR SWARUP , DAULATPUR*,*16 TRF-1:SCHOOL STN KHARKHARI RAUND*,*100 TRF-1:RAM KARAN DAULATPUR*,*25TRF-1:JAI LAL PRADHAN , DAULATPUR*,*MILAN TRF DAULATPUR OPP GOVT SCHOOL*,*630 TRF-1:VILLAGE PANDWALA KALAN 2*,*RANDHIR , DAULATPUR*,*400 TRF-1:VILLAGE HASSANPUR*,*KRISHAN TRF KHARKHARI ROUND*,* TRF-1:VILLAGE UJWA 2*,*100 TRF-1:RAM CHANDER HASSANPUR*,*400 TRF-1:VILLAGE DAULATPUR 2*,*TRANSFORMER,11/0.433KV 400KVA OIL TYPE*,*100 TRF-1:CHET RAM HASSANPUR*,*25 TRF-1: GOPI CHAND,NARANG FARM , DAULATPUR*,*25TRF-1:HIRA LAL , ASALATPUR , KHAWAD*,*SIRI CHAND KHARKHARI ROND*,*100 TRF-1:SONU DUT PANDWALAKALAN*,*100 TRF-1:PARAS RAM SHIKARPUR*,*SATYAPAL and ANIL TRF DAUALTPUR* | 715
96 | 24/03/2018 | KPR | 11:30 | 16:16 | 04:46 | PLANNED SHUTDOWN | Grid:TUGHLAKABAD (33/11kV) GRID SSTN To Feeder:11kV FDR LAL QUAN , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 PREM NAGAR PARKWALA S/S-1 :PM* | 124
97 | 24/03/2018 | SKT | 11:30 | 15:06 | 03:36 | PLANNED SHUTDOWN | Grid:33kV ADHCHINI GRID To Feeder:11kV FDR AURVINDO MARG , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 ADHCHINI CROSSING:PM*,ARVINDO APPT:ID*,*TRF-1 LADO SARAI HANUMAN MANDIR:PL*,*TRF-1 NCERT:PM*,*TRF-1 HARYANA GOVT. NURSERY:PM*,*TRF-2 PLOT NO. 6, AUROBINDO MARG*,*TRF-1 PLOT NO. 6, AUROBINDO MARG*,*TRF-1 LADO SARAI AGGRWAL HOTEL:PL* | 215
98 | 24/03/2018 | TGN | 11:31 | 15:18 | 03:47 | PLANNED SHUTDOWN | Grid:VISHAL (33/11kV) GRID SSTN To Feeder:11kV FDR D-BLOCK RAGHUBIR NAGAR , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *990 TRF-1 :C-BLK SSTN,25 SQ.YRDS,RAGHUBIR NGR* | 399
99 | 24/03/2018 | NGL | 11:35 | 14:20 | 02:45 | PLANNED SHUTDOWN | Grid:NANGLOI WATER WORKS (66/11kV) GRID SSTN To Feeder:11kV FDR RAJIV RATAN NO-1 , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : *630TRF-1:ESS-2 EWS FLATS BAPROLLA*,*630TRF-2:ESS-2 EWS FLATS BAPROLLA*,*400 TRF-1:DASS GARDEN SSTN-5 B-BLOCK*,*400 TRF-1:DASS GARDEN SSTN-1*,*630TRF-1:ESS-5 EWS FLATS BAPROLLA I/D*,*DT THEFT AT PRESENT*,*400 TRF-1:DASS GARDEN S/S-2*,*DT THEFT AT PRESENT*,*630TRF-2:ESS-5 EWS FLATS BAPROLLA I/D*,*400 TRF-1:DASS GARDEN SSTN-4 B-BLOCK*,*400 TRF-1:DASS GARDEN SSTN-4 C-BLOCK*,*DT THEFT AT PRESENT*,*400 TRF-1:DASS GARDEN SSTN-5*,*400 TRF-1:DASS GARDEN SSTN-3*,*400 TRF-1: DASS GARDEN SSTN-8*,*RAJIV RATAN S/STN NO-4 , DT-1* | 658
100 | 24/03/2018 | KPR | 11:35 | 16:10 | 04:35 | PLANNED SHUTDOWN | Grid:66 kV OKHLA PHASE-I GRID To Feeder:11kV FDR I-BLOCK, LAL KUAN , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 CHUNGI NO.3:PL*,*TRF-1 CHUNGI NO.2.5 LAL KUAN*,*TRF-1 PUNCH MUKHI MANDIR LAL KUAN:PL*,*TRF-1 HTC:LALKUAN (NR DHARAMKATA) PNCHMUKHI*,*TRF-1 CHUNGI NO.2 ,LAL KUAN:PL HVDS* | 524
101 | 24/03/2018 | TGN | 11:40 | 15:19 | 03:38 | PLANNED SHUTDOWN | Grid:VISHAL (33/11kV) GRID SSTN To Feeder:11kV FDR KHAYALA PUMPING STATION , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *630 TRF-2 :B-2 BLK SSTN, 25 SQ. YRDS, R.NAGAR*,*630 TRF-1 :B-2 BLK SSTN, 25 SQ. YRDS, R.NAGAR* | 421
102 | 24/03/2018 | PLM | 11:40 | 13:55 | 02:15 | PLANNED SHUTDOWN | Grid:G-2 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:VARDAMAN PLAZA , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of: *400 TRF-1:KUMUDI STY NSR PUR* | 70
103 | 24/03/2018 | PLM | 11:40 | 13:01 | 01:21 | PLANNED SHUTDOWN | Grid:SAGARPUR (66/11kV) GRID SSTN To Feeder:11kV FDR F-BLOCK SAGARPUR , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : *630 TRF-1:Veer nagar F Block Sagar Pur*,*630 TRF-1:Gali No-1 Nalewala plm*,*630-TRF-1:Gandhi MKT S/S*,*TRANSFORMER,11/0.433KV 400KVA OIL TYPE* | 423
104 | 24/03/2018 | PLM | 11:50 | 13:53 | 02:03 | PLANNED SHUTDOWN | Grid:PAPPANKALAN-I (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR PAPPANKALAN SECTOR-7 , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : *630 TRF-1:Shri Niketan*,*400 TRF-1:SEC-7 PKT-1 SSTN NO-1*,*400 TRF-2:Shri Niketan*,*400 TRF-1:ADERSH GALI PALAM :PLM*,*100 TRF-1:ST LTG BEHIND SRI NIKETA :PM*,*SEC-7 PKT-1 SSTN NO-1 I/D* | 567
105 | 24/03/2018 | DWK | 11:52 | 13:42 | 01:50 | PLANNED SHUTDOWN | Grid:PAPPANKALAN-I (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR SEC-2 , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *630 TRF1: SEC-3 PKT-16:ID*,*400 TRF-2:ANMOL APPT*,*400 TRF-1:SEC-2 MKT. PP S/S*,*630 TRF-2:VIDESH MANTARALY*,*400 TRF-1:ANMOL APPT*,*630 TRF-2:S.B.YOUTH SCHOOL*,*100 TRF-1:DELHI TRANSPORTERS PLOT-2 SEC-2*,*400 TRF-1: BREAKDOWN OFFICE SEC-2*,*630 TRF-1:S.B.YOUTH SCHOOL*,*630 TRF:2NO.2 NPSC PLOT NO.5 SEC-2*,*630 TRF-1:NAV NIRMAN APP*,*630 TRF-1: VIDESH MANTARALY*,*400 TRF-1: DDA SEC-2 PKT-1*,*630 TRF:1NO.2 NPSC PLOT NO.5 SEC-2*,*630 TRF-2:NAV NIRMAN APP*,*400 TRF-1: HEALTH CENTER P/M*,*400 TRF-2:ASHADEEP APPT*,*400 TRF-1: DDA SEC-2 PKT-2*,*400 TRF-1: HEALTH CENTER P/M*,*400 TRF-1:ASHADEEP APPT*,*630 TRF-1: SEC-3 PKT-6DDA FLATS*,*630 TRF-1:NPSC APPT*,*400 TRF-2:SEC-2 MKT. PP S/S*,*630 TRF-2:NPSC APPT*,*400 TRF-1:ASHADEEP APPT* | 645
106 | 24/03/2018 | DWK | 11:52 | 13:41 | 01:49 | PLANNED SHUTDOWN | Grid:MATIYALA (G-5 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR ADARSH PRODYOGIKI + JAINPARK I/D SSTN , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *630 TRF-2;AIR INDIA, SEC-3*,*630 TRF-2;BALAJI APPT.*,*630 TRF-3; WELCOME GROUP CGHS LTD. S/S*,*630 TRF-1:,HIMACHALI*,*630 TRF-1;BALAJI APPT.*,*630 TRF-2; WELCOME GROUP CGHS LTD. S/S*,*400 TRF-2;BATUK JI SOCIETY*,*630 TRF-1;AIR INDIA, SEC-3*,*400 TRF-1;BATUK JI SOCIETY*,*630 TRF-2:,HIMACHALI*,*630 TRF-1; WELCOME GROUP CGHS LTD. S/S* | 601
107 | 24/03/2018 | RKP | 12:00 | 14:22 | 02:22 | PLANNED SHUTDOWN | Grid:R.K.PURAM-I (33/11kV) GRID SSTN To Feeder:11kV FDR SECTOR-12 R.K PURAM , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 SECTOR-12, SSTN NO.-1, R.K.PURAM: ID*,*TRF-2 SECTOR-12, SSTN NO.-1, R.K.PURAM: ID* | 369
108 | 24/03/2018 | SVR | 12:00 | 15:10 | 03:10 | PLANNED SHUTDOWN | Grid:SARITA VIHAR (66/11kV) GRID SSTN To Feeder:11kV FDR G-4, SHAHEEN BAGH , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 F-BLOCK SHAHEEN BAGH* | 241
109 | 24/03/2018 | SKT | 12:00 | 14:21 | 02:21 | PLANNED SHUTDOWN | Grid:66kV C-DOT GRID To Feeder:11KV FDR N.B.C.C , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 JAGDISH GADAIPUR:PL* | 76
110 | 24/03/2018 | SVR | 12:00 | 13:27 | 01:26 | LT FEEDER | Grid:MOHAN CO-OPERATIVE (66/11kV) GRID SSTN To Feeder:11kV FDR LAV KUSH (D.P) , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : *TRF-1 JAIT PUR VILL. GURADWARA | 59
111 | 24/03/2018 | NGL | 12:03 | 14:49 | 02:46 | PLANNED SHUTDOWN | Grid:PASCHIM PURI (33/11kV) GRID SSTN To Feeder:11KV FDR S/S NO-7 PEERAGARHI , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : *630 TRF-1:PLM PEERA GARHI-2*,*990TRF-1: PEERA GARHI SSTN NO-1*,*990TRF-1: PEERA GARHI SSTN NO-8*,*1000TRF-1: PEERA GARHI SSTN NO-5*,*990TRF-1:PEERA GARHI SSTN NO-7* | 534
112 | 24/03/2018 | NZD | 12:03 | 15:15 | 03:12 | PLANNED SHUTDOWN | Grid:33kV NIZAMUDDIN GRID To Feeder:11kV FDR NIZAMUDDINE TIE-2 , TRANSFORMER:REPLACEMENT OF SOCKET | RESTORED/ REPAIRED | Part of : *TRF-2 BHOGAL SCHOOL: PL*,*TRF-1 BHOGAL SCHOOL: PL* | 104
113 | 24/03/2018 | NZD | 12:03 | 15:15 | 03:12 | PLANNED SHUTDOWN | Grid:33kV NIZAMUDDIN GRID To Feeder:11kV FDR NIZAMUDDINE TIE-3 , TRANSFORMER:TO REPLACE OIL SEAL | RESTORED/ REPAIRED | Part of : *TRF-2 BARAPULA, JANGPURA-B: ID*,*TRF-1 BARAPULA, JANGPURA-B: ID* | 344
114 | 24/03/2018 | NZD | 12:03 | 15:16 | 03:13 | PLANNED SHUTDOWN | Grid:EXHIBITION GROUND-II (33/11kV) GRID SSTN To Feeder:11kV FDR BHAIRON ROAD , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 NH-24 NOIDA MORE STREET LIGHTING: PL* | 1
115 | 24/03/2018 | KPR | 12:23 | 14:02 | 01:38 | LT FEEDER | Grid:66kV BATRA GRID To Feeder:11kV FDR OLD D-BLOCK SANGAM VIHAR , LT ACB,:LT ACB BURNT, | RESTORED/ REPAIRED | Part of : *TRF-1 L-BLK,GALI NO-4,SANGAM VIHAR* | 89
116 | 24/03/2018 | HKS | 12:25 | 14:31 | 02:06 | PLANNED SHUTDOWN | Grid:33kV SIRI FORT GRID To Feeder:11kV FDR 40-SAHPUR JAT , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 116, SAHAPUR JAT* | 51
117 | 24/03/2018 | HKS | 12:30 | 14:11 | 01:41 | PLANNED SHUTDOWN | Grid:33kV SIRI FORT GRID To Feeder:11kV FDR PHD HOUSE , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 NIPPCO SUB STN* | 40
118 | 24/03/2018 | VKP | 12:30 | 15:33 | 03:03 | PLANNED SHUTDOWN | Grid:HASTAL (66/11kV) GRID SSTN To Feeder:UTTAM NGR TERMINAL , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *630 TRF-1:DTC TERMINAL*, | 49
119 | 24/03/2018 | VKJ | 12:35 | 14:18 | 01:43 | EMERGENCY SHUTDOWN | Grid:66kV I.O.C BIJWASAN GRID To Feeder:11 kV FDR BIJWASAN , 11KV FEEDER:PREVENTIVE MAINTENANCE | RESTORED/ REPAIRED | Part of : *TRF-1 BIJWASAN-1 P/M;TRF-1 BRIJWASAN NO.-2;TRF-1 BIJWASAN RLY CROSSING S/STN-3* | 268
120 | 24/03/2018 | PJB | 12:37 | 13:41 | 01:04 | HT SYSTEM FAULT | Grid:A-4 PASCHIM VIHAR (33/11kV) GRID SSTN To Feeder:11kV FDR HANSRAJ MODEL SCHOOL , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : *990 TRF-1: HANSRAJ MODEL SCHOOL,PJB EXTN*,*630 TRF-1:RD-77*,*400 TRF-1: ROAD NO.-78,PJB EXTN*,*990 TRF-1: ROAD NO.-75,PJB EXTN* | 523
121 | 24/03/2018 | VKP | 12:39 | 15:01 | 02:22 | EMERGENCY SHUTDOWN | Grid:BODELLA-II GRID To Feeder:11KV HASTAL SOCIETY NO.-1 , 11KV FEEDER:ATTENDING WEAK POINTS/HOT SPOT | RESTORED/ REPAIRED | Part of : *630 TRF-1:RAJDHANI PUBLIC SCHOOL:PL*,*25 TRF-1:100KVA SAINIK ENC. VIKAS NGR*,*630 TRF-1:RAJDHANI PUBLIC SCHOOL:PL*,*630 TRF-1:PHIRNI WALA PL/M S/STN*,*100 TRF-1:RAJDHANI PUBLIC SCH MAIN ROAD*,*RAJDHANI PUBLIC SCH MAIN ROAD*,*630 TRF-1:COL.BHATIA GALIWALA* | 406
122 | 24/03/2018 | PLM | 12:40 | 15:01 | 02:21 | PLANNED SHUTDOWN | Grid:PAPPANKALAN-I (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR VINODPURI , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : *630 TRF-1:Vinodpuri Fs*,*630 TRF-2:Vinodpuri Fs*,*630 TRF-1: B and H BLOCK MAHAVIR VIHAR*,*400 TRF-2:B and H BLOCK MAHAVIR VIHAR*,*630 TRF-1:C and I BLOCK MAHAVEER ENCLAVE S/S*,*400 TRF-1: B2- Block- Vijay Encl.* | 462
123 | 24/03/2018 | NGL | 12:42 | 13:43 | 01:01 | EMERGENCY SHUTDOWN | Grid:NANGLOI (66/33/11kV) GRID SSTN To Feeder:11kV FDR JAT MOHALLA + 11kV FDR CETP PLANT , LT ACB:REPAIRING OF ACB | RESTORED/ REPAIRED | Part of : *630 TRF-2 ARYA MOHALLA NANGLAOI* | 262
124 | 24/03/2018 | ALN | 13:00 | 15:03 | 02:03 | PLANNED SHUTDOWN | Grid:66 kV OKHLA PHASE-I GRID To Feeder:11 kV FDR S/S NO.-1 F-BLOCK OKHLA PH.-1 , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 MARUTI WORKSHOP TEHKHAND:ID* | 1
125 | 24/03/2018 | TGN | 13:03 | 15:20 | 02:17 | PLANNED SHUTDOWN | Grid:MUKHERJEE PARK (33/11kV) GRID SSTN To Feeder:11 kV FDR RAGHUBIR NAGAR D-BLOCK , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *990 TRF-2 :D-BLK STOREWALA SSTN, RAGHUBIR NGR*,*630 TRF-1 :D-BLK STOREWALA SSTN, RAGHUBIR NGR* | 378
126 | 24/03/2018 | TGN | 13:03 | 15:20 | 02:17 | PLANNED SHUTDOWN | Grid:VISHAL (33/11kV) GRID SSTN To Feeder:11kV FDR D-BLOCK RAGHUBIR NAGAR , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *630 TRF-1 :D-BLK 25 SQ YRDS SSTN, R.NAGAR*,*630 TRF-2 :D-BLK 25 SQ YRDS SSTN, R.NAGAR* | 356
127 | 24/03/2018 | NHP | 13:03 | 16:02 | 02:59 | PLANNED SHUTDOWN | Grid:V.S.N.L. (33/11kV) GRID SSTN To Feeder:11kV FDR R-BLOCK G.K-1 , LT CIRCUIT:NETWORK UPGRADTION WORK | RESTORED/ REPAIRED | Part of : *TRF-1 PLINTH MOUNTED SUBSTATION OPP.R-96 GK-1* | 41
128 | 24/03/2018 | VKJ | 13:09 | 14:57 | 01:47 | EMERGENCY SHUTDOWN | Grid:66kV I.O.C BIJWASAN GRID To Feeder:11 kV FDR VILLAGE SAHIBABAD MOHD. PUR , 11KV FEEDER:PREVENTIVE MAINTENANCE | RESTORED/ REPAIRED | Part of : *TRF-1 SHAHBAD MOHAMMADPUR-2 PL/M | 124
129 | 24/03/2018 | PLM | 13:20 | 15:02 | 01:42 | PLANNED SHUTDOWN | Grid:G-7 SECTOR -9 DWARKA To Feeder:HARIJAN BASTI KADDE WALA (PLM) , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : *400 TRF-2:JJ COLONY S/SNO-2 SEC-7*,*PALAM HARIJAN BASTI NEW:PL*,*630 TRF-2:JJ COLONY SSTN SEC-1*,*630 TRF-2:PALAM EXTN NO-2*,*990 TRF-1:PALAM EXTN NO-2*,*630 TRF-1:BUDHIYAL NEW S/S*,*400 TRF-2:SHRUTI APPT. SEC.7*,*400 TRF-1:SHRUTI APPT. SEC.7*,*630 TRF-1:JJ COLONY S/SNO-2 SEC-7*,*SAMADHIWALA PALAM VILLAGE*,*630 TRF-1:JJ COLONY SSTN SEC-1*,*990 TRF-1:BUDHIYAL OLD S/S* | 487
130 | 24/03/2018 | PLM | 13:20 | 15:07 | 01:47 | PLANNED SHUTDOWN | Grid:PAPPANKALAN-I (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR PERIPHERAL-2 , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : *400 TRF-2: L- BLOCK Vijay Enclave S/stn*,*400 TRF-1: Vijay Enclave M-Block S/stn*,*400 TRF-1: C-2 Block Mahavir Encl. Sec-1*,*400 TRF-1:L- BLOCK Vijay Enclave S/stn*,*990 TRF-1:VIJAY ENCLAVE G-BLOCK SSTN* | 523
131 | 24/03/2018 | NGL | 13:37 | 14:52 | 01:14 | HT SYSTEM FAULT | Grid:UDYOG NAGAR (33/11kV) GRID SSTN To Feeder:11kV FDR O/G S/STN.NO-3 UDYOG NGR(OLD) , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : *990 TRF-2:UDYOG NAGAR NO-03 S/S*,*400 TRF-1*,*400 TRF-1:UDYOG NAGAR NO-03 S/S*,*630 TRF-3:I/D UDYOG NAGAR STN-3*,*630 TRF-1:PLM A-4 UDYOG NAGAR*,*990 TRF-3:UDYOG NAGAR NO-03 S/S*,*630TRF-1:H-12 ,UDYOG NAGAR* | 571
132 | 24/03/2018 | NJF | 14:00 | 17:00 | 03:00 | PLANNED SHUTDOWN | Grid:NAJAFGARH (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR ANAJ MANDI , 11KV FEEDER:TREE TRIMMING | RESTORED/ REPAIRED | Part of : *25 TRF-1:DEEP CHANDER JHARODA KALA BEHIND PTC*,*100 TRF-1:SARDARA 2 VLG JHAROAD AKALN*,*990 TRF-1:JHARODA KALAN 3*,*25 TRF-1:RAM KUMAR JHARODA KALA*,*25 TRF-1: SHRI KISHAN JAI NARAYAN, JHARODA VILLAG*,*25 TRF-1:VED PRAKASH JHARODA KALA*,*25 TRF-1:NARESH KUMAR VILL JHARODA KALAN*,*990 TRF1: JHARODA KALAN STN 2*,*25 TRF-1:SUMITRA DEVI VILL JHARODA KALAN*,*25 TRF-1: DILIP SGH BEHIND DIGUPURA DICHAO K VILL*,*AJEET SINGH BHOLA RAM DICHAON KALA*,*MTNL TOWER SURKHPUR-JHARODA K RD*,*BHIKOO PURAN VILL JHARODA KALAN*,*25 TRF-1: S/STN NO-3 WATER SUPPLY VILL JHHARO*,*DHARAMBIR JHARODA VILLAGE*,*100 TRF-1:LAKHI VILLAGE JHARODA KALAN*,*630 TRF-1:JHARODA KALAN 1*,*100 TRF-1:SATTU VLG DICHOUN KALAN SPDC*,*25 TRF-1:MAHA SINGH VILL JHARODA KALAN*,*100 TRF-1:HOSIYAR SINGH NR DEGUPURA*,*25 TRF-1:RMU BRIJWASAN FATAK (BSF FDR)*,*25 TRF-1: HUKKAM SINGH*,*SATPAL VILL JHARODA KALAN* | 642
133 | 24/03/2018 | PJB | 14:00 | 17:28 | 03:28 | PLANNED SHUTDOWN | Grid:ROHTAK ROAD (NDPL) GRID SSTN To Feeder:PUNJABI BAGH-2 , LT CIRCUIT:MAINTANCE WORK | RESTORED/ REPAIRED | Part of : *400 TRF-1: ROAD NO. 32,EAST PJB* | 149
134 | 24/03/2018 | JFR | 14:00 | 17:07 | 03:07 | PLANNED SHUTDOWN | Grid:JAFFARPUR (66/11kV) GRID SSTN To Feeder:11KV FDR JAFFARPUR , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *MALIK PUR KHET*,*630 TRF:-1 DARIYAPUR S/STN NO.2*,*JUGTA VILL UJWA:PM*,*400 TRF-1:VILLAGE DARYAPUR*,*630 TRF-1:VILLAGE UJWA 1*,*16 TRF-1:UJWA MTNL VILL. UJWA**25 TRF-1: DE PAUL REHABILITATION CENTRE VILL. UJW*,*AMIT DAGAR VILL UJWA*,*100 TRF-1:SHISH RAM VLG UJWA*,*400 DT:JAFFARPUR EXTENSION*,*100 TRF-1:SHIS RAM MUNDELLA KALAN*,*16 TRF-1:TEJ RAM VLG UJWA*,*400 TRF-1:VILLAGE SAMASPUR 1*,*100 TRF-1:BIRKHA VILL DARIYAPUR:PM*,*TRF-1:MEHTAB VILL UJWA:PL*,*16 TRF-1: TUBE WELL NARENDER FARM HOUSE*,*NOT IN EMG*,*100 TRF-1:SUKHBIR VLG UJWA*,*MALIK PUR KHET*,*VILL JAFFARPUR S/S NO 1*,*SUNIL DUTT VILL-UJWA*,*100 TRF-1:BHAGWAN VLG MUNDELLA KALAN*,*ISHWAR SINGH BEHIND NARESH FARM*,*100 TRF-1:BHAGWANA VLG JAFFERPUR* | 452
135 | 24/03/2018 | SKT | 14:00 | 15:58 | 01:58 | PLANNED SHUTDOWN | Grid:33kV D.C.SAKET GRID To Feeder:11kV FDRPUSHP VIHAR SEC.-1, S/S NO.-5+MAX HEALTH HOSPITAL NO.-1 , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 STN-5 SEC-1 PUSHAP VIHAR:ID* | 75
136 | 24/03/2018 | PLM | 14:00 | 15:06 | 01:06 | PLANNED SHUTDOWN | Grid:G-2 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:RMU NO.-1 , 11KV FEEDER:TO SHIFT THE CABLE | RESTORED/ REPAIRED | Part of : *990 TRF-1:DADA DEV HOSPITAL SSTN-1*,*400 TRF-1:NAYANTARA SEC.7*,*400 TRF-2:NAYANTARA SEC.7*,*400 TRF-1:CHANDER VIHAR:PLM* | 412
137 | 24/03/2018 | VKJ | 14:26 | 16:16 | 01:50 | EMERGENCY SHUTDOWN | Grid:66kV I.O.C BIJWASAN GRID To Feeder:11 kV FDR BIJWASAN , 11KV FEEDER:PREVENTIVE MAINTENANCE | RESTORED/ REPAIRED | Part of : *TRF-1 BIJWASAN-1 P/M;BRIJWASAN NO.-2;TRF-1 BIJWASAN RLY CROSSING S/STN-3* | 341
138 | 24/03/2018 | ALN | 15:00 | 17:05 | 02:05 | PLANNED SHUTDOWN | Grid:OKHLA PHASE-II (33/11kV) GRID SSTN To Feeder:11kV FDR O/G S/S NO.-12, PHASE-1 , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-3 S/S NO.12, OKHLA PH- 1:ID* | 85
139 | 24/03/2018 | HKS | 15:02 | 16:33 | 01:31 | LT FEEDER | Grid:BHIKAJI CAMA PLACE (33/11kV) GRID SSTN To Feeder:B-3 JHANDU SINGH MARG , SERVICE LINE,:POLE BROKEN/DAMAGED, | RESTORED/ REPAIRED | Part of : *TRF-2 B-3 SDA JHANDU SINGH MARG: K* | 38
140 | 24/03/2018 | SKT | 15:03 | 16:53 | 01:50 | PLANNED SHUTDOWN | Grid:66kV IGNOU GRID To Feeder:11kV FDR ANUPAM GARDEN/SAINT MARRY , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *400 KVA DHANKAR ROAD S/STN* | 106
141 | 24/03/2018 | TGN | 15:22 | 17:05 | 1:43 | EHV SHUTDOWN | DUE TO B/D FROM CHAUKHANDI TO 11KV I/C-2 | SUPPLY RESTORED | TILAK VIHAR, KESHOPUR F & V MKT-1 + RAMNAGAR TALWARWALA , B-1 283 VISHNU GDN | 3329 | 11KV S/C-2 FLASHED
142 | 24/03/2018 | SVR | 15:27 | 16:48 | 01:21 | LT FEEDER | Grid:SARITA VIHAR (66/11kV) GRID SSTN To Feeder:11kV FDR D-BLOCK SHAHIN BAGH , SERVICE LINE,:PHASE NOT COMING OUT, | RESTORED/ REPAIRED | Part of : D BLOCK SHAHEEN BAGH | 78
143 | 24/03/2018 | VKP | 16:11 | 17:12 | 01:01 | LT FEEDER | Grid:BINDAPUR (G-3 PPK) (66/11kV) GRID SSTN To Feeder:11KV FDR O-BLOCK UTTAM NAGAR , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : *990 TRF-1:BHAGWATI VIHAR* | 82
144 | 24/03/2018 | VKP | 16:12 | 17:14 | 01:01 | LT FEEDER | Grid:PANKHA ROAD (66/33/11kV) GRID SSTN To Feeder:JEEVAN PARK , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : *1000 TRF-2:JEEVAN PARK I/D* | 84
145 | 24/03/2018 | VKP | 16:13 | 17:14 | 01:01 | LT FEEDER | Grid:PANKHA ROAD (66/33/11kV) GRID SSTN To Feeder:CHANAKYA PLACE , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : *630 TRF-1:CHANAKYA PLACE SSTN NO-4* | 61
146 | 24/03/2018 | VKJ | 16:20 | 17:58 | 01:38 | EMERGENCY SHUTDOWN | Grid:66kV I.O.C BIJWASAN GRID To Feeder:11 kV FDR BIJWASAN , 11KV FEEDER:PREVENTIVE MAINTENANCE | RESTORED/ REPAIRED | Part of : *TRF-1 BIJWASAN-1 P/M;TRF-1 BRIJWASAN NO.-2;*TRF-1 BIJWASAN RLY CROSSING S/STN-3* | 268
147 | 24/03/2018 | MDK | 16:35 | 17:41 | 01:05 | HT SYSTEM FAULT | Grid:NANGLOI WATER WORKS (66/11kV) GRID SSTN To Feeder:11kV FDR DDA FLAT LOKNAYAK PURAM , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : *630TRF-1:DDA FLATS,PKT-A,ESS-4,S/S-1*,*630TRF-2: DDA FLATS,PKT-C,ESS-1,S/S-1*,*630TRF-2: DDA FLATS,PKT-B1,ESS-1 S/S-2*,*100TRF-1:SEWAGE PLANT BAKARWALA:PM*,*630TRF-1: DDA FLATS,PKT-D,ESS-3,S/S-1*,*TRANSFORMER,11/0.433KV 400KVA OIL TYPE*,*630TRF-1:CHANCHEL PARK S/STN NO - 2*,*630TRF-1:DDA FLATS,PKT-A,ESS-2,S/S-1*,*630TRF-1:DDA FLATS,PKT-D,ESS-1,S/S-1*,*630TRF-1:DDA FLATS,PKT-A,ESS-1,S/S-1*,*630TRF-1:DDA FLATS,PKT-C,ESS-2,S/S-1*,*25TRF-1:PRIMARY SCHOOL D-BLK BAKKERWALA*,*630TRF-2:BSES I/D S/STN N0 4*,*630TRF-2:DDA FLATS,PKT-A,ESS-4,S/S-1*,*400TRF-1:ATMA SADHANA KENDRA*,*400TRF-1:DDA FLATS,PKT-D,ESS-4,S/S-1*,*630TRF-2:DDA FLATS,PKT-C,ESS-4,S/S-1*,*630TRF-2:DDA FLATS,PKT-A,ESS-2,S/S-1*,*630TRF-1:DDA FLATS,PKT-D,ESS-2,S/S-1*,*630TRF-1: DDA FLATS,PKT-B1,ESS-1 S/S-2*,*100TRF-1:NEAR PINEOR CONVENT SCHOOL:PM*,*630TRF-1:DDA FLATS,PKT-C,ESS-3,S/S-1*,*630TRF-1:DDA FLATS,PKT-C,ESS-4,S/S-1*,*400TRF-1:GURDAYAL VIHAR CHANCHAL PARK* | 784
148 | 24/03/2018 | SKT | 16:53 | 20:41 | 03:47 | HT SYSTEM FAULT | Grid:66kV IGNOU GRID To Feeder:11kV FDR ANUPAM GARDEN/SAINT MARRY , LT U/G CABLE,:CABLE BURNT, | RESTORED/ REPAIRED | Part of : *TRF-1 Z-POINT IGNOU RD INFRONT OF A-60 NEB VAL* | 205
149 | 24/03/2018 | VKJ | 18:00 | 19:02 | 01:01 | EMERGENCY SHUTDOWN | Grid:66kV I.O.C BIJWASAN GRID To Feeder:11 kV FDR BIJWASAN , 11KV FEEDER:PREVENTIVE MAINTENANCE | RESTORED/ REPAIRED | Part of : *TRF-1 BRIJWASAN NO.-2; | 174