## Format
DISCOM : BRPL
OUTAGE REPORT FOR : 26/03/2018 06:00Hr. To 27/03/2018 06:00Hr.
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Area / DT Effected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Detail
1 | 27/03/2018 | SVR | 04:16 | 05:33 | 01:17 | HT SYSTEM FAULT | Grid:66/11KV MEETHAPUR GRID SUB STN To Feeder:11kV HARIJAN BASTI (OLD) , HT O/H,:BIRDAGE, | RESTORED/ REPAIRED | Part of : TRF-1 BARAT GHAR MEETHAPUR, TRF-1 HARIJAN BASTI MITHA PUR, TRF-1 GAGAN VIHAR, M.PUR EXT., TRF-1 SNEW HARZAN BASTI, TRF-1 SR. SEC. SCHOOL MEETHAPUR; TRF-1 SHARIJAN BASTI MITHA PUR | 453
2 | 27/03/2018 | NZD | 00:28 | 01:53 | 01:25 | HT SYSTEM FAULT | Grid:EXHIBITION GROUND-I (33/11kV) GRID SSTN To Feeder:BHAIRO ROAD , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : TRF-1 OUTSIDE PURANA QILLA FOR ST LIGHT: P/M, TRF-1 MATKA PEER: P/M, TRF-1 BHAIRON ROAD DTC CONTROL ROOM, TRF-1 PURANA QILLA MATHURA ROAD: P/M | 50
3 | 26/03/2018 | HKS | 16:10 | 17:26 | 01:15 | HT SYSTEM FAULT | Grid:BHIKAJI CAMA PLACE (33/11kV) GRID SSTN To Feeder:A-1 S.J ENCLAVE , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : TRF-1 VILLAGE HIMAYUPUR, TRF-1 KAMAL KAPOOR COMPLEX SJE, TRF-2 A-1/27, S.D.A: PKG, TRF-1 A-1/27, S.D.A: PKG, TRF-1 B-4 SDA JHANDU SINGH MARG: PKG, TRF-2 VILLAGE HIMAYUPUR | 512
4 | 26/03/2018 | JFR | 15:59 | 17:22 | 01:23 | HT SYSTEM FAULT | Grid:JAFFARPUR (66/11kV) GRID SSTN To Feeder:11KV DAULATPUR , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : 100 TRF-1:DALIP PANDWALA KALAN, 100TRF-1:MID SHIKARPUR, 25TRF-1:SANDEEP S/O TEJA RAM , DAULATPUR, 100 TRF-1:PURAN PANDWALAKALAN, 630TRF-1:VILL DAULATPUR STN 1. 400 TRF1 : S/STN-2 NIHAL VILLAGE SHIKARP, 100TRF-1:INSHARAM SHIKARPUR, 5TRF-1;MADAN PARK*,*400: VILLAGE HASSANPUR S.STN-2, 25TRF-1:TARA CHAND, SHIKARPUR, 25 TRF-1: CHANDER SINGH , SHIKARPUR, 25TRF-1:DARAM SINGH , DAULATPURI, RAM KALA KHABAD MORE, 25TRF-1:HAR SWARUP , DAULATPUR, 16 TRF-1:SCHOOL STN KHARKHARI RAUND, 100 TRF-1:RAM KARAN DAULATPUR, 25TRF-1:JAI LAL PRADHAN , DAULATPUR, MILAN TRF DAULATPUR OPP GOVT SCHOOL, 630 TRF-1:VILLAGE PANDWALA KALAN 2, RANDHIR , DAULATPUR, 400 TRF-1:VILLAGE HASSANPUR*,*KRISHAN TRF KHARKHARI ROUND, TRF-1:VILLAGE UJWA 2, 100 TRF-1:RAM CHANDER HASSANPUR, 400 TRF-1:VILLAGE DAULATPUR 2, TRANSFORMER,11/0.433KV 400KVA OIL TYPE, 100 TRF-1:CHET RAM HASSANPUR, 25 TRF-1: GOPI CHAND,NARANG FARM , DAULATPUR, 25TRF-1:HIRA LAL , ASALATPUR , KHAWAD, SIRI CHAND KHARKHARI ROND, 100 TRF-1:SONU DUT PANDWALAKALAN, 100 TRF-1:PARAS RAM SHIKARPUR, SATYAPAL and ANIL TRF DAUALTPUR | 416
5 | 26/03/2018 | DWK | 07:31 | 09:14 | 01:43 | HT SYSTEM FAULT | Grid:PAPPANKALAN-I (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR MAHALAXMI , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : SEC-06 GOVT COED SCHOOL(SITE-1), 630-TRF-I_Rudhra App. (HTC), 630 TRF-1:MLU SEC-6, 630 TRF-1:MOTHER PRIDE (METER NOT INSTALLED), 400TRF-1:GOVT SECONDRY SCHOOL SEC-6, 630 TRF-2:DIAMOND SQUARE, 630 TRF-2:NEW ASHIANA PLOT-10 SEC-6, NEW ASHIANA PLOT-10 SEC-6, 400-TRF-1_YOUNGSTER SEC-6, 630 TRF-2:MLU SEC-6, NEW ASHIANA PLOT-10 SEC-6, 630-TRF-I_New Ashiyana App. Plot No-10, Sec-6, 630 TRF 1 :SWAMI DAYANAND APPT, PLOT-5, SEC-6, 630 TRF 1 :SWAMI DAYANAND APPT, PLOT-5, SEC-6, 400-TRF-II_YOUNGSTER SEC-6 | 529
6 | 26/03/2018 | SVR | 15:43 | 16:54 | 01:11 | LT FEEDER | Grid:SARAI JULLENA (33/11kV) GRID SSTN To Feeder:11kV FDR DDA FLATS SARAI JULENA , LT POLE,:FIRE ON POLE, | RESTORED/ REPAIRED | Part of : TRF-1 D.D.A FLAT SARAI JULENA | 127
7 | 26/03/2018 | SVR | 13:04 | 14:06 | 01:01 | HT SYSTEM FAULT | Grid:MATHURA ROAD (66/11kV) GRID SSTN To Feeder:11kV FDR MOHAN BABA NAGAR FDR. NO.-1 | RESTORED/ REPAIRED | Part of : B-1/E-27 MCIE (HT CONSUMER) | 1
8 | 26/03/2018 | KPR | 12:05 | 13:25 | 01:19 | LT FEEDER | Grid:TUGHLAKABAD (33/11kV) GRID SSTN To Feeder:11kV FDR SSTN NO.-1, SANGAM VIHAR, FEEDER NO.-2 PLINTH MOUNTED , LT POLE,:FIRE ON POLE, | RESTORED/ REPAIRED | Part of : TRF-1 F2 BLK SANGAM VIHAR NEAR HNO- 720 | 113
9 | 26/03/2018 | KPR | 11:54 | 13:22 | 01:27 | LT FEEDER | Grid:TUGHLAKABAD (33/11kV) GRID SSTN To Feeder:11kV FDR G & H BLOCK SANGAM VIHAR , LT ACB,:SOCKET DAMAGE, | RESTORED/ REPAIRED | Part of : TRF-1 GALI NO 8 SANGAM VIHAR:PL | 129
10 | 26/03/2018 | SVR | 11:32 | 12:34 | 01:02 | LT FEEDER | Grid:EAST OF KAILASH (33/11kV) GRID SSTN To Feeder:11kV FDR SRINIWASHPURI , SERVICE LINE,:FIRE IN SERVICE LINE, | RESTORED/ REPAIRED | Part of : TRF-1 PRIVATE COLONY S.N PURI | 82
11 | 26/03/2018 | SVR | 11:03 | 12:10 | 01:07 | LT FEEDER | Grid:SARITA VIHAR (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR S/S NO.-21, SARITA VIHAR , DISTRIBUTION TRANSFORMER,:TRANSFORMER LT LEAD BURNT/DAMAGED, | RESTORED/ REPAIRED | Part of : TRF-1 S/STN. NO. 21 SARITA VIHAR | 98
12 | 26/03/2018 | KPR | 07:39 | 08:50 | 01:11 | LT FEEDER | Grid:66kV BATRA GRID To Feeder:11kV FDR DEVLI EXTENSION , DISTRIBUTION TRANSFORMER,:TREE TOUCHING, | RESTORED/ REPAIRED | Part of : TRF-1 DEVLI EXT.RMU-1 SANGAM VIHAR | 109
13 | 26/03/2018 | KPR | 06:37 | 08:19 | 01:41 | LT FEEDER | Grid:33kV D.C.SAKET GRID To Feeder:11kV FDR MADANGIRI S/S NO.-1 , SERVICE LINE,:JUMPER LOOSE/BROKEN FROM DB, | RESTORED/ REPAIRED | Part of : 630 KVA TRF-3 MADANGIR PHASE-2:ID | 101
14 | 26/03/2018 | JFR | 15:03 | 16:54 | 01:51 | PLANNED SHUTDOWN | Grid:JAFFARPUR (66/11kV) GRID SSTN To Feeder:11KV MALIKPUR , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 100 TRF-1:GOVT SR SEC SCHOOL MALIKPUR, 400 TRF-1:VILL MALIKPUR S/STN-3, 400 TRF-1:VILLAGE MALIKPUR 1, 630TRF-1:VILLAGE MALIKPUR(DHARA)P/M, 630TRF-1:VILLAGE MALIKPUR(DHARA)P/M | 387
15 | 26/03/2018 | JKP | 15:01 | 16:59 | 01:58 | PLANNED SHUTDOWN | Grid:SAGARPUR (66/11kV) GRID SSTN To Feeder:11kV FDR C-4 JANAKPURI , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 630 TRF-2 :C3-BLK (SFS HARJEETWALA) SSTN, JKP | 113
16 | 26/03/2018 | JKP | 15:00 | 16:58 | 01:58 | PLANNED SHUTDOWN | Grid:HARI NAGAR (66/11kV) GRID SSTN To Feeder:11KV TIKONA PARK , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 1000 TRF-1 :BLOCK NO.-70 SSTN, ASHOK NAGAR | 121
17 | 26/03/2018 | DWK | 14:35 | 15:41 | 01:06 | PLANNED SHUTDOWN | Grid:PAPPANKALAN-II (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR EROSS METRO MALL SECTOR-14 +11kV FDR 736 EWS SECTOR-14 , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 980 EWS S/STN-1 SEC 16 B DWKNGEF, 630 TRF-1: 736 EWS HOUSES SECT.16 B DWK, 630 TRF-2: 736 EWS HOUSES SECT.16 B DWK, 630 TRF-1: 288 EWS HOUSES SECT.16 B DWK, 980 EWS S/STN-1 SEC 16 B DWK | 429
18 | 26/03/2018 | DWK | 14:34 | 15:41 | 01:07 | PLANNED SHUTDOWN | Grid:BINDAPUR (G-3 PPK) (66/11kV) GRID SSTN To Feeder:11KV FDR VISHWASH PARK-2 , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 630 TRF-1:RAJA PURI SS-2, 1000 TRF-1:VISHWAS PARK, BHATTWALA VISHWASH PARK, 1000 TRF-2:VISHWAS PARK | 392
19 | 26/03/2018 | MDK | 14:03 | 17:10 | 03:07 | PLANNED SHUTDOWN | Grid:66/11KV MUNDKA GRID To Feeder:11kV FDR SUBHASH VIHAR-2 , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 100TRF-1:MTNL TIKRI KALAN:PM, 400TRF-1:TIKRI S/S-8 NR SHAHEED BHAGAT SINGH PARK, 990TRF-1:TIKRI VILLAGE S/STN-6:PL, 630 TRF-1:TIKRI VILLAGE STN-3, 400 TRF-1: NEAR TIKRI LALTEN, 100TRF-1:HINDUSTAN SANIT NR CC CENTER, 990TRF-1:TIKRI VILLAGE S/STN-5:PL, 990 TRF-1:TIKRI VILLAGE S/STN-2:PL, 630 TRF-1:TIKRI VILLAGE STN-1, 400 TRF-1:TIKRI VILLAGE S/STN-4:PM | 409
20 | 26/03/2018 | MDK | 14:03 | 17:10 | 03:07 | PLANNED SHUTDOWN | Grid:66/11KV MUNDKA GRID To Feeder:11kV FDR HIRAN KUDNA , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 25TRF-1:CHADDHA FARM HOUSE HIRANKUDANA, 400TRF-1:GANGA INTERNATIONAL HIRAN KUDNA, 100 TRF-1:PARMOD GHEVRA, 100 TRF1-:NSVT-2 ROHTAK ROAD, 100 TRF1-:NSVT-1 ROHTAK ROAD, 100TRF-1:MCD DISPANSARY HIRANKUDANA, 100TRF-1:SRISTI VATICA HIRANKUDANA, 400TRF-1:GANGA INTERNATIONAL HIRAN KUDNA, 25TRF-1:RASHMI DANDONA HIRANKUDANA P/M, TRNSF OILDT 11KV/433V 990KVA, 990TRF-1:HIRANKUDNA VILLAGE S/STN-2:PL | 276
21 | 26/03/2018 | MDK | 14:03 | 17:10 | 03:07 | PLANNED SHUTDOWN | Grid:66/11KV MUNDKA GRID To Feeder:11kV FDR NEEL WALL , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 630TRF-1:NEELWALL S/STN-2:PM, 25TRF-1:HUKUM SINGH NEELWAL ROAD, 100TRF-1:RAN SINGH NEELWAL:PM, 100TRF-1:HARIZON BASTI NEELWAL:PM, 630TRF-1:NEELWALL S/STN-1:PM, 100TRF-1:PRABHU TUBE WEELL NEELWAL:PM, 25TRF-1:SIMANDER JAIN MANDIR NEELWAL | 291
22 | 26/03/2018 | PLM | 14:00 | 15:42 | 01:42 | PLANNED SHUTDOWN | Grid:G-6 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11kV FDR D.D.A FLAT SECTOR-23 , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : 630 TRF-3:NAVAL TANK, 630 TRF-4:NAVAL TANK, 630 TRF-2:DELHI APPT, 100 TRF-1:Bharat Petrolium, 630 TRF-1:DELHI APPT, 630 TRF-2:Nav Sansad Vihar Appart.Plot No-4 S, 630 TRF-1:Nav sansad s/s no.2, 630 TRF-1:GURU RAM DAS, 100 TRF-1:Hindustan Petrolium, 630 TRF-1:Nav Sansad Vihar Appart.Plot No-4 S, 630 TRF-2:GURU RAM DAS, 630 TRF-2:Nav sansad s/s no.2, 630 TRF-2:NAVAL TANK, 630 TRF-1:Nav Sansad Vihar Plot No-22 Dwarka, 630 TRF-2:Nav Sansad Vihar Plot No-22, 400 TRF-1:silver maharani, 630 TRF-1:pp NO.-1 SEC-22, 400 TRF-1:GOVT. SCHOOL, 630 TRF-1;NAVAL TANK, 630 TRF-1:DDA SEC 23 PKT 1 SS-1, 630 TRF-2:DDA SEC 23 PKT 1 SS-1, 630 TRF-2:DDA PKT 1 SEC 23 SS-2, 630 TRF -1 630 TRF-2:DDA PKT 1 SEC 23 SS-2 | 490
23 | 26/03/2018 | ALN | 14:00 | 17:06 | 03:06 | PLANNED SHUTDOWN | Grid:66 kV OKHLA PHASE-I GRID To Feeder:11 kV FDR S/S NO.-9 VIA B-133 OKHLA PH.-1 , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 S/S NO.4, OKHLA PH- 1:ID | 19
24 | 26/03/2018 | JKP | 13:05 | 15:02 | 01:57 | PLANNED SHUTDOWN | Grid:D.C. JANAKPURI (33/11kV) GRID SSTN To Feeder:11KV B-3 JANAKPURI , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 630 TRF-1 :PLOT NO.-B3/95 SSTN, JANAKPURI | 106
25 | 26/03/2018 | JKP | 13:05 | 15:02 | 01:57 | PLANNED SHUTDOWN | Grid:D.C. JANAKPURI (33/11kV) GRID SSTN To Feeder:11KV B-3 JANAKPURI , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 990 TRF-1 :B/3A-BLOCK SSTN, JANAKPURI | 112
26 | 26/03/2018 | JKP | 13:04 | 15:02 | 01:58 | PLANNED SHUTDOWN | Grid:SAGARPUR (66/11kV) GRID SSTN To Feeder:11kV FDR CCRA SUB STATION , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 1000 TRF-2 :BHOOP SINGH BASTI SSTN, JANAKPURI | 91
27 | 26/03/2018 | SVR | 13:03 | 15:56 | 02:53 | PLANNED SHUTDOWN | Grid:SARAI JULLENA (33/11kV) GRID SSTN To Feeder:11kV FDR BATLA HOUSE , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-2 BATLA HOUSE PLM+P/M, TRF-1 BATLA HOUSE PLM+P/M | 358
28 | 26/03/2018 | SKT | 13:03 | 15:39 | 02:36 | PLANNED SHUTDOWN | Grid:33kV ADHCHINI GRID To Feeder:11kV FDR SARVODAYA ENCLAVE , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 S/S Nr DMS OPP.C-212 SARVODYA ENCL | 198
29 | 26/03/2018 | JKP | 13:03 | 15:01 | 01:58 | PLANNED SHUTDOWN | Grid:MAYAPURI (33/11kV) GRID SSTN To Feeder:11KV D-1 JANAKPURI , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 400TRF-1: CNG FILLING S/S | 1
30 | 26/03/2018 | VKJ | 13:03 | 15:45 | 02:42 | PLANNED SHUTDOWN | Grid:66kV VASANT KUNJ D-BLK GRID To Feeder:11 kV FDR NANGAL DAIRY-2 , LT CIRCUIT:REPLACEMENT OF LT ACB | RESTORED/ REPAIRED | Part of : TRF-1 OLD SHIV MANDIR RANGPURI | 267
31 | 26/03/2018 | JKP | 13:01 | 15:02 | 02:01 | PLANNED SHUTDOWN | Grid:HARI NAGAR (66/11kV) GRID SSTN To Feeder:11KV J-BLOCK RAJORY GARDEN , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 400 TRF-1 :D-BLOCK SSTN, AJAY ENCLAVE, S.NGR | 84
32 | 26/03/2018 | NGL | 12:55 | 16:10 | 03:15 | PLANNED SHUTDOWN | Grid:PASCHIM VIHAR (66/33/11KV) GRID SSTN To Feeder:11kV FDR NIHAL VIHAR , 11KV FEEDER:REPLACEMENT OF RMU | RESTORED/ REPAIRED | Part of : 400 TRF-1:B-1 BLOCK NIHAL VIHAR, 990 TRF-1:A-BLOCK NIHAL VIHAR, 990 TRF-1 PLM D BLK NIHAL VHR NR RS PUBLIC SCHOOL, 630 TRF-1 B-2 BLOCK NIHAL VIHAR, TRF-1:NIHAL VIHAR E BLOCK -II, 630 TRF-2:B-1 BLOCK NIHAL VIHAR | 353
33 | 26/03/2018 | NGL | 12:45 | 16:05 | 03:20 | PLANNED SHUTDOWN | Grid:PASCHIM VIHAR (66/33/11KV) GRID SSTN To Feeder:11KV FDR F & S BLOCK NIHAL VIHAR , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : 400 TRF-1:P/M T BLK NIHAL VIHAR TRF 2, 400 TRF-1:PLM S/STN. R- BLOCK NIHAL VIHAR, 25 TRF-1: MTNL TOWER , NIHAL VIHAR F- BLOCK, 400 TRF-1:NIHAL VIHAR R BLOCK, 400 TRF-1:FandS BLOCK NIHAL VIHAR, 400 TRF-1*,* 400 TRF1:-P/M R BLK D J B PUMP HOUSE NIHAL VIHAR, 400TRF-1*,*QFL BLK NIHAL VIHAR, 400 TRF-1:NIHAL VIHAR QRS BLK, 630 TRF-1:FandS BLOCK NIHAL VIHAR, 400 TRF-1:P/M T BLK NIHAL VIHAR TRF 1 | 428
34 | 26/03/2018 | HKS | 12:40 | 16:20 | 03:40 | PLANNED SHUTDOWN | Grid:33kV SIRI FORT GRID To Feeder:11kV FDR N-98. PANCHSHEEL , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 VILL. SHAHAPUR JAT, SHIV MANDIR:PL, TRF-2 VILL. SHAHAPUR JAT, SHIV MANDIR:PL | 323
35 | 26/03/2018 | HKS | 12:30 | 15:25 | 02:55 | PLANNED SHUTDOWN | Grid:33kV NDSE-2 GRID To Feeder:11kV FDR ANDREWS GANJ MAIN , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 ANDREWS GANJ POLICE COLONY: ID | 297
36 | 26/03/2018 | DWK | 12:27 | 14:03 | 01:36 | PLANNED SHUTDOWN | Grid:G-15 DWARKA REL. ENERGY GRID SSTN To Feeder:11kV FDR BAIRWA BHARTI , 11KV FEEDER:TREE TRIMMING | RESTORED/ REPAIRED | Part of : 400 TRF-2:,SEC-12 PKT-8 SSTN-2 MULTISTORY | 169
37 | 26/03/2018 | NGL | 12:27 | 16:03 | 03:36 | PLANNED SHUTDOWN | Grid:NANGLOI (66/33/11kV) GRID SSTN To Feeder:11kV FDR JAT MOHALLA + 11kV FDR CETP PLANT , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : 630 TRF-2 ARYA MOHALLA NANGLAOI, 400 TRF-1:ARYA MOHALLA NANGLAOI, 990 TRF-1:JAT CHOWK-NANGLAOI, 990 TRF-1:JAT CHOWK-NANGLAOI | 392
38 | 26/03/2018 | DWK | 12:26 | 13:43 | 01:17 | PLANNED SHUTDOWN | Grid:PAPPANKALAN-I (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR MAHALAXMI , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : SEC-06 GOVT COED SCHOOL(SITE-1), 630-TRF-I_Rudhra App. (HTC), 630 TRF-1:MLU SEC-6, 630 TRF-1:MOTHER PRIDE (METER NOT INSTALLED), 400TRF-1:GOVT SECONDRY SCHOOL SEC-6, 630 TRF-2:DIAMOND SQUARE, 630 TRF-2:NEW ASHIANA PLOT-10 SEC-6, NEW ASHIANA PLOT-10 SEC-6, 400-TRF-1_YOUNGSTER SEC-6, 630 TRF-2:MLU SEC-6, NEW ASHIANA PLOT-10 SEC-6, 630-TRF-I_New Ashiyana App. Plot No-10, Sec-6, 630 TRF 1 :SWAMI DAYANAND APPT, PLOT-5, SEC-6, 630 TRF 1 :SWAMI DAYANAND APPT, PLOT-5, SEC-6, 400-TRF-II_YOUNGSTER SEC-6 | 453
39 | 26/03/2018 | DWK | 12:25 | 14:13 | 01:48 | PLANNED SHUTDOWN | Grid:PAPPANKALAN-I (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR MAHALAXMI , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : SEC-06 GOVT COED SCHOOL(SITE-1), 630-TRF-I_Rudhra App. (HTC), 630 TRF-1:MLU SEC-6, 630 TRF-1:MOTHER PRIDE (METER NOT INSTALLED), 400TRF-1:GOVT SECONDRY SCHOOL SEC-6, 630 TRF-2:DIAMOND SQUARE, 630 TRF-2:NEW ASHIANA PLOT-10 SEC-6, NEW ASHIANA PLOT-10 SEC-6, 400-TRF-1_YOUNGSTER SEC-6, 630 TRF-2:MLU SEC-6, NEW ASHIANA PLOT-10 SEC-6, 630-TRF-I_New Ashiyana App. Plot No-10, Sec-6, 630 TRF 1 :SWAMI DAYANAND APPT, PLOT-5, SEC-6, 630 TRF 1 :SWAMI DAYANAND APPT, PLOT-5, SEC-6, 400-TRF-II_YOUNGSTER SEC-6 | 453
40 | 26/03/2018 | PJB | 12:03 | 14:31 | 02:28 | PLANNED SHUTDOWN | Grid:A-4 PASCHIM VIHAR (33/11kV) GRID SSTN To Feeder:208 SFS QUATERS , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 990 TRF-1: 208 SFS FLATS, MADIPUR,PJB | 309
41 | 26/03/2018 | NZD | 12:03 | 14:46 | 02:43 | PLANNED SHUTDOWN | Grid:33kV NIZAMUDDIN GRID To Feeder:11kV FDR MICROWAVE,NZD EAST , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 ISBT SARAI KALE KHAN: PL | 282
42 | 26/03/2018 | TGN | 12:00 | 15:01 | 03:01 | PLANNED SHUTDOWN | Grid:MUKHERJEE PARK (33/11kV) GRID SSTN To Feeder:11kV FDR IND. AREA TILAK NAGAR , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 990 TRF-1 :7-BLOCK SSTN, TILAK NAGAR, 400 TRF-2 :288 RESETTLEMENT CLY SSTN,TILAK NGR, 630 TRF-1 :BHARAT X-RAY SSTN, TILAK NAGAR, 630 TRF-1:TIKONA PARK SANSTAN MANDIR, 400 TRF-1:CHOTI SABZI MANDI TLK NGR, 990 TRF-1:4B/4 TILAK NAGAR PL/M, 630 TRF-1 :288 RESETTLEMENT CLY SSTN,TILAK NGR, 990 TRF-2 :INDUSTRIAL AREA SSTN, TILAK NAGAR, 400 TRF-1:ANMOL VATIKA DDA CLY TILAK NGR, 630 TRF-1:TIKONA PARK SANSTAN MANDIR, 990 TRF-1:810 BUS STOP NJF ROAD PL, 990 TRF-1 :INDUSTRIAL AREA SSTN, TILAK NAGAR | 479
43 | 26/03/2018 | SKT | 12:00 | 13:55 | 01:55 | PLANNED SHUTDOWN | Grid:66kV C-DOT GRID To Feeder:11kV FDR M.C Tr. DLF (MEHAR CHAND) , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 SARDARI LAL CHOPARA:PM | 124
44 | 26/03/2018 | SKT | 12:00 | 14:55 | 02:55 | PLANNED SHUTDOWN | Grid:33kV ANDHERIA BAGH GRID To Feeder:1kV FDR N.B.C.C , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 SULTANPUR METRO DEPOT,100 KVA S/Stn. | 9
45 | 26/03/2018 | SKT | 12:00 | 15:18 | 03:18 | PLANNED SHUTDOWN | Grid:66kV C-DOT GRID To Feeder:11KV FDR ASHWANI KUMAR MEHRA HOTEL(D-1) , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : ASHWANI KUMAR MEHRA HOTAL (HT CONSUMER) | 1
46 | 26/03/2018 | NGL | 12:00 | 15:50 | 03:50 | PLANNED SHUTDOWN | Grid:NANGLOI (66/33/11kV) GRID SSTN To Feeder:11kV FDR HINDUSTAN HOUSING SOCIETY , LT CIRCUIT:TO CONNECT NEW CABLE | RESTORED/ REPAIRED | Part of : 990 TRF-2 I/D GHK NGR STN-1, 630 TRF-1:PLM GHK NAGAR STN-3, 630 TRF-1:I/D GHK NGR STN-1, NLI17F101S1BB1, 630TRF-2: GHKN SSTN NO-2 | 413
47 | 26/03/2018 | NGL | 12:00 | 15:51 | 03:51 | PLANNED SHUTDOWN | Grid:NANGLOI WATER WORKS (66/11kV) GRID SSTN To Feeder:11kV FDR RATAN NO-2 , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : 630TRF-2:ESS-1- EWS FLATS BAPROLLA I/D, 400 TRF-1:NEAR NALA SSTN AMBEDKAR SCHOOL, 750 TRF-1:NEAR DADA DEV SSTN-2, 100 TRF-1:NEAR NALA SSTN AMBEDKAR SCHOOL, 990 TRF-1:NEAR DADA DEV SSTN-2, 630 TRF-1:*,*400 TRF1: P/M E BLK JAI VIHAR, OPP. HOUSE NO.64, 630 TRF-1:BAPROLA VILLAGE STN-2, 400 TRF-1 P/M SATYAM VIHAR, 25 TRF-1: RELIANCE TOWER JAI VIHAR 25KVA, 990 TRF-1:BAPROLA VILLAGE STN-1, BAPROLEXTN NEAR CHANCHAL PARK RMU, 400 TRF1:-PRASHANT ENCLAVE, 400 TRF1: P/M G BLK JAI VIHAR P/M, 400 TRF-1:P/M JAI VIHAR NR JODH SINGH PRADHAN HOME, 100 TRF-1: GADDA COLONY P/M S/STN, 630 TRF-2:JAI VIHAR S/STN-1, P/M JAI VHR PH-III G2 BLK NR PANDIT DABA | 513
48 | 26/03/2018 | PLM | 12:00 | 14:47 | 02:47 | PLANNED SHUTDOWN | Grid:SAGARPUR (66/11kV) GRID SSTN To Feeder:11kV FDR MADANPURI HANS PARK , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : 990 TRF-2:SHIV PURI I/D, 990 TRF-2:MADAN PURI HANS PRK I/D, 990 TRF-1:BABA BALAKNATH MARG, 990 TRF-1:MADAN PURI HANS PRK I/D, 990 TRF-1: GALI NO.-4 I/D Sgp | 548
49 | 26/03/2018 | RKP | 12:00 | 14:13 | 02:13 | PLANNED SHUTDOWN | Grid:R.K.PURAM-II (33/11kV) GRID SSTN To Feeder:11kV FDR SECTOR-4 R.K PURAM , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 SECTOR-4, R.K.PURAM: PL | 276
50 | 26/03/2018 | NGL | 12:00 | 15:52 | 03:52 | PLANNED SHUTDOWN | Grid:BODELLA-II GRID To Feeder:11KV FDR GRAMSABHA NILOTHI , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : 400 TRF-2:NEW GURU HARKISHAN NAGAR | 195
51 | 26/03/2018 | RKP | 12:00 | 14:14 | 02:14 | PLANNED SHUTDOWN | Grid:R.K.PURAM-I (33/11kV) GRID SSTN To Feeder:11kV FDR J.N.U ACADEMEY , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 SECTOR-3, R.K.PURAM: ID, TRF-2 SECTOR-3, R.K.PURAM: ID | 235
52 | 26/03/2018 | TGN | 11:57 | 15:01 | 03:03 | PLANNED SHUTDOWN | Grid:MUKHERJEE PARK (33/11kV) GRID SSTN To Feeder:11 kV FDR MUKHERJEE PARK FEEDER NO.-2 , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 990 TRF-1 :F-9 (MANGAL BAZAR) SSTN, VISHNU GDN | 298
53 | 26/03/2018 | DWK | 11:54 | 15:43 | 03:49 | PLANNED SHUTDOWN | Grid:BINDAPUR (G-3 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR MAHAVIR ENCLAVE SSTN-2 , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 630 TRF-1:MAHAVIR ENCLAVE S/STN NO 2 | 213
54 | 26/03/2018 | PLM | 11:50 | 13:51 | 02:01 | PLANNED SHUTDOWN | Grid:G-2 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:VARDAMAN PLAZA , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 400 TRF-1:NISHKAM STY | 79
55 | 26/03/2018 | TGN | 11:49 | 15:00 | 03:10 | PLANNED SHUTDOWN | Grid:VISHAL (33/11kV) GRID SSTN To Feeder:11kV FDR F-BLOCK SHIVAJI ENCLAVE , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 630TRF-3: FBLK BHAISOWLASSTN,SHIVAJI ENC | 238
56 | 26/03/2018 | TGN | 11:47 | 15:00 | 03:12 | PLANNED SHUTDOWN | Grid:MUKHERJEE PARK (33/11kV) GRID SSTN To Feeder:11 kV FDR GANGA RAM VATIKA , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 630 TRF-2 :BAKERYWALA SSTN, MUKH RAM PARK, 990 TRF-1 :GANGARAM VATIKA SSTN, CHAND NAGAR, 990 TRF-1 :BAKERYWALA SSTN, MUKH RAM PARK, 990 TRF-2 :GANGARAM VATIKA SSTN, CHAND NAGAR | 458
57 | 26/03/2018 | TGN | 11:44 | 14:59 | 03:15 | PLANNED SHUTDOWN | Grid:CHAUKHANDI (33/11kV) GRID SSTN To Feeder:11 kV FDR CHAND NAGAR (KHADDA WALA) , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 630 TRF-1 :SLATY BLDG. PARKWALA SSTN,CHAND NGR | 233
58 | 26/03/2018 | PLM | 11:40 | 14:50 | 03:10 | PLANNED SHUTDOWN | Grid:G-7 SECTOR -9 DWARKA To Feeder:S/S NO.-5 SECTOR-8 , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : 500 TRF-1:s/s no.-5 B Block Bagdola, 500 TRF-2:s/s no.-5 B Block Bagdola, 990 TRF-1:Tikona Wala New F BLK, 990 TRF-2:DDA Park RajNgr, 990 TRF-1:DDA Park RajNgr | 511
59 | 26/03/2018 | NGL | 11:40 | 14:54 | 03:14 | PLANNED SHUTDOWN | Grid:NANGLOI (66/33/11kV) GRID SSTN To Feeder:11kV FDR JWALA PURI CAMP NO.-4 , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : 990 TRF-1: CAMP NO-4 ,S/STN NO-1, 400 TRF-1: Yellow Building Javla Puri, 630 TRF-2: Red Building Javla Puri, 630 TRF-1:CAMP NO-4 B-BLOCK SSTN-3, 630 TRF-1:CAMP - 4 SSTN-2 P/M, 630 TRF-1: B-BLK JAWALAPURI,CAMP-4, 630 TRF-1: Red Building Javla Puri, 400 TRF-2: Yellow Building Javla Puri | 504
60 | 26/03/2018 | PLM | 11:40 | 14:49 | 03:09 | PLANNED SHUTDOWN | Grid:G-6 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11kV FDR RAJ NAGAR , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : 400 TRF-1:MEHROULI RD SS 1, RMU XING SEC-20andSEC-9 METRO STN.SVASCA, Mahadeva S/s, 990 TRF-1:S/S NO 3 M ROAD RAJNAGAR, 990 TRF-1:Mahadeva S/s, TRANSFORMER,11/0.433KV 630KVA OIL TYPE, 990 TRF1:s/s no.4 Raj Nager Mehrauli Road, 630 TRF-1:NEW BAGDOLA S/S, 630 TRF1:MEHROULI RD S/STN 4:PL | 550
61 | 26/03/2018 | NGL | 11:40 | 15:07 | 03:27 | PLANNED SHUTDOWN | Grid:PASCHIM PURI (33/11kV) GRID SSTN To Feeder:11 KV FDR SUNDER VIHAR , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : 990TRF-1: SUNDER VIHAR SSTN NO-3, 100TRF-1:PWD FOOTOVERBRIDG(HTC) SSTN P/M, 630TRF-2: GH-10 PASCHIM VIHAR SSTN NO-1, 630TRF-2:GH-10 PASCHIM VIHAR SSTN NO-2, 630TRF-1: GH-10 PASCHIM VIHAR SSTN NO-2, 630TRF-1: PASCHIM VIHAR SSTN NO-1 | 491
62 | 26/03/2018 | PLM | 11:40 | 14:44 | 03:04 | PLANNED SHUTDOWN | Grid:PAPPANKALAN-I (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR NASIRPUR , TRANSFORMER:NETWORK UPGRADATION WORK | RESTORED/ REPAIRED | Part of : 630 KVA TRF. H-2, BLOCK BANGALI COLONY | 216
63 | 26/03/2018 | NJF | 11:35 | 15:20 | 03:45 | PLANNED SHUTDOWN | Grid:G-6 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11kV FDR POCHANPUR , 11KV FEEDER:TREE TRIMMING | RESTORED/ REPAIRED | Part of : 400 TRF-1:AMBERHI SSTN-1, 400 TRF-1 : LOP OF POCHANPUR B BLOCK, 400 TRF-1:-POCHAN PUR VILL GALI NO-1 A-BLK, 400 TRF-1:VILLAGE POCHANPUR 2, VILL POCHANPUR STN 1, 630 TRF-1: AMBERHI SSTN -4, 400TRF-1:AMBERHI SSTN-3, 16 TRF-1:W/S AT POCHANPUR BEHIND MANDIR, 630 TRF-1:VILL POCHANPUR STN 1, 630TRF-1:STN NO-2 VIL. AMBERAHI, VILL POCHANPUR STN, POCHANPUR VILLAGE COMMUNITY CENTER, 630TRF-1:AMBERHI SSTN-1, 630 TRF:-1 HOLY CHOWK VILLAGE POCHAN PUR, 630TRF-1:STN NO-2 VIL. AMBERAHI | 530
64 | 26/03/2018 | NJF | 11:30 | 15:15 | 03:45 | PLANNED SHUTDOWN | Grid:G 4 DWARKA SEC 19 GRID SSTN To Feeder:11kV FDRGOYALA DAIRY , 11KV FEEDER:TREE TRIMMING | RESTORED/ REPAIRED | Part of : 400 TRF-1:QUTUB VIHAR PHASE-II STN. NO.4, 25 TRF-1:ANATH ASHRAM, TAJPUR ROAD, 400TRF-1:DEFENCE ENCLAVE GOYLA-TAJPUR RD, 25 TRF-1:GYAN DEVI VILL CHHAWLA, 400TRF-1:SANTHOMAS SCHOOL, 100TRF-1:ANAND GOELA, 25 TRF-1:RAMPAT RAMDHAN, VILL TAJPUR, 400 TRF-2:VILLAGE TAJPUR 2, 100TRF-1:ANAND GOELA, ST. LT. DT CHAWLA, CHAWLA QUTUB VIHAR ROAD, 400 TRF-1:QUTUB VIHAR PHASE-II, 25 TRF-1:RAM NARAYAN VILL. CHHAWLA, 100TRF-1:ANAND GOELA, 400TRF-1:SANTHOMAS SCHOOL, 25 TRF-1:NRAYAN SWARUP,QUTUB VIHAR RD VILL CHHAWL, 400TRF-1:SHYAM KUNJ Near Vill Goyla, 400 TRF-1:VILLAGE GOELA STN 2, 25-1:NEAR BISHNA S/SN VILL GOELA | 459
65 | 26/03/2018 | HKS | 11:20 | 12:55 | 01:35 | PLANNED SHUTDOWN | Grid:33kV SIRI FORT GRID To Feeder:11kV FDR PANCHSHEEL SHOPPING CENTER , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 DCP OFFICE HAUS KHAS:PG | 38
66 | 26/03/2018 | DWK | 11:19 | 15:44 | 04:25 | PLANNED SHUTDOWN | Grid:MATIYALA (G-5 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR JAIN COLONY , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 1000 TRF-1:NEW T UTTAM NAGAR, 630 TRF-1:SAHYOG VIHAR P/M, 630 TRF-2:NEW T UTTAM NAGAR | 409
67 | 26/03/2018 | DWK | 11:18 | 13:03 | 01:45 | PLANNED SHUTDOWN | Grid:BINDAPUR (G-3 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR MADHU VIHAR , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : MAHAVIR ENCLAVE F-BLOCK S/S-1, MADHU VIHAR S/STN NO 4:ID, 630 TRF-1:MADHU VIHAR S/STN NO 3, 630 TRF-1:MAHAVIR ENCLAVE S/STN NO 1, 630 TRF-1:MADHU VIHAR S/S-4, 630 TRF-1:MADHU VIHAR S/S-4, 630 TRF-1:MADHU VIHAR NO-2, 630 TRF-2:MADHU VIHAR NO-2 | 487
68 | 26/03/2018 | NHP | 11:15 | 13:57 | 02:42 | PLANNED SHUTDOWN | Grid:NEHRU PLACE (33/11kV) GRID SSTN To Feeder:11kV FDR DEVIKA TOWER NEHRU PLACE , LT ACB:ACB REPLACEMENT | RESTORED/ REPAIRED | Part of : TRF-2 S/STN PLOT-5 DDA NHP:ID | 73
69 | 26/03/2018 | TGN | 11:11 | 14:59 | 03:48 | PLANNED SHUTDOWN | Grid:MADIPUR (33/11kV) GRID SSTN To Feeder:R-G BLOCK RAGHUBIR NAGAR , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 630TRF-2:RG-BLOCK RAGHUBIR NAGAR I/D: | 259
70 | 26/03/2018 | JKP | 11:11 | 13:02 | 01:51 | PLANNED SHUTDOWN | Grid:D.C. JANAKPURI (33/11kV) GRID SSTN To Feeder:11KV B-3 JANAKPURI , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 630 TRF-1 :B/3B-BLOCK SSTN, JANAKPURI | 116
71 | 26/03/2018 | PLM | 11:10 | 14:44 | 03:34 | PLANNED SHUTDOWN | Grid:PAPPANKALAN-I (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR MAHAVIR ENCLAVE , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : 630 TRF-1:PUMP HOUSE SEC-7:PLM, 400 TRF-1: C-2 Block Mahavir Encl. Sec-1 | 321
72 | 26/03/2018 | JKP | 11:10 | 13:02 | 01:52 | PLANNED SHUTDOWN | Grid:D.C. JANAKPURI (33/11kV) GRID SSTN To Feeder:11KV B-3 JANAKPURI , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 630 TRF-2 :B3-BLOCK (PIPALWALA) SSTN, JKP | 130
73 | 26/03/2018 | PLM | 11:10 | 14:43 | 03:33 | PLANNED SHUTDOWN | Grid:PAPPANKALAN-I (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR PERIPEHERIAL-1 , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : 400 TRF-1:BENGALI COLONY EXT:PM, 400 TRF-1:DDA Flat Sec-I PKT-I S/Stn-2, 630 TRF-1:DDA. Flat Sec-1 Pocket-2 S/stn No-1, 400 TRF-1:DDA Flat Sec-1 Pocket-3, ADD NEW DT, 400 TRF-1:Mahavir Vihar S/Stn II, 100 TRF-1:PETROL PUMP SEC 1:PM, 630 TRF-1:DDA FLAT SEC-1 PKT-1S/SNO-1, 630 TRF-1:Mahaveer Vihar Sec-I, S/S No-1, 400 TRF-1:ANIMAL DISPENSARY | 443
74 | 26/03/2018 | TGN | 11:08 | 14:59 | 03:50 | PLANNED SHUTDOWN | Grid:BODELLA-I GRID SSTN To Feeder:11 kV FDR 20-BLOCK TILAK NAGAR , RMU:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 990 PKG-1 :S-2 BLOCK SSTN, MAHAVIR NAGAR, 990 TRF-1 :20-BLK GURUDWARAWALA SSTN,TILAK NGR, 990 TRF-2: 21-BLOCK TILAK NAGAR KIOSK:K, 990 TRF-1 :21-BLOCK SSTN, TILAK NAGAR | 495
75 | 26/03/2018 | JKP | 11:08 | 13:02 | 01:54 | PLANNED SHUTDOWN | Grid:HARI NAGAR (66/11kV) GRID SSTN To Feeder:11KV TIKONA PARK , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 630 TRF-2 :TIKONA PARK SSTN , ASHOK NAGAR | 127
76 | 26/03/2018 | JKP | 11:07 | 13:02 | 01:55 | PLANNED SHUTDOWN | Grid:SAGARPUR (66/11kV) GRID SSTN To Feeder:11kV FDR C-3 JANAKPURI COMP. CENTER , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 990 TRF-2 :C5(3)-BLK(COMPLAINT OFF.,JKP | 143
77 | 26/03/2018 | JKP | 11:06 | 13:02 | 01:56 | PLANNED SHUTDOWN | Grid:SAGARPUR (66/11kV) GRID SSTN To Feeder:11kV FDR D-2 JANAKPURI , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 630 TRF-1 :RAM CHANDER BASTI SSTN, JANAKPURI | 108
78 | 26/03/2018 | TGN | 11:05 | 14:58 | 03:53 | PLANNED SHUTDOWN | Grid:CHAUKHANDI (33/11kV) GRID SSTN To Feeder:11 kV FDR KASHAVPUR FROUT AND VEGETABLE MARKET.-1 , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 400 TRF-1 :FRUIT and VEG MKT SSTN-1, K.PUR MANDI, 400 TRF-2 :FRUIT and VEG MKT SSTN-1, K.PUR MANDI | 244
79 | 26/03/2018 | VKP | 11:03 | 13:28 | 02:25 | PLANNED SHUTDOWN | Grid:BODELLA-II GRID To Feeder:11KV 1616-JANTA FLATS HASTSAL , TRANSFORMER:MAKING OF END BOX | RESTORED/ REPAIRED | Part of : 400 TRF-2 : MURANI HASTSAL:PL | 191
80 | 26/03/2018 | ALN | 11:03 | 13:42 | 02:39 | PLANNED SHUTDOWN | Grid:OKHLA PHASE-II (33/11kV) GRID SSTN To Feeder:11kV FDR S/S NO.-8, OKHLA PHASE-1 , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 S/S NO.8, OKHLA PH- 1:ID | 46
81 | 26/03/2018 | SVR | 11:03 | 15:55 | 04:52 | PLANNED SHUTDOWN | Grid:JASOLA (66/33/11kV) GRID SSTN To Feeder:11kV FDR RMU NO.-1 , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : SALCON AURUM PLOT- 4 (HT CONSUMER), 630 KVA TRF. SSTN-3,PKT-2,JASOLA, GOVT. WOMEN HOSTAL JASOLA (HT CONSUMER), 990+400 KVA TRF. SSTN-2 PKT-2 JASOLA, BAANI PLOT NO. 5 (HT CONSUMER), 2*400 KVA TRF. SSTN-1,PLOT-2 JASOLA | 155
82 | 26/03/2018 | KPR | 11:03 | 15:43 | 04:40 | PLANNED SHUTDOWN | Grid:66kV BATRA GRID To Feeder:11kV FDR SSTN NO.-3, DAKSHINPURI VIA.- BOOSTER PUMP , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : SWG BOOSTER PUMP DAKSHIN (HT CONSUMER) | 1
83 | 26/03/2018 | ALN | 11:00 | 13:26 | 02:26 | PLANNED SHUTDOWN | Grid:33 kV ALAKNANDA GRID To Feeder:11 kV FDR EPDP NO.-2 , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-3 CR PARK S/STN NO2 (EPDP S/S-2):ID | 79
84 | 26/03/2018 | HKS | 11:00 | 13:55 | 02:55 | PLANNED SHUTDOWN | Grid:33kV I.I.T GRID To Feeder:11kV FDR BHARTI SCHOOL FDR.-1+CSMRS(DOUBLE CABLE) , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 630 KVA TRF-2 JIA SARAI:PL, TRF-1 JIA SARAI:PL | 268
85 | 26/03/2018 | SVR | 11:00 | 15:09 | 04:09 | PLANNED SHUTDOWN | Grid:66/11KV MEETHAPUR GRID SUB STN To Feeder:11kV FDR OM NAGAR BARAT GHAR , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 BARAT GHAR OM NAGAR | 104
86 | 26/03/2018 | VKJ | 11:00 | 14:47 | 03:47 | PLANNED SHUTDOWN | Grid:66kV VASANT KUNJ D-BLK GRID To Feeder:11 kV FDR S/S NO.-11, D-4 VASANT KUNJ , LT CIRCUIT:MAINTANCE WORK | RESTORED/ REPAIRED | Part of : TRF- RAM NARAYAN MANDIR P/M | 55
87 | 26/03/2018 | TGN | 11:00 | 14:58 | 03:58 | PLANNED SHUTDOWN | Grid:BODELLA-I GRID SSTN To Feeder:11 kV FDR 20-BLOCK TILAK NAGAR , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : 990 PKG-1 :S-2 BLOCK SSTN, MAHAVIR NAGAR, 990 TRF-1 :20-BLK GURUDWARAWALA SSTN,TILAK NGR, 990 TRF-2: 21-BLOCK TILAK NAGAR KIOSK:K, 990 TRF-1 :21-BLOCK SSTN, TILAK NAGAR | 495
88 | 26/03/2018 | SKT | 11:00 | 13:41 | 02:41 | PLANNED SHUTDOWN | Grid:33 kV SHIVALIK GRID To Feeder:11kV FDR SARVOPRIYA VIHAR , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 BEGUMPUR VILLAGE:PL, TRF-1 SARVAPRIYA VIHAR:ID, TRF-2 SARVAPRIYA VIHAR:ID, TRF-2 BEGUMPUR VILLAGE:PL | 344
89 | 26/03/2018 | HKS | 11:00 | 13:29 | 02:29 | PLANNED SHUTDOWN | Grid:BHIKAJI CAMA PLACE (33/11kV) GRID SSTN To Feeder:A-1 S.J ENCLAVE , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 990 KVA TRF-1 VILLAGE HIMAYUPUR | 298
90 | 26/03/2018 | SKT | 11:00 | 13:51 | 02:51 | PLANNED SHUTDOWN | Grid:MEHRAULI (220/66/11kV, TRANSCO) GRID SSTN To Feeder:ANDHERIA BAGH-1 , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 MEERA S/STN MAIN ROAD CHATTERPUR | 216
91 | 26/03/2018 | SVR | 11:00 | 15:08 | 04:08 | PLANNED SHUTDOWN | Grid:66/11KV MEETHAPUR GRID SUB STN To Feeder:11kV FDR OM NAGAR GALI NO-10 A B &C BLOCK , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 OM NGR, ABC BLOCKS MEETHAPUR EXT. | 233
92 | 26/03/2018 | VKJ | 11:00 | 12:33 | 01:33 | PLANNED SHUTDOWN | Grid:66kV VASANT KUNJ C-BLK GRID To Feeder:11 KV FDR B-10, S/S NO.-12, VASANT KUNJ , RMU:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-2 SSTN 12,B-10, TRF-1 SSTN 12,B-10 | 226
93 | 26/03/2018 | SKT | 11:00 | 14:53 | 03:53 | PLANNED SHUTDOWN | Grid:33kV ANDHERIA BAGH GRID To Feeder:11kV FDR SATABARI , 11KV FEEDER:TREE TRIMMING | RESTORED/ REPAIRED | Part of : TRF-1 ASHOK PRADHAN:PM, RELIANCE TOWER CHANDAN HOLLA, TRF-1 JAIN FARM SULTANPUR,, 100 KVA S/Stn., TRF-1 VILLAGE CHANDANHOLA:PM, TRF-1 AGGARWAL COLONY, TRF-1 GURINDER KAUR FARM NO 11 SAHURPUR, TRF-1 PATEL FARM SAHURPUR, TRF-1 VIDHA DHARI SAHURPUR:PM, TRF-1 C-8 ANSAL SATBARI;PM, TRF-1 SANT YOGA ASHRAM:PM, TRF-1 JAIN FARM -SAHURPUR, TRF-1 HTC:CHADHA FARM-1:PM, TRF-1 SAHUR PUR (CHRISHAN):PM, TRF-1 KHADHAK VILL, TRF-1 EXECUTIVE CLUB-SAHURPUR, TRF-1 D-31 ANSAL VILLA SATBARI, TRF-1 UPPAL STN:PM, TRF-1 F-55, SURI FARM SATBARI:PM, TRF-1 A-31 ANSAL SATBARI:PM, TRF-1 D-16 ANSAL SATBARI:PL, TRF-1 D 21A ANSAL VILLA, SATBARI, TRF-1 D-2 ANSAL SATBARI:PM, TRF-1 E-7 ANSAL VILLA SATBARI, TRF-1 PRABHU CHAWLA, TRF-1 E- ANSAL FARM, TRF-1 E-1 ANSAL VILLA SATBARI GUPTA FARM | 255
94 | 26/03/2018 | KPR | 11:00 | 15:14 | 04:14 | PLANNED SHUTDOWN | Grid:TUGHLAKABAD (33/11kV) GRID SSTN To Feeder:11kV FDR LAL QUAN , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 NARDAN BASTI LAL KUAN | 296
95 | 26/03/2018 | JFR | 11:00 | 16:45 | 05:45 | PLANNED SHUTDOWN | Grid:JAFFARPUR (66/11kV) GRID SSTN To Feeder:11KV GHUMMANHERA , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 100 TRF-1:DULI CHAND V GHUMAN HERA PAPRAWAT, 400 TRF-1:VILLAGE GHUMENHERA 1, 100 TRF-1:GOV W/S SUPPLY-2 GHUMN HERA, 400 TRF-1:GHUMENHERA NO.2, 16 TRF-1:M I D W/SUPPLY VLG RAWTA, PRITHVI V GHUMAN HERA, 100 TRF-1:ANGOORI DEVI VLG GHUMAN HERA, 25 TRF-1:GIRVER GHUMANHERA, PLY FACTORY VILL GHUMENHERA, 100 TRF-1:MAUNI BABA VLG GHUMAN HERA, 100 TRF-1: VAN VIBHAG,VILL - GHUMENHERA, 400 TRF-1:VILL. GHUMENHERA S/STN NO-4, 400 DT :GHUMENHERA S/S NO.3., 25 TRF-1:PATNA SISTER NOTARY VILL.KAIR, 16 TRF-1:GUPTA FARM VLG GHUMAN HERA, RAJENDER V GHUMANHERA, 100 TRF-1:KARTAR VLG GHUMAN HERA, SAADHWALA GHUMANHERA MODNGEF | 344
96 | 26/03/2018 | VKJ | 11:00 | 12:30 | 01:30 | PLANNED SHUTDOWN | Grid:MEHRAULI (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11 KV FDR VASANT KUNJ SECTOR-D , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 DUTTA STN VASANT KUNJ | 219
97 | 26/03/2018 | SVR | 11:00 | 15:03 | 04:03 | PLANNED SHUTDOWN | Grid:EAST OF KAILASH (33/11kV) GRID SSTN To Feeder:11kV FDR SRINIWASHPURI , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 PRIVATE COLONY S.N PURI | 189
98 | 26/03/2018 | TGN | 11:00 | 14:58 | 03:58 | PLANNED SHUTDOWN | Grid:CHAUKHANDI (33/11kV) GRID SSTN To Feeder:11 kV FDR KASHAVPUR FROUT AND VEGETABLE MARKET.-1 , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : 400 TRF-1 :FRUIT and VEG MKT SSTN-1, K.PUR MANDI, 400 TRF-2 :FRUIT and VEG MKT SSTN-1, K.PUR MANDI, 630TRF-2 :M.B.S NAGAR SSTN, TILAK NAGAR, 990 TRF-1 :M.B.S NAGAR SSTN, TILAK NAGAR | 404
99 | 26/03/2018 | MDK | 11:00 | 14:00 | 03:00 | PLANNED SHUTDOWN | Grid:NANGLOI WATER WORKS (66/11kV) GRID SSTN To Feeder:11kV FDR YADAV PARK EXT. , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 400TRF-1 NAJAFGARH ROAD NANGLOI, 400TRF-1:MAHARAJA WALA, 100TRF-1:KAMRUDDIN NAGAR HVDS, KAMRUDDIN NAGAR EXTN S/S-1, 400TRF-1:DEEPANSU(DAULAT RAM SCHOOL), 630TRF-1:RAM NAGAR I/D, 990TRF-1:RAJENDER WALA(MCD) SSTN, 400TRF-1:CHAJJU RAM COLONY (YADAV PARK), 400TRF-1:A2 BLK KUNWAR SINGH NGR | 475
100 | 26/03/2018 | SVR | 11:00 | 15:10 | 04:10 | PLANNED SHUTDOWN | Grid:SARITA VIHAR (66/11kV) GRID SSTN To Feeder:11kV FDR N POCKET S/S NO.-1 SARITA VIHAR , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 MADAN PUR KHEDAR HUDDA MOHA., TRF-2 MADAN PUR KHEDAR HUDDA MOHA. | 274
101 | 26/03/2018 | SVR | 11:00 | 15:04 | 04:04 | PLANNED SHUTDOWN | Grid:SARITA VIHAR (66/11kV) GRID SSTN To Feeder:11kV FDR ABU BAKER MASJID , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 630 KVA TRF-1 G-BLK NR MASZID ABUBKAR | 257
102 | 26/03/2018 | SKT | 11:00 | 13:46 | 02:46 | PLANNED SHUTDOWN | Grid:66kV FATEHPUR BERI GRID To Feeder:11kV FDR O/G NO.-3 ASHOLA BANDH , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 E-1A ASOLA NARIMAN FARM HOUSE | 29
103 | 26/03/2018 | SVR | 11:00 | 15:55 | 04:55 | PLANNED SHUTDOWN | Grid:SARAI JULLENA (33/11kV) GRID SSTN To Feeder:11kV FDR S/S NO.-5 NEW FRIENDS COLONY , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 S/STN-4 NEW FRIENDS COLONY, TRF-3 S/STN-4 NEW FRIENDS COLONY; TRF-1 A-211 NEW FRIENDS COLY., TRF-2 ZAKIR NAGAR DALLAN, TRF-1 OPPOSITE A-107 FRIENDS COLONY, TRF-1 A-137 NEW FRIENDS COLONY, TRF-3 S/STN-5 NEW FRIENDS COLONY, TRF-1 S/STN-5 NEW FRIENDS COLONY, TRF-2 S/STN-4 NEW FRIENDS COLONY, TRF-2 S/STN-5 NEW FRIENDS COLONY, TRF-1 A-56 NEW FRIENDS COLONY, TRF-1 OPPOSITE A-38 NEW FRIENDS COL | 241
104 | 26/03/2018 | VKJ | 11:00 | 16:04 | 05:04 | PLANNED SHUTDOWN | Grid:66kV VASANT KUNJ B-BLK GRID To Feeder:11 kV FDR MOTHER DAIRY S/S VIA WARD NO.2 (RMU) , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 400 KVA TRF. KALI MANDIR NEAR WARD NO 2 | 97
105 | 26/03/2018 | NHP | 11:00 | 14:43 | 03:43 | PLANNED SHUTDOWN | Grid:OKHLA PHASE-II (33/11kV) GRID SSTN To Feeder:11kV FDR O/H S/S NO.-2 PHASE-2 , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 990 KVA TRF-2 S/STN F-27/2 PHASE-2:PL | 103
106 | 26/03/2018 | SKT | 11:00 | 14:53 | 03:53 | PLANNED SHUTDOWN | Grid:66kV C-DOT GRID To Feeder:11KV FDR JONAPUR , 11KV FEEDER:TREE TRIMMING | RESTORED/ REPAIRED | Part of : 100 KVA TRF. GAYATRI VILLA | 16
107 | 26/03/2018 | KPR | 11:00 | 15:13 | 04:13 | PLANNED SHUTDOWN | Grid:TUGHLAKABAD (33/11kV) GRID SSTN To Feeder:11kV FDR LAL QUAN , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 PREM NAGAR PARKWALA S/S-1 :PM | 144
108 | 26/03/2018 | KPR | 10:52 | 15:12 | 04:20 | PLANNED SHUTDOWN | Grid:66 kV OKHLA PHASE-I GRID To Feeder:11kV FDR I-BLOCK, LAL KUAN , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 990 KVA TRF-1 CHUNGI NO.3:PL, TRF-1 CHUNGI NO.2.5 LAL KUAN, TRF-1 CHUNGI NO.2 ,LAL KUAN:PL | 324
109 | 26/03/2018 | KPR | 10:50 | 14:03 | 03:13 | PLANNED SHUTDOWN | Grid:TUGHLAKABAD (33/11kV) GRID SSTN To Feeder:11kV FDR DAKSHINPURI SSTN-2 (NEW) , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 SANJAY CAMP DAKSHIN PURI;PL | 225
110 | 26/03/2018 | NJF | 10:40 | 14:23 | 03:43 | PLANNED SHUTDOWN | Grid:PAPPANKALAN-II (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR DMRC STAFF QUARTERS , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 25TRF-1:DJB GRID SSTN, 100 TRF-1:SANGAM VIHAR KAKROLA ROAD, METRO RESIDENIAL QTRS S/S-1, METRO RESIDENIAL QTRS S/S-1, 990 TRF-1:-METRO FLAT TR NO-1 NJF, 400 TRF-1:-METRO RESID. FLATS/STN1, 400 TRF-1:-METRO RESID. FLATS/STN1, 990 TRF-1:-METRO FLAT TR NO-1 NJF | 401
111 | 26/03/2018 | JFR | 10:32 | 15:17 | 04:45 | PLANNED SHUTDOWN | Grid:JAFFARPUR (66/11kV) GRID SSTN To Feeder:11KV NAJAFGARH THANA , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 400 TRF-2:B BLOCK GOPAL NAGAR 2, HARI KISHAN VILL MITRAON:PM, 100 TRF-1:STN GOVERDHAN VLG KHAIRA, 25 TRF-1:DJB, VILL MITRAON DIVISION JFR, 630 TRF-1:B BLOCK GOPAL NAGAR 1, 630 TRF-1: KHAIRA MORE, 16 TRF-1:RAM PARSAD VLG KHAIRA, 25 TRF-1: ASHIRWAD VATIKA GOPAL NAGAR | 487
112 | 26/03/2018 | DWK | 10:30 | 12:03 | 01:33 | PLANNED SHUTDOWN | Grid:MATIYALA (G-5 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR DEEN DAYAL UPADHYAY COLLEGE SECTOR-3 DWARKA , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : DJB T/W OLD PALAM RD SS P/M, 400 TRF-1:RAJU ENCLAVE, 630 TRF-1:SURAJ VIHAR, 630-TRF-2;SURAJ VIHAR, 630TRF-1:AMBIKA ENCLAVE LVDS, 400 TRF-2:SHIVANI ENCLAVE, 400 TRF-1:SHIVANI ENCLAVE | 553
113 | 26/03/2018 | NJF | 10:05 | 13:55 | 03:50 | PLANNED SHUTDOWN | Grid:JAFFARPUR (66/11kV) GRID SSTN To Feeder:11KV DAULATPUR , 11KV FEEDER:TREE TRIMMING | RESTORED/ REPAIRED | Part of : 100TRF-1:MID SHIKARPUR, 25TRF-1:SANDEEP S/O TEJA RAM , DAULATPUR, 630TRF-1:VILL DAULATPUR STN 1, 100TRF-1:INSHARAM SHIKARPUR, 25TRF-1;MADAN PARK, 25TRF-1:TARA CHAND, SHIKARPUR, 25TRF-1:DARAM SINGH , DAULATPURI, 25TRF-1:HAR SWARUP , DAULATPUR, 25TRF-1:JAI LAL PRADHAN , DAULATPUR, 25TRF-1:HIRA LAL , ASALATPUR , KHAWAD, 100 TRF-1:DALIP PANDWALA KALAN, 400: VILLAGE HASSANPUR S.STN-2, 25 TRF-1: CHANDER SINGH , SHIKARPUR, MILAN TRF DAULATPUR OPP GOVT SCHOOL, 400 TRF-1:VILLAGE DAULATPUR 2, 100 TRF-1:RAM CHANDER HASSANPUR, 100 TRF-1:CHET RAM HASSANPUR, 630 TRF-1:VILLAGE PANDWALA KALAN 2, SIRI CHAND KHARKHARI ROND, 400 TRF-1:VILLAGE HASSANPUR, 100 TRF-1:RAM KARAN DAULATPUR, 400 TRF1 : S/STN-2 NIHAL VILLAGE SHIKARP, 16 TRF-1:SCHOOL STN KHARKHARI RAUND, RAM KALA KHABAD MORE, RANDHIR , DAULATPUR, KRISHAN TRF KHARKHARI ROUND, 100 TRF-1:SONU DUT PANDWALAKALAN, 100 TRF-1:PARAS RAM SHIKARPUR, SATYAPAL & ANIL TRF DAUALTPUR, 25 TRF-1: GOPI CHAND,NARANG FARM , DAULATPUR, TRF-1:VILLAGE UJWA 2, 100 TRF-1:PURAN PANDWALAKALAN | 526
114 | 26/03/2018 | NJF | 10:00 | 13:45 | 03:45 | PLANNED SHUTDOWN | Grid:NAJAFGARH (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR NAJAFGARH -1 , 11KV FEEDER:TREE TRIMMING | RESTORED/ REPAIRED | Part of : 990 TRF-1:STN NO 1 ZONAL OFFICE NAJAFGA, TRF-1:-CHARA MANDI SUB STATION NO 2, 630 TRF-1:ZONE-NAJAFGARH | 412
115 | 26/03/2018 | RKP | 10:00 | 11:59 | 01:59 | PLANNED SHUTDOWN | Grid:R.K.PURAM-I (33/11kV) GRID SSTN To Feeder:11kV FDR SECTOR-2 R.K PURAM , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 SECTOR-3 R.K. PURAM (RAVI DASS CAMP): ID | 281
116 | 26/03/2018 | RKP | 10:00 | 13:58 | 03:58 | PLANNED SHUTDOWN | Grid:VASANT VIHAR (33/11kV) GRID SSTN To Feeder:11kV FDR F-BLOCK VASANT VIHAR , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-2 F-BLOCK, VASANT VIHAR: ID, TRF-1 F-BLOCK, VASANT VIHAR: ID | 205
117 | 26/03/2018 | PJB | 10:00 | 14:29 | 04:29 | PLANNED SHUTDOWN | Grid:S.B.MILL (33/11kV) GRID SSTN To Feeder:11kV FDR TULSI RAM DHARAMSALA , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 400TRF-1: FIRE STATION, MOTI NGR,PJB, 400TRF-1:PLOT NO-11A NJF ROAD, 630 TRF-1: CAMPA COLA,NJF ROAD,PJB, 990 TRF-1: WINGS, NJF ROAD,PJB | 464
118 | 26/03/2018 | ALN | 10:00 | 13:42 | 03:42 | PLANNED SHUTDOWN | Grid:OKHLA PHASE-II (33/11kV) GRID SSTN To Feeder:11kV FDR S/S NO.-8, OKHLA PHASE-1 , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-4 S/S NO.8, OKHLA PH- 1:ID | 23
119 | 26/03/2018 | RKP | 10:00 | 13:04 | 03:04 | PLANNED SHUTDOWN | Grid:VASANT VIHAR (33/11kV) GRID SSTN To Feeder:11kV FDR ANAND NIKETAN , TRANSFORMER:LOAD BALANCING | RESTORED/ REPAIRED | Part of : TRF-1 SHANTI NIKETAN NO-1 NR SHOPPING CTR:ID, TRF-2 SHANTI NIKETAN NO-1 NR SHOPPING CTR:ID | 212
120 | 26/03/2018 | RKP | 10:00 | 13:05 | 03:05 | PLANNED SHUTDOWN | Grid:VASANT VIHAR (33/11kV) GRID SSTN To Feeder:11kV FDR ANAND NIKETAN , TRANSFORMER:LOAD BALANCING | RESTORED/ REPAIRED | Part of : TRF-1 SHANTI NIKETAN NO-1 NR SHOPPING CTR:ID, TRF-2 SHANTI NIKETAN NO-1 NR SHOPPING CTR:ID | 212
121 | 26/03/2018 | NJF | 10:00 | 13:55 | 03:55 | PLANNED SHUTDOWN | Grid:G-6 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11kV FDR 810-DDA FLATS SECTOR-26 DWK. (VILLAGE POCHANPUR) , 11KV FEEDER:TREE TRIMMING | RESTORED/ REPAIRED | Part of : 990TRF-1 COMMUNITY CTR DHULSIRAS, 100 TRF-1:GOVT STN BAMROLI STAND, S/S.2, 810 DDA FLATS SECTOR 26 DWK CHAWLA, 100 TRF-1:CHAUDHARY FARM BAMROLI, VILL BAMNAULI SSTN-2, SEC-23 PH-2 EWS FLATS 2400 SS-2 ID, /S.2, 810 DDA FLATS SECTOR 26 DWK CHAWLA, 400 TRF-1:-BAMNOLI, S/STN. NO-5 VILLAGE BAMNAULI, 400 TRF-1:-BAMNOLI VILL DT-4, S/S.1, 810 DDA FLAT, S/S.1, 810 DDA FLATS SECTOR 26 DWK, 630 TRF-1:VILL BAMNAULI STN 1, SEC-23 PH-2 EWS FLATS 2400 SS-2 ID | 310
122 | 26/03/2018 | VKP | 17:57 | 18:59 | 01:01 | EMERGENCY SHUTDOWN | Grid:MATIYALA (G-5 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR TIKONA PARK , LT CIRCUIT:LOAD BALANCING | RESTORED/ REPAIRED | Part of : 990 TRF-1:OM VIHAR TIKONA PARK | 298
123 | 26/03/2018 | VKP | 11:53 | 12:53 | 01:00 | EMERGENCY SHUTDOWN | Grid:MATIYALA (G-5 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR N.S.I.T NO.-2 (D.K.ROAD) , HVDS:MAINTENANCE | RESTORED/ REPAIRED | Part of : 100 KVA TRF. KAMAL MODAL SCHOOL | 19
124 | 26/03/2018 | VKP | 11:52 | 12:53 | 01:01 | EMERGENCY SHUTDOWN | Grid:HASTAL (66/11kV) GRID SSTN To Feeder:OM VIHAR PHASE-2 , LT ACB:TO ATTEND HOT SPOT | RESTORED/ REPAIRED | Part of : 630 TRF-1:OM VIHAR PHASE-II, S/S NO.3 | 86
125 | 26/03/2018 | VKP | 11:50 | 12:52 | 01:02 | EMERGENCY SHUTDOWN | Grid:HASTAL (66/11kV) GRID SSTN To Feeder:MAIN BUS STAND , LT ACB:TO ATTEND HOT SPOT | RESTORED/ REPAIRED | Part of : 400 TRF-2:OMVIHAR PH-1MATA ROOPRANI | 73
126 | 26/03/2018 | VKP | 11:43 | 12:52 | 01:08 | EMERGENCY SHUTDOWN | Grid:BINDAPUR (G-3 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR VISHWAS PARK , LT ACB:TO ATTEND HOT SPOT | RESTORED/ REPAIRED | Part of : 990 TRF-1:UTTAM NAGAR T BLOCK(KHADDY WALA):ID | 106
127 | 26/03/2018 | VKP | 11:42 | 12:51 | 01:09 | EMERGENCY SHUTDOWN | Grid:PANKHA ROAD (66/33/11kV) GRID SSTN To Feeder:MOHINDERA PARK , LT ACB:REPAIRING OF ACB | RESTORED/ REPAIRED | Part of : 630 TRF-2:MAHINDRA PARK | 93
128 | 26/03/2018 | KPR | 11:14 | 13:06 | 01:51 | EMERGENCY SHUTDOWN | Grid:TUGHLAKABAD (33/11kV) GRID SSTN To Feeder:11kV FDR G-2 K-19 SANGAM VIHAR , TRANSFORMER:TO ATTEND FAULT IN LT CIRCUIT | RESTORED/ REPAIRED | Part of : 630 KVA TRF-1 HVDSF-2 SANGAM VIHAR | 206
129 | 26/03/2018 | VKJ | 11:09 | 12:22 | 01:13 | EMERGENCY SHUTDOWN | Grid:66kV I.O.C BIJWASAN GRID To Feeder:11 kV FDR INTERCONNECTOTR NO.-1 (KAPASHERA) , 11KV FEEDER:PREVENTIVE MAINTENANCE | RESTORED/ REPAIRED | Part of : 400 KVA TRF-1 MANVI FARM SAMALKA | 169
130 | 26/03/2018 | VKP | 11:01 | 12:15 | 01:13 | EMERGENCY SHUTDOWN | Grid:MATIYALA (G-5 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR KIRAN GARDEN , LT CIRCUIT:FEEDER PILLAR MAINTENANCE | RESTORED/ REPAIRED | Part of : 100 KVA TRF. KIRAN GARDEN PLINTH:PM | 6
131 | 26/03/2018 | KPR | 10:55 | 13:03 | 02:07 | EMERGENCY SHUTDOWN | Grid:66kV BATRA GRID To Feeder:11kV FDR D.D.A TIGRI , LT CIRCUIT:REPAIR/REPLACEMENT OF DB AND SERVICE LINE | RESTORED/ REPAIRED | Part of : TRF-2 HTC:A-BLOCK, JAWAHAR PARK:ID | 68
132 | 26/03/2018 | KPR | 10:52 | 12:45 | 01:52 | EMERGENCY SHUTDOWN | Grid:66kV BATRA GRID To Feeder:11kV FDR KHANPUR (KHATTA WALA) , TRANSFORMER:LT ACB PREVENTIVE MAINTENANCE | RESTORED/ REPAIRED | Part of : TRF-1 BandC BLOCK, JAWAHAR PARK:ID | 169
133 | 26/03/2018 | VKP | 10:43 | 11:59 | 01:15 | EMERGENCY SHUTDOWN | Grid:PANKHA ROAD (66/33/11kV) GRID SSTN To Feeder:JEEVAN PARK , LT ACB:REPAIRING OF ACB | RESTORED/ REPAIRED | Part of : 400TRF-2: JEEVAN PARK NALA:PM | 87
134 | 26/03/2018 | VKP | 10:40 | 11:58 | 01:18 | EMERGENCY SHUTDOWN | Grid:BINDAPUR (G-3 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR CHANAKYA PLACE I/D SSTN NO-1 , LT CIRCUIT:REPAIR/REPLACEMENT OF LT AB | RESTORED/ REPAIRED | Part of : 400 TRF-1:B BLOCK JANAKI PURI | 78
135 | 2018-03-26 |  | 14:01 | 15:14 | 1:13 | TRANSMISSION SYSTEM DTL/PGCIL | DUE TO B/D FROM 220KV MASJID MOTH TO COURT COMPLEX CKT-1(VSNL-2) | SUPPLY RESTORED | PUMP HOUSE GK-1, CHIRAG DEKHI KIOSK, DDA M MOTH PH-1, B & C BLK PANCHSHEEL ENCLV | 951 | BREAKER BLAST AT 220KV MASJID MOTH END

## Reasons (hidden)
DISTRIBUTION TR.
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
EMERGENCY SHUTDOWN
EHV TRIPPING
EHV SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
DAMAGE BY OTHER AGENCIES