## Format
DISCOM : BRPL
OUTAGE REPORT FOR : 28/03/2018 06:00Hr. To 29/03/2018 06:00Hr.
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Area / DT Effected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Detail
1 | 29/03/2018 | JKP | 05:17 | 06:55 | 01:38 | HT SYSTEM FAULT | Grid:MAYAPURI (33/11kV) GRID SSTN To Feeder:11KV DDU HOSPITAL STAFF QUARTERS , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : 630 TRF-1 :JANAK PARK SSTN, HARI NAGAR, 630 TRF-1 :D.D.U HOSP. STAFF QTRS SSTN, H. NGR, 400 TRF-1: FIRE STATION SSTN, 630 TRF-2 :RAM GARIA GURUDWARA SSTN,HARI NGR, 1000 TRF-2 :D.D.U HOSP. STAFF QTRS SSTN, H. NGR, 1000 TRF-1 :RAM GARIA GURUDWARA SSTN,HARI NGR, 250 TRF-1, TRNSF OILDT 11KV/433V 990KVA, 630 TRF-1 :B-BLOCK SSTN, HARI NAGAR, 990 TRF-1 :B-BLOCK SSTN, HARI NAGAR | 519
2 | 29/03/2018 | NHP | 03:15 | 04:40 | 01:24 | HT SYSTEM FAULT | Grid:NEHRU PLACE (33/11kV) GRID SSTN To Feeder:11kV FDR R-BLOCK G.K-1 , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : TRF-1 S/STN GK-1S-83 PLM:PL, TRF-1 S/STN GK-1 BLK-R GURUNANAK MKT:PG, TRF-2 S/STN HEMKUNT CLY I/D:ID, TRF-1 S/STN GK-1 OPPS-248 PLM:PL, TRF-2 GK1067;S/STN GK-1 OPPS-248 PLM:PL, TRF-1 S/STN HEMKUNT CLY I/D:ID | 475
3 | 29/03/2018 | SKT | 00:55 | 01:58 | 01:02 | HT SYSTEM FAULT | Grid:33kV ADHCHINI GRID To Feeder:11kV FDR SARVODAYA ENCLAVE , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : TRF-1 MOTHER SCHOOL CROSSING:PG, TRF-1 SARVODAYA ENCLAVE PARK:PL, TRF-1 SARVODAYA ENCLAVE:ID, TRF-2 SARVODAYA ENCLAVE:ID, TRF-1 S/S Nr BARAT GHAR ADHCHINI VILLAGE, TRF-1 MOTHER SCHOOL:ID, TRF-1 S/S Nr DMS OPP.C-212 SARVODYA ENCL | 469
4 | 28/03/2018 | MDK | 16:01 | 17:55 | 01:54 | HT SYSTEM FAULT | Grid:NANGLOI WATER WORKS (66/11kV) GRID SSTN To Feeder:11kV FDR SWARN PARK , HT O/H,:JUMPER BROKEN, | RESTORED/ REPAIRED | Part of : 990TRF-1:BAKKARWALA VILLAGE S/STN-1:PL, 990TRF-1:MUNDKA VILLAGE S/STN-3:PL, 990TRF-1:BAKKARWALA VILLAGE S/STN-2:PL, 400TRF-1:BAKARWALA ROAD BAKARWALA:PM, 100TRF-1:MAMRAJ TRFFIRNI ROAD MUNDKA:PM, 400TRF-1:S/STN KASI RAM PARK ,MUNDKA, 400TRF-1:BAKKARWALA VILLAGE S/STN-3:PL, 400TRF-1:B-38 , BIMLA DEVI, SWARN PARK, 400TRF-1:B/P RANHOLA MORE MUNDKA:PM, 400TRF-1:NEAR MCD SCHOOL BAKKERWALA P/M, 1000TRF-1:MUNDKA VILLAGE S/STN-3:PL | 534
5 | 28/03/2018 | NJF | 09:30 | 10:54 | 01:24 | HT SYSTEM FAULT | Grid:PAPPANKALAN-II (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR 5-MGD S/S NO- 2 , HT O/H,:JUMPER BROKEN, | RESTORED/ REPAIRED | Part of : 400 TRF :DWARKA VIHAR KAKROLA ROAD, 100TRF-1: KAKROLA DRAIN LandT | 213
6 | 28/03/2018 | NGL | 09:26 | 10:53 | 01:26 | HT SYSTEM FAULT | Grid:NANGLOI WATER WORKS (66/11kV) GRID SSTN To Feeder:11kV FDR HARIZAN BASTI , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : 990 TRF-2:Naresh Park S/s No-1 Nagloi, TRF-1:S/S NO 4 BLK NARESH PARK, 990TRF-1:B BLK NARESH PARK, NARAYAN DHARAM KANTA, 990TRF-1:D BLK NARESH PARK, 990 TRF-1:Naresh Park S/s No-1 Nagloi, 100TRF-1:PWD STREET LIGHT NARESH PARK | 546
7 | 28/03/2018 | PJB | 08:06 | 09:48 | 01:41 | HT SYSTEM FAULT | Grid:MADIPUR (33/11kV) GRID SSTN To Feeder:SHIV MANDIR , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : 630 TRF-1: ROAD NO.-43(XEN OFF.),WEST PJB, 990 TRF-2: ROAD NO.-43(XEN OFF.),WEST PJB, TRANSFORMER,11/0.433KV 990KVA OIL TYPE, 630 TRF-1: ROAD NO.-40,WEST PJB | 219
8 | 28/03/2018 | SVR | 13:31 | 15:03 | 01:31 | LT FEEDER | Grid:MOHAN CO-OPERATIVE (66/11kV) GRID SSTN To Feeder:11kV FDR LAV KUSH (D.P) , LT POLE,:FIRE ON POLE, | RESTORED/ REPAIRED | Part of : TRF-1 JAIT PUR VILL. GURADWARA | 98
9 | 28/03/2018 | VKP | 12:38 | 14:05 | 01:26 | LT FEEDER | Grid:PANKHA ROAD (66/33/11kV) GRID SSTN To Feeder:JEEVAN PARK , SERVICE LINE,:U/G SERVICE CABLE FAULT, | RESTORED/ REPAIRED | Part of : 990TRF-2: JEEVAN PARK NALA:PM | 103
10 | 28/03/2018 | SVR | 12:06 | 14:00 | 01:53 | LT FEEDER | Grid:SARITA VIHAR (66/11kV) GRID SSTN To Feeder:11kV FDR SAHEEN BAGH , LT POLE,:FIRE ON POLE, | RESTORED/ REPAIRED | Part of : TRF-1 G-BLK (SPD)SHAHEEN BAGH | 76
11 | 28/03/2018 | SVR | 11:58 | 13:02 | 01:04 | LT FEEDER | Grid:SARITA VIHAR (66/11kV) GRID SSTN To Feeder:11kV FDR MADANPUR KHADAR TRANSIT CAMP NO.-1 , DISTRIBUTION TRANSFORMER,:TRANSFORMER LT LEAD BURNT/DAMAGED, | RESTORED/ REPAIRED | Part of : TRF-1 MADANPUR KHADAR- EXTN | 81
12 | 28/03/2018 | SVR | 11:36 | 13:01 | 01:24 | LT FEEDER | Grid:SARITA VIHAR (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR ALI VILLAGE , DISTRIBUTION TRANSFORMER,:TRANSFORMER LT LEAD BURNT/DAMAGED, | RESTORED/ REPAIRED | Part of : TRF-1 ALI VILLAGE BHULAYPRADHAN PL/M | 79
13 | 28/03/2018 | HKS | 11:27 | 12:50 | 01:22 | LT FEEDER | Grid:BHIKAJI CAMA PLACE (33/11kV) GRID SSTN To Feeder:B-3 JHANDU SINGH MARG , DISTRIBUTION TRANSFORMER,:TREE TOUCHING, | RESTORED/ REPAIRED | Part of : TRF-1 A-2 SDA BOOSTER PUMP | 68
14 | 28/03/2018 | JKP | 11:24 | 12:59 | 01:35 | LT FEEDER | Grid:D.C. JANAKPURI (33/11kV) GRID SSTN To Feeder:11KV B-6 I/D MAULAWALA , LT POLE,:POLE BROKEN DUE TO STRUCK BY VEHICLE, | RESTORED/ REPAIRED | Part of : 990 TRF-1 :CHOTI SABZI MANDI SSTN, PREM NAGAR | 106
15 | 28/03/2018 | KPR | 11:22 | 12:32 | 01:10 | LT FEEDER | Grid:66kV BATRA GRID To Feeder:11kV FDR L-15 SANGAM VIHAR , LT ACB,:PHASE NOT COMING OUT, | RESTORED/ REPAIRED | Part of : TRF-1 HARIZAN BASTI:PL | 111
16 | 28/03/2018 | KPR | 11:20 | 12:33 | 01:13 | LT FEEDER | Grid:66kV BATRA GRID To Feeder:11kV FDR OLD D-BLOCK SANGAM VIHAR , SERVICE LINE,:SOCKET DAMAGED/BURNT FROM DB, | RESTORED/ REPAIRED | Part of : TRF-1 A BLOCK SANGAM VIHAR ROAD SIDE WALA | 102
17 | 28/03/2018 | NJF | 11:16 | 12:45 | 01:29 | LT FEEDER | Grid:PAPPANKALAN-II (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR DMRC STAFF QUARTERS , LT POLE,:FIRE ON POLE, | RESTORED/ REPAIRED | Part of : 100 TRF-1:SANGAM VIHAR KAKROLA ROAD | 29
18 | 28/03/2018 | SKT | 10:55 | 12:55 | 01:59 | LT FEEDER | Grid:66kV IGNOU GRID To Feeder:11kV FDR NEB SARAI VADERA P/M SSTN. , LT POLE,:FIRE ON POLE, | RESTORED/ REPAIRED | Part of : TRF-1 KHATTEWALE NEBSARAI | 99
19 | 28/03/2018 | SKT | 10:48 | 12:56 | 02:08 | LT FEEDER | Grid:33kV D.C.SAKET GRID To Feeder:11kV FDR DMRC VIA ANDHRA SCHOOL S/S+BLIND SCHOOL+PUSHP VIHAR S/S NO.-12 , LT O/H CABLE,:TREE TOUCHING, | RESTORED/ REPAIRED | Part of : TRF-1 STN-9 SEC-4 PUSHAP VIHAR:ID | 87
20 | 28/03/2018 | HKS | 09:59 | 11:19 | 01:19 | LT FEEDER | Grid:33kV SIRI FORT GRID To Feeder:11kV FDR GREEN PARK MAIN , DISTRIBUTION TRANSFORMER,:TRANSFORMER HT BUSHING DAMAGED, | RESTORED/ REPAIRED | Part of : TRF-2 J-11. GREEN PARK:PL | 64
21 | 28/03/2018 | KPR | 08:03 | 09:12 | 01:08 | LT FEEDER | Grid:66kV BATRA GRID To Feeder:11kV FDR D.D.A TIGRI , LT ACB,:LT ACB THEFT, | RESTORED/ REPAIRED | Part of : TRF-1 DDA TIGRI:ID | 108
22 | 28/03/2018 | KPR | 07:58 | 09:01 | 01:02 | LT FEEDER | Grid:66kV BATRA GRID To Feeder:11kV FDR DEVLI EXTENSION , LT ACB,:LT ACB BURNT, | RESTORED/ REPAIRED | Part of : TRF-1 DEVLI EXT.RMU-1 SANGAM VIHAR | 121
23 | 28/03/2018 | KPR | 07:41 | 09:28 | 01:47 | LT FEEDER | Grid:66kV MALVIYA NAGAR GRID To Feeder:11kV FDR JJ KHANPUR , DISTRIBUTION TRANSFORMER,:TRANSFORMER JUMPER BURNT, | RESTORED/ REPAIRED | Part of : TRF-1 JJ COLONY KHANPUR:ID | 116
24 | 28/03/2018 | NHP | 15:03 | 16:45 | 01:42 | PLANNED SHUTDOWN | Grid:EAST OF KAILASH (33/11kV) GRID SSTN To Feeder:11kV FDR D-BLOCK EAST OF KAILASH , LT CIRCUIT:MAINTANCE WORK | RESTORED/ REPAIRED | Part of : TRF-2 S/STN D BLOCK E.O.K I/D:ID | 103
25 | 28/03/2018 | NJF | 15:00 | 16:01 | 01:01 | PLANNED SHUTDOWN | Grid:NAJAFGARH (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR DICHAON KALAN , 11KV FEEDER:TREE TRIMMING | RESTORED/ REPAIRED | Part of : 100 TRF-1:SHRI LAL VLG DICHAON KALON, VILLAGE DHICHON KALAN, S/ST NO-3, 25 TRF-1: MAHIPAL NEAR MAIDE DICAHO KALAN, 100TRF-1:SHRI LAL DICHAUN KALAN NEAR DRAIN, 400 TRF-1: DIGUPURA, 100 TRF-1:JAGLUL VLG DICHOAN KALAN, 100 TRF-1:MANGA VILLAGE DICHAON KALAN, 25 TRF-1:JEEVAN JYOTI VILL-DICHON KALAN, 100TRF-1:SHRI LAL DICHAUN KALAN NEAR DRAIN, 100 TRF-1:MAIDE VILLAGE DICHOUN KALAN, 25TRF-1:KRISHNA, 400 TRF-1: SHIV ENCLAVE EXTN, GANASHI VILL DICHOAN KALAN, 990 TRF-1:DICHAON 1, 25 TRF-1: W/S NO-5 DICHAON -BAPROLA MARG NR HOTL, GOVT. W/S AT DIGUPURA, 25 TRF-1: HOLY FAMILY CHURCH,VILL DICHAON KALAON, 100 TRF-1:GANGA RAM VILL D.KALAN, 400 TRF:-1 DICHAO S/TN NO.4 (PHIRNI), 100 TRF-1:STREET LIGHT GHEVRA, 25 TRF-1: CHARITABLE SOCIETY DICHAON KALAN, 25 TRF-1: RAM NATH VILL DICHAON KALAON, 100 TRF-1:GANESHI VILL DICHAON KALAN | 296
26 | 28/03/2018 | ALN | 14:00 | 17:00 | 03:00 | PLANNED SHUTDOWN | Grid:66 kV OKHLA PHASE-I GRID To Feeder:11 kV FDR CCI COMPLEX NO.-2 , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 KANGAR MOHALLA TUGALKABAD | 108
27 | 28/03/2018 | ALN | 14:00 | 16:15 | 02:15 | PLANNED SHUTDOWN | Grid:OKHLA (220/66/33/11kV, TRANSCO) PHASE-2 GRID SSTN To Feeder:POKET A-10 KALKAJI EXTN. , LT ACB:REPAIRING OF ACB | RESTORED/ REPAIRED | Part of : TRF-1 JJ CLUS A-10 KALKAJI NEM NATH:PL | 133
28 | 28/03/2018 | NHP | 14:00 | 16:14 | 02:14 | PLANNED SHUTDOWN | Grid:V.S.N.L. (33/11kV) GRID SSTN To Feeder:11kV FDR T.C.I.L , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TCIL VSNL (HT CONSUMER) | 1
29 | 28/03/2018 | ALN | 14:00 | 17:00 | 03:00 | PLANNED SHUTDOWN | Grid:66 kV OKHLA PHASE-I GRID To Feeder:11 kV FDR CCI COMPLEX NO.-2 , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 CHHURIA MOHALLA,TUGBAD:PL | 114
30 | 28/03/2018 | DWK | 13:57 | 15:29 | 01:32 | PLANNED SHUTDOWN | Grid:PAPPANKALAN-I (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR SEC-10 , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 630 TRF-2:KALKA APPT, 630 TRF-1:KALKA APPT, 630 TRF-1:DAFFODIL APPT | 378
31 | 28/03/2018 | MDK | 13:40 | 15:54 | 02:14 | PLANNED SHUTDOWN | Grid:NANGLOI (66/33/11kV) GRID SSTN To Feeder:11kV FDR J.J COLONY NO.-2 , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 630TRF-1:KAVITA COLONY PL, 990TRF-1:E BLK NGL, 630TRF-2:KAVITA COLONY, 630TRF-2:PUNJABI BASTI:PL, 630TRF-1:C BLK JJ NO-2, 630TRF-1:PUNJABI BASTI:PL, 990 TRF-1: D BLOCK CAMP NO-2 NANGLOI, 400TRF-3:C BLK JJ NO-2, 630TRF-2:C BLK JJ NO-2 | 595
32 | 28/03/2018 | MDK | 13:40 | 15:54 | 02:14 | PLANNED SHUTDOWN | Grid:NANGLOI WATER WORKS (66/11kV) GRID SSTN To Feeder:11kV FDR KUNWAR SINGH NAGAR , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 400TRF1:H - 2 KUNWAR SINGH NAGAR S/STN, 400TRF-1:KUNWAR SINGH NAGAR, D(D1)-BLK , 630 TRF-1:KARAM BHUMI, 100TRF-1:RANHOLLA RADAR:ID, 630TRF-1:KUNWAR SINGH S/STN-1:ID, 400TRF-1:KUNWAR SINGH S/STN-1:ID, 100TRF-1:RANHOLLA SCHOOL, 400TRF-1:H - 1 KUNWAR SINGH NAGAR S/STN, 400TRF-1:G BLK KUNWAR SINGH NGR, 400TRF-1:D-2 KS NAGAR NO-2, 400TRF-1:H-3 KS NGR, 990TRF-1:KUNWAR SINGH S/STN-2:ID | 535
33 | 28/03/2018 | JKP | 13:30 | 15:31 | 02:01 | PLANNED SHUTDOWN | Grid:SAGARPUR (66/11kV) GRID SSTN To Feeder:11kV FDR B-2 BOOSTER PUMP JANAKPURI , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 630 TRF-1 :B5 I/D JANAKPURI:ID* | 78
34 | 28/03/2018 | JKP | 13:10 | 15:31 | 02:21 | PLANNED SHUTDOWN | Grid:REWARI LINE (220/66/11kV, TRANSCO) GRID (NDPL) To Feeder:11KV M.C.D RAJOURY GARDEN , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 990 TRF-1 :A-BLK (THEKEWALA) SSTN, RAJOURI GDN | 93
35 | 28/03/2018 | PLM | 12:30 | 14:26 | 01:56 | PLANNED SHUTDOWN | Grid:G-6 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11kV FDR A.W.H, SECTOR-22 , LT CIRCUIT:NETWORK UPGRADTION WORK | RESTORED/ REPAIRED | Part of : 100 TRF-1X-59 P BLK, 400 TRF-1:BAGDOLA VILL HARIJAN BASTI, 990 TRFf-1:Bagdolla Village (Kiosk), 100 TRF-1:CRPF SEC-8 | 431
36 | 28/03/2018 | PLM | 12:30 | 14:26 | 01:56 | PLANNED SHUTDOWN | Grid:G-6 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11kV FDR SEC.-9 (PLM. DIVISION) , LT CIRCUIT:NETWORK UPGRADTION WORK | RESTORED/ REPAIRED | Part of : 100 TRF-1:PWD Store, 990 TRF-1 Gali No-10 Raj Ngr S/s, 630 TRF-1:BAGDOLA VILL PL/M, SASTRI MARG RAJ NAGAR* | 499
37 | 28/03/2018 | TGN | 12:22 | 15:47 | 03:24 | PLANNED SHUTDOWN | Grid:GURU GOVIND SINGH HOSPITAL GRID SSTN - WTC123. To Feeder:11 kV FDR M-BLOCK RAGHUBIR NAGAR , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 630 TRF-1 :N-BLOCK SSTN, RAGHUBIR NAGAR | 209
38 | 28/03/2018 | DWK | 12:06 | 13:50 | 01:44 | PLANNED SHUTDOWN | Grid:BINDAPUR (G-3 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR MADHU VIHAR , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 630 TRF-1:MADHU VIHAR S/STN NO 3, 630 TRF-1:MAHAVIR ENCLAVE S/STN NO 1, 630 TRF-1:MADHU VIHAR S/S-4, 630 TRF-1:MADHU VIHAR S/S-4, 630 TRF-1:MADHU VIHAR NO-2, 630 TRF-2:MADHU VIHAR NO-2 | 487
39 | 28/03/2018 | ALN | 12:03 | 14:57 | 02:54 | PLANNED SHUTDOWN | Grid:BALAJI ESTATE (33/11kV) GRID SSTN To Feeder:11 kV FDR GALI NO.-10, GOVINDPURI , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 990 KVA TRF-2 GOVINDPURI KHATTA:K | 105
40 | 28/03/2018 | NGL | 12:00 | 15:35 | 03:35 | PLANNED SHUTDOWN | Grid:NANGLOI WATER WORKS (66/11kV) GRID SSTN To Feeder:11kV FDR BAPROLLA , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : 100TRF-1:PWD STREET LIGHT, 400 TRF-1:GANGA RAM PARK, 400 TRF-1:A BLOCK AMRITA PURI P/M, 100TRF-1:PWD STREET LIGHT, 100TRF-1:PWD STREET LIGHT, 25 TRF-1:N R NATHU RAM CONVENT SCHOOL NILOTHI, 400 TRF-1 AKASH VIHAR, 25 TRF-1: TUBEWELL CHANCHAL PARK 25KVA | 256
41 | 28/03/2018 | VKJ | 12:00 | 16:16 | 04:16 | PLANNED SHUTDOWN | Grid:VASANT KUNJ (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11 KV FDR C-9 S/S NO.-5 VASANT KUNJ , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 STN-1 SEC-C POCKET-9 VASANT KUNJ | 134
42 | 28/03/2018 | VKJ | 12:00 | 13:44 | 01:44 | PLANNED SHUTDOWN | Grid:66kV VASANT KUNJ C-BLK GRID To Feeder:11 kV FDR NANGAL DAIRY FEEDER (LIG MASUDPUR) ISID VASANT KUNJ , RMU:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 PUSPANJALI PETROL PUMP JNU RD (HT CONSUMER) | 1
43 | 28/03/2018 | NGL | 12:00 | 15:35 | 03:35 | PLANNED SHUTDOWN | Grid:NANGLOI (66/33/11kV) GRID SSTN To Feeder:11kV FDR HINDUSTAN HOUSING SOCIETY , LT CIRCUIT:NETWORK UPGRADTION WORK | RESTORED/ REPAIRED | Part of : 990 TRF-2 I/D GHK NGR STN-1, 630 TRF-1:PLM GHK NAGAR STN-3, 630 TRF-1:I/D GHK NGR STN-1, 630TRF-2: GHKN SSTN NO-2 | 513
44 | 28/03/2018 | NGL | 12:00 | 15:34 | 03:34 | PLANNED SHUTDOWN | Grid:BODELLA-II GRID To Feeder:11KV FDR DJB SPS NILOTHI NO.-1 , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : SPS DJB NILOTHI RMU NO-1 (HT CONSUMER) | 1
45 | 28/03/2018 | TGN | 11:52 | 15:46 | 03:54 | PLANNED SHUTDOWN | Grid:GURU GOVIND SINGH HOSPITAL GRID SSTN - WTC123. To Feeder:11 kV FDR M-BLOCK RAGHUBIR NAGAR , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 630 TRF-1 :M-BLOCK SSTN, RAGHUBIR NAGAR | 257
46 | 28/03/2018 | NGL | 11:50 | 15:25 | 03:35 | PLANNED SHUTDOWN | Grid:UDYOG NAGAR (33/11kV) GRID SSTN To Feeder:11kV FDR O/G S/STN NO-2 UDYOG NAGAR SSTN-2 , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : 630 TRF-3:I/D UDYOG NAGAR STN-2, 990 TRF-1:Udyog Nagar No-2, 630 TRF-2:Udyog Nagar No-2 | 370
47 | 28/03/2018 | TGN | 11:49 | 15:46 | 03:56 | PLANNED SHUTDOWN | Grid:VISHAL (33/11kV) GRID SSTN To Feeder:11kV FDR D-BLOCK RAGHUBIR NAGAR , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 630 TRF-1 :N-BLK POLICE POST SSTN,RAGHUBIR NGR | 225
48 | 28/03/2018 | JKP | 11:40 | 15:47 | 04:07 | PLANNED SHUTDOWN | Grid:METAL FORGING (33/11kV) SRID SSTN To Feeder:11KV METAL FORGING , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : PLOT: B-17 METALFORGING, MYP (HT CONSUMER) | 1
49 | 28/03/2018 | NGL | 11:36 | 15:25 | 03:49 | PLANNED SHUTDOWN | Grid:UDYOG NAGAR (33/11kV) GRID SSTN To Feeder:11kV FDR O/G S/STN,MIYA WALI NGR , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : 630 TRF-1:INDER ENCLAVE NGL, 630 TRF-1:INDER ENCLAVE NGL, 630 TRF-1:I/D MIANWALI STN-2, 400 TRF-1: PLM MIANWALI S/STN NO:4, 630 TRF-2:INDER ENCLAVE NGL | 521
50 | 28/03/2018 | NGL | 11:34 | 15:23 | 03:49 | PLANNED SHUTDOWN | Grid:NANGLOI (66/33/11kV) GRID SSTN To Feeder:11kV FDR LAXMI PARK , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : 630 TRF-2:laxmi park sstn-3, 630 TRF-1: CAMP NO-4 ,C-BLK, S/STN-5, 630 TRF-1 LAXMI PARK NO-2 I/D, 630TRF-:LAXMI PARK S/STN-3, 100 TRF-1 DAIMA HOSPITAL NIHAL VIHAR, 630 TRF-2 LAXMI PARK NO-2 I/D, 990 TRF-3:NE-BLK VISHNU GDN PLM | 499
51 | 28/03/2018 | PLM | 11:33 | 14:26 | 02:53 | PLANNED SHUTDOWN | Grid:G-2 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:RMU NO.-2 , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : 400 TRF-1:Khari Kuan S/s, 630 TRF-1:Chopal Wala S/s, 630 TRF:-1 RADHA KRISHANA MANDIR | 469
52 | 28/03/2018 | NGL | 11:30 | 15:23 | 03:53 | PLANNED SHUTDOWN | Grid:PASCHIM VIHAR (66/33/11KV) GRID SSTN To Feeder:11KV FDR AMBIKA VIHAR , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 630 TRF-1: LAKE VIEW APPT SSTN, 990TRF-1: AMBIKA VIHAR P/M SSTN, 990TRF-2: AMBIKA VIHAR I/D SSTN, 990TRF-1: AMBIKA VIHAR I/D SSTN, 630TRF-2: LAKE VIEW APPT SSTN, 990TRF-1: SANGAM APPARTMENT SSTN | 534
53 | 28/03/2018 | PLM | 11:30 | 13:46 | 02:16 | PLANNED SHUTDOWN | Grid:G-2 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:VARDAMAN PLAZA , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 400 TRF1: KRISHNA KUNJ NASSIRPUR: ID | 97
54 | 28/03/2018 | PLM | 11:30 | 14:25 | 02:55 | PLANNED SHUTDOWN | Grid:PAPPANKALAN-I (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR BENGALI COLONY , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : 990 TRF-2:Bengali Colony FS, 630 TRF-2:Nanda Block Mahavir Encl., 990 TRF-1:Bengali Colony FS, 400 TRF-1:Mahavir Vihar S/Stn II, 400 TRF-1:Nanda Block Mahavir Encl., 990 TRF-2:Bengali Colony FS, 630 TRF:-1 H-4 BANGALI CLY | 490
55 | 28/03/2018 | HKS | 11:30 | 14:12 | 02:42 | PLANNED SHUTDOWN | Grid:33kV SIRI FORT GRID To Feeder:11kV FDR PANCHSHEEL SHOPPING CENTER , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 PANCHSHEEL SHOPPING CENTRE:ID | 205
56 | 28/03/2018 | PLM | 11:30 | 14:25 | 02:55 | PLANNED SHUTDOWN | Grid:G-2 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11KV PALAM CHOWK+DURGA PARK GALI NO -04 , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : 990 TRF-2:PALAM CHOCK, 990 TRF-1: PURAN NAGAR, 630 TRF-1: PALAM CHOCK, Durga park gali no.-4, 630 TRF-2:Durga Park Gali no.4 S/s, 630 TRF-3:Durga Park Gali no.4 S/s | 456
57 | 28/03/2018 | PLM | 11:30 | 14:25 | 02:55 | PLANNED SHUTDOWN | Grid:G-6 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11kV FDR CROWN APPT. SECTOR-7 PLM , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : 400 TRF-1:SHRUTI APPT. SEC.7, 400 TRF-2:SHRUTI APPT. SEC.7, 630 TRF-2:JJ COLONY SSTN SEC-1, 630 TRF-1:JJ COLONY SSTN SEC-1, SIDDHARTH KUNJ, 100 TRF-1:DELHI JAL BOARD SEC7 JJ COLONY:PM, 400 TRF-2:RADHA KRISHNA SEC 7:ID, 630 TRF-1: SIDDHARTH KUNJ, 400 TRF-1:RADHA KRISHNA SEC 7:ID, 100 TRF-1:DEV KUNJ APPT, 630 TRF-1:MEDIA CGHS, 630 TRF-2:MEDIA CGHS | 521
58 | 28/03/2018 | HKS | 11:25 | 13:48 | 02:23 | PLANNED SHUTDOWN | Grid:33kV SIRI FORT GRID To Feeder:11kV FDR 40-SAHPUR JAT , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-2 40, SHAHAPUR JAT:PM:PG, TRF-1 40, SHAHAPUR JAT:PM:PG | 303
59 | 28/03/2018 | JKP | 11:20 | 15:11 | 03:51 | PLANNED SHUTDOWN | Grid:HARI NAGAR (66/11kV) GRID SSTN To Feeder:11KV L.I.G RAJORY GARDEN , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 630 TRF-2 :V-BLOCK SSTN, RAJOURI GARDEN | 112
60 | 28/03/2018 | DWK | 11:17 | 13:05 | 01:48 | PLANNED SHUTDOWN | Grid:MATIYALA (G-5 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR JAIN COLONY , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 1000 TRF-1:NEW T UTTAM NAGAR, 630 TRF-1:SAHYOG VIHAR P/M, 630 TRF-2:NEW T UTTAM NAGAR | 459
61 | 28/03/2018 | KPR | 11:15 | 16:26 | 05:11 | PLANNED SHUTDOWN | Grid:TUGHLAKABAD (33/11kV) GRID SSTN To Feeder:11kV FDR G & H BLOCK SANGAM VIHAR , LT CIRCUIT:NETWORK UPGRADTION WORK | RESTORED/ REPAIRED | Part of : TRF-1 NOOR MOHAMMAD (G-12) S.VIHAR | 279
62 | 28/03/2018 | KPR | 11:15 | 12:32 | 01:17 | PLANNED SHUTDOWN | Grid:66kV BATRA GRID To Feeder:11kV FDR S/S NO.-2, DAKSHIN PURI , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 990 KVA TRF-1 I-2, MADANGIR PH-2:PL | 129
63 | 28/03/2018 | JKP | 11:14 | 15:06 | 03:52 | PLANNED SHUTDOWN | Grid:PANKHA ROAD (66/33/11kV) GRID SSTN To Feeder:11KV A-4 ASALATPUR , LT CIRCUIT:REPLACEMENT OF LT ACB | RESTORED/ REPAIRED | Part of : 1000 TRF-1 :A2-BLK (HARIJAN BASTI),NR.PANKHA RD | 111
64 | 28/03/2018 | DWK | 11:12 | 13:05 | 01:53 | PLANNED SHUTDOWN | Grid:G-6 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11kV FDRNEW HILANSH SECTOR-10 11kV FDR HILANSH , 11KV FEEDER:TREE TRIMMING | RESTORED/ REPAIRED | Part of : 400-TRF-1_HMM APPT.PLOT NO.-6 SSTN,SEC-10,DWK | 162
65 | 28/03/2018 | JKP | 11:12 | 13:16 | 02:04 | PLANNED SHUTDOWN | Grid:D.C. JANAKPURI (33/11kV) GRID SSTN To Feeder:11KV B-3 JANAKPURI , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 400 TRF-3 :B4-BLOCK (SUPER BAZAAR) SSTN, JKP | 76
66 | 28/03/2018 | JKP | 11:10 | 13:26 | 02:16 | PLANNED SHUTDOWN | Grid:SAGARPUR (66/11kV) GRID SSTN To Feeder:11kV FDR B-2 BOOSTER PUMP JANAKPURI , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 990 TRF-1 :GALI NO-11 SSTN, SHIV NAGAR, JKP* | 109
67 | 28/03/2018 | KPR | 11:10 | 14:24 | 03:14 | PLANNED SHUTDOWN | Grid:33kV D.C.SAKET GRID To Feeder:11kV FDR LSC NO.-1 MADANGIR , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 BLOCK NO-7OR8, DAKSHINPURI:PL | 231
68 | 28/03/2018 | TGN | 11:07 | 15:45 | 04:38 | PLANNED SHUTDOWN | Grid:GURU GOVIND SINGH HOSPITAL GRID SSTN - WTC123. To Feeder:11 kV FDR C-BLOCK BREAK DOWN OFFICE , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 990 TRF-1 :B-BLK SSTN,BEHND HOLY SCHOOL,V.ENCL | 216
69 | 28/03/2018 | JKP | 11:07 | 15:01 | 03:54 | PLANNED SHUTDOWN | Grid:SAGARPUR (66/11kV) GRID SSTN To Feeder:11kV FDR D-2 JANAKPURI , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 BHUL BHULLIA, 990 TRF-1 :D2-BLK (COMPLAINT CENTRE) SSTN,JKP | 116
70 | 28/03/2018 | KPR | 11:05 | 14:24 | 03:19 | PLANNED SHUTDOWN | Grid:33kV D.C.SAKET GRID To Feeder:11kV FDR LSC NO.-1 MADANGIR , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 SUBHASH CAMP DAKSHIN PURI:PL | 232
71 | 28/03/2018 | ALN | 11:03 | 14:13 | 03:10 | PLANNED SHUTDOWN | Grid:33 kV ALAKNANDA GRID To Feeder:11 kV FDR DESHBANDHU APPARTMENT , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 J-BLOCK KALKAJI BAPU DHAM:PG | 79
72 | 28/03/2018 | TGN | 11:03 | 15:44 | 04:41 | PLANNED SHUTDOWN | Grid:BODELLA-I GRID SSTN To Feeder:11 kV FDR GALI NO 8 MAHAVIR NAGAR , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 990 TRF-1 :GALI NO.-8 SSTN, MAHAVIR NAGAR, 400 TRF-2 :GALI NO.-8 SSTN, MAHAVIR NAGAR | 326
73 | 28/03/2018 | PJB | 11:03 | 13:22 | 02:19 | PLANNED SHUTDOWN | Grid:MADIPUR (33/11kV) GRID SSTN To Feeder:PASCHIM VIHAR EXTENSION , HT INTERMEDIATE FEEDER:SOCKET REPLACEMENT | RESTORED/ REPAIRED | Part of : 630 TRF-1: 6TH MILESTONE,MADIPUR CLY,R.RD, 990 TRF-1:E-BLK MADIPUR, 990 TRF-2:E-BLOCK MADIPUR JJ COLONY:K | 495
74 | 28/03/2018 | VKP | 11:03 | 14:07 | 03:04 | PLANNED SHUTDOWN | Grid:BINDAPUR (G-3 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR R & S BLOCK CHANAKYA PLACE , LT ACB:MAINTENANCE | RESTORED/ REPAIRED | Part of : 630 TRF-1:CHANAKYA PLACE R and S | 89
75 | 28/03/2018 | NZD | 11:03 | 14:20 | 03:17 | PLANNED SHUTDOWN | Grid:33kV NIZAMUDDIN GRID To Feeder:11kV FDR BIRBAL PARK , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 BIRBAL PARK, JANGPURA EXTN.: K, TRF-2 BIRBAL PARK, JANGPURA EXTN.: K | 202
76 | 28/03/2018 | NZD | 11:03 | 14:08 | 03:05 | PLANNED SHUTDOWN | Grid:LODHI ROAD (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR DEFENCE UNDER FLY OVER , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-2 P and Q BLOCK, JANGPURA EXTN.: PKG, TRF-1 P and Q BLOCK, JANGPURA EXTN.: PKG | 242
77 | 28/03/2018 | NZD | 11:03 | 14:21 | 03:18 | PLANNED SHUTDOWN | Grid:33kV NIZAMUDDIN GRID To Feeder:11kV FDR MICROWAVE,NZD EAST , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 RLY.STN SARAI K. KHAN(NANGLI VILL.): PL | 198
78 | 28/03/2018 | TGN | 11:03 | 15:44 | 04:41 | PLANNED SHUTDOWN | Grid:BODELLA-I GRID SSTN To Feeder:11 kV FDR 20-BLOCK TILAK NAGAR , TRANSFORMER:NETWORK UPGRADATION WORK | RESTORED/ REPAIRED | Part of : 990 PKG-1 :S-2 BLOCK SSTN, MAHAVIR NAGAR | 264
79 | 28/03/2018 | VKP | 11:03 | 14:06 | 03:03 | PLANNED SHUTDOWN | Grid:BINDAPUR (G-3 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR CHANAKYA PLACE I/D SSTN NO-1 , LT ACB:MAINTENANCE | RESTORED/ REPAIRED | Part of : 990 TRF-1:PRATAP GARDEN(OLD) | 113
80 | 28/03/2018 | TGN | 11:03 | 15:45 | 04:42 | PLANNED SHUTDOWN | Grid:BODELLA-I GRID SSTN To Feeder:11 kV FDR K-BLOCK KRISHNA PARK , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 990 TRF-1 :K-BLK KRISHNA PARK SSTN, TILAK NGR | 238
81 | 28/03/2018 | SVR | 11:00 | 15:13 | 04:13 | PLANNED SHUTDOWN | Grid:EAST OF KAILASH (33/11kV) GRID SSTN To Feeder:11kV FDR SRINIWASHPURI , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 400 KVA TRF-2 GURUDWARA S.N PURI | 193
82 | 28/03/2018 | SKT | 11:00 | 14:48 | 03:48 | PLANNED SHUTDOWN | Grid:66kV C-DOT GRID To Feeder:11kV FDR M.C Tr. DLF (MEHAR CHAND) , LT CIRCUIT:NETWORK UPGRADTION WORK | RESTORED/ REPAIRED | Part of : TRF-1 1 A OAK DRIVE DLF CHATTERPUR, TRF-1 CHERRY LANE NO 1 DLF, TRF-1 DWARKA BAI:PM, TRF-1 KEJARY WAL TRANSFORMER, TRF-1 DALBEER SINGH:PL, TRF-1 FORM NO 19 CHINAR DRIVE, TRF-1 FORM NO 2 PAIN DRIVE (BHAGEDRIA FARM), TRF-1 MALBERY AVENUE, DLF CHATTERPUR, TRF-1 FORM NO 7 CHERI LINE, TRF-1 MAHAJAN FARM, TRF-1 10 NO CEDAR LANE DLF, TRF-1 KHATERI, TRF-1 POKHAR AMAR SINGH:PM, TRF-1 PATIL EDUCATION SOCIETY:PM, TRF-1 FORM NO 13 SOUTH DRIVE, TRF-1 HTC:OAK DRIVE NO 1 DLF CHATTERPUR, TRF-1 PREM SHYAM SHER SINGH, TRF-1 FORM NO 8 CHERI LINE, TRF-1 FORM NO 3 MALVERY AVENUE (SEHGAL FARM), TRF-1 CENTRAL DRIVE FARM NO 14, TRF-1 FARM NO 1, DAIZY LINE DLF CHATTERPUR, TRF-1 ATTAR SINGH, TRF-1 K KISHOR CENTRAL DRIVE DLF CHATTERPUR, TRF-1 TWELTH FARM:PM, TRF-1 SARDARI LAL CHOPARA:PM, TRF-1 FORM NO 8 CHINAR DRIVE, TRF-1 FORM NO 5 CHERI LINE, TRF-1 BANSAL FARM:PM | 326
83 | 28/03/2018 | ALN | 11:00 | 14:23 | 03:23 | PLANNED SHUTDOWN | Grid:66kV BATRA GRID To Feeder:11kV FDR TARA APPARTMENT , LT CIRCUIT:REPLACEMENT OF DAMAGE LTAB | RESTORED/ REPAIRED | Part of : 990 KVA TRF-1 TARA APARTMENT:ID | 101
84 | 28/03/2018 | SVR | 11:00 | 12:47 | 01:47 | PLANNED SHUTDOWN | Grid:66/11KV MEETHAPUR GRID SUB STN To Feeder:11kV FDR MDRASI COLONEY , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 400 KVA TRF-1 E&F BLK MADRSI COLONY | 171
85 | 28/03/2018 | HKS | 11:00 | 14:02 | 03:02 | PLANNED SHUTDOWN | Grid:33kV HUDCO GRID To Feeder:11kV FDR HARDEV PURI (HKS) , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 HARDEVPURI VILLAGE: PL, TRF-2 HARDEVPURI VILLAGE: PL | 309
86 | 28/03/2018 | NHP | 11:00 | 14:02 | 03:02 | PLANNED SHUTDOWN | Grid:EAST OF KAILASH (33/11kV) GRID SSTN To Feeder:11kV FDR S/S NO.-1 OKHLA PHASE-3 , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : RANBAXY MAX HOUSE (HT CONSUMER) | 1
87 | 28/03/2018 | TGN | 11:00 | 15:43 | 04:43 | PLANNED SHUTDOWN | Grid:VISHAL (33/11kV) GRID SSTN To Feeder:11kV FDR KHAYALA PUMPING STATION , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : B-2 RAGHUBIR NAG OPP BOOSTER _P:PL, 630 TRF-1 :B-1 BLOCK SSTN, RAGHUBIR NAGAR, 630 TRF-2 :B-2 BLK SSTN, 25 SQ. YRDS, R.NAGAR, 630 TRF-1 :B-2 BLK SSTN, 25 SQ. YRDS, R.NAGAR | 493
88 | 28/03/2018 | SVR | 11:00 | 12:48 | 01:48 | PLANNED SHUTDOWN | Grid:66/11KV MEETHAPUR GRID SUB STN To Feeder:11kV FDR OM NAGAR BARAT GHAR , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 BARAT GHAR OM NAGAR D-BLOCK | 204
89 | 28/03/2018 | SVR | 11:00 | 15:04 | 04:04 | PLANNED SHUTDOWN | Grid:SARITA VIHAR (66/11kV) GRID SSTN To Feeder:11kV FDR MADANPUR KHADAR TRANSIT CAMP NO.-1 , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-2 MADANPUR KHADAR- EXTN, TRF-1 MADANPUR KHADAR- EXTN | 234
90 | 28/03/2018 | SVR | 11:00 | 15:05 | 04:05 | PLANNED SHUTDOWN | Grid:SARITA VIHAR (66/11kV) GRID SSTN To Feeder:11kV FDR MADANPUR KHADAR TRANSIT CAMP NO.-2 , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 HTC:DULI CHAND COLONY | 114
91 | 28/03/2018 | VKJ | 11:00 | 13:58 | 02:58 | PLANNED SHUTDOWN | Grid:VASANT KUNJ (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11 KV FDR I.A.A.I COLONY , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : BRAHMPUTRA INFRASTRUCTURE (HT CONSUMER) | 1
92 | 28/03/2018 | SKT | 11:00 | 13:56 | 02:56 | PLANNED SHUTDOWN | Grid:66kV FATEHPUR BERI GRID To Feeder:11kV FDR O/G NO.-5 RUMALO DEVI , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 STREET LIGHT DT ON DERA VILL ROAD | 124
93 | 28/03/2018 | SVR | 11:00 | 15:02 | 04:02 | PLANNED SHUTDOWN | Grid:JASOLA (66/33/11kV) GRID SSTN To Feeder:11kV FDR THOKAR NO.-6 SHAHIN BAGH NEAR POLICE CHOKI , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 400 KVA TRF-1 SAHIN BAGH A,BLOCK | 173
94 | 28/03/2018 | TGN | 11:00 | 15:43 | 04:43 | PLANNED SHUTDOWN | Grid:CHAUKHANDI (33/11kV) GRID SSTN To Feeder:11 kV FDR 320-MIG VIKASHPURI , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : 630 TRF-1 :DSIDC SHED SSTN, TILAK VIHAR, 630 TRF-2 :DSIDC SHED SSTN, TILAK VIHAR, 990 TRF-2 :320 MIG FLATS SSTN, VIKAS PURI EXTN, 400 TRF-2 :TILAK VIHAR SSTN NO-2,G-BLK,T.NGR, 990 TRF-1 :TILAK VIHAR SSTN NO-2,G-BLK,T.NGR, 990 TRF-1 :HARIJAN BASTI DBL STOREY SSTN,T.NGR, 630 TRF-1 :320 MIG FLATS SSTN, VIKAS PURI EXTN | 434
95 | 28/03/2018 | HKS | 11:00 | 14:01 | 03:01 | PLANNED SHUTDOWN | Grid:33kV ADHCHINI GRID To Feeder:11kV FDR BHIM NAGRI IIT S/S NO.-2 , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 990 KVA TRF-1 IIT NO 1:ID | 317
96 | 28/03/2018 | VKJ | 11:00 | 15:43 | 04:43 | PLANNED SHUTDOWN | Grid:66kV VASANT KUNJ B-BLK GRID To Feeder:11 kV FDR S.T.P FEEDER , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 400 KVA TRF-DELHI JAL BOARD | 98
97 | 28/03/2018 | SKT | 11:00 | 14:53 | 03:53 | PLANNED SHUTDOWN | Grid:66kV C-DOT GRID To Feeder:11KV FDR ASHWANI KUMAR MEHRA HOTEL(D-1) , 11KV FEEDER:TREE TRIMMING | RESTORED/ REPAIRED | Part of : TRF-1 SBLK - F 213 AYA NGR, TRF-1 FARM NO 23 CLUB DRIVE GHITORNI, TRF-1 CHHABRA FARM MANGLA PURI, TRF-1 H - BLOCK AYA NAGAR, TRF-1 BLK -F 33 AYA NGR, TRF-1 C - III AYA NGR, TRF-1 BLK - G 663 AYA NGR, TRF-1 AMBEDKAR COLONY AYA NGR, GOVT TUBE WELL, TRF-1 G-BLOCK AYA NAGAR:PL, TRF-1 BLK - G 523 AYA NGR, TRF-1 BLK - F 204 AYA NGR, TRF-1 BLK - C I MLA OFFICE AYA NGR, TRF-2 BLK - F 204 AYA NGR, TRF-1 OPP GHITORNI MARKET,100 KVA S/S S. LT, TRF-1 C-2 AYA NAGAR:PL | 489
98 | 28/03/2018 | SVR | 11:00 | 15:14 | 04:14 | PLANNED SHUTDOWN | Grid:JAMIA MILIA (33/11kV) GRID SSTN To Feeder:11kV FDR NOOR NAGAR , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 990 KVA TRF-2 JAUHRI FARM I/D, 990 KVA TRF-1 JAUHRI FARM I/D | 387
99 | 28/03/2018 | SVR | 11:00 | 12:49 | 01:49 | PLANNED SHUTDOWN | Grid:66/11KV MEETHAPUR GRID SUB STN To Feeder:11kV FDR OM NAGAR GALI NO-10 A B &C BLOCK , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 OM NGR, ABC BLOCKS MPUR EXT. | 283
100 | 28/03/2018 | NHP | 11:00 | 14:02 | 03:02 | PLANNED SHUTDOWN | Grid:OKHLA PHASE-II (33/11kV) GRID SSTN To Feeder:11kV FDR DDA LSC OKH PHASE-2 , RMU:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-2 S/STN NO-LSC OKHLA PH-2:ID | 121
101 | 28/03/2018 | SKT | 11:00 | 13:00 | 02:00 | PLANNED SHUTDOWN | Grid:MEHRAULI (220/66/11kV, TRANSCO) GRID SSTN To Feeder:DERA BHATI , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 400 KVA TRF-1 GREEN MEADOW-1:PM | 136
102 | 28/03/2018 | SVR | 11:00 | 15:03 | 04:03 | PLANNED SHUTDOWN | Grid:MATHURA ROAD (66/11kV) GRID SSTN To Feeder:11kV FDR S/S NO.-1 M.C.I.E , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 S/STN. NO. 3 MCIE A-BLOCK | 130
103 | 28/03/2018 | SVR | 11:00 | 15:00 | 04:00 | PLANNED SHUTDOWN | Grid:MATHURA ROAD (66/11kV) GRID SSTN To Feeder:11kV FDR MOHAN BABA NAGAR FDR. NO.-1 , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 B-1/F-8 (RENOTON) MCIE (HT CONSUMER) | 1
104 | 28/03/2018 | HKS | 11:00 | 12:48 | 01:48 | PLANNED SHUTDOWN | Grid:BHIKAJI CAMA PLACE (33/11kV) GRID SSTN To Feeder:B-4, S.J ENCLAVE , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 990 KVA TRF-2 B-4, S.J.E: ID, 990 KVA TRF-1 B-4, S.J.E: ID, 990 KVA TRF-3 B-4, S.J.E: ID, 630 KVA TRF-4 B-4, S.J.E: ID | 465
105 | 28/03/2018 | VKJ | 11:00 | 14:22 | 03:22 | PLANNED SHUTDOWN | Grid:66kV VASANT KUNJ D-BLK GRID To Feeder:11 kV FDR S/S NO.-11, D-4 VASANT KUNJ , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 RAM NARAYAN MANDIR P/M | 155
106 | 28/03/2018 | SKT | 11:00 | 14:15 | 03:15 | PLANNED SHUTDOWN | Grid:66kV C-DOT GRID To Feeder:11kV FDR I.I.P.M NO.-1 , 11KV FEEDER:TREE TRIMMING | RESTORED/ REPAIRED | Part of : TRF-1 PHOOLCHAND KHUSHI RAM:PM, TRF-1 TEK RAM:PM, TRF-1 NARULA FARM DERA MANDI, TRF-1 GAUR STN DERA MANDI:PL, TRF-1 SUN INFRA BUILD PVT LTD, TRF-1 PBR DEVLOPERS DERA GREEN, TRF-1 MAX FARM NO 2 DERA MANDI ROAD, TRF-1 MAX FARM NO 1 DERA MANDI ROAD, TRF-1 7 DERA GREEN IFO ALKA GUPTA, TRF-1 HARSWROOP COLY NALA, TRF-1 VILLAGE ASOLA-2:PL, TRF-1 HATTI DERA:PM, TRF-1 RAMJI LAL:PM, TRF-1 KARTAR SINGH FARM MANDI ROAD, TRF-1 A-3A ASOLA, TRF-1 SANT RAM:PM, TRF-1 SHANIDHAM MANDIR SAHURPUR, TRF-1 ASTHAL MANDIR, TRF-1 SATISH SHARMA-2:PM, TRF-1 VILLAGE ASOLA-1:PL, TRF-1 VILLAGE ASOLA-1:PL, TRF-1 FARM NO 15, DERA MANDI, NAKUL GUPTA, TRF-M.P-1:PM, TRF-1 M.P-2:PM, TRF-1 A-3 ASOLA, TRF-1 JPC FARM, GADAIPUR, TRF-1 FARM NO. 34 DERA MANDI ROAD, TRF-1 OSWAL DERA MANDI:PM, TRF-1 SHANI DHAM ROAD ASOLA, TRF-1 SHIV MANDIR - ST. LTG., TRF-1 VED RAM:PM | 486
107 | 28/03/2018 | ALN | 11:00 | 14:57 | 03:57 | PLANNED SHUTDOWN | Grid:66 kV OKHLA PHASE-I GRID To Feeder:11 kV FDR CCI COMPLEX NO.-1, (RMU CHECK POST) , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 MASTER MOHALLA,TUGBAD:PL | 121
108 | 28/03/2018 | PJB | 11:00 | 15:06 | 04:06 | PLANNED SHUTDOWN | Grid:A-4 PASCHIM VIHAR (33/11kV) GRID SSTN To Feeder:11KV A-4 CASH OFFICE , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 630 TRF-2: B-1 BLOCK,PASCHIM VHR,PJB | 232
109 | 28/03/2018 | SVR | 11:00 | 14:59 | 03:59 | PLANNED SHUTDOWN | Grid:MOHAN CO-OPERATIVE (66/11kV) GRID SSTN To Feeder:11kV FDR S/S NO.-3 M.B EXTN. , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 S/STN. NO. 3 MOLAR BADH EXTN. | 171
110 | 28/03/2018 | SKT | 11:00 | 15:43 | 04:43 | PLANNED SHUTDOWN | Grid:33kV ADHCHINI GRID To Feeder:11kV FDR M.M.T.C(VIA GANGA PLAZA) , LT CIRCUIT:NETWORK UPGRADTION WORK | RESTORED/ REPAIRED | Part of : 630 KVA TRF-1 STC:K, TRF-1 STC:K | 222
111 | 28/03/2018 | SKT | 11:00 | 13:55 | 02:55 | PLANNED SHUTDOWN | Grid:33kV ADHCHINI GRID To Feeder:11kV FDR SARVODAYA ENCLAVE , LT CIRCUIT:NETWORK UPGRADTION WORK | RESTORED/ REPAIRED | Part of : 630 KVA TRF-1 S/S Nr BARAT GHAR ADHCHINI VILLAGE | 215
112 | 28/03/2018 | TGN | 11:00 | 15:42 | 04:42 | PLANNED SHUTDOWN | Grid:MUKHERJEE PARK (33/11kV) GRID SSTN To Feeder:11 kV FDR MUKHERJEE PARK SCHOOL WALA , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 630 TRF-2 :TALWARWALA SSTN, MUKH RAM PARK, 630TRF-2:TALWARWALA, SSTN MUKH.PARK | 359
113 | 28/03/2018 | SKT | 11:00 | 13:00 | 02:00 | PLANNED SHUTDOWN | Grid:66kV C-DOT GRID To Feeder:11KV FDR JONAPUR , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 990 KVA TRF-1 VILLAGE MANDI:PL | 239
114 | 28/03/2018 | PJB | 11:00 | 15:07 | 04:07 | PLANNED SHUTDOWN | Grid:PASCHIM PURI (33/11kV) GRID SSTN To Feeder:G BLOCK PUSHKAR VIHAR , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 990 KVA G-BLOCK, PASCHIM VIHAR | 267
115 | 28/03/2018 | PLM | 11:00 | 14:24 | 03:24 | PLANNED SHUTDOWN | Grid:G-7 SECTOR -9 DWARKA To Feeder:HARIJAN BASTI KADDE WALA (PLM) , LT CIRCUIT:NETWORK UPGRADTION WORK | RESTORED/ REPAIRED | Part of : PALAM HARIJAN BASTI NEW:PL, 630 TRF-2:PALAM EXTN NO-2, 990 TRF-1:PALAM EXTN NO-2 | 401
116 | 28/03/2018 | ALN | 11:00 | 12:27 | 01:27 | PLANNED SHUTDOWN | Grid:33 kV ALAKNANDA GRID To Feeder:11 kV FDR DESHBANDHU APPARTMENT , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 DESH BANDHU APPARTMENT:PG | 87
117 | 28/03/2018 | SVR | 11:00 | 15:01 | 04:01 | PLANNED SHUTDOWN | Grid:MOHAN CO-OPERATIVE (66/11kV) GRID SSTN To Feeder:11kV FDR NEHRU MARKET , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 630 KVA TRF-1 NEHRU MKT. PATERA, 630 KVA TRF-1 M/S KAJARIA MCIE | 319
118 | 28/03/2018 | SVR | 11:00 | 12:03 | 01:03 | PLANNED SHUTDOWN | Grid:66/11KV MEETHAPUR GRID SUB STN To Feeder:11kV FDR GYAN MANDIR , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 GYAN MANDIR JAIT PUR, TRF-1 I-BLOCK EKTA VIHAR JAITPUR EXT PART-1, TRF-1 I-BLOCK EKTA VIHAR JAITPUR EXT PART-1 | 326
119 | 28/03/2018 | SVR | 11:00 | 15:06 | 04:06 | PLANNED SHUTDOWN | Grid:MATHURA ROAD (66/11kV) GRID SSTN To Feeder:11kV FDR S/S NO.-2 M.C.I.E , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : A-10 MCIE (HT CONSUMER0, SSTN A-25,MCIE (HT CONSUMER) | 2
120 | 28/03/2018 | NHP | 11:00 | 14:52 | 03:52 | PLANNED SHUTDOWN | Grid:V.S.N.L. (33/11kV) GRID SSTN To Feeder:11kV FDR R-BLOCK G.K-1 , LT CIRCUIT:NETWORK UPGRADTION WORK | RESTORED/ REPAIRED | Part of : TRF-1 PLINTH MOUNTED SUBSTATION OPP.R-96 GK-1 | 41
121 | 28/03/2018 | PLM | 11:00 | 14:25 | 03:25 | PLANNED SHUTDOWN | Grid:G-2 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:D.D.A OFFICE MANGLAPURI , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 400 TRF- 1: DDA PROJECT OFFICE | 102
122 | 28/03/2018 | JKP | 10:56 | 15:12 | 04:16 | PLANNED SHUTDOWN | Grid:SAGARPUR (66/11kV) GRID SSTN To Feeder:11kV FDR TIHAR JAIL NO.-5 , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 1000 TRF-1 :C/4G-BLOCK SSTN, JANAKPURI | 121
123 | 28/03/2018 | TGN | 10:55 | 15:43 | 04:48 | PLANNED SHUTDOWN | Grid:MUKHERJEE PARK (33/11kV) GRID SSTN To Feeder:11kV FDR IND. AREA TILAK NAGAR , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 630 TRF-1:TIKONA PARK SANSTAN MANDIR, 630 TRF-1:TIKONA PARK SANSTAN MANDIR | 293
124 | 28/03/2018 | TGN | 10:52 | 15:42 | 04:50 | PLANNED SHUTDOWN | Grid:MUKHERJEE PARK (33/11kV) GRID SSTN To Feeder:11 kV FDR TELEPHONE EXCHANGE , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 630 TRF-1:FLATED FACTORIES NR P.STN, FLATED FACTORIES (BEHIND P.STATION):ID | 263
125 | 28/03/2018 | TGN | 10:48 | 15:41 | 04:53 | PLANNED SHUTDOWN | Grid:MUKHERJEE PARK (33/11kV) GRID SSTN To Feeder:11 kV FDR B-1/283 VISHNU GARDEN , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 990 TRF-1 :B1/283 SSTN, VISHNU GARDEN, 630 TRF-1 :N-BLOCK PEEPALWALA SSTN,VISHNU GDN, 990 TRF-2 :N-BLOCK PEEPALWALA SSTN,VISHNU GDN, 990 TRF-1 :814 KHYALA VILLAGE SSTN, KHYALA | 579
126 | 28/03/2018 | KPR | 10:48 | 15:14 | 04:26 | PLANNED SHUTDOWN | Grid:66kV BATRA GRID To Feeder:11kV FDR SSTN NO.-3, DAKSHINPURI VIA.- BOOSTER PUMP , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-2 S/S NO-4, DAKSHIN PURI:K, TRF-1 S/S NO-4, DAKSHIN PURI:K | 292
127 | 28/03/2018 | TGN | 10:44 | 15:41 | 04:57 | PLANNED SHUTDOWN | Grid:GURU GOVIND SINGH HOSPITAL GRID SSTN - WTC123. To Feeder:11 kV FDR M-BLOCK RAGHUBIR NAGAR , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 630 TRF-1 :N-BLOCK SSTN, RAGHUBIR NAGAR | 216
128 | 28/03/2018 | JKP | 10:42 | 13:38 | 02:56 | PLANNED SHUTDOWN | Grid:HARI NAGAR (66/11kV) GRID SSTN To Feeder:11KV GANDHI PARK , LT CIRCUIT:REPLACEMENT OF LT ACB | RESTORED/ REPAIRED | Part of : 630 KVA TRF. NANAK PURA:K | 221
129 | 28/03/2018 | KPR | 10:41 | 13:14 | 02:33 | PLANNED SHUTDOWN | Grid:66kV BATRA GRID To Feeder:11kV FDR S/S NO.-2, DAKSHIN PURI , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 F-2 BLOCK MADANGIR:PL | 186
130 | 28/03/2018 | SKT | 10:31 | 13:14 | 02:43 | PLANNED SHUTDOWN | Grid:33kV ADHCHINI GRID To Feeder:11kV FDR SARVODAYA ENCLAVE , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 MOTHER SCHOOL CROSSING:PG, TRF-1 SARVODAYA ENCLAVE PARK:PL, TRF-1 SARVODAYA ENCLAVE:ID, TRF-2 SARVODAYA ENCLAVE:ID, TRF-1 S/S Nr BARAT GHAR ADHCHINI VILLAGE, TRF-1 MOTHER SCHOOL:ID, TRF-1 S/S Nr DMS OPP.C-212 SARVODYA ENCL | 264
131 | 28/03/2018 | JFR | 10:30 | 15:59 | 05:29 | PLANNED SHUTDOWN | Grid:JAFFARPUR (66/11kV) GRID SSTN To Feeder:11KV MITRAON , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 100 TRF-1:RED LIGHT SEC 1 : PM, 630 TRF-1:VILLAGE MITRAON 2, 100 TRF1-:CHET RAM VILL JAFFARPUR:PM, 100 TRF-1:DAYAKISHAN VILL MITRAON:PM, 630 TRF-1:S/STN-5 VILLAGE MITRAON, 25 TRF-1:SITARAM VILL MITRAON, 400 TRF-1:MITRAON COMPLAINT CENTRE, 630 TRF-1:VILLAGE MITRAON 3, 100 TRF-1:MAM CHAND VLG MITRAON, 400 TRF-1:VILLAGE MITRAON 1, ON DHANSA ROAD NERA GOVT. SCHOOL, 100 TRF-1:KANSHI RAM VLG SURHERA | 325
132 | 28/03/2018 | JFR | 10:30 | 15:58 | 05:28 | PLANNED SHUTDOWN | Grid:JAFFARPUR (66/11kV) GRID SSTN To Feeder:11KV NAVEEN PLACE , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 16 TRF-1:NAPHE VILLAGE HEBAT PURA, NAPHE VILLAGE HEBAT PURA, HAWA SINGH HBT PURA, RAKESH HBT PURA, 100 TRF-1:PAHWA FARM 1 ANAJ MANDI, 25 TRF-1: BANWARI HBT PURA, AZAD SINGH HBT PURA, 100 TRF-1:JANTA VIHAR JHARODA ROAD, 100 TRF-1:RICHHPAL HEBAT PURA, CRPF CAMP S/S NO 2A:ID, 400 TRF-1:NAVEEN PLACE SUB STN NO 2, 400 TRF-:NAVEEN PLACE SUB STN NO 3, HTC:CRPF CAMP S/S NO 1:PL, CRPF CAMP S/S NO 2A:ID, 400 TRF-1:NANU RAM PARK, 100 TRF-2:KARAN SINGH HEBAT PURA, 400 TRF-1:NAVEEN PLACE CRPF ROOD, 25 TRF-1:MIR SINGH,HBT PURA | 407
133 | 28/03/2018 | JFR | 10:30 | 14:38 | 04:08 | PLANNED SHUTDOWN | Grid:JAFFARPUR (66/11kV) GRID SSTN To Feeder:11KV RAWTA , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 400 TRF-1:VILLAGE RAWTA 1, MANGERAM- VILL DAURALA, S/STN NO-3, RAWTA VILLAGE, SR. SEC. SCHOOL- VILL RAWTA, 25 TRF-1:DEVENDER VILL. RAWTA NEAR SHAMSHAN GHAT, 100 TRF-1:W/SUPLY 1 FOR VLG JHUL JHULI, 25 TRF-1: RAJESH/DARAMVIR RAWTA NEAR SCHOOL, 25 TRF-1:SOMBIR VILL RAWTA, 25 TRF-1:RAGHUVEER, VILL RAWTA, DEEPA-1 VILL RAWTA, 100 TRF-1:REWA RAM VLG DARYIAPUR, 25 TRF-1: RAMKARAN, RAWTA, 100 TRF-1:FATEY VLG RAWTA, 100 TRF-1:W/SUPPLY 1 VLG DAURALLA, 100 TRF-1:MAMCHAND VLG RAWTA, 25 TRF-1: SAUPAL, RAWTA, HARKE RAM VILL. RAWTA, 400 TRF-1:VILLAGE DAURALA, 25 TRF-1:ASHIL/SAUPAL VILL. RAWTA, 25 TRF-1:KULDEEP KAUR, JHULJHULI MOD, LALIT KUMAR RAWTA*,*400 TRF-1:VILLAGE RAWTA 2, 100 TRF-1:HARI SINGH VILL DARIAPUR:PM, 100 TRF-1:DEEP CHAND VLG RAWTA, MANGE RAM VILL RAWTA, 100 TRF-1:SARDARE VLG DARYIAPUR, 25 TRF-1: MUKHTIYARI, RAWTA | 442
134 | 28/03/2018 | KPR | 10:30 | 16:40 | 06:10 | PLANNED SHUTDOWN | Grid:TUGHLAKABAD (33/11kV) GRID SSTN To Feeder:11kV FDR DAKSHINPURI SSTN-2 (OLD) , LT CIRCUIT:NETWORK UPGRADTION WORK | RESTORED/ REPAIRED | Part of : TRF-1 S/S NO-2, DAKSHIN PURI:ID, TRF-2 S/S NO-2, DAKSHIN PURI:ID | 236
135 | 28/03/2018 | JFR | 10:30 | 16:14 | 05:44 | PLANNED SHUTDOWN | Grid:JAFFARPUR (66/11kV) GRID SSTN To Feeder:11KV JHUL JHULI , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 100 TRF-1:KANYIA VLG SARANGPUR, RAJROOP VILL GALIBPUR, 400 TRF-1:VILLAGE GALIBPUR, NEAR CAMP CENTER GHUMANHERA, 400 TRF-1:VILLAGE JHUL JHULI, 100 TRF-1:BANWARI VLG SAMASPUR, RAM KISHAN VILL SAMASPUR:PM, 100 TRF-1:M I D W/SUPLY VLG JHUL JHULI, 100 TRF-1:W/S 2 DHANSA SARANGPUR RD, 400 TRF-1:JHULJHULI S/STATION NO-2, JEEVAN VILL GALIBPUR, AMAR SINGH VILL SARANGPUR:PM, 400 TRF1-:GIRDHARA VILL GALIBPUR:PM, RAMKUMAR VILL GALIBPUR, 100 TRF-1:I T I JAFFERPUR, TRF-1:PARSA DHARA V UJWA, 400 TRF-1:SAMASPUR S/STN NO. 3, HARIJAN BASTI, 100 TRF-1:NAVODAYA VIDAYALYA JAFFERPUR, VILL SAMASPUR S/S NO 2:PM, 100 TRF-1:DARIAB SINGH VILL SAMASPUR:PM, 100 TRF-1:SHIS RAM MUNDELLA KALAN, 400 TRF-1:DURGA ENCLAVE JAFFERPUR, 400 TRF-1:VILLAGE SARANGPUR, 100 TRF-1:RAM KUMAR VILL. GALIBPUR, RAM NARAYAN VILL SAMASPUR:PM, 25 TRF-1:PRAVESH KUMAR VILL DAURALLA, NIHAL SINGH VILL. JHULJHULI, NATHU RAM VILL DARIYAPURABC, 100 TRF-1:PARWATI VLG MALIKPUR | 524
136 | 28/03/2018 | JFR | 10:20 | 15:57 | 05:37 | PLANNED SHUTDOWN | Grid:JAFFARPUR (66/11kV) GRID SSTN To Feeder:11KV SUREHRA MORE , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 100 TRF-1:S/S NO.1 VILL KAIR:PM, 630 TRF-1:VILLAGE KAIR 1, 100 TRF-1:STN 3 VILLAGE KAIR, DILBAG - VILL KAIRVIJAY, VINOD VILL MITRAON, 100 TRF-1:S/S NO.1 VILL SURHERA :PM, 100 TRF-1:STN 2 VLG SURHERA, NEAR MATA DANKOUR SCHOOL ON DHANSA ROAD, S/STN NO.-3 VILL. SURHERA, 400 TRF2: BHAGNI NIVEDITA COLLEGE VILL KAIR:PM, 16 TRF-1: DHAPU FARM ( ASHIYANA FARM ) VILL.KAIR, 400 TRF-1:VILLAGE KAIR 2, 400 TRF-1:VILLAGE SUREHRA 2, 25 KVA-PATNA SISTER NOTARY VILL.KAIR P/M | 546
137 | 28/03/2018 | KPR | 10:20 | 15:16 | 04:56 | PLANNED SHUTDOWN | Grid:66kV BATRA GRID To Feeder:11kV FDR B-II/1, MADANGIR , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 990 KVA TRF-1 B-BLK DAKSHIN PURI | 274
138 | 28/03/2018 | NJF | 10:00 | 14:00 | 04:00 | PLANNED SHUTDOWN | Grid:DELHI JAL BOARD NAJAFGARH WATER WORKS (66/11) To Feeder:JHATIKARA MOUR , 11KV FEEDER:TREE TRIMMING | RESTORED/ REPAIRED | Part of : 100TRF-1:GOVT SCHOOL PAPRAWAT, 100 TRF-1:NATHAN PANDWAKAKALAN, 100 TRF-1:CHET RAM PAPRAWAT, 100 TRF-1:BHUPAN JHATIKRA ROAD, JAIN PLY WOOD FACTORY PAPRAWAT, JAI PRAKASH TRF SHIKARPUR, 100 TRF-1:HARI CHAND PANDWALA KHURD, 100 TRF-1:DAULATPUR MORE, 100 TRF-1:RAMPHAL JHATIKRA, 100 TRF-1:GOPALREWLA KHANPUR, 100 TRF-1:KHAZAN SINGH JHATIKRA*,*25 TRF-1:NO.2 SUSHIL S/SN VILL SHIKARPUR*,*25 TRF-1:BAKSHI FARM PAPRAWAT*,*100 TRF-1:DAULAT REWLA KHANPUR*,*100 TRF-1:RAMANAND PANDWALAKHURD, 16 TRF-1:SHER SINGH VLG UJWA, RAM KUMAR VILL JHATIKRA NEAR DRAIN, 400 TRF-1:VILL PANDWALA KHURD, KRISHAN S/STN JHATIKRA NEAR DRAIN, 25 TRF-1:MANGE RAM TYAGI SHIKAR PUR DAHAR ROAD*,*UDEY RAJ SIKARPUR*,*PANDWALA KALA WATER SUPPLY*,*DULI CHAND KHARKHARI NAHAR*,*100 TRF-1:BRIJESH DEHARREWLAKHANPUR*,*100 TRF-1:DHAN SINGH PAPWARAT*,*16 TRF-1:RAM SARAN SHIKARPUR*,*100 TRF-1:PANDWALA KHURD HARIZON BASTI*,*100 TRF-1:RAMKALA SHIKARPUR*,*JUGLAL NO.2 PAPRAWAT VILLAGE*,*100 TRF-1:STN DURGA JHATIKRA*,*100 TRF-1:RAM SWAROUP-2 SIKARPUR*,*400 TRF-1:VILL PANDWALA KALAN STN 1*,*NIHAL NO-2*,*RATI RAM , SHIKARPUR*,*25 TRF-1:RAJESH TYAGI VILL SHIKARPUR*,*100 TRF-1:HET RAM PAPRAWAT*,*100 TRF-1:AMRIT JHATIKRA*,*MODI TRANSFORMER SHIKARPUR VILLAGE*,*S/STN- 2 VILL PANDWALA KHURD*,*AMIRT SHIKARPUR*,*W/S NO.3 PAPRAWAT VILLAGE*,*100 TRF-1:SHIV LAL PANDWALA KHURD*,*JHATIKARA DHAHAR*,*100 TRF-1:W S2 PAPRAWAT*,*S/STN NO.3 VILLAGE SHILKARPUR*,*SARDAR FARM, VILLAGE SHIKARPUR (RATI RAM)*,*100 TRF-1:RATTI RAM JHATIKRA ROAD*,*100 TRF-1:RATIRAMSHIKARPUR*,*100 TRF-1:KAPOOR FARM PAPRAWAT*,*25 TRF-1:WS JHATIKRA X ING*,*400 TRF-1:VILL SHIKARPUR*,*100 TRF-1:NIHAL SHIKARPUR*,*RAM SARUP SHIKARPURJAY BEE*,*630 TRF1: VILLAGE JHATIKRA*,*JUGLAL PAPRAWAT*,*100 TRF-1:LALOO SHIKARPUR*,*100 TRF-1:TEJ RAM PAPRAWAT*,*NO. 1 SUSHIL S/SN VILL SHIKARPUR*,*100 TRF-1:SH BHARTOO PANDWALA MORE*,*PANDWALA KALAN S/STN NO -3* | 403
139 | 28/03/2018 | NJF | 10:00 | 13:45 | 03:45 | PLANNED SHUTDOWN | Grid:66kV I.O.C BIJWASAN GRID To Feeder:11kV FDR BAMNAULI , 11KV FEEDER:TREE TRIMMING | RESTORED/ REPAIRED | Part of : 25TRF-1:JUGLAL CHAWLA, 25TRF-1:USHA FARM, 25TRF-1:KANSIRAM, 25TRF-1;BALVEER KAUR, 25TRF-1:NEAR USHA FARM, 25TRF-1:MANJEET CHAWLA, 100TRF-1:DEHLI TOURSIM, 100TRF-1:CHET RAM CHHAWLA, 25TRF-PRITAM SINGH KAGANHERI, 25TRF-1;BALVEER KAUR, 25TRF-1:DHRUV AGGARWAL, 25TRF-1;BALVEER KAUR, 25TRF-1:JUGLAL CHAWLA, 25TRF-1, 25TRF-1:NEENA KANCHAN, 25TRF-1*,*25TRF-1:BALBIR VILL RAGHOPUR, 25TRF-1:JAGDEEP KANGANHERI, 25TRF-1:PARVINDER KAUR, 25TRF-1:USHA FARM, 25TRF-1:KALE CHAWLA, 25TRF-1 NEANASIR FARM VILL. BIJWASAN, 25 TRF-1: NASIR FARM BRIJWASAN, RAJINDER VILL KANAGANHERI, 100 TRF-1:STN BAMLI STAND, ISAPUR KHAIRA VIL BMNULI BHAJHGER, 100 TRF-1:DATA RAM KANGENHERI*,*400 TRF-1:GAUTAM COLONY KAGANHERI ROAD CHHAWLA*,*RAVINDER KAUR*,*100 TRF-1:STN NR MANDIR KANGENHERI*,*DHEERAJ RANA (NR. NASIR FARM )VILL. BIJWASAN, 100 TRF-1:CHANDU MALI BAMNOLI, 400 TRF-1:CHHAWLA 1, 400 TRF-1:SUKHBIR RAGHAVPUR, 400 TRF-1:LOP BIJWASAN RAILWAY STATION, 100 TRF-1:OLD SCH CHHAWLA S/STN KANGANHERI ROAD, JAI BHAGWAN VILL. KANGANHERI, W/S KANGANKHERI, 100 TRF-1:PIARAE LAL BIJWASAN, 400 TRF-1:HARIZON BASTI RAILWAY PHATAK BIJWASAN, 25 TRF-1:GAUSHALA, REWLA KHANPUR, 100 TRF-1:LEKH RAJ KANGENHERI, 100 TRF-1:STN RAGHAV PUR, 25 TRF-1:AZAD BAMLI, BEFORE NASIR FARM VILL BIJWASAN, 100 TRF-1:NEW STN K HERI RD CHHAWLA, TRF-1:SETNA FARM BAMLI, 100 TRF-1:BAHI RAM CHHAW LA, 100 TRF-1:RAM KISHAN CHHAWLA, 100 TRF-1:BHOOPE SAROOPEMCHHAWLA, 100 TRF-1:CHIRANJI KANGENHERI, 400 TRF-:BALBIR BIJWASAN, 400 DT:TRISHUL COLONY, CHHAWLA, RICHPAL VILL KANGANHERI, 100 TRF-1:GHAN SHAMCHHAWLA, 25 TRF-1: KARNAL FARM BRIJWASAN, CHANDRABAN VILL BADUSARAI, 400 TRF-1:VILL NANAK HERI, 100 TRF-1:ROOP RAM KANGENHERI*,*100 TRF-1:SISH RAM KANGENHERI RD CHH, 100 TRF-1:NARAIN SARUP CHHAWLA, 16 TRF-1: BADHUR FRM NR ANKUR DABA BAJHRA-RGVPUR, TEK CHAND RAGHAVPUR, 100 TRF-1:SETH FARM BAMROLI, 100 TRF-:KURIA KANGENHERI, 25 TRF-1:SURESH DD VILL. KANGANHERI, SATPAL RANA MLA VILL BIJWASAN, TRF-2:KHAJAN BIJWASAN, TRISHUL COLONY SSTN-2, ASHIRWAD ASHRAM VILL. CHHAWLA | 553
140 | 28/03/2018 | ALN | 10:00 | 13:05 | 03:05 | PLANNED SHUTDOWN | Grid:33 kV ALAKNANDA GRID To Feeder:11 kV FDR N.R.I COMPLEX S/S , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 EPDP PLM G+H BLOCK:PL | 126
141 | 28/03/2018 | PJB | 10:00 | 13:21 | 03:21 | PLANNED SHUTDOWN | Grid:MADIPUR (33/11kV) GRID SSTN To Feeder:ADASRSH BHAWAN , LT CIRCUIT:NETWORK UPGRADTION WORK | RESTORED/ REPAIRED | Part of : 630 TRF-1: ROAD NO.-18,CLUB ROAD,PJB | 111
142 | 28/03/2018 | NHP | 10:00 | 12:56 | 02:56 | PLANNED SHUTDOWN | Grid:EAST OF KAILASH (33/11kV) GRID SSTN To Feeder:11kV FDR G-BLOCK EAST OF KAILASH , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 1000 KVA TRF. KAILASH HILL I/D | 98
143 | 28/03/2018 | NJF | 10:00 | 12:41 | 02:41 | PLANNED SHUTDOWN | Grid:DELHI JAL BOARD NAJAFGARH WATER WORKS (66/11) To Feeder:ROSHAN PURA X-1 BLOCK , 11KV FEEDER:TREE TRIMMING | RESTORED/ REPAIRED | Part of : 630 TRF-1:SHIV NAGAR NAJAFGARH, 25TRF-1:MTNL, 100 TRF-1:KAMALSUPUN PIPE PAPRAWAT RD | 227
144 | 28/03/2018 | KPR | 10:00 | 15:16 | 05:16 | PLANNED SHUTDOWN | Grid:TUGHLAKABAD (33/11kV) GRID SSTN To Feeder:11kV FDR SSTN NO-1, FEEDER-1 SANGAM VIHAR , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 630 KVA TRF-1 F-1S/S-2 | 236
145 | 28/03/2018 | KPR | 10:00 | 15:16 | 05:16 | PLANNED SHUTDOWN | Grid:TUGHLAKABAD (33/11kV) GRID SSTN To Feeder:11kV FDR F-1 SSTN SANGAM VIHAR (NEW) , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : TRF-1 J-2B,SANGAM VIHAR, TRF-1 J BLOCK PAHARI WALA,MCD SchL | 241
146 | 28/03/2018 | RKP | 10:00 | 13:59 | 03:59 | PLANNED SHUTDOWN | Grid:J.N.U. (66/33/11kV) GRID SSTN To Feeder:11kV FDR MUNREKA VIHAR , HT INTERMEDIATE FEEDER:MAINTENANCE OF O/H CIRCUIT | RESTORED/ REPAIRED | Part of : TRF-1 S/STN NEAR BABA GANGNATH PKG, MUNIRKA. | 249
147 | 28/03/2018 | PJB | 09:00 | 11:05 | 02:05 | PLANNED SHUTDOWN | Grid:ROHTAK ROAD (NDPL) GRID SSTN To Feeder:PUNJABI BAGH-2 , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 400TRF-1:ELECTRIC CREMATORIUM, RING RD, PJB | 192
148 | 28/03/2018 | VKP | 12:41 | 14:05 | 01:24 | EMERGENCY SHUTDOWN | Grid:MATIYALA (G-5 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR NWADA , HVDS:MAINTENANCE | RESTORED/ REPAIRED | Part of : 990 TRF-1:B-BLOCK MOHAN GARDEN | 269
149 | 28/03/2018 | VKP | 12:40 | 14:05 | 01:25 | EMERGENCY SHUTDOWN | Grid:MATIYALA (G-5 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR N.S.I.T NO.-2 (D.K.ROAD) , HVDS:MAINTENANCE | RESTORED/ REPAIRED | Part of : 990 TRF-1:B-BLOCK MOHAN GARDEN | 269
150 | 28/03/2018 | JKP | 10:45 | 16:12 | 05:26 | EMERGENCY SHUTDOWN | Grid:MAYAPURI (33/11kV) GRID SSTN To Feeder:11KV C-88 MAYAPURI , TRANSFORMER:TO ATTEND OIL LEAKAGE | RESTORED/ REPAIRED | Part of : 990 TRF-1 :PLOT NO.:C-88 SSTN, PH-2, MYP | 256
151 | 28/03/2018 | NZD | 10:38 | 12:31 | 01:52 | EMERGENCY SHUTDOWN | Grid:LAJPAT NAGAR-III (33/11kV) GRID SSTN To Feeder:TIKONA PARK LPN.-2 , 11KV FEEDER:REPLACEMENT OF JUMPER | RESTORED/ REPAIRED | Part of : TRF-2 TIKONA PARK, LAJPAT NAGAR-2: K, TRF-3 TIKONA PARK, LAJPAT NAGAR-2: K, TRF-1 TIKONA PARK, LAJPAT NAGAR-2: K | 273
152 | 28/03/2018 | NZD | 10:32 | 12:27 | 01:54 | EMERGENCY SHUTDOWN | Grid:33kV NDSE-2 GRID To Feeder:11kV FDR G-BLOCK, NDSE-1 , TRANSFORMER:MOBILE TRANSFORMER REPLACEMENT | RESTORED/ REPAIRED | Part of : 990 KVA TRF-2 G-BLOCK MARKET, NDSE-1: PKG | 248
153 | 28/03/2018 | VKJ | 10:32 | 11:47 | 01:15 | EMERGENCY SHUTDOWN | Grid:66kV I.O.C BIJWASAN GRID To Feeder:11 kV FDR NAVAL KAPASHERA , 11KV FEEDER:PREVENTIVE MAINTENANCE | RESTORED/ REPAIRED | Part of : 630 KVA TRF-1 NAVAL1 VILL. | 217
154 | 28/03/2018 | SKT | 10:31 | 13:02 | 02:29 | EMERGENCY SHUTDOWN | Grid:66kV C-DOT GRID To Feeder:11KV FDR MCD PARK CHATTARPUR NO.-1 , 11KV FEEDER:TREE TRIMMING | RESTORED/ REPAIRED | Part of : 100 KVA TRF. C-29 CHATTARPUR ENCLAVE | 17
155 | 28/03/2018 | NZD | 10:28 | 12:26 | 01:58 | EMERGENCY SHUTDOWN | Grid:DEFENCE COLONY (33/11kV) GRID SSTN To Feeder:11kV FDR SEWA NAGAR , LT CIRCUIT:TO ATTEND FAULT IN LT CIRCUIT | RESTORED/ REPAIRED | Part of : TRF-1 ALIGANJ KOTLA MUBARAKPUR: PL, TRF-2 ALIGANJ KOTLA MUBARAKPUR: PL | 215
156 | 28/03/2018 | VKP | 10:10 | 11:25 | 01:15 | EMERGENCY SHUTDOWN | Grid:BINDAPUR (G-3 PPK) (66/11kV) GRID SSTN To Feeder:11KV FDR O-BLOCK UTTAM NAGAR , LT CIRCUIT:REPAIR/REPLACEMENT OF LT AB | RESTORED/ REPAIRED | Part of : 1000 TRF-1:O-BLOCK GEETA ENCLAVE | 312
157 | 28/03/2018 | VKP | 10:09 | 11:25 | 01:16 | EMERGENCY SHUTDOWN | Grid:HASTAL (66/11kV) GRID SSTN To Feeder:HASTAL VIHAR , HVDS:MAINTENANCE | RESTORED/ REPAIRED | Part of : 630 TRF-2:HASTAL VHIAR I/D, 400 TRF-1:HASTAL VHIAR I/D | 323
158 | 28/03/2018 | NJF | 9:30 | 14:10 | 4:40 | EHV SHUTDOWN | DUE TO PSD FROM 220KV NJF TO JFP CKT-1 | SUPPLY RESTORED | KHERA DABAR, DHANSA, DAULATPUR, PGCIL-I, RAWTA, PANDWALA, MITRAHON, NEW MUNDHELA, JHURJHALI | 10740

## Reasons (hidden)
DISTRIBUTION TR.
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
EMERGENCY SHUTDOWN
EHV TRIPPING
EHV SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
DAMAGE BY OTHER AGENCIES