## Format
DISCOM : BRPL
OUTAGE REPORT FOR : 29/03/2018 06:00Hr. To 30/03/2018 06:00Hr.
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Area / DT Effected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Detail
1 | 29/03/2018 | KPR | 06:22 | 07:27 | 01:05 | LT FEEDER | Grid:66 kV OKHLA PHASE-I GRID To Feeder:11kV FDR I-BLOCK, LAL KUAN , SERVICE LINE,:JUMPER LOOSE/BROKEN FROM DB, | RESTORED/ REPAIRED | Part of : *TRF-1 CHUNGI NO.3:PL* | 58
2 | 29/03/2018 | NJF | 06:34 | 07:35 | 01:01 | HT SYSTEM FAULT | Grid:DELHI JAL BOARD NAJAFGARH WATER WORKS (66/11) To Feeder:KAPOOR FARM , HT O/H,:BIRDAGE, | RESTORED/ REPAIRED | Part of : *25 TRF-1: SBI BANK NAGLI DAIRY*,*3W RMU DandE-BLK S/S-3 NANGLI VIHAR*,*400 TRF-1:NANGLI VIHAR*,*100 TRF-:MUKESH SHARMA P/M S/STN*,*400 TRF:-NANGLI VIHAR EXTN*,*100 TRF-1:ST LT NANGLI MOOR*,*400 TRF-1: N I T U NEAR STATE BANK NANGLI DAIRY*,*400 TRF : NANGLI SAKRAWATI*,*HTC KANT DARBAR NANGLI S*,*100 TRF-1:GREEN TREE SCHOOL INDIRA PARK*,*100 TRF-1:SAI BABA TEMPLE NANGLI*,*DJB STAFF Q, GOVT NURSURY*,*AKASH PUBLIC SCHOOL ARJUN PARK*,*3PH TR HVDS INDRA PARK* | 704
3 | 29/03/2018 | NJF | 07:03 | 08:37 | 01:34 | HT SYSTEM FAULT | Grid:DELHI JAL BOARD NAJAFGARH WATER WORKS (66/11) To Feeder:KAPOOR FARM , HT O/H,:CONDUCTOR SNAPPED, | RESTORED/ REPAIRED | Part of : *25 TRF-1: SBI BANK NAGLI DAIRY*,*3W RMU DandE-BLK S/S-3 NANGLI VIHAR*,*400 TRF-1:NANGLI VIHAR*,*100 TRF-:MUKESH SHARMA P/M S/STN*,*400 TRF:-NANGLI VIHAR EXTN*,*100 TRF-1:ST LT NANGLI MOOR*,*400 TRF-1: N I T U NEAR STATE BANK NANGLI DAIRY*,*400 TRF : NANGLI SAKRAWATI*,*HTC KANT DARBAR NANGLI S*,*100 TRF-1:GREEN TREE SCHOOL INDIRA PARK*,*100 TRF-1:SAI BABA TEMPLE NANGLI*,*DJB STAFF Q, GOVT NURSURY*,*AKASH PUBLIC SCHOOL ARJUN PARK*,*3PH TR HVDS INDRA PARK* | 704
4 | 29/03/2018 | KPR | 07:09 | 08:10 | 01:00 | EMERGENCY SHUTDOWN | Grid:66kV MALVIYA NAGAR GRID To Feeder:11kV FDR KHANPUR COMP. CENTER , LT CIRCUIT:TO ATTEND CONSUMER COMPLAINT | RESTORED/ REPAIRED | Part of : *TRF-1 S/STN RPS FLATS,KHAN PUR* | 68
5 | 29/03/2018 | VKP | 08:33 | 10:01 | 01:28 | HT SYSTEM FAULT | Grid:BINDAPUR (G-3 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR CHANAKYA PLACE I/D SSTN NO-1 , : 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : *TRF-1:I/D JANAKI PURI:ID*,*400 TRF-2:I/D JANAKI PURI*,*400 TRF-1:B BLOCK JANAKI PURI*,*990 TRF-1:PRATAP GARDEN(OLD)*,*630*,*400 TRF-1:PRATAP GARDEN(NEW)*,*630 TRF-1:PRATAP GARDEN(NEW)*,*990 TRF-2:BINDAPUR-1(SCHOOL WALA)* | 785
6 | 29/03/2018 | VKJ | 08:35 | 09:52 | 01:16 | HT SYSTEM FAULT | Grid:66kV VASANT KUNJ C-BLK GRID To Feeder:11 kV FDR NANGAL DAIRY FEEDER (LIG MASUDPUR) ISID VASANT KUNJ , HT O/H,:BIRDAGE, | RESTORED/ REPAIRED | Part of : *TRF-1 IOCLPETROL PUMP*,*TRF-1 PUSPANJALI PETROL PUMP JNU RD;;*,*TRF-1 NBT P/M* | 16
7 | 29/03/2018 | SVR | 08:47 | 09:47 | 01:00 | LT FEEDER | Grid:MOHAN CO-OPERATIVE (66/11kV) GRID SSTN To Feeder:11kV FDR MEETHAPUR WATER PMP. STN. , LT POLE,:FIRE ON POLE, | RESTORED/ REPAIRED | Part of : 630 KVA MOLARBANDH EXT SAMSAN GHAT | 62
8 | 29/03/2018 | RKP | 10:00 | 12:34 | 02:34 | PLANNED SHUTDOWN | Grid:R.K.PURAM-I (33/11kV) GRID SSTN To Feeder:11kV FDR SECTOR-12 R.K PURAM , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 SEC-12, S/S-5, R.K.P.(POLICE STN.): ID* | 246
9 | 29/03/2018 | RKP | 10:00 | 13:54 | 03:54 | PLANNED SHUTDOWN | Grid:VASANT VIHAR (33/11kV) GRID SSTN To Feeder:11kV FDR VASANT LOK COMM. CENTER , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-3 VASANT LOK COMMUNITY CENTRE: ID*,*TRF-1 VASANT LOK COMMUNITY CENTRE: ID*,*TRF-2 VASANT LOK COMMUNITY CENTRE: ID* | 384
10 | 29/03/2018 | NHP | 10:00 | 12:56 | 02:56 | PLANNED SHUTDOWN | Grid:EAST OF KAILASH (33/11kV) GRID SSTN To Feeder:11kV FDR D-BLOCK EAST OF KAILASH , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-2 S/STN D BLOCK E.O.K I/D:ID* | 34
11 | 29/03/2018 | RKP | 10:00 | 12:30 | 02:30 | PLANNED SHUTDOWN | Grid:R.K.PURAM-I (33/11kV) GRID SSTN To Feeder:11kV FDR SECTOR-12 R.K PURAM , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 SEC-12, S/S-3, R.K.P.(CONSTRUCTION): ID* | 172
12 | 29/03/2018 | ALN | 10:00 | 13:45 | 03:45 | PLANNED SHUTDOWN | Grid:33 kV ALAKNANDA GRID To Feeder:11 kV FDR MANDAKINI S/S NO.-2 , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 MANDAKNI M-2:ID* | 41
13 | 29/03/2018 | TGN | 10:00 | 15:49 | 05:49 | PLANNED SHUTDOWN | Grid:MUKHERJEE PARK (33/11kV) GRID SSTN To Feeder:11kV FDR IND. AREA TILAK NAGAR , TRANSFORMER:NETWORK UPGRADATION WORK | RESTORED/ REPAIRED | Part of : *990 TRF-1:810 BUS STOP NJF ROAD PL* | 214
14 | 29/03/2018 | KPR | 10:03 | 15:24 | 05:21 | PLANNED SHUTDOWN | Grid:33kV D.C.SAKET GRID To Feeder:11kV FDR MADANGIRI S/S NO.-1 , LT CIRCUIT:NETWORK UPGRADTION WORK | RESTORED/ REPAIRED | Part of : *TRF-3 MADANGIR PHASE-2:ID*,*TRF-1 MADANGIR PHASE-2:ID*,*TRF-2 MADANGIR PHASE-2:ID* | 478
15 | 29/03/2018 | JKP | 10:13 | 12:04 | 01:50 | HT SYSTEM FAULT | Grid:D.C. JANAKPURI (33/11kV) GRID SSTN To Feeder:11KV PLOT NO.-7A, D.C JANAKPURI , 11KV GRID PANEL,:MECHANISUM STRUCK/FAULTY, | RESTORED/ REPAIRED | Part of : *630 TRF-1 :PLOT NO.-1 (DDA BLDG.) SSTN, JKP*,*630 TRF-3 :PLOT NO.-1 (DDA BLDG.) SSTN, JKP*,*400 TRF-1 :PLOT NO.-7 (SUNEJA TOWER-I) SSTN,*,*400 TRF-2 :PLOT NO.-7 (SUNEJA TOWER-I) SSTN,*,*630 TRF-1 :PLOT NO.-6 (JAINA TOWER-II) SSTN*,*630 TRF-2 :PLOT NO.-1 (DDA BLDG.) SSTN, JKP*,*400 TRF-1 :PLOT N- 7A SSTN, JANAKPURI* | 518
16 | 29/03/2018 | SVR | 10:38 | 11:59 | 01:21 | LT FEEDER | Grid:SARITA VIHAR (66/11kV) GRID SSTN To Feeder:11 kV FDR M-BLOCK ABUL FAZAL ENCLAVE , SERVICE LINE,:FIRE IN SERVICE LINE, | RESTORED/ REPAIRED | Part of : 990 KVA TRF-2 G-BLK ABUL FAZAL ENCL | 86
17 | 29/03/2018 | NJF | 10:40 | 14:30 | 03:50 | PLANNED SHUTDOWN | Grid:66kV I.O.C BIJWASAN GRID To Feeder:11kV FDR BAMNAULI , 11KV FEEDER:TREE TRIMMING | RESTORED/ REPAIRED | Part of : *100 TRF-1:STN RAGHAV PUR*,*100 TRF-1:ROOP RAM KANGENHERI*,*400 TRF-1:SUKHBIR RAGHAVPUR*,*100 TRF-1:BHOOPE SAROOPEMCHHAWLA*,*DHEERAJ RANA (NR. NASIR FARM )VILL. BIJWASAN*,*100 TRF-1:CHANDU MALI BAMNOLI*,*ASHIRWAD ASHRAM VILL. CHHAWLA*,*JAI BHAGWAN VILL. KANGANHERI*,*25 TRF-1:SURESH DD VILL. KANGANHERI*,*RICHPAL VILL KANGANHERI*,*100 TRF-1:RAM KISHAN CHHAWLA*,*100 TRF-1:DATA RAM KANGENHERI*,*100 TRF-1:STN NR MANDIR KANGENHERI*,*100 TRF-1:GHAN SHAMCHHAWLA*,*100 TRF-1:SISH RAM KANGENHERI RD CHH*,*CHANDRABAN VILL BADUSARAI*,*25 TRF-1:AZAD BAMLI*,*400 DT:TRISHUL COLONY, CHHAWLA*,*100 TRF-1:SETH FARM BAMROLI*,*100 TRF-1:STN BAMLI STAND*,*BEFORE NASIR FARM VILL BIJWASAN*,*400 TRF-1:GAUTAM COLONY KAGANHERI ROAD CHHAWLA*,*16 TRF-1: BADHUR FRM NR ANKUR DABA BAJHRA-RGVPUR*,*RAJINDER VILL KANAGANHERI*,*400 TRF-1:LOP BIJWASAN RAILWAY STATION*,*100 TRF-1:BAHI RAM CHHAW LA*,*25 TRF-1: KARNAL FARM BRIJWASAN*,*100 TRF-1:OLD SCH CHHAWLA S/STN KANGANHERI ROAD*,*SATPAL RANA MLA VILL BIJWASAN*,*400 TRF-:BALBIR BIJWASAN*,*100 TRF-1:NEW STN K HERI RD CHHAWLA*,*TEK CHAND RAGHAVPUR*,*RAVINDER KAUR*,*100 TRF-1:NARAIN SARUP CHHAWLA*,*100 TRF-:KURIA KANGENHERI*,*25 TRF-1:GAUSHALA, REWLA KHANPUR*,*100 TRF-1:LEKH RAJ KANGENHERI*,*TRF-2:KHAJAN BIJWASAN*,*100 TRF-1:PIARAE LAL BIJWASAN*,*W/S KANGANKHERI* | 687
18 | 29/03/2018 | KPR | 10:41 | 16:18 | 05:37 | PLANNED SHUTDOWN | Grid:66kV BATRA GRID To Feeder:11kV FDR OLD D-BLOCK SANGAM VIHAR , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 L-BLK,GALI NO-4,SANGAM VIHAR* | 262
19 | 29/03/2018 | VKP | 10:50 | 12:27 | 01:37 | EMERGENCY SHUTDOWN | Grid:PANKHA ROAD (66/33/11kV) GRID SSTN To Feeder:JEEVAN PARK , LT ACB:REPAIRING OF ACB | RESTORED/ REPAIRED | Part of : *990TRF-2: JEEVAN PARK NALA:PM* | 85
20 | 29/03/2018 | SKT | 10:53 | 12:16 | 01:23 | LT FEEDER | Grid:66kV FATEHPUR BERI GRID To Feeder:11kV FDR O/G NO.-3 ASHOLA BANDH , LT O/H CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : *B-1 FARM ASOLA* | 31
21 | 29/03/2018 | MDK | 10:53 | 13:41 | 02:47 | EMERGENCY SHUTDOWN | Grid:NANGLOI WATER WORKS (66/11kV) GRID SSTN To Feeder:11kV FDR MUNDKA LT LESS AREA , 11KV FEEDER:PREVENTIVE MAINTENANCE | RESTORED/ REPAIRED | Part of : *100TRF-1:S/STN-5 SWARN PARK, UDYOG NGR*,*100TRF-1:SSTN NO-6 SWARN PARK P/M*,*100TRF-1:S/PARK NR PLOT NO 94 P/M*,*TRANSFORMER,11/0.433KV 100KVA OIL TYPE*,*400TRF-1:S/STN-4 SWARN PARK, UDYOG NGR PL/M*,*400TRF-1:S/STN-9 SWARN PARK*,*100TRF-1:S/PK NR PLT N 184-193 P/M*,*400TRF-1:PLOT NO 98 S/PARK UDYOG NGR P/M*,*100TRF-1:PLOT NO 226 S/PARK UDYOG NGR P/M* | 721
22 | 29/03/2018 | VKP | 10:55 | 12:27 | 01:32 | EMERGENCY SHUTDOWN | Grid:BINDAPUR (G-3 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR CHANAKYA PLACE I/D SSTN NO-1 , LT ACB:REPAIRING OF ACB | RESTORED/ REPAIRED | Part of : *400 TRF-1:B BLOCK JANAKI PURI* | 62
23 | 29/03/2018 | VKP | 10:56 | 12:28 | 01:31 | EMERGENCY SHUTDOWN | Grid:BINDAPUR (G-3 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR BINDAPUR SCHOOLWALA , LT ACB:REPAIRING OF ACB | RESTORED/ REPAIRED | Part of : *630 TRF-1:BINDAPUR-3(MAHAJAN WALA)* | 73
24 | 29/03/2018 | MDK | 10:58 | 13:39 | 02:41 | EMERGENCY SHUTDOWN | Grid:NANGLOI WATER WORKS (66/11kV) GRID SSTN To Feeder:11kV FDR INDIAN OIL , HT INTERMEDIATE FEEDER:PREVENTIVE MAINTENANCE | RESTORED/ REPAIRED | Part of : *630TRF-1:MUNDKA VILLAGE S/STN-4:PL*,*630TRF-1:MUNDKA VILLAGE SSTN NO-7*,*400TRF-1:FRIENDS ENCLAVE S/STN-1:PM*,*100TRF-1:FRIENDS ENCLAVE RAILWAY CLY MUNDKA*,*630TRF-2:MUNDKA VILLAGE S/STN-4:PL*,*990TRF-1:MUNDKA VILLAGE SSTN NO-2*,*400TRF-1:RMU RANIKHERA ROAD*,*400TRF-1:FRIENDS ENCLAVE S/STN-2:PM*,*990TRF-1:SAWARN PARK CHANGI RAM WALA:PL*,*630TRF-1:DMRC QUATERS MUNDKA*,*100TRF-1:TELEPHONE EXCHANGE MUNDKA:PM*,*630TRF-2:DMRC QUATERS MUNDKA* | 804
25 | 29/03/2018 | SKT | 11:00 | 13:19 | 02:19 | PLANNED SHUTDOWN | Grid:66kV C-DOT GRID To Feeder:11KV FDR CHATTARPUR NO-2 , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 MASJID (MATA CHOCK) CHHATAR PUR:PM* | 248
26 | 29/03/2018 | NGL | 11:00 | 14:42 | 03:42 | PLANNED SHUTDOWN | Grid:NANGLOI (66/33/11kV) GRID SSTN To Feeder:11kV FDR NANGLOI NO-2 , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : *990 TRF-1:ZONAL OFFICE NANGLAOI*,*990 TRF-2:ZONAL OFFICE NANGLAOI*,*630 TRF-1:Y-BLK NANGLAOI*,*630 TRF1: CAMP NO. 3, NANGLAOI*,*990 TRF-1:L BLK NGL* | 517
27 | 29/03/2018 | TGN | 11:00 | 15:48 | 04:48 | PLANNED SHUTDOWN | Grid:CHAUKHANDI (33/11kV) GRID SSTN To Feeder:11 kV FDR TILAK VIHAR , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : *990 TRF-1 :TILAK VIHAR SSTN NO-1,TILAK NGR*,*990 TRF-1 :GALI NO.-9 SSTN, SANTGARH NALEWALA*,*990 TRF-1 :SANT GARH NALE WALA SSTN, SANT GARH*,*990 TRF-1 :PRITHVI PARK SSTN, TILAK NAGAR*,*990 TRF-2 :TILAK VIHAR SSTN NO-1,TILAK NGR* | 625
28 | 29/03/2018 | NHP | 11:00 | 14:42 | 03:42 | PLANNED SHUTDOWN | Grid:EAST OF KAILASH (33/11kV) GRID SSTN To Feeder:11kV FDR S/S NO.-6 OKHLA PHASE-3 , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 SHYAM NAGAR* | 51
29 | 29/03/2018 | SVR | 11:00 | 15:08 | 04:08 | PLANNED SHUTDOWN | Grid:MOHAN CO-OPERATIVE (66/11kV) GRID SSTN To Feeder:11kV FDR MEETHAPUR WATER PMP. STN. , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 HARI NAGAR VILLAGE;;*,*TRF-2 MEETHA PUR VILL.*,*TRF-1 MEETHA PUR VILL.*,*TRF-1 KAMAL NURSING HOME GALI NO-25 M.B.EXTN*,** | 495
30 | 29/03/2018 | JKP | 11:00 | 13:37 | 02:37 | PLANNED SHUTDOWN | Grid:SAGARPUR (66/11kV) GRID SSTN To Feeder:11kV FDR MUSICAL FOUNTAIN , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *990TRF-3:BE I/D,JANAK PURI* | 81
31 | 29/03/2018 | SVR | 11:00 | 15:07 | 04:07 | PLANNED SHUTDOWN | Grid:MATHURA ROAD (66/11kV) GRID SSTN To Feeder:11kV FDR SUKHDEV VIHAR O/H , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 LAPERA HOSPITAL NOIDA ROAD;;*,*TRF-1 NOIDA ROAD ST. LIG- 1 D.P.1;;*,*TRF-1 STREET LIGHT SAVITA VIHAR-2*,*TRF-1 RMU NEAR DDA OFFICE;;*,*TRF-1 CNG GAS FILLING S/RC NOIDA ROAD SVR*,*TRF-1 JASOLA PETROL PUMP AUTO YARD;;* | 219
32 | 29/03/2018 | NGL | 11:00 | 12:59 | 01:59 | PLANNED SHUTDOWN | Grid:NANGLOI WATER WORKS (66/11kV) GRID SSTN To Feeder:11kV FDR SHIV RAM PARK , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : *400TRF-1:SHIV RAM PARK HANUMAN MANDIR:PL*,*990 TRF-1:Shiv Ram Park E-Block S/S-3*,*630 TRF-1:Shiv Ram Park No-1 S/S NGI* | 432
33 | 29/03/2018 | KPR | 11:00 | 14:16 | 03:16 | PLANNED SHUTDOWN | Grid:66kV BATRA GRID To Feeder:11kV FDR TUGLAKABAD INST. AREA , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 DUGGAL COLONY:ID*,*TRF-2 DUGGAL COLONY:ID* | 327
34 | 29/03/2018 | RKP | 11:00 | 16:13 | 05:13 | PLANNED SHUTDOWN | Grid:BHIKAJI CAMA PLACE (33/11kV) GRID SSTN To Feeder:11kV FDR S/S NO.-5, B.C PLACE , 11KV FEEDER:TO SHIFT THE CABLE | RESTORED/ REPAIRED | Part of : *TRF-2 BLDG. NO 5 (SOMDUTT CH. 1) BHIKAJI:ID*,*TRF-1 BLDG. NO 5 (SOMDUTT CH. 1) BHIKAJI:ID* | 78
35 | 29/03/2018 | KPR | 11:00 | 16:17 | 05:17 | PLANNED SHUTDOWN | Grid:TUGHLAKABAD (33/11kV) GRID SSTN To Feeder:11kV FDR SSTN NO.-1, SANGAM VIHAR, FEEDER NO.-2 PLINTH MOUNTED , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 K-2,SANGAM VIHAR* | 261
36 | 29/03/2018 | SKT | 11:00 | 15:04 | 04:04 | PLANNED SHUTDOWN | Grid:33 kV SHIVALIK GRID To Feeder:11 kV FDR RPS SAIKH SARAI PHASE-1 , LT CIRCUIT:NETWORK UPGRADTION WORK | RESTORED/ REPAIRED | Part of : *TRF-2 JAGDAMBA CAMP:PL* | 124
37 | 29/03/2018 | NHP | 11:00 | 14:40 | 03:40 | PLANNED SHUTDOWN | Grid:OKHLA PHASE-II (33/11kV) GRID SSTN To Feeder:C-46, OKHLA INDUSTRIAL AREA PHASE-2 , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 S/STN DSIDC SHED NO-2:ID* | 104
38 | 29/03/2018 | SVR | 11:00 | 15:07 | 04:07 | PLANNED SHUTDOWN | Grid:JASOLA (66/33/11kV) GRID SSTN To Feeder:11kV FDR S/S NO.-2, F.C-33, JASOLA , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 STN-2 FC-33 JASOLA* | 233
39 | 29/03/2018 | SVR | 11:00 | 15:05 | 04:05 | PLANNED SHUTDOWN | Grid:66/11KV MEETHAPUR GRID SUB STN To Feeder:11kV HARIJAN BASTI (OLD) , TRANSFORMER:TRANSFORMER REPLACEMENT | RESTORED/ REPAIRED | Part of : *TRF-1 SR. SEC. SCHOOL MEETHAPUR;;* | 81
40 | 29/03/2018 | SKT | 11:00 | 15:58 | 04:58 | PLANNED SHUTDOWN | Grid:33kV ADHCHINI GRID To Feeder:11kV FDR AURVINDO MARG , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 ADHCHINI CROSSING:PM*,*TRF-1 PLOT NO. 6, AUROBINDO MARG*,*TRF-2 PLOT NO. 6, AUROBINDO MARG*,*TRF-1 NCERT:PM*,*TRF-1 ARVINDO APPT:ID* | 653
41 | 29/03/2018 | SKT | 11:00 | 13:46 | 02:46 | PLANNED SHUTDOWN | Grid:66kV C-DOT GRID To Feeder:11KV FDR I.I.P.M NO.-2 , 11KV FEEDER:TREE TRIMMING | RESTORED/ REPAIRED | Part of : *TRF-1 MALLU FARM MAIN ROAD SATBARI*,*TRF-1 MEHNDI FARM 9 MOTHER TERESA LANE BHATI*,*TRF-1 SANYAN FARM MOTHER TERESA LANE BHATI*,*TRF-1 F-50 RADHEY MOHAN DRIVE*,*TRF-1 MUTHMBA BHATTI:PM*,*TRF-1 LANGARI DHANI:PM*,*TRF-1 ARUN NEHRU CHANDAN HOLA:PM* | 458
42 | 29/03/2018 | NJF | 11:00 | 14:54 | 03:54 | PLANNED SHUTDOWN | Grid:NAJAFGARH (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR ANAJ MANDI , 11KV FEEDER:TREE TRIMMING | RESTORED/ REPAIRED | Part of : *100 TRF-1:BALJEET DICHAON KALAN*,*25 TRF-1: SHRI BHAGWAN , DICHOAN VILLAGE*,*25 TRF-1: ISHWAR DAS DICHAON KALAN*,*25 TRF-1: JOGINDER, JHARODA VILLAGE*,*25 TRF-1: MAHENDRE SHARMA T/W VILL DICHAON KALAN*,*25 TRF-1: RANBHIR SINGH DICHAON KALAN*,*25 TRF-1: S/STN NO-3 WATER SUPPLY VILL JHHARO*,*630 TRF-1:JHARODA KALAN 1*,*25 TRF-1: DARSHAN SINGH DICHAON KALAN*,*100 TRF-1:JEEWAN VILL JHARODA KALAN*,*630 TRF-1:BABA HARIDASS ENCLAVE*,*MUKHTYAR WALA, CHANDER VIHAR*,*25 TRF-1:NARESH KUMAR VILL JHARODA KALAN*,*25 TRF-1:MAHA SINGH VILL JHARODA KALAN*,*25 TRF-1:SUMITRA DEVI VILL JHARODA KALAN*,*25 TRF-1:BHOOP SINGH VILL JHARODA KALAN*,*25 TRF-1:JEET RAM JHARODA KALA BEHIND PTC*,*25 TRF-1:RAGHUBIR SINGH JHARODA KALA BEHIND PTC*,*KALI RAM JHARODA KALANCAPITAL TRANSFORMERS*,*DHAN SINGH JHARODA VILLAGE*,*RAVI,JHARODA VILLAGE*,*400 TRF-:SATYAM PURAM, JHRODA KALAN*,*25 TRF-1:RAGHU NATH VILL JHARODA KALAN*,*DHARAMBIR JHARODA VILLAGE*,*BAGROO T/W VILL DICHAON KALAN*,*NAFE SINGH JHARODA VILLAGE*,*RAM PHOOL JHARODA KALA BEHIND PTC*,*100 TRF-1:SATTU VLG DICHOUN KALAN SPDC*,*100 TRF-1:BANI SINGH JHARODA KALAN*,*25 TRF-1: RAM CHANDER SINGH, JHARODA VILLAGE*,*25 TRF-1: SHRI KISHAN JAI NARAYAN, JHARODA VILLAG*,*25 TRF-1:RAM KUMAR JHARODA KALA*,*25 TRF-1: MEER SINGH, JHARODA VILLAGE* | 719
43 | 29/03/2018 | NJF | 11:00 | 14:53 | 03:53 | PLANNED SHUTDOWN | Grid:NAJAFGARH (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR RMU 7- PANEL BOARD(NEAR POWER HOUSE) , 11KV FEEDER:TREE TRIMMING | RESTORED/ REPAIRED | Part of : *16 TRF-1:CANCER HOSPITAL JHARODA*,*400 TRF 1 : S KUNJ KALI PIAO JHARODA RD*,*100 TRF-1:RATTAN VLG DICHAOAN KALAN*,*100 TRF-1:HOSHIYAR SINGH ANAJ MANDI*,*ANAJ MANDI-S.STN-2*,*100 TRF-:KRISHNA ENCLAVE, DICHAON KALAN*,*400 TRF-1:LOKESH PARK EXTN.*,*400 TRF-1:AGGARWAL COLONY*,*100 TRF1:- VIRENDER VILL DICHAOAN KALAN*,*400 TRF-1:S/STN NO-2 EKTA VIHAR*,*400 TRF1:INDIRA MKT.*,*100 TRF-1:DHIRE VILLAGE DICHAON KALAN*,*630 TRF-1:ANAZ MANDI STN 3*,*630 TRF-1:ANAZ MANDI STN NO 1*,*400 TRF-1:BABA HARIDASS NAGAR*,*630 TRF-2:ANAZ MANDI STN 1*,*SARASWATI KUNJ DVB DELHI*,*400 TRF-1:S/STN NO-1 EKTA VIHAR & RAJIV VIHAR*,*100 TRF-1:CHHOTU MOTU VILLAGE D.KALAN*,*25 TRF-1: CHUDHARYBHARATSINGH,(M.L.A.,DICHAON KAL*,*100 TRF-1:MTNL AANAJ MANDI(AGGARWAL COL)*,*25 TRF-1: DTC TERMINAL NAJAFGAREH*,*BABA HARIDAS ENCLAVE BLK B S/STN NO. 2*,*630 TRF-2:ANAZ MANDI STN 3* | 804
44 | 29/03/2018 | SVR | 11:00 | 15:06 | 04:06 | PLANNED SHUTDOWN | Grid:SARITA VIHAR (66/11kV) GRID SSTN To Feeder:11kV FDR N-BLOCK ABUL FAZAL ENCLAVE , LT CIRCUIT:NETWORK UPGRADTION WORK | RESTORED/ REPAIRED | Part of : *TRF-1 N BLOCK AF ENCLAVE;;* | 219
45 | 29/03/2018 | PJB | 11:00 | 13:58 | 02:58 | PLANNED SHUTDOWN | Grid:MADIPUR (33/11kV) GRID SSTN To Feeder:SLUM TREATMENT , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *630 TRF-3: NEW SLUMS TENAMENT,PASCHIM PURI,PJB*,*630 TRF-1: OLD SLUMS TERMINAL,PASCHIM PURI*,*400 TRF-2: OLD SLUMS TERMINAL,PASCHIM PURI*,*990 TRF-1: ROAD NO.-33 (PETROL PUMP),PJB*,*400 TRF-1: DSIDC SHED, MADIPUR,PJB*,*630 TRF-2: NEW SLUMS TENAMENT,PASCHIM PURI,PJB*,*SBI COLONY PASCHIM VIHAR:ID*,*400 TRF-1: NEW SLUMS TENAMENT,PASCHIM PURI,PJB* | 761
46 | 29/03/2018 | NGL | 11:00 | 14:42 | 03:42 | PLANNED SHUTDOWN | Grid:PASCHIM VIHAR (66/33/11KV) GRID SSTN To Feeder:11kV FDR NILOTHI , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : *16 TRF-1: DILIP VIHAR TUBE-1 WELL 16 KVA*,*400 TRF-1:CHANDER VIHAR STN-5*,*400 TRF-1:Gram Sabha Colony Near Dispensary*,*400 TRF-1:DEEPAK VIHAR*,*25 TRF-1:*,*400 TRF-1 NIHAL VIHAR- 3*,*630 TRF-2:DEEPAK VIHAR*,*400 TRF-2:BHARAT VIHAR-2*,*TRF-1:CHANDER VIHAR STN-3*,*400 TRF-2:UDAI VIHAR-2*,*400-TRF-1:BHARAT VIHAR-1*,*630 TRF-1:UDAY VIHAR PH-1*,*630 TRF-1:NILOTHI VILLAGE STN-3*,*400 TRF-2:NEW GURU HARKISHAN NAGAR*,*630 TRF-1:CHANDER VIHAR SSTN-4*,*25 TRF-1: MTNL TOWER NILOTHI 25 KVA*,*400 TRF-2:NEW GURU HARKISHAN NAGAR* | 709
47 | 29/03/2018 | NHP | 11:00 | 14:51 | 03:51 | PLANNED SHUTDOWN | Grid:NEHRU PLACE (33/11kV) GRID SSTN To Feeder:11kV FDR BAHAI MANDIR , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 S/STN HARIKESH NAGAR:PL* | 155
48 | 29/03/2018 | NHP | 11:00 | 14:41 | 03:41 | PLANNED SHUTDOWN | Grid:OKHLA PHASE-II (33/11kV) GRID SSTN To Feeder:11kV FDR DDA LSC OKH PHASE-2 , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 S/STN NO-3 OKHLA PH-2:ID* | 98
49 | 29/03/2018 | JKP | 11:00 | 14:13 | 03:13 | PLANNED SHUTDOWN | Grid:SAGARPUR (66/11kV) GRID SSTN To Feeder:11kV FDR B-2 BOOSTER PUMP JANAKPURI , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *1000 TRF-1 :BD-BLOCK SSTN, JANAKPURI* | 74
50 | 29/03/2018 | ALN | 11:00 | 14:20 | 03:20 | PLANNED SHUTDOWN | Grid:66 kV OKHLA PHASE-I GRID To Feeder:11 kV FDR CCI COMPLEX NO.-2 , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 KANGAR MOHALLA TUGALKABAD* | 42
51 | 29/03/2018 | JKP | 11:00 | 12:49 | 01:49 | PLANNED SHUTDOWN | Grid:SAGARPUR (66/11kV) GRID SSTN To Feeder:11kV FDR C-58 M.S BUILDING JANAKPURI , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *990 TRF-1 :C/6A-BLOCK SSTN, JANAKPURI* | 68
52 | 29/03/2018 | SVR | 11:00 | 15:09 | 04:09 | PLANNED SHUTDOWN | Grid:SARAI JULLENA (33/11kV) GRID SSTN To Feeder:11kV FDR DDA FLATS SARAI JULENA , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 D.D.A FLAT SARAI JULENA;;* | 241
53 | 29/03/2018 | JKP | 11:00 | 14:13 | 03:13 | PLANNED SHUTDOWN | Grid:MAYAPURI (33/11kV) GRID SSTN To Feeder:11KV AJANTA O/H , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *990 TRF-1 :BLOCK NO.-2 SSTN, SUBHASH NAGAR* | 69
54 | 29/03/2018 | JKP | 11:00 | 14:14 | 03:14 | PLANNED SHUTDOWN | Grid:SAGARPUR (66/11kV) GRID SSTN To Feeder:11kV FDR I.A JANAKPURI S/S NO.-1 , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *400TRF-2: VASHIST PARK:1 K* | 49
55 | 29/03/2018 | JKP | 11:00 | 14:13 | 03:13 | PLANNED SHUTDOWN | Grid:HARI NAGAR (66/11kV) GRID SSTN To Feeder:11KV AJANTA INDOOR , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *630 TRF-1 :AKALI GURUDWARA SSTN, TIHAR VILLAGE* | 59
56 | 29/03/2018 | NZD | 11:00 | 13:00 | 01:59 | EMERGENCY SHUTDOWN | Grid:33kV KILOKARI GRID SSTN To Feeder:11kV FDR SARAI KALE KHAN D.V.B COLONY+(SUN LIGHT COLONY) RMU KILOKARI GRID SSTN. NO.-1 , TRANSFORMER:CLEANING ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 THAPAR CHAMBER: PL/M* | 124
57 | 29/03/2018 | PJB | 11:03 | 13:45 | 02:42 | PLANNED SHUTDOWN | Grid:PASCHIM PURI (33/11kV) GRID SSTN To Feeder:A-6 PASCHIM VIHAR , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *630 TRF-2: A-6 BLK I/D,PASCHIM VHR*,*630 TRF-1: A-6 J.FLATS NO-2(MANDIR WALA),P.VHR*,*630 TRF-1: AVTAR ENCLAVE PLM,PJB*,*400 TRF-1: POLICE QUARTERS,PASCHIM VHR*,*630 TRF-2: POLICE QUARTERS,PASCHIM VHR*,*990 TRF-2: SUNSHINE APPT.,PASCHIM VHR*,*630 TRF-1: A-6 SHOPPING CNTR,PASCHIM VHR*,*TRANSFORMER,11/0.433KV 630KVA OIL TYPE*,*630 TRF-2: A-4 JANTA FLATS,PASCHIM VHR*,*400 TRF-1: A-6 BLK I/D,PASCHIM VHR*,*630 TRF-1: SUNSHINE APPT.,PASCHIM VHR*,*1000 TRF-1: A-6 J.FLATS NO-1(MANDIR WALA),P.VHR* | 687
58 | 29/03/2018 | MDK | 11:03 | 13:04 | 02:01 | PLANNED SHUTDOWN | Grid:NANGLOI (66/33/11kV) GRID SSTN To Feeder:11kV FDR PUNJABI BASTI , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *990TRF-1:A-2 BLOCK, JJ-NO. 2, NANGLAOI:PL*,*630TRF-2:PUNJABI BASTI:PL*,*630TRF-1:PUNJABI BASTI:PL*,*630TRF-1:METRO SHOPPING COMPLEX*,*630TRF-1:KAVITA COLONY PL*,*630TRF-2:KAVITA COLONY*,*990TRF-1:WORK CENTER NGL* | 589
59 | 29/03/2018 | KPR | 11:03 | 16:19 | 05:16 | PLANNED SHUTDOWN | Grid:33kV D.C.SAKET GRID To Feeder:11kV FDR LSC NO.-2,MADANGIR(VIA S/S NO.-15) , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 HANUMAN MANDIR,M.GIR:PL* | 168
60 | 29/03/2018 | MDK | 11:03 | 13:04 | 02:01 | PLANNED SHUTDOWN | Grid:NANGLOI WATER WORKS (66/11kV) GRID SSTN To Feeder:11kV FDR RANHOLA , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *990TRF-1:RANHOLLA TALAB WALA*,*400TRF-1:HARIJAN BASTI RANHOLLA NO-1*,*400TRF-1:DADA BHAI MARG RANHOLLA*,*RANHOLLA BUS STAND*,*400TRF-1:DADA BHAI MARG RANHOLLA*,*25 TRF-1: SABKA BAZAAR,KUNWAR SINGH NAGAR,NJF ROA*,*630TRF-1:RANHOLLA SSTN-5*,*400TRF-1:HARIJAN BASTI RANHOLLA S/STN NO 2*,*400TRF-1:DADA BHAI MARG RANHOLLA*,*630TRF-2:RANHOLLA TALAB WALA* | 672
61 | 29/03/2018 | PJB | 11:03 | 13:46 | 02:43 | PLANNED SHUTDOWN | Grid:PASCHIM PURI (33/11kV) GRID SSTN To Feeder:A-2 COMMUNITY CENTER , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *630 TRF-1: A-3 BLK NR CA APPT.,PASCHIM VHR*,*630 TRF-2: CA APPT.-1,PASCHIM VHR*,*630 TRF-2: CA APPT.-2,PASCHIM VHR*,*630 TRF-1: A-2 PETROL PUMP,PASCHIM VHR*,*CA APPT. SSTN-2, PASCHIM VIHAR*,*990 TRF-1: GREEN APPARTMENT,PASCHIM VHR*,*630 TRF-1: A-2 COMMUNITY CNTR,PASCHIM VHR*,*400 TRF-2: A-2 LIG FLATS,PASCHIM VHR,PJB*,*400 TRF-2: A-2 COMMUNITY CNTR,PASCHIM VHR*,*400 TRF-1: CA APPT.-1,PASCHIM VHR*,*630 TRF-1: A-2 LIG FLATS,PASCHIM VHR,PJB* | 741
62 | 29/03/2018 | MDK | 11:03 | 13:06 | 02:03 | PLANNED SHUTDOWN | Grid:NANGLOI WATER WORKS (66/11kV) GRID SSTN To Feeder:11kV FDR YADAV PARK EXT. , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *630TRF-1:RAM NAGAR I/D*,*400TRF-1:MAHARAJA WALA*,*KAMRUDDIN NAGAR EXTN S/S-1*,*400TRF-1:A2 BLK KUNWAR SINGH NGR*,*990TRF-1:RAJENDER WALA(MCD) SSTN*,*400TRF-1:DEEPANSU(DAULAT RAM SCHOOL)*,*100TRF-1:KAMRUDDIN NAGAR HVDS*,*400TRF-1 NAJAFGARH ROAD NANGLOI*,*400TRF-1:CHAJJU RAM COLONY (YADAV PARK)* | 781
63 | 29/03/2018 | SKT | 11:05 | 15:57 | 04:52 | PLANNED SHUTDOWN | Grid:33kV D.C.SAKET GRID To Feeder:11kV FDR C.C ANUPAM , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 New S/S near Madhuvan PVR SAKET* | 156
64 | 29/03/2018 | VKP | 11:07 | 12:28 | 01:21 | EMERGENCY SHUTDOWN | Grid:HASTAL (66/11kV) GRID SSTN To Feeder:VIKASH KUNJ SCHOOLWALA , LT CIRCUIT:FEEDER PILLAR MAINTENANCE | RESTORED/ REPAIRED | Part of : *990 DT :VIKAS KUNJ NEAR CHATTH PUJA MAND* | 82
65 | 29/03/2018 | DWK | 11:08 | 13:03 | 01:55 | PLANNED SHUTDOWN | Grid:BINDAPUR (G-3 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR MAHAVIR ENCLAVE SSTN-2 , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *630 TRF-1:MAHAVIR ENCLAVE S/STN NO 2* | 219
66 | 29/03/2018 | KPR | 11:09 | 13:05 | 01:55 | EMERGENCY SHUTDOWN | Grid:TUGHLAKABAD (33/11kV) GRID SSTN To Feeder:11kV FDR DR. KARAN SINGH SHOOTING RANGE , HVDS:MAINTENANCE | RESTORED/ REPAIRED | Part of : *TRF-1 SHOOTING RANGE:P/M*,*TRF-1 SHOTGRANG(ON THE WAY) OPP. MAINGATE*,*TRF-2 HTC:GALI NO-16, SANGAM VIHAR:PL*,*TRF-1*,*TRF-1 HTC:GALI NO-16, SANGAM VIHAR:PL*,*TRF-1 G-12, RAVINDER THAKUR S.VIHAR:PL*,*TRF-1 GILL FARM:ID*,*TRF-1 NURSERY G-BLK SANAGAM VIHAR:P/M* | 578
67 | 29/03/2018 | MDK | 11:10 | 13:20 | 02:10 | PLANNED SHUTDOWN | Grid:NANGLOI WATER WORKS (66/11kV) GRID SSTN To Feeder:11kV FDR RANHOLA , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *400TRF-1:HARIJAN BASTI RANHOLLA NO-1* | 45
68 | 29/03/2018 | MDK | 11:10 | 13:20 | 02:10 | PLANNED SHUTDOWN | Grid:NANGLOI WATER WORKS (66/11kV) GRID SSTN To Feeder:11kV FDR RANHOLA , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *400TRF-1:HARIJAN BASTI RANHOLLA S/STN NO 2* | 54
69 | 29/03/2018 | TGN | 11:16 | 12:29 | 01:13 | HT SYSTEM FAULT | Grid:MADIPUR (33/11kV) GRID SSTN To Feeder:R-G BLOCK RAGHUBIR NAGAR , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : *630 TRF-1 :RG-BLOCK PARKWALA SSTN,RAGHUBIR NGR*,*400TRF-1:B-3,12.5 YARD(PARK) SSTN-2*,*630TRF-2:RG-BLOCK RAGHUBIR NAGAR I/D:ID*,*630 TRF-1: HMP Colony Raghubir Nagar*,*630TRF-1:B-3,12.5 YARD(NALA) SSTN-1*,*400TRF-1:B-3,12.5 YARD(PARK) SSTN-2* | 624
70 | 29/03/2018 | NGL | 11:23 | 15:13 | 03:50 | PLANNED SHUTDOWN | Grid:UDYOG NAGAR (33/11kV) GRID SSTN To Feeder:11kV FDR F-BLOCK D.S.I.D.C , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : *990 TRF-1 F-BLOCK DSIDC*,*B-18 DSIDC*,*990 TRF-1:I/D OLD B BLK DSIDC*,*630 TRF-1:BHIM NAGAR JJC P/M*,*630 TRF-1 :TELEPHONE EXCHANGE,DSIDC*,*990 TRF-1;D-BLOCK DSIDC NEW*,*990 TRF-2: PEG103;F-BLOCK DSIDC*,*990 TRF-2:I/D OLD B BLK DSIDC* | 721
71 | 29/03/2018 | DWK | 11:24 | 13:03 | 01:39 | PLANNED SHUTDOWN | Grid:PAPPANKALAN-II (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR NAND VIHAR , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *400 TRF-1:KAKROLA HOUSING NO-1*,*400 TRF-1:SEC-16 J.J CLY A-BLK*,*400 TRF-2:,KAKROLA HOUSING COMPLEX-3*,*630 TRF-1:,KAKROLA HOUSING COMPLEX-3*,*630 TRF-1:KAKROLA HOUSING NO-2*,*630 TRF-1:1472 JANATA FLATS SSTN-2,*,*630 TRF-1 1472 JANATA FLATS SSTN-3 (DT STOLEN)*,*100 TRF-1;SARVODAYA KANYA VIDYALAYA, KAKROLA*,*630 TRF-1:BARAAT GHAR SSTN*,*400 TRF-1:1472 JANTA FLATS SSTN-1*,*400 TRF-1:SEC-16 J.J CLY B-BLK*,*630 TRF-2:KAKROLA HOUSING NO-2*,*400 TRF-2:KAKROLA HOUSING NO-1*,*400 TRF-1:KAKROLA DAIRY PL/M*,*400 TRF-2:BARAAT GHAR SSTN*,*400 TRF-1:SEC-16 J.J CLY C-BLK* | 702
72 | 29/03/2018 | DWK | 11:24 | 13:03 | 01:39 | PLANNED SHUTDOWN | Grid:PAPPANKALAN-I (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR SEC-10 , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *630 TRF-2:KALKA APPT*,*630 TRF-1:KALKA APPT*,*630 TRF-1:DAFFODIL APPT* | 503
73 | 29/03/2018 | JFR | 11:27 | 15:21 | 03:54 | PLANNED SHUTDOWN | Grid:JAFFARPUR (66/11kV) GRID SSTN To Feeder:11KV KHERA DABAR , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *W/S NO 2 VILL SURHERA*,*100 TRF-1:W/S SHAMSHAN GHAT KHARKHARI*,*16 TRF-1:PURAN VLG KHAIRA DABAR*,*630 TRF-1:VILLAGE KHARKHARI JATMAL*,*NURSARY VILL KHARKRI JATMAL*,*25 TRF-2:W/SUPPLY FOR VILLAGE SURHERA*,*25 TRF-1:W/S 3 VILL KHERADABAR*,*LACHI ( MAHAVEER) VILL SURHERA*,*25 TRF-1:W/S VILL. KHARKRI JATMAL*,*630TRF-1:JAFFARPUR VILL-SSTN NO-2*,*100 TRF-1:HANS ASHRAM PANDWALAKALAN*,*25 TRF-1:SATAYBIR SNG VLG KHAIRA DABAR*,*630 TRF-1:VILLAGE KHERA DABAR*,*100 TRF-1:STN 2 VLG KHAIRA DABAR*,*100 TRF-1:CHANDER VLG SUREHRA*,*100 TRF-1:STN 1 JATMAL KHAR KHARI*,*NIHAL SINGH VILL KHARKRI JATMAL*,*100 TRF-1:S/S NO.3 VILL KHAIRA DABAR:PM*,*25 TRF-1:IDEA TOWER NEAR RAWTA MODE*,*100 TRF-1:STN 2 JATMAL KHAR KHARI*,*100 TRF-1:LACHHI VLG KHAIRA*,*16 TRF-1:W/SUPPLY VLG JAFFERPUR*,*100 TRF1-:KHAR KHARI JATMAL MODE:PM*,*RELIANCE TOWER RAWATA MORE, DABAR ENC.*,*SUSHIL INTER SCHOOL,VILL- KHARKRI ROADNUCON*,*100 TRF-1:STN 5 VILLAGE KHAIRA DABAR*,*100 TRF-1:STN 4 VILLAGE KHAIRA DABAR*,*25 TRF-1: DABAR ENCLAVE GALI NO - 11*,*RAM BABU HANSNAGAR*,*100 TRF-1:GANPATI VLG SURHERA*,*100 TRF-1:STN 6 VLG KHAIRA DABAR*,*630 TRF-1:VILLAGE SUREHRA 1*,*RAGHUVEER VILL SURHERA*,*25 TRF-1:W/SUPPLY VLG JAFFERPUR*,*25 TRF-1:PYARELAL KHERA DABAR JAFARPUR*,*MOHAL LAL VILLAGE JAFFARPUR*,*W/SUPPLY V SURHERA*,*100 TRF-1:RAJ KRIPAL VLG SURHERA*,*25 TRF-1:MTNL KHERA DABAR*,*PRATAP VILL KHERADABAR* | 789
74 | 29/03/2018 | JFR | 11:35 | 15:22 | 03:47 | PLANNED SHUTDOWN | Grid:JAFFARPUR (66/11kV) GRID SSTN To Feeder:11KV DHANSA , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *25 TRF-1:S/S RANDHIR -ISSAPURP/M*,*100 TRF-1:RAMPAT VLG SAMASPUR*,*100 TRF-1:RAMSAWROOP VLG DHANSA*,*100 TRF-1:M I D VILL DHANSA BORDER:PM*,*100 TRF-1:BALDEVA VLG ISSAPUR*,*100 TRF-1:CHANDER VLG DHANSA*,*16 TRF-1:RAN VIR SINGH VLG DHANSA*,*100 TRF-1:PIARE LAL VLG DHANSA*,*630 TRF-1:VILLAGE DHANSA 2*,*100 TRF-1:STN 3 VLG DHANSA*,*100 TRF-1:SUBE SINGH VLG DHANSA*,*100 TRF-1:SATPAL VILLAGE DHANSA*,*100 TRF-1:STN VLG DHANSA*,*16 TRF-1:MAHIMA FARM PANDWALA KHURD*,*100 TRF-:W SKANGENHERI*,*100 TRF-1:HARPAL VLG KAZIPUR*,*100 TRF-1:RAM CHANDER V KAZIPUR*,*630 TRF-1:VILL DHANSA S/S NO 1:PM*,*GOVT BOYS SR SEC SCHOOL-ISSAPURIACL*,*UDAYBHAN VILL ISSAPUR*,*100 TRF-1:CHANDERBHAN VILL ISSAPUR:PM*,*TARA CHAND ISSAPUR*,*100 TRF-1:SULTAN VLG ISSAPUR*,*400 TRF-1:VILL ISSAPURS/S NO 4:PM*,*100 TRF-1:DULE VLG DHANSA*,*25 TRF-1:JILAY SINGH VILL KAZIPUR*,*400 TRF-1:VILLAGE DHANSA 3*,*25 TRF-1: BALWANT VILL ISSAPUR*,*RAI SINGH*,*100 TRF-1:DAMODAR VLG DHANSA* | 714
75 | 29/03/2018 | JFR | 11:35 | 15:21 | 03:46 | PLANNED SHUTDOWN | Grid:JAFFARPUR (66/11kV) GRID SSTN To Feeder:11KV RMU IN SIDE GRID , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *100 TRF-1:W/S DHANSA RD BAKERGARH*,* TRF-1:BHAI RAM VLG MUNDELLA KALAN*,*BHAGWANA NO.-2,MUNDELLA KALAN:PM*,*25 TRF-1: RATAN SINGH MUNDELA KALAN*,*100 TRF-1:SULTAN VILL BAKERGARH:PM*,*100 TRF-1:UMRAO VLG ISSAPUR*,*MAHENDER VILL- ISSAPUR*,*100 TRF-1:HEMRAJ VLG ISSAPUR*,*MANGEY VILL SUREHRA*,*VED SINGH -BAKKARGARH*,*BALWAN CHAND-BAKKARGARH*,*100 TRF-1:W/SUPPLY VLG ISSAPUR*,*ATTER SINGH, VILL BAKKERGARH*,*400 TRF-1:VILLAGE KAZIPUR*,*ST.LT MUNDELAN KALAN H. MANDIRCAPITAL TRANSFORMER*,* SANJEEV NO-1 VILL MUNDELA KALAN*,*HARPOOL VILL-ISSAPUR*,*100 TRF-1:PUSSA FARM VLG ISSAPUR*,*25 TRF-1: LALCHAND, VILL BAKKERGARH*,*NOT IN EMG*,*25 TRF-1:DEEP CHAND VILL BAKAR GARH*,*BHAGWANA NO.-1 VILL. MUNDELLA KALAN*,*25 TRF-1: RAM CHANDER VILL-ISSAPUR*,*400 TRF-1:VILLAGE ISSAPUR 3*,*RASTOGI FARM-ISSAPUR*,*400 TRF-1:VILLAGE BAKAR GARH*,*SHISH RAM VILL MUNDELLA KALAN:PM*,*SUBHASH KHATRI,BAKKARGARH*,* SURAJ MAL VILL MUNDELA KALAN*,*25 TRF-1: RAJ SINGH VILL-ISSAPUR*,*100 TRF-1:CHOPRA FARM V KADIPUR* | 754
76 | 29/03/2018 | PJB | 11:36 | 13:00 | 01:23 | HT SYSTEM FAULT | Grid:A-4 PASCHIM VIHAR (33/11kV) GRID SSTN To Feeder:ADARSH BHAWAN , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : *990 TRF-1: ROAD NO.-24,PJB EXTN* | 289
77 | 29/03/2018 | SVR | 11:40 | 13:01 | 01:21 | LT FEEDER | Grid:MATHURA ROAD (66/11kV) GRID SSTN To Feeder:11kV FDR A-3 M.C.I.E , DISTRIBUTION TRANSFORMER,:TRANSFORMER LT LEAD BURNT/DAMAGED, | RESTORED/ REPAIRED | Part of : S/STN A-3 MCIE(RELIANCE) (HT CONSUMER) | 1
78 | 29/03/2018 | HKS | 11:40 | 13:45 | 02:05 | PLANNED SHUTDOWN | Grid:33kV SIRI FORT GRID To Feeder:11kV FDR GULMOHAR PARK , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 216A GAUTAM NAGAR* | 109
79 | 29/03/2018 | NGL | 11:45 | 15:14 | 03:29 | PLANNED SHUTDOWN | Grid:PASCHIM PURI (33/11kV) GRID SSTN To Feeder:11KV FDR S/S NO-7 PEERAGARHI , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : *630 TRF-1:PLM PEERA GARHI-2*,*990TRF-1: PEERA GARHI SSTN NO-1*,*990TRF-1: PEERA GARHI SSTN NO-8*,*1000TRF-1: PEERA GARHI SSTN NO-5*,*990TRF-1:PEERA GARHI SSTN NO-7* | 798
80 | 29/03/2018 | NZD | 11:53 | 14:08 | 02:15 | PLANNED SHUTDOWN | Grid:33kV NIZAMUDDIN GRID To Feeder:11kV FDR NIZAMUDDINE TIE-1 , RMU:FIXING THE COVER | RESTORED/ REPAIRED | Part of : *TRF-2 DHOBI GHAT, JANGPURA: PL*,*TRF-1 DHOBI GHAT, JANGPURA: PL* | 254
81 | 29/03/2018 | HKS | 11:57 | 13:17 | 01:20 | PLANNED SHUTDOWN | Grid:BHIKAJI CAMA PLACE (33/11kV) GRID SSTN To Feeder:B-5, S.J ENCLAVE , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 B-5, SDA: ID*,*TRF-3 B-5, SDA: ID*,*TRF-2 B-5, SDA: ID* | 458
82 | 29/03/2018 | SVR | 12:00 | 15:06 | 03:06 | PLANNED SHUTDOWN | Grid:SARAI JULLENA (33/11kV) GRID SSTN To Feeder:11kV FDR JAMIA PLINTH S/S , RMU:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 MURADI ROAD* | 229
83 | 29/03/2018 | MDK | 12:00 | 13:08 | 01:08 | PLANNED SHUTDOWN | Grid:NANGLOI (66/33/11kV) GRID SSTN To Feeder:11kV FDR MUNDKA , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *990TRF-1:MUNDKA VILLAGE S/STN-1:PL*,*630TRF-3:POLICE QTRS NGL I/D*,*990TRF-2:POLICE QUATER ID*,*630TRF-4:POLICE QUTR NGL I/D*,*990TRF-1:POLICE QUATER*,*990TRF-1:SAWARN PARK S/STN-2:PL* | 469
84 | 29/03/2018 | SKT | 12:00 | 14:07 | 02:07 | PLANNED SHUTDOWN | Grid:66kV C-DOT GRID To Feeder:11KV FDR N.B.C.C , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 M/S MODERN TILES KH. NO. 23/6 VILL GADAI* | 89
85 | 29/03/2018 | SKT | 12:00 | 14:07 | 02:07 | PLANNED SHUTDOWN | Grid:33kV ANDHERIA BAGH GRID To Feeder:1kV FDR N.B.C.C , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 630 KVA TRF. TARA NIRMAN KENDRA GHITORNI | 218
86 | 29/03/2018 | SKT | 12:00 | 14:05 | 02:05 | PLANNED SHUTDOWN | Grid:66kV C-DOT GRID To Feeder:11KV FDR JONAPUR , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 BHIM BASTI JONA PUR* | 156
87 | 29/03/2018 | RKP | 12:00 | 14:33 | 02:33 | PLANNED SHUTDOWN | Grid:R.K.PURAM-II (33/11kV) GRID SSTN To Feeder:11kV FDR S/S NO.-1, SECTOR-1, R.K PURAM , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 VILLAGE MOHAMMADPUR PARK: PKG* | 198
88 | 29/03/2018 | RKP | 12:00 | 14:34 | 02:34 | PLANNED SHUTDOWN | Grid:R.K.PURAM-I (33/11kV) GRID SSTN To Feeder:11kV FDR SECTOR-2 R.K PURAM , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 SEC-2,PLM S/STN* | 113
89 | 29/03/2018 | SVR | 12:01 | 14:11 | 02:09 | LT FEEDER | Grid:SARITA VIHAR (66/11kV) GRID SSTN To Feeder:11kV FDR MADANPUR KHADAR TRANSIT CAMP NO.-2 , LT POLE,:FIRE ON POLE, | RESTORED/ REPAIRED | Part of : 100 KVA JJ COLY. MADANPUR KHADAR | 34
90 | 29/03/2018 | NZD | 12:01 | 13:46 | 01:45 | EMERGENCY SHUTDOWN | Grid:LODHI ROAD (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR N.B.C.C , LT ACB:ACB REPLACEMENT | RESTORED/ REPAIRED | Part of : *TRF-1 BHARAT PETROLPUMP(CAR CARE)LODHI RD:P/M* | 1
91 | 29/03/2018 | NZD | 12:03 | 14:10 | 02:07 | PLANNED SHUTDOWN | Grid:33kV NIZAMUDDIN GRID To Feeder:11kV FDR NIZAMUDDINE TIE-2 , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 SHASTRI MARKET BHOGAL:PL* | 109
92 | 29/03/2018 | HKS | 12:10 | 15:11 | 03:01 | PLANNED SHUTDOWN | Grid:33kV SIRI FORT GRID To Feeder:11kV FDR AGVC-2 , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-2 AGVC NO-2:ID* | 112
93 | 29/03/2018 | NZD | 12:23 | 14:11 | 01:48 | PLANNED SHUTDOWN | Grid:33kV NIZAMUDDIN GRID To Feeder:11kV FDR NIZAMUDDINE TIE-2 , LT ACB:ACB BYPASS | RESTORED/ REPAIRED | Part of : *TRF-1 BHOGAL SCHOOL: PL* | 213
94 | 29/03/2018 | KPR | 12:23 | 14:05 | 01:42 | EMERGENCY SHUTDOWN | Grid:66kV BATRA GRID To Feeder:11kV FDR NEW D-BLOCK SANGAM VIHAR , LT CIRCUIT:FEEDER PILLAR MAINTENANCE | RESTORED/ REPAIRED | Part of : *TRF-2 S/S NO-1,D-BLOCK,SANGAM VIHAR:ID* | 72
95 | 29/03/2018 | SKT | 12:24 | 14:06 | 01:41 | PLANNED SHUTDOWN | Grid:66kV C-DOT GRID To Feeder:11KV FDR N.B.C.C , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : *TRF-1 M/S MODERN TILES KH. NO. 23/6 VILL GADAI*,*TRF-1 CHAUTALA JONA PUR:PM*,*TRF-1 BHATIA GADAIPUR*,*TRF-1 BABBAL JEET SINGH S/STN JONAPUR*,*TRF-1 CRC Nr SULTANPUR STN,100 KVA S/S ST. LTG*,*TRF-1 OSHO DRIVE-3 GADAIPUR:PM,100 KVA S/Stn.*,*TRF-1 JAGDISH GADAIPUR:PL*,*TRF-1 R.B ROLLING JONA PUR:PM*,*TRF-1 GEN. BHATIA;PM*,*TRF-1 BALWANTI MANDI:PM*,*TRF-1 PUNJAB KESARI GADAIPUR*,*TRF-1 BATRA FARM,100 KVA S/Stn.*,*TRF-1 DOCTOR DHEESH GADAIPUR:PM*,*TRF-1 RAJA BABU GADAIPUR:PM*,*TRF-1 F-43 RASHMI RADHEY MOHAN,100 KVA S/Stn.*,*TRF-1 DOCTOR DHEESH GADAIPUR:PM*,*TRF-1 F-42 JUNEJA RADHEY MOHAN,100 KVA S/Stn.*,*TRF-1 PANCHWATI GADAIPUR:PM*,*TRF-1 OSHO DRIVE-1 GADAIPUR:PM,100 KVA S/Stn.*,*TRF-1 BANSHI JONA PUR:PM*,*TRF-1 FNO9,7thAVENUEJONA PUR(P/M),100 KVA S/S*,*TRF-1 DHILLON GADAIPUR,NEAR GHITORNI:PM*,*TRF-1 F-12 RADHEY MOHAN DRIVE*,*TRF-1 KAPOOR GADAIPUR:PM*,*TRF-1 GOVIND SADAN GADAIPUR:PM*,*TRF-1 OSHO DRIVE-2 GADAIPUR:PM,100 KVA S/Stn.*,*TRF-1 FARM NO.-10, 7th AVENUE,JONA PUR(P/M)*,*TRF-1 OPP MCD SCHOOL GHITORNI,100 KVA S/S S.LT*,*TRF-1 JONA PUR VILLAGE:PL* | 714
96 | 29/03/2018 | NGL | 12:30 | 15:14 | 02:44 | PLANNED SHUTDOWN | Grid:UDYOG NAGAR (33/11kV) GRID SSTN To Feeder:11kV FDR SSTN-5 VIA K-25 , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : *990 TRF-1:H54,UDYOG NAGAR*,*990 TRF-1:H-57 , UDYOG NAGAR*,*400 TRF-1PUMP HOUSE OPP G-11*,*400 TRF-1*,*400 TRF-1:D-17 JJ CLUSTER*,*630TRF-1: C-1,UDYOG NAGAR P/M*,*990 TRF-2: I/D UDYOG NAGAR S/STN-5*,*990 TRF-1:I/D UDYOG NAGAR S/STN-5*,*630TRF-3:UDYOG NAHAR SSTN-5* | 590
97 | 29/03/2018 | JFR | 12:30 | 16:13 | 03:43 | PLANNED SHUTDOWN | Grid:JAFFARPUR (66/11kV) GRID SSTN To Feeder:11KV FDR JAFFARPUR , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *MALIK PUR KHET*,*630 TRF:-1 DARIYAPUR S/STN NO.2*,*JUGTA VILL UJWA:PM*,*400 TRF-1:VILLAGE DARYAPUR*,*630 TRF-1:VILLAGE UJWA 1*,*16 TRF-1:UJWA MTNL VILL. UJWA*,*NOT IN EMG*,*25 TRF-1: DE PAUL REHABILITATION CENTRE VILL. UJW*,*AMIT DAGAR VILL UJWA*,*100 TRF-1:SHISH RAM VLG UJWA*,*400 DT:JAFFARPUR EXTENSION*,*100 TRF-1:SHIS RAM MUNDELLA KALAN*,*16 TRF-1:TEJ RAM VLG UJWA*,*400 TRF-1:VILLAGE SAMASPUR 1*,*100 TRF-1:BIRKHA VILL DARIYAPUR:PM*,*TRF-1:MEHTAB VILL UJWA:PL*,*16 TRF-1: TUBE WELL NARENDER FARM HOUSE*,*NOT IN EMG*,*100 TRF-1:SUKHBIR VLG UJWA*,*MALIK PUR KHET*,*VILL JAFFARPUR S/S NO 1*,*SUNIL DUTT VILL-UJWA*,*100 TRF-1:BHAGWAN VLG MUNDELLA KALAN*,*ISHWAR SINGH BEHIND NARESH FARM*,*100 TRF-1:BHAGWANA VLG JAFFERPUR* | 610
98 | 29/03/2018 | SVR | 12:47 | 19:23 | 06:36 | HT SYSTEM FAULT | Grid:JASOLA (66/33/11kV) GRID SSTN To Feeder:11kV FDR THOKAR NO.-6 SHAHIN BAGH NEAR POLICE CHOKI , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : *TRF-1 A-80 SHAHEEN BAGH*,*TRF-1 E-BLOCK SHAHEEN BAGH;;*TRF-1 SAHIN BAGH A,BLOCK* | 541
99 | 29/03/2018 | SKT | 12:53 | 14:10 | 01:17 | LT FEEDER | Grid:33kV ADHCHINI GRID To Feeder:11kV FDR LADO SARAI , LT ACB,:LT ACB BURNT, | RESTORED/ REPAIRED | Part of : *TRF-1 LADO SARAI KALI MANDIR:PL* | 39
100 | 29/03/2018 | NHP | 13:00 | 15:42 | 02:42 | PLANNED SHUTDOWN | Grid:NEHRU PLACE (33/11kV) GRID SSTN To Feeder:11kV FDR D-BLOCK EAST OF KAILASH , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 PARKASH MOHALLA GARHI:PL* | 31
101 | 29/03/2018 | SVR | 13:14 | 14:18 | 01:04 | LT FEEDER | Grid:SARITA VIHAR (66/11kV) GRID SSTN To Feeder:11kV FDR N-BLOCK ABUL FAZAL ENCLAVE , SERVICE LINE,:FIRE IN SERVICE LINE, | RESTORED/ REPAIRED | Part of : *TRF-1 N BLOCK AF ENCLAVE;;* | 48
102 | 29/03/2018 | DWK | 13:26 | 15:03 | 01:37 | PLANNED SHUTDOWN | Grid:MATIYALA (G-5 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR JAIN COLONY , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *1000 TRF-1:NEW T UTTAM NAGAR*,*630 TRF-1:SAHYOG VIHAR P/M*,*630 TRF-2:NEW T UTTAM NAGAR* | 539
103 | 29/03/2018 | DWK | 13:28 | 15:03 | 01:35 | PLANNED SHUTDOWN | Grid:MATIYALA (G-5 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR MATIYALA , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *CHOUPAL MATIALA SS PL/M *,*990 TRF-1:MATILA CHOUPAL*,*TRF-1:MATILA SCHOOL WALA*,*630 TRF-1:SAHYOG VIHAR P/M* | 534
104 | 29/03/2018 | NGL | 13:45 | 16:07 | 2:22 | EHV SHUTDOWN | DUE TO E/S/D FROM PASCHIM VIHAR TO 11KV I/C NO- 3 & 4 | RESTORED/ REPAIRED | Part of : NIHAL VIHAR , NILOTHI , E BLK NIHAL VIHAR , RADISSON HOTEL , MERRA BAAG | 2763.9
105 | 29/03/2018 | ALN | 14:00 | 16:18 | 02:18 | PLANNED SHUTDOWN | Grid:66 kV OKHLA PHASE-I GRID To Feeder:11 kV FDR VILLAGE TEHKHAND , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 MULTANI MOHALLA TEKHAND:PL* | 29
106 | 29/03/2018 | PLM | 15:25 | 19:34 | 04:09 | PLANNED SHUTDOWN | Grid:G-2 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:RMU NO.-1 , LT CIRCUIT:NETWORK UPGRADTION WORK | RESTORED/ REPAIRED | Part of : *400 TRF-1:CHANDER VIHAR:PLM* | 42
107 | 29/03/2018 | DWK | 16:55 | 18:25 | 01:30 | HVDS CABLE & OTHER SYSTEM | Grid:G-15 DWARKA REL. ENERGY GRID SSTN To Feeder:11kV FDR SEC-3_13 X-ING , HVDS,:HVDS DP FUSE BLOWN, | RESTORED/ REPAIRED | Part of : *400 TRF:1 SEC-15 JJ COLONY A BLK. S/ST-1*,*25 TRF:1 MCD ASSESMENT and COLLEC OFFICE-N*,*100 TRF:1 NSIT PUMP HOUSE (HARI VIHAR)*,*400 TRF-1,NEAR SULAHKUL MANDIR (MOHIT NGR)*,*400 TRF-1:C-BLK BHARAT VIHAR*,*400 TRF-1:B-BLK BHARAT VIHAR*,*400 TRF-1;SEC-15 SHYAM VIHAR* | 574
108 | 29/03/2018 | PJB | 22:11 | 23:26 | 01:15 | HT SYSTEM FAULT | Grid:MADIPUR (33/11kV) GRID SSTN To Feeder:SLUM TREATMENT , DISTRIBUTION TRANSFORMER,:LT SOCKET DAMAGED, | RESTORED/ REPAIRED | Part of : *630 TRF-3: NEW SLUMS TENAMENT,PASCHIM PURI,PJB*,*630 TRF-1: OLD SLUMS TERMINAL,PASCHIM PURI*,*400 TRF-2: OLD SLUMS TERMINAL,PASCHIM PURI*,*990 TRF-1: ROAD NO.-33 (PETROL PUMP),PJB*,*400 TRF-1: DSIDC SHED, MADIPUR,PJB*,*630 TRF-2: NEW SLUMS TENAMENT,PASCHIM PURI,PJB*,*SBI COLONY PASCHIM VIHAR:ID*,*400 TRF-1: NEW SLUMS TENAMENT,PASCHIM PURI,PJB* | 647
109 | 29/03/2018 | PLM | 23:38 | 00:45 | 01:07 | HT SYSTEM FAULT | Grid:G-2 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:PURAN NAGAR+KAILASHPURI EXTN. , : 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : *400 TRF-1:POCKET-13 S/SN0-2 (DAWARIKA )*,*HVDS*,*630 TRF-1:PKT-13 SSTN NO-1(DDA FALTS)*,*630 TRF-1: Puran nagar* | 512
110 | 30/03/2018 | MDK | 00:06 | 01:06 | 01:00 | EMERGENCY SHUTDOWN | Grid:NANGLOI WATER WORKS (66/11kV) GRID SSTN To Feeder:11kV FDR KAMARUDDINE NAGAR , 11KV FEEDER:ATTENDING WEAK POINTS/HOT SPOT | RESTORED/ REPAIRED | Part of : *990TRF-1:KAMRUDDIN NAGAR NO-1*,*990TRF-1:KAMRUDDIN NAGAR NO-4*,*400TRF-1:YADAV PARK S/STN-1:ID*,*990TRF-1:KAMRUDEEN NAGAR S/STN-3:PL*,*100TRF-1:BOOSTER PUMP NGL*,*400TRF-1:YADAV PARK S/STN-2:PM*,*400TRF-1:RISHAL SINGH PARK* | 715
111 | 30/03/2018 | SKT | 02:36 | 03:43 | 01:07 | HT SYSTEM FAULT | Grid:33kV ADHCHINI GRID To Feeder:11kV FDR PTS COLONY , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : *TRF-2 PTS COLONY:ID*,*TRF-1 PTS COLONY:ID* | 237
112 | 30/03/2018 | VKJ | 03:16 | 04:18 | 01:02 | HT SYSTEM FAULT | Grid:33kV ADHCHINI GRID To Feeder:11kV FDR T.B HOSPITAL , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : *TRF-1 CHURCH COMPOUND COLONY*,*TRF-1 BHUL BHULLIA*,*TRF-1 BHULBHULIA MEHRAULI;;*,*TRF-1 SDM OFFICE MEHRAULI;;*,*TRF-1 POLICE STATION MEHRAULI*,*TRF-1 HOTEL;;*,*TRF-1 BHARTI CELULAR;;*,*TRF-1 QUTUB PLINTH-1 MEHRAULI;;*,*TRF-1 QUTUB PLINT S/S NO-2*,*990 TRF-1 :D2-BLK (COMPLAINT CENTRE) SSTN,JKP* | 412
113 | 30/03/2018 | NGL | 03:44 | 04:53 | 01:08 | HT SYSTEM FAULT | Grid:PASCHIM VIHAR (66/33/11KV) GRID SSTN To Feeder:11kV FDR 1140 SFS , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : *630TRF-2*,*630TRF-2: GH-13 SSTN-5*,*400TRF-1: GH-12 SSTN-2*,*630TRF-2:GH-13 SSTN NO-2*,*630 TRF-2:I/D GH-13 STN-3*,*400 TRF-2:I/D GH-13 STN-1*,*630 TRF-1:I/D GH-13 STN-3*,*400TRF-2: GHKN SSTN NO-4*,*400TRF-1: GH-12 SSTN-1*,*630TRF-1: GH-13 SSTN-5*,*400TRF-2: GH-12 SSTN-2*,*630TRF-1: GHKN SSTN NO-4*,*630TRF-1:GH-13 SSTN NO-2*,*630 TRF-1:I/D GH-13 STN-4* | 748