## Format
DISCOM : BRPL
OUTAGE REPORT FOR : 31/03/2018 06:00Hr. To 01/04/2018 06:00Hr.
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Area / DT Effected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Detail
1 | 31/03/2018 | NGL | 06:50 | 08:05 | 01:14 | HT SYSTEM FAULT | Grid:NANGLOI WATER WORKS (66/11kV) GRID SSTN To Feeder:11kV FDR TP KOTLA , HT O/H,:BIRDAGE, | RESTORED/ REPAIRED | Part of : *RANHOLLA VIHAR(CHANDER VIHAR NO-3)*,*400 TRF-1: S/STN. NO.-1. AT KOTLA VIHAR PHASE -2*,*400 TRF-1:RANHOLA EXTN.*,*PLM T P KHOTLA PH-2 S/S -2*,*400 TRF-1 T.P.KOTLA VILLAGE-1*,*630 TRF-1:RISHAL GARDEN*,*630 TRF-1*,*630 TRF-1*,*400TRF-1:T.P KOTLA VILLAGE NO-2*,*630 TRF-1:CHUNA BHATTI RISHAL GARDEN P/M*,*630TRF-1:T.P KOTLA VILLAGE NO-2* | 664
2 | 31/03/2018 | KPR | 07:40 | 09:17 | 01:36 | LT FEEDER | Grid:66kV BATRA GRID To Feeder:11kV FDR TIGRI KIOSK , LT ACB,:LT ACB BURNT, | RESTORED/ REPAIRED | Part of : *TRF-1 DDA TIGRI:ID* | 61
3 | 31/03/2018 | KPR | 07:56 | 09:18 | 01:21 | LT FEEDER | Grid:TUGHLAKABAD (33/11kV) GRID SSTN To Feeder:11kV FDR DMS TRUST , LT ACB,:LT ACB BURNT, | RESTORED/ REPAIRED | Part of : *TRF-1 NAI BASTI DEVLI (NEW):PL* | 68
4 | 31/03/2018 | NHP | 10:00 | 12:35 | 02:35 | PLANNED SHUTDOWN | Grid:EAST OF KAILASH (33/11kV) GRID SSTN To Feeder:11kV FDR DAYANAND KIOSK , LT ACB:MAINTENANCE | RESTORED/ REPAIRED | Part of : *TRF-2 K BLOCK AMAR CLY OLD DOUBLE STOREY:PL* | 38
5 | 31/03/2018 | TGN | 10:00 | 15:13 | 05:13 | PLANNED SHUTDOWN | Grid:CHAUKHANDI (33/11kV) GRID SSTN To Feeder:11 kV FDR RZ-BLOCK, V. GARDEN , LT CIRCUIT:NETWORK UPGRADTION WORK | RESTORED/ REPAIRED | Part of : *630 TRF-1 :RZC-BLK MANDIRWALA SSTN, V.GARDEN* | 219
6 | 31/03/2018 | PJB | 10:00 | 13:38 | 03:38 | PLANNED SHUTDOWN | Grid:PASCHIM PURI (33/11kV) GRID SSTN To Feeder:B-3 PASCHIM VIHAR , RMU:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *990 TRF-1: B-3 BLOCK I/D,PASCHIM VHR,PJB* | 324
7 | 31/03/2018 | PJB | 10:00 | 13:39 | 03:39 | PLANNED SHUTDOWN | Grid:PASCHIM PURI (33/11kV) GRID SSTN To Feeder:B-3 PASCHIM VIHAR , RMU:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *990 TRF-1: B-3 BLOCK I/D,PASCHIM VHR,PJB*,*990 TRF-2: B-4 BLOCK I/D,PASCHIM VHR,PJB*,*TRANSFORMER,11/0.433KV 630KVA OIL TYPE*,*630 TRF-1: PCM-2, BG-6 BLK, P.VHR,PJB*,*630-TRF2-B3 BLK I/D* | 452
8 | 31/03/2018 | RKP | 10:00 | 15:28 | 05:28 | PLANNED SHUTDOWN | Grid:R.K.PURAM-II (33/11kV) GRID SSTN To Feeder:11kV FDR S/S NO.-1, SECTOR-1, R.K PURAM , 11KV FEEDER:TREE TRIMMING | RESTORED/ REPAIRED | Part of : *TRF-1 SEC-5, ST. LTG.TRF. VIVEKANAND MARG: PM* | 1
9 | 31/03/2018 | PJB | 10:00 | 13:38 | 03:38 | PLANNED SHUTDOWN | Grid:PASCHIM PURI (33/11kV) GRID SSTN To Feeder:D.T.C DEPOT , RMU:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *630 TRF-2: A-1 KOTHIWALA,PASCHIM VHR,PJB* | 231
10 | 31/03/2018 | PJB | 10:00 | 13:37 | 03:37 | PLANNED SHUTDOWN | Grid:PASCHIM PURI (33/11kV) GRID SSTN To Feeder:A-2 SSTN. , RMU:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : * TRF-1:A-2 POLICE STN* | 218
11 | 31/03/2018 | ALN | 10:00 | 12:36 | 02:36 | PLANNED SHUTDOWN | Grid:33 kV ALAKNANDA GRID To Feeder:11 kV FDR N.R.I COMPLEX S/S , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-2 NRI COMPLEX:ID* | 28
12 | 31/03/2018 | HKS | 10:00 | 13:34 | 03:34 | PLANNED SHUTDOWN | Grid:33kV SIRI FORT GRID To Feeder:11kV FDR GREEN PARK MAIN , TRANSFORMER:REMOVAL OF MOBILE TRANSFORMER & REPLACEMENT OF NEW TRANSFORMER | RESTORED/ REPAIRED | Part of : *TRF-1 GREEN PARK MAIN:ID* | 145
13 | 31/03/2018 | PJB | 10:00 | 13:39 | 03:39 | PLANNED SHUTDOWN | Grid:PASCHIM PURI (33/11kV) GRID SSTN To Feeder:M.I.G MILANSAR APPARTMENT , RMU:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *630 TRF-1: A-1/265 LIG FLATS, P.VHR,PJB* | 231
14 | 31/03/2018 | PJB | 10:03 | 13:40 | 03:37 | PLANNED SHUTDOWN | Grid:PASCHIM PURI (33/11kV) GRID SSTN To Feeder:D.T.C DEPOT , RMU:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *400TRF-1:NEAR DTC DEPOT SSTN* | 6
15 | 31/03/2018 | NZD | 10:07 | 11:55 | 01:47 | EMERGENCY SHUTDOWN | Grid:DEFENCE COLONY (33/11kV) GRID SSTN To Feeder:11kV FDR DHARAM BHAWAN , LT CIRCUIT:FEEDER PILLAR MAINTENANCE | RESTORED/ REPAIRED | Part of : *TRF-1 B-BLOCK, NDSE-1: PL* | 32
16 | 31/03/2018 | KPR | 10:09 | 11:42 | 01:32 | LT FEEDER | Grid:66kV BATRA GRID To Feeder:11kV FDR L-15 SANGAM VIHAR , LT ACB,:LT ACB BURNT, | RESTORED/ REPAIRED | Part of : *TRF-1 HARIZAN BASTI:PL* | 56
17 | 31/03/2018 | VKP | 10:15 | 14:16 | 04:01 | PLANNED SHUTDOWN | Grid:BINDAPUR (G-3 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR BINDAPUR SCHOOLWALA , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *990 TRF-2:BINDAPUR-1(SCHOOL WALA)* | 84
18 | 31/03/2018 | NJF | 10:15 | 15:13 | 04:58 | PLANNED SHUTDOWN | Grid:NAJAFGARH (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR DICHAON KALAN , 11KV FEEDER:TREE TRIMMING | RESTORED/ REPAIRED | Part of : *100TRF-1:SHRI LAL DICHAUN KALAN NEAR DRAIN*,*100TRF-1:SHRI LAL DICHAUN KALAN NEAR DRAIN*,*25TRF-1:KRISHNA *,*25 TRF-1: RAM NATH VILL DICHAON KALAON*,*GANASHI VILL DICHOAN KALAN*,*100 TRF-1:JAGLUL VLG DICHOAN KALAN*,*25 TRF-1: MAHIPAL NEAR MAIDE DICAHO KALAN*,*100 TRF-1:MAIDE VILLAGE DICHOUN KALAN*,*25 TRF-1: W/S NO-5 DICHAON -BAPROLA MARG NR HOTL*,*25 TRF-1: HOLY FAMILY CHURCH,VILL DICHAON KALAON*,*100 TRF-1:GANGA RAM VILL D.KALAN*,*25 TRF-1:JEEVAN JYOTI VILL-DICHON KALAN*,*VILLAGE DHICHON KALAN, S/ST NO-3*,*400 TRF-1: SHIV ENCLAVE EXTN*,*25 TRF-1: CHARITABLE SOCIETY DICHAON KALAN*,*100 TRF-1:MANGA VILLAGE DICHAON KALAN*,*100 TRF-1:GANESHI VILL DICHAON KALAN*,*100 TRF-1:STREET LIGHT GHEVRA*,*GOVT. W/S AT DIGUPURA*,*100 TRF-1:SHRI LAL VLG DICHAON KALON*,*400 TRF:-1 DICHAO S/TN NO.4 (PHIRNI)*,*990 TRF-1:DICHAON 1*,*400 TRF-1: DIGUPURA* | 612
19 | 31/03/2018 | VKP | 10:15 | 12:13 | 01:58 | EMERGENCY SHUTDOWN | Grid:MATIYALA (G-5 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR LAXMI VIHAR , HVDS:TREE TRIMMING | RESTORED/ REPAIRED | Part of : *990TRF-2:SEWAK PARK B-BLOCK*,*630 TRF-1:SEWAK PARK B-BLOCK* | 321
20 | 31/03/2018 | KPR | 10:18 | 11:44 | 01:25 | LT FEEDER | Grid:TUGHLAKABAD (33/11kV) GRID SSTN To Feeder:11kV FDR F-1 SSTN SANGAM VIHAR (NEW) , LT ACB,:LT ACB BURNT, | RESTORED/ REPAIRED | Part of : *TRF-1 F-1S/S-2* | 57
21 | 31/03/2018 | DWK | 10:19 | 14:14 | 03:55 | PLANNED SHUTDOWN | Grid:G-15 DWARKA REL. ENERGY GRID SSTN To Feeder:11kV FDR KM CHOWK , 11KV FEEDER:TREE TRIMMING | RESTORED/ REPAIRED | Part of : *400TRF-1:(SURBHI APPT)SEC-11 PKT-1 DDA FLAT* | 263
22 | 31/03/2018 | KPR | 10:24 | 11:47 | 01:23 | LT FEEDER | Grid:66kV BATRA GRID To Feeder:11kV FDR TIGRI KIOSK , LT ACB,:LT ACB BURNT, | RESTORED/ REPAIRED | Part of : *TRF-1 TIGRI KIOSK:K* | 66
23 | 31/03/2018 | JFR | 10:26 | 11:41 | 01:15 | PLANNED SHUTDOWN | Grid:JAFFARPUR (66/11kV) GRID SSTN To Feeder:11KV NEW MUNDHELA , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *25 TRF-1:KHAZAN SINGH VILL M. KHURD*,*100 TRF-1:AOP VILL V MUNDELLA KALAN*,*MANOJ VILL MUNDELA KHURD*,*NOT IN EMG*,*25 TRF-1: NAFE SINGH MUNDELA KHURD*,* BADLEY VILL MUNDELA KALAN/ SATISH**100 TRF-1:JOTE RAM VLG MUNDELLA KALAN*,*KARAN SINGH VILL MUNDELA KHURD*,* TRANSFORMER,11/0.433KV 100KVA OIL TYPE*,*25 TRF-1: MER SINGH MUNDELA KHURD,P/M,S/STN*,* TRANSFORMER,11/0.433KV 100KVA OIL TYPE*,*100 TRF: T/WELL S/TN. DICHAON*,*NOT IN EMG*,*100 TRF-1:RAM KISHN VLG MUNDELLA KALAN*,*16 TRF-1:J P FARM NR REWTA MODE*,NAWAL SINGH MUNDELA KHURD*,* TRANSFORMER,11/0.433KV 100KVA OIL TYPE*,*100 TRF-1:ATTAR SNG VLG MUNDELLA KALAN*,*100 TRF-1:PARTAP VLG MUNDELLA KALAN*,*25 TRF-1:W/SPLY MUNDELLA KHURD*,*OMPRAKASH VILL-KAIR*,*25 TRF-1: PURAN MUNDELA KHURD ,P/M,S/STN.*,*SANJEEV -VILL MUNDELA KALANVIJAY ELECTRIC*,*25 TRF-2: HARDWARI NO.1 MUNDELA KHURD*,*100 TRF-1: ST LT FOR MUNDHELA KHURD*,*25 TRF-1: NIHAL SINGH MUNDELA KHURD,P/M,S/STN*,*NIHAL SINGH MUNDELA KHURD*,*25 TRF-1:BANWARI LAL VILL. M KHURD*,*JOGINDER VILL-MUNDELA KALAN*25 TRF-1: UMED SINGH MUNDELA KHURD*,*400 TRF-1:SUBH RAM V MUNDELLA KALAN*,*25 TRF-1:PREM CHAND VLG MUNDELLA KHURD*,*100 TRF-1:BHIM SNG VLG MUNDELLA KALAN*,*25 TRF-1: HARDEEP VILL M. KHURD*,*100 TRF-1:RAGHUBIR VLG MUNDELLA KALAN*,*630 TRF-1:VILL MUNDELLA KHURD S/S NO.2*,*STREET LIGHT, DABUR ENCLAVE, NEAR SHANKER DHARAM*,* TRANSFORMER,11/0.433KV 100KVA OIL TYPE*,*630 TRF-1:VILLAGE MUNDELLA KHURD*,*25 TRF-1:BUDH RAM VILL M. KHURD*,*PRANJAL VILL MUNDELA KALAN | 752
24 | 31/03/2018 | JFR | 10:27 | 12:46 | 02:19 | PLANNED SHUTDOWN | Grid:JAFFARPUR (66/11kV) GRID SSTN To Feeder:11KV SUREHRA MORE , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *100 TRF-1:S/S NO.1 VILL KAIR:PM*,*630 TRF-1:VILLAGE KAIR 1*,*100 TRF-1:STN 3 VILLAGE KAIR*,*DILBAG - VILL KAIRVIJAY*,*VINOD VILL MITRAON*,*100 TRF-1:S/S NO.1 VILL SURHERA :PM*,*100 TRF-1:STN 2 VLG SURHERA*,*NEAR MATA DANKOUR SCHOOL ON DHANSA ROAD*,*S/STN NO.-3 VILL. SURHERA*,*400 TRF2: BHAGNI NIVEDITA COLLEGE VILL KAIR:PM*,*16 TRF-1: DHAPU FARM ( ASHIYANA FARM ) VILL.KAIR*,*400 TRF-1:VILLAGE KAIR 2*,*400 TRF-1:VILLAGE SUREHRA 2*,*25 KVA-PATNA SISTER NOTARY VILL.KAIR P/M* | 652
25 | 31/03/2018 | KPR | 10:29 | 12:09 | 01:39 | LT FEEDER | Grid:66kV BATRA GRID To Feeder:11kV FDR NEW D-BLOCK SANGAM VIHAR , SERVICE LINE,:SERVICE LINE LOOSE FROM POLE, | RESTORED/ REPAIRED | Part of : *TRF-1 MTNL, H-A, SANGAM VIHAR:PL* | 5
26 | 31/03/2018 | KPR | 10:30 | 15:13 | 04:43 | PLANNED SHUTDOWN | Grid:66kV BATRA GRID To Feeder:11kV FDR DEVLI EXTENSION , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 DEVLI EXT.RMU-1 SANGAM VIHAR* | 262
27 | 31/03/2018 | KPR | 10:30 | 15:14 | 04:44 | PLANNED SHUTDOWN | Grid:66kV BATRA GRID To Feeder:11kV FDR B-BLOCK DURGA VIHAR , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 GALI NO 12 MADINA MASJID SANGAM VIHAR*,*TRF-1 B-BLOCK DURGA VIHAR:ID* | 468
28 | 31/03/2018 | JFR | 10:38 | 12:04 | 01:26 | PLANNED SHUTDOWN | Grid:JAFFARPUR (66/11kV) GRID SSTN To Feeder:11KV JHUL JHULI , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *100 TRF-1:KANYIA VLG SARANGPUR*,*RAJROOP VILL GALIBPUR*,*NOT IN EMG*,*400 TRF-1:VILLAGE GALIBPUR*,*NEAR CAMP CENTER GHUMANHERA*,*400 TRF-1:VILLAGE JHUL JHULI*,*100 TRF-1:BANWARI VLG SAMASPUR*,*RAM KISHAN VILL SAMASPUR:PM*,*100 TRF-1:M I D W/SUPLY VLG JHUL JHULI*,*100 TRF-1:W/S 2 DHANSA SARANGPUR RD*,*400 TRF-1:JHULJHULI S/STATION NO-2*,*JEEVAN VILL GALIBPUR*,*AMAR SINGH VILL SARANGPUR:PM*,*400 TRF1-:GIRDHARA VILL GALIBPUR:PM*,*RAMKUMAR VILL GALIBPUR*,*100 TRF-1:I T I JAFFERPUR*,* TRF-1:PARSA DHARA V UJWA*,*400 TRF-1:SAMASPUR S/STN NO. 3*,*HARIJAN BASTI*,*100 TRF-1:NAVODAYA VIDAYALYA JAFFERPUR*,*VILL SAMASPUR S/S NO 2:PM*,*100 TRF-1:DARIAB SINGH VILL SAMASPUR:PM*,*100 TRF-1:SHIS RAM MUNDELLA KALAN*,*400 TRF-1:DURGA ENCLAVE JAFFERPUR*,*400 TRF-1:VILLAGE SARANGPUR*,*100 TRF-1:RAM KUMAR VILL. GALIBPUR*,*RAM NARAYAN VILL SAMASPUR:PM*,*25 TRF-1:PRAVESH KUMAR VILL DAURALLA*,*NIHAL SINGH VILL. JHULJHULI*,*NATHU RAM VILL DARIYAPURABC*,*100 TRF-1:PARWATI VLG MALIKPUR* | 612
29 | 31/03/2018 | KPR | 10:39 | 12:12 | 01:33 | LT FEEDER | Grid:TUGHLAKABAD (33/11kV) GRID SSTN To Feeder:11kV FDR SSTN NO.-1, SANGAM VIHAR, FEEDER NO.-2 PLINTH MOUNTED , SERVICE LINE,:PHASE NOT COMING OUT, | RESTORED/ REPAIRED | Part of : *TRF-1 HTC:F2 BLK SANGAM VIHAR NEAR MCD SCHOOL* | 36
30 | 31/03/2018 | JFR | 10:40 | 12:02 | 01:22 | PLANNED SHUTDOWN | Grid:JAFFARPUR (66/11kV) GRID SSTN To Feeder:11KV RAWTA , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *400 TRF-1:VILLAGE RAWTA 1*,*MANGERAM- VILL DAURALA*,*S/STN NO-3, RAWTA VILLAGE*,*SR. SEC. SCHOOL- VILL RAWTA*,*25 TRF-1:DEVENDER VILL. RAWTA NEAR SHAMSHAN GHAT*,*100 TRF-1:W/SUPLY 1 FOR VLG JHUL JHULI*,*25 TRF-1: RAJESH/DARAMVIR RAWTA NEAR SCHOOL*,*25 TRF-1:SOMBIR VILL RAWTA*,*25 TRF-1:RAGHUVEER, VILL RAWTA*,* DEEPA-1 VILL RAWTA*100 TRF-1:REWA RAM VLG DARYIAPUR*,*25 TRF-1: RAMKARAN, RAWTA*,*100 TRF-1:FATEY VLG RAWTA*,*100 TRF-1:W/SUPPLY 1 VLG DAURALLA*,*100 TRF-1:MAMCHAND VLG RAWTA*,*25 TRF-1: SAUPAL, RAWTA*,*HARKE RAM VILL. RAWTA*,*400 TRF-1:VILLAGE DAURALA*,*25 TRF-1:ASHIL/SAUPAL VILL. RAWTA*,*25 TRF-1:KULDEEP KAUR, JHULJHULI MOD*,*LALIT KUMAR RAWTA*,*400 TRF-1:VILLAGE RAWTA 2 | 547
31 | 31/03/2018 | KPR | 10:42 | 12:16 | 01:33 | LT FEEDER | Grid:TUGHLAKABAD (33/11kV) GRID SSTN To Feeder:11kV FDR SSTN NO-8 D-BLOCK, SANGAM VIHAR ID , SERVICE LINE,:FIRE IN SERVICE LINE, | RESTORED/ REPAIRED | Part of : *TRF-1 PANDE TRANSFORMER, SANGAM VIHAR* | 62
32 | 31/03/2018 | KPR | 10:45 | 15:16 | 04:31 | PLANNED SHUTDOWN | Grid:66kV BATRA GRID To Feeder:11kV FDR KHANPUR (KHATTA WALA) , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-2 KHANPUR KHATEWALLA:PL*,*TRF-1 KHANPUR KHATEWALLA:PL*;HTC:D-BLOCK, KRISHNA PARK:ID*,*TRF-1 BandC BLOCK, JAWAHAR PARK:ID*,*TRF-1 SHUTTER WALI GALI:PL*,*TRF-2 BandC BLOCK, JAWAHAR PARK:ID* | 527
33 | 31/03/2018 | SKT | 10:45 | 13:22 | 02:37 | PLANNED SHUTDOWN | Grid:33 kV SHIVALIK GRID To Feeder:11kV FDR SARVPRIYA APPAREMENT , 11KV FEEDER:TREE TRIMMING | RESTORED/ REPAIRED | Part of : *TRF-1 OPPOSITE A-78 MALVIYA NAGAR*,*TRF-1 CREMATION GROUND BEGUMPUR:PG*,*TRF-1 OPPOSITE A-78 MALVIYA NAGAR*,HARJAN BASTI BEGUMPUR:PL*TRF-2 SARVAPRIYA APPT:ID*TRF-2 HARJAN BASTI BEGUMPUR:PL*SARVAPRIYA APPT:ID*TRF-1 OPPOSITE A-78 MALVIYA NAGAR* | 352
34 | 31/03/2018 | KPR | 10:45 | 15:15 | 04:30 | PLANNED SHUTDOWN | Grid:66kV MALVIYA NAGAR GRID To Feeder:11kV FDR JJ KHANPUR , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 JJ COLONY KHANPUR:ID*,*TRF-2 JJ COLONY KHANPUR:ID*,*TRF-1 MES KHANPUR:PL* | 312
35 | 31/03/2018 | KPR | 10:46 | 12:16 | 01:29 | LT FEEDER | Grid:66kV BATRA GRID To Feeder:11KV FDR C-BLOCK TIN WALA SANGAM VHR. , SERVICE LINE,:SERVICE LINE LOOSE FROM POLE, | RESTORED/ REPAIRED | Part of : *TRF-1 C BLK MCD SCH PHARI WLA,nr vir bzr* | 54
36 | 31/03/2018 | NJF | 10:50 | 16:03 | 05:13 | PLANNED SHUTDOWN | Grid:G 4 DWARKA SEC 19 GRID SSTN To Feeder:11kV FDRGOYALA DAIRY , 11KV FEEDER:TREE TRIMMING | RESTORED/ REPAIRED | Part of : *400TRF-1:DEFENCE ENCLAVE GOYLA-TAJPUR RD*,*400TRF-1:SANTHOMAS SCHOOL*,*100TRF-1:ANAND GOELA*,*100TRF-1:ANAND GOELA*,*100TRF-1:ANAND GOELA*,*400TRF-1:SANTHOMAS SCHOOL*,*400TRF-1:SHYAM KUNJ Near Vill Goyla*,*25-1:NEAR BISHNA S/SN VILL GOELA*,*400 TRF-1:QUTUB VIHAR PHASE-II STN. NO.4*,*ST. LT. DT CHAWLA, CHAWLA QUTUB VIHAR ROAD*,*25 TRF-1:ANATH ASHRAM, TAJPUR ROAD*,*400 TRF-1:VILLAGE GOELA STN 2*,*25 TRF-1:RAM NARAYAN VILL. CHHAWLA*,*25 TRF-1:GYAN DEVI VILL CHHAWLA*,*25 TRF-1:RAMPAT RAMDHAN, VILL TAJPUR*,*400 TRF-2:VILLAGE TAJPUR 2*,*25 TRF-1:NRAYAN SWARUP,QUTUB VIHAR RD VILL CHHAWL*,*400 TRF-1:QUTUB VIHAR PHASE-II* | 463
37 | 31/03/2018 | VKJ | 10:52 | 12:31 | 01:38 | EMERGENCY SHUTDOWN | Grid:VASANT KUNJ (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11 KV FDR I.A.A.I COLONY , 11KV FEEDER:PREVENTIVE MAINTENANCE | RESTORED/ REPAIRED | Part of : *TRF-1 L-BLK SCHOOL KUMHARWALA;;* | 245
38 | 31/03/2018 | RKP | 10:52 | 11:59 | 01:06 | LT FEEDER | Grid:R.K.PURAM-II (33/11kV) GRID SSTN To Feeder:11kV FDR SECTOR-4 R.K PURAM , LT O/H CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : *TRF-1 SECTOR-4, R.K.PURAM: ID* | 38
39 | 31/03/2018 | VKP | 10:56 | 13:28 | 02:31 | EMERGENCY SHUTDOWN | Grid:HASTAL (66/11kV) GRID SSTN To Feeder:JHANDA CHOWK OM VIHAR , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *630 TRF-1:OM VIHAR PHASE-5(JHANDA CHOWK)* | 248
40 | 31/03/2018 | VKP | 10:59 | 13:29 | 02:30 | EMERGENCY SHUTDOWN | Grid:HASTAL (66/11kV) GRID SSTN To Feeder:MAIN BUS STAND , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *990 TRF-1:NAWADA S/STN-3(USTRA WALA)* | 327
41 | 31/03/2018 | NGL | 11:00 | 14:33 | 03:33 | PLANNED SHUTDOWN | Grid:NANGLOI (66/33/11kV) GRID SSTN To Feeder:11kV FDR JWALA PURI CAMP NO.-4 , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : *990 TRF-1: CAMP NO-4 ,S/STN NO-1*,*400 TRF-1: Yellow Building Javla Puri*,*630 TRF-2: Red Building Javla Puri*,*630 TRF-1:CAMP NO-4 B-BLOCK SSTN-3*,*630 TRF-1:CAMP - 4 SSTN-2 P/M*,*630 TRF-1: B-BLK JAWALAPURI,CAMP-4*630 TRF-1: Red Building Javla Puri*,*400 TRF-2: Yellow Building Javla Puri* | 412
42 | 31/03/2018 | NGL | 11:00 | 14:34 | 03:34 | PLANNED SHUTDOWN | Grid:NANGLOI (66/33/11kV) GRID SSTN To Feeder:11kV FDR PVC MARKET JWALA PURI , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : *990 TRF-1: R BLOCK JAWALA PURI PL/M S/ST*,*630*,*990 TRF-2: R-BLK,JAWALAPURI,CAMP-5*,*630 TRF-2: VINDHYACHAL APPARTMENT*,*400 TRF-1: Sidharth Society. S/stn*,*630*,*400 TRF-1:Madhur Appt*,*630 TRF-1: VINDHYACHAL APPARTMENT NGL*,*400 TRF-1:MAHA MANAV APPT*,*630 TRF-2: JAHAZ APPARTMENT*,*630 TRF-1: CAMP NO-4 ,C-BLK, S/STN-5*,*400 TRF-2: VIRAT APPARTMENT*,*630 TRF-1: JAHAZ APPARTMENT*,*400 TRF-1: VIRAT APPARTMENT*,*630 TRF-1;Madhur Appt*,*630 TRF-1: R-BLK,JAWALAPURI,CAMP-5* | 689
43 | 31/03/2018 | NHP | 11:00 | 13:56 | 02:56 | PLANNED SHUTDOWN | Grid:EAST OF KAILASH (33/11kV) GRID SSTN To Feeder:11kV FDR E-BLOCK EAST OF KAILASH , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 E-88 BLOCK AMAR COLONY:PL* | 27
44 | 31/03/2018 | SKT | 11:00 | 15:50 | 04:50 | PLANNED SHUTDOWN | Grid:66kV C-DOT GRID To Feeder:11kV FDR DLF GATE .-3 (RMU) BEDI JONAPUR , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : BPH - II AYA NGR*,*TRF-1 GOVT. TUBEWELL NEAR BABA NIM KAROLI:PM*DOCTOR DHEESH GADAIPUR:PM*,*TRF-1 BHAGAT MAND*BEDI JONA PUR:PM*,TRF-1 DR. SHYAMA JONA PUR:PM*TRF-1 FAKKAR JONA PUR:PM*TRF-1 MTNL JONA PUR-1:PM*,TRF-1 DOCTOR DHEESH GADAIPUR:PM*TRF-1 PANDIT MOHALLA,JONA PUR(PLINTH MOUNTED)*,AKOI JONA PUR:PM*TRF-1 SLUM PAHARI JONA PUR:PM*,*TRF-1 SURENDER NATH JONA PUR:PM*RAJDOOT JONA PUR:PM*SAMBHAV COMP MANDI*JRD FARM* | 451
45 | 31/03/2018 | KPR | 11:00 | 15:20 | 04:20 | PLANNED SHUTDOWN | Grid:MOHAN CO-OPERATIVE (66/11kV) GRID SSTN To Feeder:11kV FDR SSTN NO-1 PUL PRAHLADPUR ID , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of :144 QTS SFS PP PUR:ID*,*TRF-1 PUL PRAHLADPUR EAST*,*TRF-1 AandB BLOCK SURAJ KUND RD. ,PP PUR:PL*HVDS* | 286
46 | 31/03/2018 | MDK | 11:00 | 13:52 | 02:52 | PLANNED SHUTDOWN | Grid:NANGLOI WATER WORKS (66/11kV) GRID SSTN To Feeder:11kV FDR JAI VIHAR , LT CIRCUIT:TO REPAIR DB | RESTORED/ REPAIRED | Part of : *630TRF-1:CHANCHEL PARK S/STN NO - 3* | 52
47 | 31/03/2018 | NHP | 11:00 | 14:14 | 03:14 | PLANNED SHUTDOWN | Grid:OKHLA PHASE-II (33/11kV) GRID SSTN To Feeder:11kV FDR S/S NO.-1, FEEDER-1 PHASE-2 (VIA B-18/2) , RMU:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of :990 KVA TRF AT MCD PARK | 324
48 | 31/03/2018 | SVR | 11:00 | 15:03 | 04:03 | PLANNED SHUTDOWN | Grid:MATHURA ROAD (66/11kV) GRID SSTN To Feeder:11kV FDR A-26/5 M.C.I.E , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : 990 KVA*2 TRF A-26/5 M.C.I.E | 326
49 | 31/03/2018 | MDK | 11:00 | 14:35 | 03:35 | PLANNED SHUTDOWN | Grid:NANGLOI (66/33/11kV) GRID SSTN To Feeder:11kV FDR PUNJABI BASTI , 11KV FEEDER:TO SHIFT THE CABLE | RESTORED/ REPAIRED | Part of : *990TRF-1:A-2 BLOCK, JJ-NO. 2, NANGLAOI:PL*,*630TRF-2:PUNJABI BASTI:PL*,*630TRF-1:PUNJABI BASTI:PL*,*630TRF-1:METRO SHOPPING COMPLEX*,*630TRF-1:KAVITA COLONY PL*,*630TRF-2:KAVITA COLONY*,*990TRF-1:WORK CENTER NGL* | 623
50 | 31/03/2018 | KPR | 11:00 | 15:22 | 04:22 | PLANNED SHUTDOWN | Grid:TUGHLAKABAD (33/11kV) GRID SSTN To Feeder:11kV FDR TIGRI J.J KHANPUR , LT CIRCUIT:NETWORK UPGRADTION WORK | RESTORED/ REPAIRED | Part of : *TRF-2 AGGARWAL PARK:PL*TRF-1 AGGARWAL PARK:PL* | 241
51 | 31/03/2018 | SVR | 11:00 | 15:09 | 04:09 | PLANNED SHUTDOWN | Grid:SARITA VIHAR (66/11kV) GRID SSTN To Feeder:11kV FDR THOKAR NO.-5 DHARAM KANTA , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 HTC:ABDUL FAZZAL ENCLAVE D BLOCK*,*TRF-1*TRF-1*TRF-2 HTC:ABDUL FAZZAL ENCLAVE D BLOCK* | 451
52 | 31/03/2018 | TGN | 11:00 | 15:15 | 04:15 | PLANNED SHUTDOWN | Grid:CHAUKHANDI (33/11kV) GRID SSTN To Feeder:11 kV FDR TILAK VIHAR , TRANSFORMER:NETWORK UPGRADATION WORK | RESTORED/ REPAIRED | Part of : *990 TRF-1 :GALI NO.-9 SSTN, SANTGARH NALEWALA* | 355
53 | 31/03/2018 | SVR | 11:00 | 15:11 | 04:11 | PLANNED SHUTDOWN | Grid:JASOLA (66/33/11kV) GRID SSTN To Feeder:11kV FDR S/S NO.-1, PLOT NO.-1, JASOLA , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : S/STN NO. 3 PLOT NO. I JASOLA*,*TRF-2 S/STN NO. 3 PLOT NO. I JASOLA*,*TRF-1 | 434
54 | 31/03/2018 | VKP | 11:00 | 15:10 | 04:10 | PLANNED SHUTDOWN | Grid:HASTAL (66/11kV) GRID SSTN To Feeder:VIKASH KUNJ SCHOOLWALA , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *400 TRF-1:DEEP ENCLAVE PART-2 NALEWALA* | 162
55 | 31/03/2018 | SKT | 11:00 | 15:51 | 04:51 | PLANNED SHUTDOWN | Grid:66kV C-DOT GRID To Feeder:11kV FDR PURANA AYA NAGAR , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 AYA NAGAR, A - BLOCK* | 246
56 | 31/03/2018 | SVR | 11:00 | 14:53 | 03:53 | PLANNED SHUTDOWN | Grid:JAMIA MILIA (33/11kV) GRID SSTN To Feeder:11kV FDR RMU JAMIA + RMU NO.-1 , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-2 ZAKIR NAGAR DALLAN* | 214
57 | 31/03/2018 | SVR | 11:00 | 14:52 | 03:52 | PLANNED SHUTDOWN | Grid:SARITA VIHAR (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR SOURAV VIHAR-2 , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1*,*TRF-1 VASIST FARM HARINAGAR NO-2;* | 486
58 | 31/03/2018 | NHP | 11:00 | 14:16 | 03:16 | PLANNED SHUTDOWN | Grid:OKHLA PHASE-II (33/11kV) GRID SSTN To Feeder:11kV FDR O/H S/S NO.-2 PHASE-2 , RMU:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-2 S/STN F-27/2 PHASE-2:PL* | 98
59 | 31/03/2018 | KPR | 11:00 | 15:19 | 04:19 | PLANNED SHUTDOWN | Grid:TUGHLAKABAD (33/11kV) GRID SSTN To Feeder:11kV FDR G & H BLOCK SANGAM VIHAR , LT CIRCUIT:NETWORK UPGRADTION WORK | RESTORED/ REPAIRED | Part of : *TRF-1 GALI NO 8 SANGAM VIHAR:PL* | 265
60 | 31/03/2018 | MDK | 11:00 | 12:21 | 01:21 | PLANNED SHUTDOWN | Grid:NANGLOI (66/33/11kV) GRID SSTN To Feeder:11kV BAKKARWALA VILLAGE , LT CIRCUIT:TO BYPASS/REPLACEMENT OF METERS | RESTORED/ REPAIRED | Part of : *990TRF-1:E BLK NGL* | 82
61 | 31/03/2018 | SVR | 11:00 | 14:54 | 03:54 | PLANNED SHUTDOWN | Grid:SARITA VIHAR (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR I.O.C.L , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-2 Block C Kanchan Kunj Palam S/Stn*,*TRF-1 Block A Kanchan Kunj*,*TRF-1*,*TRF-1 GIRLS SCHOOL MADANPUR KHADER;;*TRF-1 KALINDI KUNJ ST. LGT | 362
62 | 31/03/2018 | SVR | 11:00 | 15:12 | 04:12 | PLANNED SHUTDOWN | Grid:SARITA VIHAR (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR SOURAV VIHAR-1 , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 I-BLOCK GALI NO-14* | 206
63 | 31/03/2018 | NHP | 11:00 | 14:21 | 03:21 | PLANNED SHUTDOWN | Grid:OKHLA PHASE-II (33/11kV) GRID SSTN To Feeder:11kV FDR S/S NO.-4, OKHLA PHASE-2, FEEDER-1 , RMU:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-3 S/STN NO-4 OKHLA PH-2:ID* | 189
64 | 31/03/2018 | NHP | 11:00 | 14:18 | 03:18 | PLANNED SHUTDOWN | Grid:OKHLA PHASE-II (33/11kV) GRID SSTN To Feeder:11kV FDR S/S NO.-1, FEEDER-1 PHASE-2 (VIA B-18/2) , RMU:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-3 S/STN NO-1 OKHLA PH-2:ID* | 214
65 | 31/03/2018 | KPR | 11:00 | 15:59 | 04:59 | PLANNED SHUTDOWN | Grid:33kV D.C.SAKET GRID To Feeder:11kV FDR MADANGIRI S/S NO.-1 , LT CIRCUIT:NETWORK UPGRADTION WORK | RESTORED/ REPAIRED | Part of : *TRF-3 MADANGIR PHASE-2:ID*,*TRF-1 ADANGIR PHASE-2:ID*,*TRF-2 MADANGIR PHASE-2:ID* | 289
66 | 31/03/2018 | VKJ | 11:00 | 14:38 | 03:38 | PLANNED SHUTDOWN | Grid:66kV VASANT KUNJ B-BLK GRID To Feeder:11 kV FDR WARD-2 MEHRAULI , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 BALMIKI MANDIR* | 245
67 | 31/03/2018 | PLM | 11:00 | 13:43 | 02:43 | PLANNED SHUTDOWN | Grid:G-6 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11kV FDR PARADISE APPARTMENT SEC.-9 , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : *630 TRF-1:S.R.App. S/stn*,*630 TRF-1:Bhirgu App S/s*,*4000 TRF-1:Manzil*,*630 TRF-1:P. App S/stn.*,*630 TRF-2:S.R.App. S/stn*,*630 TRF-2:Royal Residency*,*630 TRF-2:P. App S/stn.*,*630 TRF-1:Royal Residency* | 462
68 | 31/03/2018 | VKP | 11:00 | 13:25 | 02:25 | PLANNED SHUTDOWN | Grid:HASTAL (66/11kV) GRID SSTN To Feeder:GURUDWARA HASTAL ROAD , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *990TRF-1:GURUDWARA STN-2*,*990 TRF-2:GURUDWARA STN-1* | 556
69 | 31/03/2018 | KPR | 11:00 | 15:17 | 04:17 | PLANNED SHUTDOWN | Grid:66kV BATRA GRID To Feeder:11kV FDR NEW D-BLOCK SANGAM VIHAR , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 S/S NO.3, D-BLOCK S.VIHAR:ID*,*TRF-1 S/S NO-6, D-BLOCK, S.VIHAR:ID*,*TRF-1 C BLOCK KUNDHIR WALA*,*TRF-2 S/S NO-1,D-BLOCK,SANGAM VIHAR:ID*,*TRF-1 ;S/S NO-1,D-BLOCK,SANGAM VIHAR:ID*,*TRF-1C- BLOCK TIN WALA SANGAM VIHAR*TRF-1 PANDE TRANSFORMER, SANGAM VIHAR*TRF-1 MTNL, H-A, SANGAM VIHAR:PL*,*TRF-1 E-BLOCK, SANGAM VIHAR:PL* | 562
70 | 31/03/2018 | KPR | 11:00 | 15:17 | 04:17 | PLANNED SHUTDOWN | Grid:66kV BATRA GRID To Feeder:11kV FDR OLD D-BLOCK SANGAM VIHAR , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-2 S/S NO-1,D-BLOCK,SANGAM VIHAR:ID*,*TRF-1 S/S NO-1,D-BLOCK,SANGAM VIHAR:ID*,*TRF-1 A BLOCK (MANDIRWAL-ROAD SIDE),S VIHAR*,*TRF-1 A BLOCK SANGAM VIHAR ROAD SIDE WALA*TRF-1 JILE SINGH FARM,SANGAM VIHAR*TRF-1 L-BLK,GALI NO-4,SANGAM VIHAR* | 415
71 | 31/03/2018 | SVR | 11:00 | 15:10 | 04:10 | PLANNED SHUTDOWN | Grid:SARITA VIHAR (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR ALI VILLAGE , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 ALI. BARAT GHAR*,*TRF-1 | 153
72 | 31/03/2018 | MDK | 11:00 | 13:07 | 02:07 | PLANNED SHUTDOWN | Grid:NANGLOI WATER WORKS (66/11kV) GRID SSTN To Feeder:11kV FDR YADAV PARK EXT. , HVDS:MAINTENANCE WORK | RESTORED/ REPAIRED | Part of : *630TRF-1:RAM NAGAR I/D*,*400TRF-1:MAHARAJA WALA*,*KAMRUDDIN NAGAR EXTN S/S-1*,*400TRF-1:A2 BLK KUNWAR SINGH NGR*,*990TRF-1:RAJENDER WALA(MCD) SSTN*,*400TRF-1:DEEPANSU(DAULAT RAM SCHOOL)*,*100TRF-1:KAMRUDDIN NAGAR HVDS*,*400TRF-1 NAJAFGARH ROAD NANGLOI*,*400TRF-1:CHAJJU RAM COLONY (YADAV PARK)* | 362
73 | 31/03/2018 | MDK | 11:00 | 12:31 | 01:31 | PLANNED SHUTDOWN | Grid:NANGLOI (66/33/11kV) GRID SSTN To Feeder:11kV FDR J.J COLONY NO.-2 , LT CIRCUIT:REPLACEMENT OF DAMAGE LTAB | RESTORED/ REPAIRED | Part of : *630TRF-2:C BLK JJ NO-2* | 62
74 | 31/03/2018 | MDK | 11:00 | 14:32 | 03:32 | PLANNED SHUTDOWN | Grid:66/11KV MUNDKA GRID To Feeder:11kV FDR SUBHASH VIHAR-2 , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *100TRF-1:MTNL TIKRI KALAN:PM*,*400TRF-1:TIKRI S/S-8 NR SHAHEED BHAGAT SINGH PARK*,*990TRF-1:TIKRI VILLAGE S/STN-6:PL*,*630 TRF-1:TIKRI VILLAGE STN-3*,*400 TRF-1: NEAR TIKRI LALTEN*,*100TRF-1:HINDUSTAN SANIT NR CC CENTER*,*990TRF-1:TIKRI VILLAGE S/STN-5:PL*,*990 TRF-1:TIKRI VILLAGE S/STN-2:PL*,*630 TRF-1:TIKRI VILLAGE STN-1*,*400 TRF-1:TIKRI VILLAGE S/STN-4:PM* | 512
75 | 31/03/2018 | NGL | 11:00 | 14:28 | 03:28 | PLANNED SHUTDOWN | Grid:NANGLOI WATER WORKS (66/11kV) GRID SSTN To Feeder:11kV FDR TP KOTLA , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : *630 TRF-1*,*630 TRF-1:CHUNA BHATTI RISHAL GARDEN P/M*,*400TRF-1:T.P KOTLA VILLAGE NO-2*,*630 TRF-1:RISHAL GARDEN*,*630 TRF-1*,*630TRF-1:T.P KOTLA VILLAGE NO-2*,*400 TRF-1: S/STN. NO.-1. AT KOTLA VIHAR PHASE -2*,*PLM T P KHOTLA PH-2 S/S -2*,*400 TRF-1 T.P.KOTLA VILLAGE-1*,*400 TRF-1:RANHOLA EXTN.*,*RANHOLLA VIHAR(CHANDER VIHAR NO-3)* | 598
76 | 31/03/2018 | PLM | 11:00 | 14:31 | 03:31 | PLANNED SHUTDOWN | Grid:BINDAPUR (G-3 PPK) (66/11kV) GRID SSTN To Feeder:DABRI NO 2 , TRANSFORMER:LEAD REPLACEMENT | RESTORED/ REPAIRED | Part of : *990 TRF-1:Vaishali S/stn* | 78
77 | 31/03/2018 | SKT | 11:00 | 14:03 | 03:03 | PLANNED SHUTDOWN | Grid:66kV IGNOU GRID To Feeder:11kV FDR S/S NO.-1, NEB SARAI EXTN. (GOEL S/S) , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 F Blk Western Avenue*,*TRF-1 LAKHOTIA-1:PM*TRF-1 W 15 F Bandh Road Western Avenue*,*TRF-1 J 238 Western Avenue*,*TRF-1 GOYAL TRF WESTERN AVENUE SAINIK F/M,NEB*,*TRF-1 W 12 App Western Avenue*TRF-1 Umesh Anand W 12 Western Avenue*,TRF-1 W 15 A Bandh Road Western Avenue* | 433
78 | 31/03/2018 | KPR | 11:00 | 15:19 | 04:19 | PLANNED SHUTDOWN | Grid:66 kV OKHLA PHASE-I GRID To Feeder:11 kV FDR HOT MIX PLANT , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 CHUNGI NO.3:PL*Ravidass MB ROAD( near Vishkarma colony)*,*TRF-1 ST LIGHT TR MIG FLAT SURAJ KUND RD:PM*PETROL PUMP LAL KUAN:PL* | 365
79 | 31/03/2018 | KPR | 11:00 | 15:18 | 04:18 | PLANNED SHUTDOWN | Grid:TUGHLAKABAD (33/11kV) GRID SSTN To Feeder:11kV FDR DMS TRUST , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 NEAR CIVIL COURT INST. AREA:PL*,*TRF-1 PRAYAS KHP*,*TRF-1 TIGRI KIOSK:K*,*TRF-2 TIGRI KIOSK:K*TRF-1 INSTITUTIONAL AREA:ID*,*TRF-1 NAI BASTI DEVLI (OLD):PM*TRF-1 GALI NO-5, NAI BASTI, DEVLI:PL*TRF-1 NAI BASTI DEVLI (NEW):PL*TRF-1 DEVLI BUS STAND*,*TRF-2 INSTITUTIONAL AREA:ID* | 358
80 | 31/03/2018 | MDK | 11:00 | 13:51 | 02:51 | PLANNED SHUTDOWN | Grid:NANGLOI WATER WORKS (66/11kV) GRID SSTN To Feeder:11kV FDR JAI VIHAR , LT CIRCUIT:TO REPLACE THE DAMAGE POLE | RESTORED/ REPAIRED | Part of : *400TRF-1-:BRAHMPURI SSTN* | 46
81 | 31/03/2018 | SVR | 11:00 | 15:12 | 04:12 | PLANNED SHUTDOWN | Grid:SARITA VIHAR (220/66/11kV, TRANSCO) GRID SSTN To Feeder:JAITPUR O/H , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : H BLK JAITPUR -2:HVDS | 162
82 | 31/03/2018 | SVR | 11:01 | 12:02 | 01:00 | LT FEEDER | Grid:SARITA VIHAR (220/66/11kV, TRANSCO) GRID SSTN To Feeder:JAITPUR O/H , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : H BLOCK JAITPUR PART-2:HVDS | 62
83 | 31/03/2018 | PJB | 11:03 | 13:41 | 02:38 | PLANNED SHUTDOWN | Grid:A-4 PASCHIM VIHAR (33/11kV) GRID SSTN To Feeder:PUNJABI BAGH POLICE STATION , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *POLICE STATION ,PUNJABI BAGH*,*630TRF-1: MGS HOSPITAL,PJB* | 195
84 | 31/03/2018 | VKP | 11:04 | 13:30 | 02:26 | EMERGENCY SHUTDOWN | Grid:MATIYALA (G-5 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR C&D BLOCK MOHAN GARDEN , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *990 TRF-1:B-BLOCK MOHAN GARDEN* | 351
85 | 31/03/2018 | HKS | 11:05 | 15:08 | 04:03 | PLANNED SHUTDOWN | Grid:33kV SIRI FORT GRID To Feeder:11kV FDR 40-SAHPUR JAT , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 DDA FLATS SHAHAPUR JAT.:ID*,*TRF-2 DDA FLATS SHAHAPUR JAT.:ID* | 642
86 | 31/03/2018 | JKP | 11:17 | 14:02 | 02:45 | PLANNED SHUTDOWN | Grid:PANKHA ROAD (66/33/11kV) GRID SSTN To Feeder:11KV B-2 JANAK PURI CHANNAN DEVI , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *990 TRF-1 :PLOT NO.-B1/145 SSTN, JANAKPURI* | 71
87 | 31/03/2018 | MDK | 11:18 | 12:50 | 01:31 | EMERGENCY SHUTDOWN | Grid:NANGLOI WATER WORKS (66/11kV) GRID SSTN To Feeder:11kV FDR ARVIND ENCLAVE S/S NO.-3 , 11KV FEEDER:PREVENTIVE MAINTENANCE | RESTORED/ REPAIRED | Part of : *990 TRF-2:ARVIND ENCLAVE*,*400TRF-1:AMAR CLNY D BLK*,*630TRF-2:AMAR COLONY C BLOCK:ID*,*400TRF-1:AMAR COLONY P/M*,*630TRF-1:AMAR COLONY C BLOCK:ID*,*400TRF-2:AMAR COLONY A BLOCK:ID*,*630TRF-2:AMAR CLNY D BLK*,*990TRF-1:AMAR COLONY A BLOCK:ID*,*400TRF-1:RISHI NAGAR P/M NR SUKHI NAHAR*,*630TRF-1:SUKHI NAHAR NEAR PLOT NO.A-161*,*400RF-1:S/STN SAHIB SINGH VERMA* | 584
88 | 31/03/2018 | MDK | 11:22 | 12:56 | 01:34 | EMERGENCY SHUTDOWN | Grid:NANGLOI (66/33/11kV) GRID SSTN To Feeder:11kV FDR RAJENDERA PARK , 11KV FEEDER:PREVENTIVE MAINTENANCE | RESTORED/ REPAIRED | Part of : *630TRF-3:POLICE QTRS NGL I/D*,*630TRF-1:VEENA ENCLAVE S/STN-1:ID*,*400TRF-1:RAJENDRA PARK-2:ID*,*990TRF-2:POLICE QUATER ID*,*630TRF-4:POLICE QUTR NGL I/D*,*400TRF-1:5and6 BLK KAMRUDDIN NAGAR*,*990TRF-1:POLICE QUATER*,*630TRF-1;RATAN BAGH:ID* | 589
89 | 31/03/2018 | VKJ | 11:22 | 12:59 | 01:37 | EMERGENCY SHUTDOWN | Grid:66kV VASANT KUNJ D-BLK GRID To Feeder:11 kV FDR NANGAL DAIRY-2 , 11KV FEEDER:PREVENTIVE MAINTENANCE | RESTORED/ REPAIRED | Part of : *TRF-1 MAHAJAN FARM-2 RANGPURI | 152
90 | 31/03/2018 | MDK | 11:26 | 13:18 | 01:51 | EMERGENCY SHUTDOWN | Grid:NANGLOI (66/33/11kV) GRID SSTN To Feeder:11kV BAKKARWALA VILLAGE , 11KV FEEDER:PREVENTIVE MAINTENANCE | RESTORED/ REPAIRED | Part of : *400TRF-1:KAMRUDEEN NAGAR DAL MILL:PL*,*400RF-1:S/STN SAHIB SINGH VERMA*,*630TRF-1:RAJDHANI PARK S/STN-1:ID*,*990TRF-1:E BLK NGL*,*630TRF-3:POLICE QTRS NGL I/D*,*630 TRF-1:GULSHAN PARK:ID*,*630TRF-1:RAJDHANI PARK S/STN-2:ID*,*630TRF-2:GULSHAN PARK:ID*,*990TRF-1:POLICE QUATER*,*990TRF-2:POLICE QUATER ID*,*630TRF-4:POLICE QUTR NGL I/D*,*990TRF-1:VEENA ENCLAVE S/STN-2:ID* | 593
91 | 31/03/2018 | VKJ | 11:30 | 13:30 | 02:00 | PLANNED SHUTDOWN | Grid:33kV ANDHERIA BAGH GRID To Feeder:11kV FDR MANAGALPURI , LT CIRCUIT:TREE TRIMMING | RESTORED/ REPAIRED | Part of : *TRF-1 HERO HONDA (RIKKHI FARM)* | 6
92 | 31/03/2018 | HKS | 11:30 | 14:04 | 02:34 | PLANNED SHUTDOWN | Grid:33kV ADHCHINI GRID To Feeder:11kV FDR BHIM NAGRI IIT S/S NO.-2 , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 HAUS KHAZ POLICE COLONY:ID* | 122
93 | 31/03/2018 | TGN | 11:33 | 15:16 | 03:42 | PLANNED SHUTDOWN | Grid:GURU GOVIND SINGH HOSPITAL GRID SSTN - WTC123. To Feeder:11kV FDR S-BLOCK VISHNU GARDEN , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *990 TRF-1 :S-BLOCK SSTN, VISHNU GARDEN*,*990 TRF-2 :S-BLOCK SSTN, VISHNU GARDEN* | 545
94 | 31/03/2018 | PLM | 11:40 | 15:11 | 03:31 | PLANNED SHUTDOWN | Grid:PAPPANKALAN-I (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR MAHAVIR ENCLAVE , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : *630 TRF-1:PUMP HOUSE SEC-7:PLM*,*400 TRF-1: C-2 Block Mahavir Encl. Sec-1 | 458
95 | 31/03/2018 | PLM | 11:40 | 15:10 | 03:30 | PLANNED SHUTDOWN | Grid:PAPPANKALAN-I (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR PALAM VILLAGE , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : *990 TRF-1HARIZAN BASTI S/S:*,*630 TRF-1:Pappam Kala Sec-I*,*630 TRF-1:Pappan Kalam Sec-I F.5*,*630 TRF-2:Pappam Kala Sec-I*,*400 TRF-2:Pappan Kalam Sec-I F.5* | 568
96 | 31/03/2018 | PLM | 11:40 | 15:07 | 03:27 | PLANNED SHUTDOWN | Grid:G-2 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:RMU NO.-1 , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : *990 TRF-1:DADA DEV HOSPITAL SSTN-1*,*400 TRF-1:CHANDER VIHAR:PLM*,*400 TRF-2:NAYANTARA SEC.7*,*400 TRF-1:NAYANTARA SEC.7* | 453
97 | 31/03/2018 | HKS | 11:40 | 14:40 | 03:00 | PLANNED SHUTDOWN | Grid:66kV VASANT KUNJ B-BLK GRID To Feeder:11kV FDR BIO-TECH FEEDER-1 , RMU:RMU REPLACEMENT | RESTORED/ REPAIRED | Part of : HT CONSUMER | 1
98 | 31/03/2018 | PLM | 11:40 | 15:08 | 03:28 | PLANNED SHUTDOWN | Grid:G-2 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:11KV SADH NAGAR GALI NO.-9 , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : *990 TRF-2: Ram Chock Gali No.-4*,*990 TRF-1: Ram Chock Gali No.-4*,*630 TRF-1:DDA Paul*,*630 TRF-2:DDA Paul*,*400 TRF-1:Sadh Nagar Gali No-9 P/M* | 566
99 | 31/03/2018 | TGN | 11:44 | 15:17 | 03:32 | PLANNED SHUTDOWN | Grid:GURU GOVIND SINGH HOSPITAL GRID SSTN - WTC123. To Feeder:11 kV FDR C-BLOCK BREAK DOWN OFFICE , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *c-blk b/d off sstn, raghubir nagar*,*990 TRF-2 :C-BLK B/D OFF. SSTN, RAGHUBIR NGR* | 389
100 | 31/03/2018 | TGN | 11:46 | 15:18 | 03:31 | PLANNED SHUTDOWN | Grid:VISHAL (33/11kV) GRID SSTN To Feeder:11kV FDR A-BLOCK S/N TAGORE GARDEN , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *630 TRF-2 :A-BLK (TGN COMP. CNTR) SSTN, R.NGR*,*630 TRF-1 :A-BLK (TGN COMP. CNTR) SSTN, R.NGR* | 479
101 | 31/03/2018 | PLM | 11:46 | 13:15 | 01:28 | HVDS CABLE & OTHER SYSTEM | Grid:PAPPANKALAN-I (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR VINODPURI , HVDS,:HVDS DP FUSE BLOWN, | RESTORED/ REPAIRED | Part of : *630 TRF-1:Vinodpuri Fs*,*630 TRF-2:Vinodpuri Fs*,*630 TRF-1: B and H BLOCK MAHAVIR VIHAR*,*400 TRF-2:B and H BLOCK MAHAVIR VIHAR*,*630 TRF-1:C and I BLOCK MAHAVEER ENCLAVE S/S*,*400 TRF-1: B2- Block- Vijay Encl.* | 612
102 | 31/03/2018 | JKP | 11:47 | 14:52 | 03:05 | PLANNED SHUTDOWN | Grid:HARI NAGAR (66/11kV) GRID SSTN To Feeder:11KV L.I.G RAJORY GARDEN , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *630 TRF-1 :PATEL PARK SSTN, RAJOURI GARDEN* | 51
103 | 31/03/2018 | JKP | 11:48 | 15:17 | 03:29 | PLANNED SHUTDOWN | Grid:MAYAPURI (33/11kV) GRID SSTN To Feeder:11KV AJANTA O/H , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *630 TRF-2 :AMIT NURSING HOME SSTN, SUBHASH NGR* | 43
104 | 31/03/2018 | NJF | 11:48 | 13:23 | 01:34 | LT FEEDER | Grid:PAPPANKALAN-II (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR DMRC STAFF QUARTERS , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : *100 TRF-1:SANGAM VIHAR KAKROLA ROAD* | 47
105 | 31/03/2018 | TGN | 11:51 | 15:18 | 03:26 | PLANNED SHUTDOWN | Grid:MUKHERJEE PARK (33/11kV) GRID SSTN To Feeder:11 kV FDR RAGHUBIR NAGAR D-BLOCK , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *990 TRF-2 :D-BLK STOREWALA SSTN, RAGHUBIR NGR*,*630 TRF-1 :D-BLK STOREWALA SSTN, RAGHUBIR NGR* | 428
106 | 31/03/2018 | SKT | 11:52 | 14:11 | 02:19 | EMERGENCY SHUTDOWN | Grid:66kV C-DOT GRID To Feeder:11kV FDR M.C Tr. DLF (MEHAR CHAND) , LT ACB:LEAD REPLACEMENT | RESTORED/ REPAIRED | Part of : *TRF-1 SARDARI LAL CHOPARA:PM* | 39
107 | 31/03/2018 | DWK | 11:56 | 13:33 | 01:37 | PLANNED SHUTDOWN | Grid:PAPPANKALAN-I (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR MAHALAXMI , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *SEC-06 GOVT COED SCHOOL(SITE-1)*,*630-TRF-I_Rudhra App. (HTC)*,*630 TRF-1:MLU SEC-6*,*630 TRF-1:MOTHER PRIDE (METER NOT INSTALLED)*,*400TRF-1:GOVT SECONDRY SCHOOL SEC-6*,*630 TRF-2:DIAMOND SQUARE*,*630 TRF-2:NEW ASHIANA PLOT-10 SEC-6*,*NEW ASHIANA PLOT-10 SEC-6*,*400-TRF-1_YOUNGSTER SEC-6*,*630 TRF-2:MLU SEC-6*,*NEW ASHIANA PLOT-10 SEC-6*,*630-TRF-I_New Ashiyana App. Plot No-10, Sec-6*,*630 TRF 1 :SWAMI DAYANAND APPT, PLOT-5, SEC-6*,*630 TRF 1 :SWAMI DAYANAND APPT, PLOT-5, SEC-6*,*400-TRF-II_YOUNGSTER SEC-6* | 567
108 | 31/03/2018 | DWK | 11:57 | 13:33 | 01:36 | PLANNED SHUTDOWN | Grid:G-15 DWARKA REL. ENERGY GRID SSTN To Feeder:11kV FDR SEC-3_13 X-ING , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *400 TRF:1 SEC-15 JJ COLONY A BLK. S/ST-1*,*25 TRF:1 MCD ASSESMENT and COLLEC OFFICE-N*,*100 TRF:1 NSIT PUMP HOUSE (HARI VIHAR)*,*400 TRF-1,NEAR SULAHKUL MANDIR (MOHIT NGR)*,*400 TRF-1:C-BLK BHARAT VIHAR*,*400 TRF-1:B-BLK BHARAT VIHAR*,*400 TRF-1;SEC-15 SHYAM VIHAR* | 625
109 | 31/03/2018 | DWK | 11:58 | 13:33 | 01:35 | PLANNED SHUTDOWN | Grid:BINDAPUR (G-3 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR MAHAVIR ENCL. S\S NO.-4 , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *400 TRF-2:MAHAVIR ENCLAVE S/STN NO 3*,*500 TRF-1:A 15B MAHAVIR ENCS/ST-3 SEC-18B PH-2(504 MIG+360 LIG) L*,*630 TRF-2:MAHAVIR ENC S/STN NO 6*,*990TRF-1:MAHAVIR ENC S/STN NO 5*,*1000 TRF-2:MAHAVIR ENC S/STN NO 5*,*630 TRF-1 :Mahavir Encl. S/stn No-4*,*630 TRF-1: S/stn No-3 Mahavir Encl.*,*630 TRF-1:MAHAVIR ENC S/STN NO 6* | 525
110 | 31/03/2018 | PLM | 12:00 | 15:05 | 03:05 | PLANNED SHUTDOWN | Grid:PAPPANKALAN-I (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR PAPPANKALAN SECTOR-7 , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : *400 TRF-1:ADERSH GALI PALAM :PLM*,*100 TRF-1:ST LTG BEHIND SRI NIKETA :PM*,*400 TRF-1:SEC-7 PKT-1 SSTN NO-1*,*400 TRF-2:Shri Niketan*,*630 TRF-1:Shri Niketan*,*SEC-7 PKT-1 SSTN NO-1 I/D* | 334
111 | 31/03/2018 | NGL | 12:00 | 14:37 | 02:37 | PLANNED SHUTDOWN | Grid:NANGLOI (66/33/11kV) GRID SSTN To Feeder:11kV FDR HINDUSTAN HOUSING SOCIETY , 11KV FEEDER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *990 TRF-2 I/D GHK NGR STN-1*,*630 TRF-1:PLM GHK NAGAR STN-3*,*630 TRF-1:I/D GHK NGR STN-1*,*NLI17F101S1BB1*,*630TRF-2: GHKN SSTN NO-2* | 536
112 | 31/03/2018 | PLM | 12:00 | 14:30 | 02:30 | PLANNED SHUTDOWN | Grid:G-2 PAPPANKALAN (66/11kV) GRID SSTN To Feeder:MAHAVEER ENCLEVE, D-3 , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *100 TRF-1:HORTICULTURE* | 3
113 | 31/03/2018 | SKT | 12:00 | 15:47 | 03:47 | PLANNED SHUTDOWN | Grid:66kV C-DOT GRID To Feeder:11KV FDR N.B.C.C , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 M/S MODERN TILES KH. NO. 23/6 VILL GADAI*,*TRF-1 CHAUTALA JONA PUR:PM*,**,*TRF-1 BHATIA GADAIPUR*,*TRF-1 BABBAL JEET SINGH S/STN JONAPUR*TRF-1 CRC Nr SULTANPUR STN,100 KVA S/S ST. LTG*TRF-1OSHO DRIVE-3 GADAIPUR:PM,100 KVA S/Stn.*TRF-1 JAGDISH GADAIPUR:PL*,*TRF-1 R.B ROLLING JONA PUR:PM*TRF-1 GEN. BHATIA;PM*TRF-1 BALWANTI MANDI:PM*TRF-1 PUNJAB KESARI GADAIPUR*TRF-1 BATRA FARM,100 KVA S/Stn.*TRF-1 DOCTOR DHEESH GADAIPUR:PM*,*TRF-1 RAJA BABU GADAIPUR:PM*,*TRF-1 F-43 RASHMI RADHEY MOHAN,100 KVA S/Stn.*,TRF-1 DOCTOR DHEESH GADAIPUR:PM*,*TRF-1 F-42 JUNEJA RADHEY MOHAN,100 KVA S/Stn.*TRF-1 PANCHWATI GADAIPUR:PM*TRF-1 OSHO DRIVE-1 GADAIPUR:PM,100 KVA S/Stn.*,*TRF-1 BANSHI JONA PUR:PM*, | 641
114 | 31/03/2018 | NGL | 12:03 | 14:38 | 02:35 | PLANNED SHUTDOWN | Grid:PASCHIM PURI (33/11kV) GRID SSTN To Feeder:11kV FDR UDYOG NGR FEEDER-1 (BHERA ENCLAVE) , 11KV FEEDER:CARRY OUT PREVENTIVE MTC | RESTORED/ REPAIRED | Part of : *990TRF-1: BHAIRA ENCLAVE I/D SSTN-1*,*630TRF-1*,*990 TRF-2 I/D GHK NGR STN-1*,*630TRF-1: BHAIRA ENCLAVE SSTN NO-2*,*630 TRF-1:I/D GHK NGR STN-1*,*990TRF-2 :BHAIRA ENCLAVE I/D SSTN NO-1* | 465
115 | 31/03/2018 | PJB | 12:03 | 13:42 | 01:39 | PLANNED SHUTDOWN | Grid:MADIPUR (33/11kV) GRID SSTN To Feeder:BOOSTER PUMP PUNJABI BAGH , HT INTERMEDIATE FEEDER:MAKING OF END BOX | RESTORED/ REPAIRED | Part of : *630 TRF-1: RD. NO.-41(NATHA SINGH VATIKA),PJB*,*630 TRF-1: ROAD NO.-41,NEAR T.T.PARK,PJB*,*630TRF-2:ROAD NO-41(NATHA VATIKA)*,*990 TRF-1: RD NO.-41, MOTI NGR CROSSING,PJB*,*400 TRF-1:RD-41 HERBAL GARDEN* | 521
116 | 31/03/2018 | KPR | 12:05 | 14:03 | 01:57 | EMERGENCY SHUTDOWN | Grid:66kV BATRA GRID To Feeder:11kV FDR OLD D-BLOCK SANGAM VIHAR , LT ACB:LEAD REPLACEMENT | RESTORED/ REPAIRED | Part of : *TRF-1 A BLOCK SANGAM VIHAR ROAD SIDE WALA* | 67
117 | 31/03/2018 | SVR | 12:08 | 13:32 | 01:24 | LT FEEDER | Grid:SARAI JULLENA (33/11kV) GRID SSTN To Feeder:11kV FDR S/S NO.-3 NEW FRIENDS COLONY , DISTRIBUTION TRANSFORMER,:TRANSFORMER FUSE BLOWN, | RESTORED/ REPAIRED | Part of : *TRF-1 KHIDRA BAD PLM | 58
118 | 31/03/2018 | SKT | 12:20 | 14:03 | 01:43 | PLANNED SHUTDOWN | Grid:66kV IGNOU GRID To Feeder:11kV FDR NEB SARAI VADERA P/M SSTN. , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 WADHERA NO-2*,*TRF-1 KHATTEWALE NEBSARAI*,*TRF-1 WADHERA NEBSARAI* | 365
119 | 31/03/2018 | MDK | 12:21 | 14:03 | 01:42 | EMERGENCY SHUTDOWN | Grid:NANGLOI WATER WORKS (66/11kV) GRID SSTN To Feeder:11kV FDR DDA FLAT LOKNAYAK PURAM , 11KV FEEDER:PREVENTIVE MAINTENANCE | RESTORED/ REPAIRED | Part of : *630TRF-1:DDA FLATS,PKT-A,ESS-4,S/S-1*,*630TRF-2: DDA FLATS,PKT-C,ESS-1,S/S-1*,*630TRF-2: DDA FLATS,PKT-B1,ESS-1 S/S-2*,*100TRF-1:SEWAGE PLANT BAKARWALA:PM*,*630TRF-1: DDA FLATS,PKT-D,ESS-3,S/S-1*,*TRANSFORMER,11/0.433KV 400KVA OIL TYPE*,*630TRF-1:CHANCHEL PARK S/STN NO - 2*,*630TRF-1:DDA FLATS,PKT-A,ESS-2,S/S-1*,*630TRF-1:DDA FLATS,PKT-D,ESS-1,S/S-1*,*630TRF-1:DDA FLATS,PKT-A,ESS-1,S/S-1*,*630TRF-1:DDA FLATS,PKT-C,ESS-2,S/S-1*,*25TRF-1:PRIMARY SCHOOL D-BLK BAKKERWALA*,*630TRF-2:BSES I/D S/STN N0 4*,*630TRF-2:DDA FLATS,PKT-A,ESS-4,S/S-1*,*400TRF-1:ATMA SADHANA KENDRA*,*400TRF-1:DDA FLATS,PKT-D,ESS-4,S/S-1*,*630TRF-2:DDA FLATS,PKT-C,ESS-4,S/S-1*,*630TRF-2:DDA FLATS,PKT-A,ESS-2,S/S-1*,*630TRF-1:DDA FLATS,PKT-D,ESS-2,S/S-1*,*630TRF-1: DDA FLATS,PKT-B1,ESS-1 S/S-2*,*100TRF-1:NEAR PINEOR CONVENT SCHOOL:PM*,*630TRF-1:DDA FLATS,PKT-C,ESS-3,S/S-1*,*630TRF-1:DDA FLATS,PKT-C,ESS-4,S/S-1 | 692
120 | 31/03/2018 | KPR | 12:24 | 14:00 | 01:36 | LT FEEDER | Grid:TUGHLAKABAD (33/11kV) GRID SSTN To Feeder:11kV FDR SSTN NO-8 D-BLOCK, SANGAM VIHAR ID , LT ACB,:FIRE IN S/STN, | RESTORED/ REPAIRED | Part of : *TRF-1 S/S NO-7,SANGAM VIHAR D-BLOCK:ID* | 64
121 | 31/03/2018 | NJF | 12:30 | 14:33 | 02:03 | PLANNED SHUTDOWN | Grid:NAJAFGARH (220/66/11kV, TRANSCO) GRID SSTN To Feeder:11kV FDR CHAWLA TANK , 11KV FEEDER:TREE TRIMMING | RESTORED/ REPAIRED | Part of : *100 TRF-1:MTNL NAJAFGARH*,*400 TRF: UGRASAIN PARK*,*400 TRF1-UGERSAIN PARK*,*PETROL PUMP VILLAGE KAIRA*,*400 TRF-1:NAJAFGARH PARK*,*16 TRF-1:DHARM SINGH VILLAGE D.KALAN*,*100 TRF-1:FIRE STATION NJF*,*16 TRF-1:RAJ KUMAR DICHAON KALAN*,*HVDS *,*TRF-1:MCD BOOSTER PUMP NEAR DHANSA BUS STAND* | 458
122 | 31/03/2018 | JKP | 12:34 | 14:01 | 01:27 | HT SYSTEM FAULT | Grid:MAYAPURI (33/11kV) GRID SSTN To Feeder:11KV AJANTA O/H , 11KV GRID PANEL,:MECHANISUM STRUCK/FAULTY, | RESTORED/ REPAIRED | Part of : *990 TRF-1 :BLOCK NO.-2 SSTN, SUBHASH NAGAR*,*100 TRF-1 :BPCL PETROL PUMP SSTN, HARI NAGAR*,*1000 TRF-1 :AMIT NURSING HOME SSTN, SUBHASH NGR*,*990 TRF-1 :SSTN NO.-3, SUBHASH NAGAR*,*630 TRF-3 :SSTN NO.-3, SUBHASH NAGAR*,*990 TRF-1 :BAKERYWALA SSTN, MANAK VIHAR EXTN*,*630 TRF-2 :AMIT NURSING HOME SSTN, SUBHASH NGR*,*1000 TRF-2 :SSTN NO.-3, SUBHASH NAGAR*,*990 TRF-1 :KABIR MANDIR SSTN, TIHAR VILLAGE*,*630 TRF-1 :J-BLOCK BERI WALA BAGH SSTN* | 458
123 | 31/03/2018 | JKP | 12:51 | 16:22 | 03:31 | PLANNED SHUTDOWN | Grid:HARI NAGAR (66/11kV) GRID SSTN To Feeder:11KV FATEH NAGAR , TRANSFORMER:TRANSFORMER REPLACEMENT | RESTORED/ REPAIRED | Part of : *630 TRF-1 :ASHA PARK SSTN NO.-2, HARI NAGAR* | 234
124 | 31/03/2018 | HKS | 12:58 | 14:22 | 01:23 | LT FEEDER | Grid:33kV SIRI FORT GRID To Feeder:11kV FDR PANCHSHEEL SHOPPING CENTER , DISTRIBUTION TRANSFORMER,:ELECTROCUTION OF EXTERNAL ELEMENTS, | RESTORED/ REPAIRED | Part of : *TRF-1 PANCHSHEEL SHOPPING CENTRE:ID* | 12
125 | 31/03/2018 | KPR | 13:02 | 14:38 | 01:36 | LT FEEDER | Grid:66kV BATRA GRID To Feeder:11kV FDR OLD D-BLOCK SANGAM VIHAR , LT ACB,:LT ACB BURNT, | RESTORED/ REPAIRED | Part of : *TRF-2 S/S NO-1,D-BLOCK,SANGAM VIHAR:ID* | 59
126 | 31/03/2018 | MDK | 13:03 | 14:24 | 01:21 | PLANNED SHUTDOWN | Grid:NANGLOI WATER WORKS (66/11kV) GRID SSTN To Feeder:11kV FDR DDA FLAT LOKNAYAK PURAM , LT CIRCUIT:TO REPLACE THE DAMAGE POLE | RESTORED/ REPAIRED | Part of : *400TRF-1:GURDAYAL VIHAR CHANCHAL PARK* | 45
127 | 31/03/2018 | KPR | 13:03 | 15:26 | 02:23 | PLANNED SHUTDOWN | Grid:66 kV OKHLA PHASE-I GRID To Feeder:11kV FDR I-BLOCK, LAL KUAN , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 CHUNGI NO.3:PL*,*TRF-1 CHUNGI NO.2.5 LAL KUAN*,*TRF-1 PUNCH MUKHI MANDIR LAL KUAN:PL*HTC:LALKUAN (NR DHARAMKATA) PNCHMUKHI*CHUNGI NO.2 ,LAL KUAN:PL*Punchmukhi Lal kuan (near Mazar)*HVDS | 398
128 | 31/03/2018 | ALN | 13:03 | 15:10 | 02:07 | PLANNED SHUTDOWN | Grid:66 kV OKHLA PHASE-I GRID To Feeder:11 kV FDR CCI COMPLEX NO.-2 , TRANSFORMER:MAINTENANCE ACTIVITY | RESTORED/ REPAIRED | Part of : *TRF-1 GALI NO. 13 BANGALI CLY TKD VILLAGE* | 29
129 | 31/03/2018 | SVR | 13:16 | 14:40 | 01:24 | LT FEEDER | Grid:SARITA VIHAR (66/11kV) GRID SSTN To Feeder:11kV FDR N-BLOCK ABUL FAZAL ENCLAVE , SERVICE LINE,:SERVICE LINE LOOSE FROM POLE, | RESTORED/ REPAIRED | Part of : *TRF-1 OPP. HARI KOTHI ABUL FAZAL ENCLAVE* | 53
130 | 31/03/2018 | KPR | 13:21 | 14:39 | 01:18 | LT FEEDER | Grid:33kV D.C.SAKET GRID To Feeder:11kV FDR LSC NO.-1 MADANGIR , SERVICE LINE,:FIRE IN SERVICE LINE, | RESTORED/ REPAIRED | Part of : *TRF-1 SUBHASH CAMP DAKSHIN PURI:PL* | 62
131 | 31/03/2018 | KPR | 13:30 | 14:48 | 01:18 | LT FEEDER | Grid:TUGHLAKABAD (33/11kV) GRID SSTN To Feeder:11kV FDR DAKSHINPURI SSTN-2 (OLD) , LT ACB,:FIRE IN S/STN, | RESTORED/ REPAIRED | Part of : *TRF-1 S/S NO-2, DAKSHIN PURI:ID* | 74
132 | 31/03/2018 | KPR | 13:33 | 14:52 | 01:18 | LT FEEDER | Grid:66kV BATRA GRID To Feeder:11kV FDR SSTN NO.-3, DAKSHINPURI VIA.- BOOSTER PUMP , LT ACB,:LT ACB BURNT, | RESTORED/ REPAIRED | Part of : *TRF-2 S/S NO-4, DAKSHIN PURI:K* | 64
133 | 31/03/2018 | HKS | 13:44 | 15:08 | 01:24 | LT FEEDER | Grid:33kV SIRI FORT GRID To Feeder:11kV FDR GREEN PARK MAIN , DISTRIBUTION TRANSFORMER,:LOW OIL LEVEL, | RESTORED/ REPAIRED | Part of : *TRF-1 GREEN PARK MAIN:ID* | 41
134 | 31/03/2018 | NJF | 13:48 | 15:11 | 01:23 | HT SYSTEM FAULT | Grid:DELHI JAL BOARD NAJAFGARH WATER WORKS (66/11) To Feeder:DELHI JAL BOARD NO.-1 , TRANSIENT FAULT,:TRANSIENT FAULT, | RESTORED/ REPAIRED | Part of : *SHYAM VIHAR Z BLK GRAM SABHA*,*100 TRF-1:-SARVODAYA VIDYALYA*,*W SUPLY S/STN NO-1 VILL ROSHANPURA*,*25 TRF-1: PARAS RAM VILL ROSHAN PURA*,*PARMANI SHYAM VIHAR Z BLOCK*,*100 TRF-1:SHYAM VIHAR PHASE-2*,*630 TRF-1:E BLOCK ROSHANPURA EXTN*,*100 TRF-1:RAI SINGH BAMRAULI*,*E BLK EXTN. SHYAM VIHAR PH-1(ZILE SINGH)*,*100 TRF-1:RAMGI LAL ROSHAN PURA*,*630 TRF-2:BDO STN 1 ROSHANPURA* | 589
135 | 31/03/2018 | KPR | 14:50 | 16:02 | 01:12 | LT FEEDER | Grid:66kV BATRA GRID To Feeder:11kV FDR NEW D-BLOCK SANGAM VIHAR , SERVICE LINE,:SERVICE LINE LOOSE FROM POLE, | RESTORED/ REPAIRED | Part of : *TRF-2 S/S NO-1,D-BLOCK,SANGAM VIHAR:ID* | 71
136 | 31/03/2018 | DWK | 15:11 | 16:14 | 01:03 | HVDS CABLE & OTHER SYSTEM | Grid:MATIYALA (G-5 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR T-EXTN , HVDS,:HVDS DP FUSE BLOWN, | RESTORED/ REPAIRED | Part of : *1000 TRF-1:VISHWAS PARK*,*1000 TRF-2:VISHWAS PARK*,*630 TRF-1;T-EXTN VISHWAS PARK* | 562
137 | 31/03/2018 | SKT | 15:34 | 16:38 | 01:03 | EMERGENCY SHUTDOWN | Grid:33kV D.C.SAKET GRID To Feeder:11kV FDR C.C ANUPAM , 11KV FEEDER:PREVENTIVE MAINTENANCE | RESTORED/ REPAIRED | Part of : *TRF-2 ANUPAM COMUNITY CENTER:ID*,*TRF-3 ANUPAM COMUNITY CENTER:ID*,*TRF-1 OPP B/D SAKET BLOCK-D:PG*,*TRF-1 New S/S near Madhuvan PVR SAKET*,*TRF-2 SAKET BLOCK-D:ID*,*TRF-1 ANUPAM COMUNITY CENTER:ID*TRF-1 SAKET BLOCK-D:ID*TRF-2 SAKET BLOCK-B:ID*,*TRF-1 SAKET BLOCK-B:ID* | 512
138 | 31/03/2018 | NJF | 16:43 | 18:13 | 01:30 | HT SYSTEM FAULT | Grid:66kV I.O.C BIJWASAN GRID To Feeder:11kV FDR BAMNAULI , HT O/H,:BIRDAGE, | RESTORED/ REPAIRED | Part of : 400 TRF-1:LOP BIJWASAN RAILWAY STATION*,*400 TRF-:BALBIR BIJWASAN*,*100 TRF-1:NARAIN SARUP CHHAWLA*,*100 TRF-1:CHANDU MALI BAMNOLI*,*RAJINDER VILL KANAGANHERI*,*25TRF-1:KANSIRAM*,*100 TRF-1:CHIRANJI KANGENHERI*,*CHANDRABAN VILL BADUSARAI*,*100 TRF-1:STN RAGHAV PUR*,*25TRF-1:BALBIR VILL RAGHOPUR*,*25TRF-1:JUGLAL CHAWLA*,*25TRF-1;BALVEER KAUR*,*JAI BHAGWAN VILL. KANGANHERI*,*400 TRF-1:HARIZON BASTI RAILWAY PHATAK BIJWASAN*,*RAVINDER KAUR*,*100 TRF-1:NEW STN K HERI RD CHHAWLA*,*100 TRF-1:STN NR MANDIR KANGENHERI*,*100 TRF-1:RAM KISHAN CHHAWLA*,*25TRF-1;BALVEER KAUR*,*400 TRF-1:GAUTAM COLONY KAGANHERI ROAD CHHAWLA*,*400 TRF-1:*,*ISAPUR KHAIRA VIL BMNULI BHAJHGER*,*100 TRF-1:BHOOPE SAROOPEMCHHAWLA*,*100 TRF-1:LEKH RAJ KANGENHERI*,*100 TRF-1:BAHI RAM CHHAW LA*,*100 TRF-1:DATA RAM KANGENHERI*,*400 DT:TRISHUL COLONY, CHHAWLA* | 634
139 | 31/03/2018 | SVR | 18:00 | 19:04 | 01:04 | LT FEEDER | Grid:SARITA VIHAR (66/11kV) GRID SSTN To Feeder:11kV FDR ABU BAKER MASJID , LT POLE,:FIRE ON POLE, | RESTORED/ REPAIRED | Part of : 630 KVA TRF G-BLK SHEEN BAGH | 58
140 | 31/03/2018 | DWK | 19:29 | 21:01 | 01:32 | HT SYSTEM FAULT | Grid:MATIYALA (G-5 PPK) (66/11kV) GRID SSTN To Feeder:11kV FDR 210 DDA FLATS SEC-3 , END BOX FAULTY | RESTORED/ REPAIRED | Part of : *630 TRF-1:OM VIHAR EXT.*,*630 TRF:-1 EWS FLATS PKT-BandC SEC-3 DWR*,*630 TRF:-1 EWS FLATS PKT-BandC SEC-3 DWR*,*630 TRF-2: OM VIHAR EXT:ID*,*1000 TRF-1:NEW T UTTAM NAGAR*,*630 TRF-2:NEW T UTTAM NAGAR* | 526
141 | 01/04/2018 | NGL | 00:01 | 01:45 | 01:44 | HT SYSTEM FAULT | Grid:UDYOG NAGAR (33/11kV) GRID SSTN To Feeder:11kV FDR UDYOG NGR S/STN NO-4 (OLD) , HT O/H,:JUMPER BROKEN, | RESTORED/ REPAIRED | Part of : *990 TRF-1:Udyog Nagar S/S No-4(NGI)*,*990 TRF-1:Udyog Nagar S/S No-4(NGI)*,*400TRF-1:UDYOG NAGAR J J CLUSTER S/STN NO:3*,*WATER TANK JJ CLUSTR DT* | 672
142 | 01/04/2018 | JKP | 00:45 | 01:55 | 01:09 | HT SYSTEM FAULT | Grid:HARI NAGAR (66/11kV) GRID SSTN To Feeder:11KV 14-BLOCK SUBHASH NAGAR , 11KV CABLE,:CABLE FAULT, | RESTORED/ REPAIRED | Part of : *630 TRF-1 :BLOCK NO.-14/15 SSTN, SUBHASH NAGAR*,*400 TRF-1 :BLOCK NO.-14 SSTN, SUBHASH NAGAR*,*630 TRF-2 :BLOCK NO.-14/15 SSTN, SUBHASH NAGAR*,*990 TRF-1 :BLOCK NO.-10 SSTN, SUBHASH NAGAR* | 524