## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## Sheet 1
DISCOM : ___TATA Power-DDL_________
OUTAGE REPORT FOR :___16-03-2018___________
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Details
1 | 2018-03-16 08:34 | Narela | 43175.3569 | 43175.4306 | 01:46 | HT SYSTEM FAULT | Birdage | Restored/Repaired | Parts of : Metro Vihar | 6449 | Interruption due to fault
2 | 2018-03-16 15:30 | Narela | 43175.6458 | 43175.7035 | 01:23 | HVDS CABLE & OTHER SYSTEM | HT ABC Faulty | Restored/Repaired | Parts of : Darshan Vihar | 5546 | Interruption due to fault
3 | 2018-03-16 10:43 | Bawana | 43175.4462 | 43175.6805 | 05:37 | PLANNED SHUTDOWN | Tree Trimming and HT Jumper Replacement | Restored/Repaired | Parts of : Inder Enclave | 2000 | Planned outage
4 | 2018-03-16 10:00 | Mangolpuri | 43175.4167 | 43175.569 | 03:39 | PLANNED SHUTDOWN | General Maintenance | Restored/Repaired | Parts of : Y-Block Mnagolpuri | 1000 | Planned outage
5 | 2018-03-16 11:01 | Rohini | 43175.4592 | 43175.6913 | 05:34 | PLANNED SHUTDOWN | HVDS Feeder Maintenance | Restored/Repaired | Parts of : Sector-24 Rohini | 400 | Planned outage
6 | 2018-03-16 10:23 | Mangolpuri | 43175.4328 | 43175.5287 | 02:18 | PLANNED SHUTDOWN | RMU Testing | Restored/Repaired | Parts of : Ramesh Enclave | 2300 | Planned outage
7 | 2018-03-16 11:33 | Narela | 43175.4815 | 43175.7424 | 06:16 | PLANNED SHUTDOWN | New DT Installation | Restored/Repaired | Parts of : Ghogha Village | 510 | Planned outage
8 | 2018-03-16 11:34 | Mangolpuri | 43175.4819 | 43175.6946 | 05:07 | PLANNED SHUTDOWN | Charging of Newly Installed RMU | Restored/Repaired | Parts of : Hari Enclave | 1000 | Planned outage
9 | 2018-03-16 10:18 | Shalimar Bagh | 43175.4292 | 43175.667 | 05:42 | PLANNED SHUTDOWN | HT Pole Replacement | Restored/Repaired | Parts of : Sangam Vihar | 400 | Planned outage
10 | 2018-03-16 11:12 | Shalimar Bagh | 43175.4666 | 43175.688 | 05:19 | PLANNED SHUTDOWN | Tree Trimming and Guard Wire Repair | Restored/Repaired | Parts of : Jagat Pur Village | 500 | Planned outage
11 | 2018-03-16 17:40 | Narela | 43175.7361 | 43175.7861 | 01:12 | HT SYSTEM FAULT | HT Jumper Burnt | Restored/Repaired | Parts of : Bhaktawarpur | 3500 | Interruption due to fault
12 | 2018-03-16 | Keshav Puram | 0.47222 | 0.625 | 0.15278 | PLANNED SHUTDOWN | Laying of New LT ABC | Restored/Repaired | Parts of : Wazirpur JJ Colony | 490 | Scheduled system outage
13 | 2018-03-16 | Narela | 0.45694 | 0.56389 | 0.10694 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | LT Pole Broken by Unknown Vehicle | Restored/Repaired | Parts of : Singhola | 328 | Force majeure due to sabotage
14 | 2018-03-16 | Bawana | 0.46389 | 0.64583 | 0.18194 | PLANNED SHUTDOWN | LT Pole Cleaning | Restored/Repaired | Parts of : Kanjhwala Village | 452 | Scheduled system outage
15 | 2018-03-16 | Shakti Nagar | 0.44583 | 0.50208 | 0.05625 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | Tyco Box Burnt | Restored/Repaired | Parts of : Shastri Nagar | 893 | Interruption due to fault
16 | 2018-03-16 | Keshav Puram | 0.10347 | 0.14931 | 0.045833 | LT FEEDER | LT Jumper Burnt | Restored/Repaired | Parts of : Ashok Vihar | 486 | Interruption due to fault
17 | 2018-03-16 | Civil Lines | 0.74375 | 0.85694 | 0.11319 | LT FEEDER | LT Cable faulty | Restored/Repaired | Parts of : Vijay Nagar | 389 | Interruption due to fault

## Sheet2 (hidden)
42976.2569 | 42976.3056 | 01:10 | 1:10
42976.2389 | 42976.2812 | 01:01 | 1:01
42976.241 | 42976.2882 | 01:08 | 1:08
42976.2833 | 42976.3403 | 01:22 | 1:22
42976.3438 | 42976.4035 | 01:26 | 1:26
42976.4896 | 42976.5896 | 02:24 | 2:24
42976.7535 | 42976.7986 | 01:05 | 1:05
42976.4215 | 42976.655 | 05:36 | 5:36
42976.3403 | 42976.5208 | 04:20 | 4:20
42976.4472 | 42976.7087 | 06:16 | 6:17
42976.3208 | 42976.3929 | 01:43 | 1:44
42976.3288 | 42976.3796 | 01:13 | 1:13
42976.3591 | 42976.4029 | 01:03 | 1:03
42976.5701 | 42976.6737 | 02:29 | 2:29
42976.4215 | 42976.5654 | 03:27 | 3:27
42976.5461 | 42976.5916 | 01:05 | 1:06
42976.5975 | 42976.7538 | 03:45 | 3:45
42976.906 | 42976.9657 | 01:26 | 1:26
19:00 | 20:30 | 1:30 | 1:30
13:03 | 17:40 | 4:37 | 4:37
13:55 | 15:22 | 1:27 | 1:27
14:39 | 17:00 | 2:21 | 2:21
15:13 | 16:27 | 1:14 | 1:14
11:18 | 17:05 | 5:47 | 5:47
11:19 | 16:00 | 4:41 | 4:41
12:24 | 14:08 | 1:44 | 1:44
23:05 | 0:17 | 1:12 | -0.95
22:25 | 23:48 | 1:23 | 1:23
13:49 | 15:40 | 1:51 | 1:51