## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## Sheet 1
DISCOM : ___TATA Power-DDL_________
OUTAGE REPORT FOR :___19-03-2018___________
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Details
1 | 2018-03-19 08:34 | Keshav Puram | 43178.7847 | 43178.8403 | 01:20 | HT SYSTEM FAULT | HT Jumper Burnt | Restored/Repaired | Parts of : Trinagar | 500 | Interruption due to fault
2 | 2018-03-19 08:34 | Narela | 43178.4 | 43178.4479 | 01:09 | HT SYSTEM FAULT | Birdage | Restored/Repaired | Parts of :Sannoth | 1145 | Interruption due to fault
3 | 2018-03-19 08:34 | Narela | 43178.5155 | 43178.7214 | 04:56 | PLANNED SHUTDOWN | New HT ABC Laying | Restored/Repaired | Parts of : Bakhtawar Pur | 850 | Planned outage
4 | 2018-03-19 08:34 | Shalimar Bagh | 43178.4269 | 43178.7302 | 07:17 | PLANNED SHUTDOWN | HVDS Network Maintenance | Restored/Repaired | Parts of : Jahangir Puri | 400 | Planned outage
5 | 2018-03-19 08:34 | Bawana | 43178.4476 | 43178.7182 | 06:30 | PLANNED SHUTDOWN | General Maintenance | Restored/Repaired | Parts of : Vijay Nagar Bawana | 800 | Planned outage
6 | 2018-03-19 08:34 | Narela | 43178.4332 | 43178.6944 | 06:17 | PLANNED SHUTDOWN | General Maintenance | Restored/Repaired | Parts of : Tigipur | 500 | Planned outage
7 | 2018-03-19 08:34 | Bawana | 43178.4257 | 43178.7202 | 07:05 | PLANNED SHUTDOWN | For Attending Hot Spot and Tree Trimming | Restored/Repaired | Parts of : Kanjhawala | 1200 | Planned outage
8 | 2018-03-19 08:34 | Shalimar Bagh | 43178.4438 | 43178.709 | 06:22 | PLANNED SHUTDOWN | GO Switch Repair and Tree Trimming | Restored/Repaired | Parts of : Jagat Pur | 400 | Planned outage
9 | 2018-03-19 08:34 | Mangol Puri | 43178.4558 | 43178.5385 | 01:59 | PLANNED SHUTDOWN | DT Meter Installation | Restored/Repaired | Parts of : Rohini sec-20 | 550 | Planned outage
10 | 2018-03-19 08:34 | Badli | 43178.1639 | 43178.2194 | 01:19 | HT SYSTEM FAULT | HT Jumper Burnt | Restored/Repaired | Parts of : Deep Vihar | 2419 | Interruption due to fault
11 | 2018-03-19 08:34 | Shalimar Bagh | 43178.3223 | 0.37153 | 01:11 | HT SYSTEM FAULT | Birdage | Restored/Repaired | Parts of : Jahangir Puri | 2171 | Interruption due to fault
12 | 2018-03-19 08:34 | Narela | 0.4125 | 0.47708 | 01:33 | HVDS CABLE & OTHER SYSTEM | HT ABC Burnt | Restored/Repaired | Parts of : Bankner | 300 | Interruption due to fault
13 | 2018-03-19 08:34 | Mangol Puri | 0.69653 | 0.77083 | 0.074306 | HT SYSTEM FAULT | HT Jumper Burnt | Restored/Repaired | Parts of : Kirari | 4731 | Interruption due to fault
14 | 2018-03-19 08:34 | Keshav Puram | 0.46181 | 0.53681 | 0.075 | PLANNED SHUTDOWN | Tyco Box Replacement | Restored/Repaired | Parts of : Ashok Vihar | 490 | Scheduled system outage
15 | 2018-03-19 08:34 | Moti Nagar | 0.47014 | 0.65903 | 0.18889 | PLANNED SHUTDOWN | LT Pole Cleaning | Restored/Repaired | Parts of : Pandav Nagar | 342 | Scheduled system outage
16 | 2018-03-19 08:34 | Badli | 0.48889 | 0.73958 | 0.25069 | PLANNED SHUTDOWN | LT Pole Cleaning | Restored/Repaired | Parts of : Samay Pur | 799 | Scheduled system outage

## Sheet2 (hidden)
42976.2569 | 42976.3056 | 01:10 | 1:10
42976.2389 | 42976.2812 | 01:01 | 1:01
42976.241 | 42976.2882 | 01:08 | 1:08
42976.2833 | 42976.3403 | 01:22 | 1:22
42976.3438 | 42976.4035 | 01:26 | 1:26
42976.4896 | 42976.5896 | 02:24 | 2:24
42976.7535 | 42976.7986 | 01:05 | 1:05
42976.4215 | 42976.655 | 05:36 | 5:36
42976.3403 | 42976.5208 | 04:20 | 4:20
42976.4472 | 42976.7087 | 06:16 | 6:17
42976.3208 | 42976.3929 | 01:43 | 1:44
42976.3288 | 42976.3796 | 01:13 | 1:13
42976.3591 | 42976.4029 | 01:03 | 1:03
42976.5701 | 42976.6737 | 02:29 | 2:29
42976.4215 | 42976.5654 | 03:27 | 3:27
42976.5461 | 42976.5916 | 01:05 | 1:06
42976.5975 | 42976.7538 | 03:45 | 3:45
42976.906 | 42976.9657 | 01:26 | 1:26
19:00 | 20:30 | 1:30 | 1:30
13:03 | 17:40 | 4:37 | 4:37
13:55 | 15:22 | 1:27 | 1:27
14:39 | 17:00 | 2:21 | 2:21
15:13 | 16:27 | 1:14 | 1:14
11:18 | 17:05 | 5:47 | 5:47
11:19 | 16:00 | 4:41 | 4:41
12:24 | 14:08 | 1:44 | 1:44
23:05 | 0:17 | 1:12 | -0.95
22:25 | 23:48 | 1:23 | 1:23
13:49 | 15:40 | 1:51 | 1:51