## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## Sheet 1
DISCOM : ___TATA Power-DDL_________
OUTAGE REPORT FOR :___22-03-2018___________
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Details
1 | 2018-03-22 05:52 | Badli | 43181.2444 | 43181.3056 | 01:28 | HT SYSTEM FAULT | HT Jumper Burnt | Restored/Repaired | Parts of : Amar Jyoti | 400 | Interruption due to fault
2 | 2018-03-22 07:27 | Bawana | 43181.3104 | 43181.4472 | 03:17 | HVDS CABLE & OTHER SYSTEM | HT ABC Faulty | Restored/Repaired | Parts of : Sukhbir Nagar | 378 | Interruption due to fault
3 | 2018-03-22 21:00 | Bawana | 43181.875 | 43181.9208 | 01:06 | HT SYSTEM FAULT | Pin Insulator Flashed | Restored/Repaired | Parts of : Bawana Sector-1 | 304 | Interruption due to fault
4 | 2018-03-22 10:51 | Bawana | 43181.4518 | 43181.7001 | 05:58 | PLANNED SHUTDOWN | HVDS Feeder Maintenance | Restored/Repaired | Parts of : Auchandi Village | 1400 | Planned outage
5 | 2018-03-22 | Keshav Puram | 8:20 | 10:00 | 1:41 | PLANNED SHUTDOWN | General Maintenance | Restored/Repaired | Parts of : Wazirpur | 1528 | Planned outage
6 | 2018-03-22 | Shalimar Bagh | 10:08 | 0.74861 | 7:51 | PLANNED SHUTDOWN | Tree Trimming and HT Jumper Replacement | Restored/Repaired | Parts of : D-Blk Jahangirpuri | 1124 | Planned outage
7 | 2018-03-22 | Shalimar Bagh | 10:15 | 0.69653 | 6:28 | PLANNED SHUTDOWN | New DT Installation | Restored/Repaired | Parts of : Bhalswa | 1695 | Planned outage
8 | 2018-03-22 | Model Town | 10:20 | 0.61806 | 4:30 | PLANNED SHUTDOWN | Tree Trimming and Guard Wire Repair | Restored/Repaired | Parts of : Dheerpur | 2838 | Planned outage
9 | 2018-03-22 | Moti Nagar | 10:32 | 0.58333 | 3:28 | PLANNED SHUTDOWN | General Maintenance | Restored/Repaired | Parts of : Inderpuri | 329 | Planned outage
10 | 2018-03-22 | Mangolpuri | 10:34 | 0.55278 | 2:42 | PLANNED SHUTDOWN | For Attending Hot Spot | Restored/Repaired | Parts of : Y-Blk Mangolpuri | 567 | Planned outage
11 | 2018-03-22 | Badli | 11:17 | 0.80903 | 8:09 | PLANNED SHUTDOWN | New RMU Installation | Restored/Repaired | Parts of : Sanjay Gandhi Transport Nagar | 650 | Planned outage
12 | 2018-03-22 | Shalimar Bagh | 12:08 | 0.72986 | 5:24 | PLANNED SHUTDOWN | GO Switch Repair and Tree Trimming | Restored/Repaired | Parts of : Swaroop Nagar | 1431 | Planned outage
13 | 2018-03-22 | Narela | 14:00 | 15:34 | 1:34 | HT SYSTEM FAULT | Birdage | Restored/Repaired | Parts of : Bhorgarh | 300 | Interruption due to fault
14 | 2018-03-22 | Shalimar Bagh | 11:00 | 13:50 | 2:50 | HVDS CABLE & OTHER SYSTEM | HT ABC Faulty | Restored/Repaired | Parts of : Haiderpur Village | 438 | Interruption due to fault
15 | 2018-03-22 | Moti Nagar | 11:42 | 13:06 | 1:24 | FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.) | HT Cable damaged by external agency | Restored/Repaired | Parts of : Ramesh Nagar | 799 | Force majeure due to sabotage
16 | 2018-03-22 | Rohini | 12:40 | 13:52 | 1:12 | HT SYSTEM FAULT | HT Jumper Burnt | Restored/Repaired | Parts of : Sec- 24 Rohini | 453 | Interruption due to fault
17 | 2018-03-22 | Shalimar Bagh | 10:54 | 14:20 | 3:26 | HT SYSTEM FAULT | Cat Electrocution | Restored/Repaired | Parts of : Mahindra Park | 897 | Interruption due to fault
18 | 2018-03-22 | Mangolpuri | 07:22 | 14:00 | 6:38 | PLANNED SHUTDOWN | LT Pole Replacement | Restored/Repaired | Parts of : B-Blk Sultanpuri | 330 | Scheduled system outage

## Sheet2 (hidden)
42976.2569 | 42976.3056 | 01:10 | 1:10
42976.2389 | 42976.2812 | 01:01 | 1:01
42976.241 | 42976.2882 | 01:08 | 1:08
42976.2833 | 42976.3403 | 01:22 | 1:22
42976.3438 | 42976.4035 | 01:26 | 1:26
42976.4896 | 42976.5896 | 02:24 | 2:24
42976.7535 | 42976.7986 | 01:05 | 1:05
42976.4215 | 42976.655 | 05:36 | 5:36
42976.3403 | 42976.5208 | 04:20 | 4:20
42976.4472 | 42976.7087 | 06:16 | 6:17
42976.3208 | 42976.3929 | 01:43 | 1:44
42976.3288 | 42976.3796 | 01:13 | 1:13
42976.3591 | 42976.4029 | 01:03 | 1:03
42976.5701 | 42976.6737 | 02:29 | 2:29
42976.4215 | 42976.5654 | 03:27 | 3:27
42976.5461 | 42976.5916 | 01:05 | 1:06
42976.5975 | 42976.7538 | 03:45 | 3:45
42976.906 | 42976.9657 | 01:26 | 1:26
19:00 | 20:30 | 1:30 | 1:30
13:03 | 17:40 | 4:37 | 4:37
13:55 | 15:22 | 1:27 | 1:27
14:39 | 17:00 | 2:21 | 2:21
15:13 | 16:27 | 1:14 | 1:14
11:18 | 17:05 | 5:47 | 5:47
11:19 | 16:00 | 4:41 | 4:41
12:24 | 14:08 | 1:44 | 1:44
23:05 | 0:17 | 1:12 | -0.95
22:25 | 23:48 | 1:23 | 1:23
13:49 | 15:40 | 1:51 | 1:51