## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## Sheet 1
DISCOM : ___TATA Power-DDL_________
OUTAGE REPORT FOR :___23-03-2018___________
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Details
1 | 2018-03-23 05:52 | Bawana | 0.3375 | 0.74861 | 9:52 | PLANNED SHUTDOWN | General Maintenance | Restored/Repaired | Parts of : Kanjhawala | 2038 | Planned outage
2 | 2018-03-23 05:52 | Shalimar Bagh | 0.42778 | 0.74792 | 7:41 | PLANNED SHUTDOWN | HVDS Feeder Maintenance | Restored/Repaired | Parts of : Jahangir Puri | 1789 | Planned outage
3 | 2018-03-23 05:52 | Mangolpuri | 0.43056 | 0.57917 | 3:34 | PLANNED SHUTDOWN | Tree Trimming and HT Jumper Replacement | Restored/Repaired | Parts of : Mangolpuri | 4444 | Planned outage
4 | 2018-03-23 05:52 | Mangolpuri | 0.43403 | 0.65903 | 5:24 | PLANNED SHUTDOWN | HVDS Feeder Maintenance | Restored/Repaired | Parts of : Krishan Vihar | 2918 | Planned outage
5 | 2018-03-23 05:52 | Moti Nagar | 10:31 | 15:05 | 4:34 | PLANNED SHUTDOWN | General Maintenance | Restored/Repaired | Parts of : Pusa | 396 | Planned outage
6 | 2018-03-23 05:52 | Shalimar Bagh | 10:44 | 0.69861 | 6:02 | PLANNED SHUTDOWN | HT Jumper Replacement | Restored/Repaired | Parts of : Bhalswa | 2954 | Planned outage
7 | 2018-03-23 05:52 | Civil Lines | 11:05 | 0.56389 | 2:27 | PLANNED SHUTDOWN | General Maintenance | Restored/Repaired | Parts of : Shakti Nagar | 2356 | Planned outage
8 | 2018-03-23 05:52 | Badli | 11:22 | 0.69931 | 5:25 | PLANNED SHUTDOWN | Tree Trimming and Guard Wire Repair | Restored/Repaired | Parts of : Barwala | 1275 | Planned outage
9 | 2018-03-23 05:52 | Bawana | 13:31 | 0.74861 | 4:27 | PLANNED SHUTDOWN | New HT ABC Laying | Restored/Repaired | Parts of : Mazri | 2066 | Planned outage
10 | 2018-03-23 05:52 | Mangolpuri | 02:54 | 04:15 | 1:21 | HT SYSTEM FAULT | Birdage | Restored/Repaired | Parts of : Pooth Kalan | 567 | Interruption due to fault
11 | 2018-03-23 05:52 | Mangolpuri | 13:08 | 14:25 | 1:17 | HT SYSTEM FAULT | HT Jumper Burnt | Restored/Repaired | Parts of : Aman Vihar | 650 | Interruption due to fault
12 | 2018-03-23 05:52 | Bawana | 16:23 | 18:12 | 1:49 | HVDS CABLE & OTHER SYSTEM | HT ABC Faulty | Restored/Repaired | Parts of : Mazra | 1431 | Interruption due to fault
13 | 2018-03-23 05:52 | Bawana | 05:35 | 07:05 | 1:30 | HT SYSTEM FAULT | HT Jumper Burnt | Restored/Repaired | Parts of : Nangal | 300 | Interruption due to fault
14 | 2018-03-23 05:52 | Shalimar Bagh | 13:16 | 16:03 | 2:47 | PLANNED SHUTDOWN | LT Pole Cleaning | Restored/Repaired | Parts of : Bhalswa | 438 | Scheduled system outage
15 | 2018-03-23 05:52 | Shalimar Bagh | 15:07 | 16:48 | 1:41 | LT FEEDER | LT Jumper Burnt | Restored/Repaired | parts of : Burari | 799 | Interruption due to fault
16 | 2018-03-23 05:52 | Bawana | 16:14 | 18:08 | 1:54 | PLANNED SHUTDOWN | LT Pole Replacement | Restored/Repaired | Parts of : Karala | 453 | Scheduled system outage
17 | 2018-03-23 05:52 | Rohini | 16:51 | 18:28 | 1:37 | LT FEEDER | LT Jumper Burnt | Restored/Repaired | Parts of : Sec-23 Rohini | 897 | Interruption due to fault
18 | 2018-03-23 05:52 | Mangolpuri | 17:07 | 18:44 | 1:37 | LT FEEDER | LT ABC Burnt | Restored/Repaired | Parts of : Krishan Vihar | 330 | Interruption due to fault

## Sheet2 (hidden)
42976.2569 | 42976.3056 | 01:10 | 1:10
42976.2389 | 42976.2812 | 01:01 | 1:01
42976.241 | 42976.2882 | 01:08 | 1:08
42976.2833 | 42976.3403 | 01:22 | 1:22
42976.3438 | 42976.4035 | 01:26 | 1:26
42976.4896 | 42976.5896 | 02:24 | 2:24
42976.7535 | 42976.7986 | 01:05 | 1:05
42976.4215 | 42976.655 | 05:36 | 5:36
42976.3403 | 42976.5208 | 04:20 | 4:20
42976.4472 | 42976.7087 | 06:16 | 6:17
42976.3208 | 42976.3929 | 01:43 | 1:44
42976.3288 | 42976.3796 | 01:13 | 1:13
42976.3591 | 42976.4029 | 01:03 | 1:03
42976.5701 | 42976.6737 | 02:29 | 2:29
42976.4215 | 42976.5654 | 03:27 | 3:27
42976.5461 | 42976.5916 | 01:05 | 1:06
42976.5975 | 42976.7538 | 03:45 | 3:45
42976.906 | 42976.9657 | 01:26 | 1:26
19:00 | 20:30 | 1:30 | 1:30
13:03 | 17:40 | 4:37 | 4:37
13:55 | 15:22 | 1:27 | 1:27
14:39 | 17:00 | 2:21 | 2:21
15:13 | 16:27 | 1:14 | 1:14
11:18 | 17:05 | 5:47 | 5:47
11:19 | 16:00 | 4:41 | 4:41
12:24 | 14:08 | 1:44 | 1:44
23:05 | 0:17 | 1:12 | -0.95
22:25 | 23:48 | 1:23 | 1:23
13:49 | 15:40 | 1:51 | 1:51