## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## Sheet 1
DISCOM : ___TATA Power-DDL_________
OUTAGE REPORT FOR :___24-03-2018___________
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Details
1 | 2018-03-24 05:52 | Badli | 10:37 | 11:50 | 1:13 | HT SYSTEM FAULT | Birdage | Restored/Repaired | Parts of : Deep Vihar | 1427 | Interruption due to fault
2 | 2018-03-24 05:52 | Narela | 11:31 | 13:48 | 2:17 | HVDS CABLE & OTHER SYSTEM | HT ABC Burnt | Restored/Repaired | Parts of : Khera Kalan | 889 | Interruption due to fault
3 | 2018-03-24 | Bawana | 0.42292 | 0.79433 | 8:55 | PLANNED SHUTDOWN | HVDS Feeder Maintenance | Restored/Repaired | Parts of : Pooth Khurd | 304 | Planned outage
4 | 2018-03-24 | Shalimar Bagh | 11:08 | 0.72569 | 6:18 | PLANNED SHUTDOWN | Tree Trimming and Guard Wire Repair | Restored/Repaired | Parts of : Bhalswa | 5342 | Planned outage
5 | 2018-03-24 | Bawana | 12:51 | 0.81806 | 6:47 | PLANNED SHUTDOWN | HT Jumper Replacement | Restored/Repaired | Parts of : J & K-Block , Bawana | 333 | Planned outage
6 | 2018-03-24 | Shalimar Bagh | 10:39 | 0.65208 | 5:00 | PLANNED SHUTDOWN | New DT Installation | Restored/Repaired | Parts of : Swaroop Vihar | 1121 | Planned outage
7 | 2018-03-24 | Shalimar Bagh | 10:34 | 0.7 | 6:15 | PLANNED SHUTDOWN | New HT ABC Laying | Restored/Repaired | Parts of : Jahangirpuri | 1640 | Planned outage
8 | 2018-03-24 | Bawana | 11:46 | 0.74306 | 6:05 | PLANNED SHUTDOWN | General Maintenance | Restored/Repaired | Parts of : Bawana Village | 495 | Planned outage
9 | 2018-03-24 | Shalimar Bagh | 00:27 | 02:44 | 2:17 | HVDS CABLE & OTHER SYSTEM | HT ABC failure | Restored/Repaired | Parts of : E-Block, Jahangirpuri | 621 | Interruption due to fault
10 | 2018-03-24 | Shalimar Bagh | 12:54 | 14:14 | 1:20 | HT SYSTEM FAULT | Cat Electrocuted | Restored/Repaired | Parts of : Mukundpur | 503 | Interruption due to fault
11 | 2018-03-24 | Badli | 10:52 | 12:56 | 2:05 | LT FEEDER | LT Jumper Burnt | Restored/Repaired | Parts of : Siraspur | 483 | Interruption due to fault
12 | 2018-03-24 | Moti Nagar | 10:48 | 16:30 | 5:42 | PLANNED SHUTDOWN | LT Pole Cleaning | Restored/Repaired | Parts of : Sudershan Park | 316 | Scheduled system outage
13 | 2018-03-24 | Keshav Puram | 12:50 | 0.72986 | 4:41 | PLANNED SHUTDOWN | Tyco Box Replacement | Restored/Repaired | Parts of : Ashok Vihar | 1758 | Scheduled system outage
14 | 2018-03-24 | Pitam Pura | 10:16 | 16:00 | 5:44 | PLANNED SHUTDOWN | Laying of New LT ABC | Restored/Repaired | Parts of : Kapil Vihar | 317 | Scheduled system outage

## Sheet2 (hidden)
42976.2569 | 42976.3056 | 01:10 | 1:10
42976.2389 | 42976.2812 | 01:01 | 1:01
42976.241 | 42976.2882 | 01:08 | 1:08
42976.2833 | 42976.3403 | 01:22 | 1:22
42976.3438 | 42976.4035 | 01:26 | 1:26
42976.4896 | 42976.5896 | 02:24 | 2:24
42976.7535 | 42976.7986 | 01:05 | 1:05
42976.4215 | 42976.655 | 05:36 | 5:36
42976.3403 | 42976.5208 | 04:20 | 4:20
42976.4472 | 42976.7087 | 06:16 | 6:17
42976.3208 | 42976.3929 | 01:43 | 1:44
42976.3288 | 42976.3796 | 01:13 | 1:13
42976.3591 | 42976.4029 | 01:03 | 1:03
42976.5701 | 42976.6737 | 02:29 | 2:29
42976.4215 | 42976.5654 | 03:27 | 3:27
42976.5461 | 42976.5916 | 01:05 | 1:06
42976.5975 | 42976.7538 | 03:45 | 3:45
42976.906 | 42976.9657 | 01:26 | 1:26
19:00 | 20:30 | 1:30 | 1:30
13:03 | 17:40 | 4:37 | 4:37
13:55 | 15:22 | 1:27 | 1:27
14:39 | 17:00 | 2:21 | 2:21
15:13 | 16:27 | 1:14 | 1:14
11:18 | 17:05 | 5:47 | 5:47
11:19 | 16:00 | 4:41 | 4:41
12:24 | 14:08 | 1:44 | 1:44
23:05 | 0:17 | 1:12 | -0.95
22:25 | 23:48 | 1:23 | 1:23
13:49 | 15:40 | 1:51 | 1:51