## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## Sheet 1
DISCOM : ___TATA Power-DDL_________
OUTAGE REPORT FOR :___25-03-2018___________
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Details
1 | 2018-03-25 05:52 | Bawana | 43184.6597 | 43184.7375 | 01:52 | HVDS CABLE & OTHER SYSTEM | HT ABC Faulty | Restored/Repaired | Parts of : Jain Nagar | 5504 | Interruption due to fault
2 | 2018-03-25 05:52 | Bawana | 43184.1667 | 43184.2097 | 01:02 | HT SYSTEM FAULT | Birdage | Restored/Repaired | Parts of : Karala | 2331 | Interruption due to fault
3 | 2018-03-25 05:52 | Bawana | 43184.6771 | 43184.7361 | 01:25 | HT SYSTEM FAULT | HT Jumper Burnt | Restored/Repaired | Parts of : Ranikhera | 700 | Planned outage
4 | 2018-03-25 05:52 | Narela | 43184.4671 | 43184.6565 | 04:33 | PLANNED SHUTDOWN | General Maintenance | Restored/Repaired | Parts of : Alipur | 300 | Planned outage
5 | 2018-03-25 05:52 | Mangolpuri | 43184.4988 | 43184.6081 | 02:37 | PLANNED SHUTDOWN | New HT ABC Laying | Restored/Repaired | Parts of : Sultanpuri | 500 | Planned outage
6 | 2018-03-25 05:52 | Model Town | 11:20 | 14:20 | 0.125 | PLANNED SHUTDOWN | HVDS Feeder Maintenance | Restored/Repaired | Parts of : Adarsh Nagar | 899 | Planned outage
7 | 2018-03-25 05:52 | Rohini | 11:31 | 0.54167 | 0.061875 | PLANNED SHUTDOWN | New DT Installation | Restored/Repaired | Parts of : Gopal Vihar | 706 | Planned outage

## Sheet2 (hidden)
42976.2569 | 42976.3056 | 01:10 | 1:10
42976.2389 | 42976.2812 | 01:01 | 1:01
42976.241 | 42976.2882 | 01:08 | 1:08
42976.2833 | 42976.3403 | 01:22 | 1:22
42976.3438 | 42976.4035 | 01:26 | 1:26
42976.4896 | 42976.5896 | 02:24 | 2:24
42976.7535 | 42976.7986 | 01:05 | 1:05
42976.4215 | 42976.655 | 05:36 | 5:36
42976.3403 | 42976.5208 | 04:20 | 4:20
42976.4472 | 42976.7087 | 06:16 | 6:17
42976.3208 | 42976.3929 | 01:43 | 1:44
42976.3288 | 42976.3796 | 01:13 | 1:13
42976.3591 | 42976.4029 | 01:03 | 1:03
42976.5701 | 42976.6737 | 02:29 | 2:29
42976.4215 | 42976.5654 | 03:27 | 3:27
42976.5461 | 42976.5916 | 01:05 | 1:06
42976.5975 | 42976.7538 | 03:45 | 3:45
42976.906 | 42976.9657 | 01:26 | 1:26
19:00 | 20:30 | 1:30 | 1:30
13:03 | 17:40 | 4:37 | 4:37
13:55 | 15:22 | 1:27 | 1:27
14:39 | 17:00 | 2:21 | 2:21
15:13 | 16:27 | 1:14 | 1:14
11:18 | 17:05 | 5:47 | 5:47
11:19 | 16:00 | 4:41 | 4:41
12:24 | 14:08 | 1:44 | 1:44
23:05 | 0:17 | 1:12 | -0.95
22:25 | 23:48 | 1:23 | 1:23
13:49 | 15:40 | 1:51 | 1:51