## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## Sheet 1
DISCOM : ___TATA Power-DDL_________
OUTAGE REPORT FOR :___28-03-2018___________
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Details
1 | 2018-03-28 | Badli | 43187.6403 | 43187.7653 | 3:00 | DISTRIBUTION TR. | DT Faulty | Restored/Repaired | Parts of : Raja Vihar | 1550 | INTERRUPTION DUE TO FAULT
2 | 2018-03-28 | Bawana | 11:11 | 17:27 | 6:16 | PLANNED SHUTDOWN | Tree Trimming | Restored/Repaired | Parts of : Rani Khera | 4484 | PLANNED SHUTDOWN
3 | 2018-03-28 | Shalimar Bagh | 10:13 | 15:34 | 5:21 | PLANNED SHUTDOWN | HVDS Line Maintenance | Restored/Repaired | Parts of : Baba Colony | 1040 | PLANNED SHUTDOWN
4 | 2018-03-28 | Shalimar Bagh | 10:13 | 15:55 | 5:42 | PLANNED SHUTDOWN | HT ABC Replacement | Restored/Repaired | Parts of : Kamal Vihar | 5782 | PLANNED SHUTDOWN
5 | 2018-03-28 | Moti Nagar | 10:22 | 15:23 | 5:01 | PLANNED SHUTDOWN | HT Line Extension | Restored/Repaired | Parts of : Kirti Nagar | 387 | PLANNED SHUTDOWN
6 | 2018-03-28 | Bawana | 10:29 | 16:48 | 6:19 | PLANNED SHUTDOWN | New DT Installation | Restored/Repaired | Parts of : Nangal Village | 1181 | PLANNED SHUTDOWN
7 | 2018-03-28 | Shalimar Bagh | 10:40 | 16:34 | 5:54 | PLANNED SHUTDOWN | HT Pole Replacement | Restored/Repaired | Parts of : I P Colony | 4279 | PLANNED SHUTDOWN
8 | 2018-03-28 | Badli | 11:05 | 17:46 | 6:41 | PLANNED SHUTDOWN | RMU Replacement | Restored/Repaired | Parts of : Sanjay Gandhi Transport Nagar | 713 | PLANNED SHUTDOWN
9 | 2018-03-28 | Shalimar Bagh | 11:11 | 12:32 | 1:21 | PLANNED SHUTDOWN | DT Meter Replacement | Restored/Repaired | Parts of : Bhalswa Village | 1121 | PLANNED SHUTDOWN
10 | 2018-03-28 | Civil Lines | 11:20 | 15:26 | 4:06 | PLANNED SHUTDOWN | DT Maintenance | Restored/Repaired | Parts of : DVB Colony | 1887 | PLANNED SHUTDOWN
11 | 2018-03-28 | Bawana | 11:31 | 12:55 | 1:24 | PLANNED SHUTDOWN | For Attending Oil Leakage of DT | Restored/Repaired | Parts of : Jain Nagar | 639 | PLANNED SHUTDOWN
12 | 2018-03-28 | Shalimar Bagh | 11:40 | 13:54 | 2:14 | PLANNED SHUTDOWN | For Attending Hot Spot | Restored/Repaired | Parts of : Swaroop Nagar | 4155 | PLANNED SHUTDOWN
13 | 2018-03-28 | Narela | 11:49 | 17:46 | 5:57 | PLANNED SHUTDOWN | HT ABC Replacement | Restored/Repaired | Parts of : Alipur | 1966 | PLANNED SHUTDOWN
14 | 2018-03-28 | Shalimar Bagh | 14:00 | 17:33 | 3:33 | HT SYSTEM FAULT | HT ABC FAULTY | Restored/Repaired | Parts of : Sangam Vihar | 3977 | INTERRUPTION DUE TO FAULT
15 | 2018-03-28 | Pitam Pura | 07:53 | 09:10 | 1:17 | HT SYSTEM FAULT | Squirrel Electrocuted | Restored/Repaired | Parts of : Kapil Vihar | 431 | INTERRUPTION DUE TO FAULT
16 | 2018-03-28 | Bawana | 14:15 | 16:05 | 1:50 | HVDS CABLE & OTHER SYSTEM | HT Jumper Sparking | Restored/Repaired | Parts of : Savda Village | 1680 | INTERRUPTION DUE TO FAULT
17 | 2018-03-28 | Shalimar Bagh | 16:30 | 17:35 | 1:05 | HT SYSTEM FAULT | Birdage | Restored/Repaired | Parts of : Bangali Colony | 2322 | INTERRUPTION DUE TO FAULT
18 | 2018-03-28 | Narela | 08:58 | 10:10 | 1:12 | HVDS CABLE & OTHER SYSTEM | HT Jumper Burnt | Restored/Repaired | Parts of : Sannoth Village | 1118 | INTERRUPTION DUE TO FAULT
19 | 2018-03-28 | Rohini | 13:24 | 14:59 | 1:35 | PLANNED SHUTDOWN | LT Pole Cleaning | Restored/Repaired | Parts of : Sec 5 Rohini | 590 | SYSTEM SCHEDULE MAINTENANCE
20 | 2018-03-28 | Badli | 12:00 | 17:58 | 5:58 | PLANNED SHUTDOWN | LT ABC Replacement | Restored/Repaired | Parts of : E Block Yadav Nagar | 501 | SYSTEM SCHEDULE MAINTENANCE
21 | 2018-03-28 | Bawana | 12:16 | 13:40 | 1:24 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | LT Jumper Burnt | Restored/Repaired | Parts of : Sukhbir Nagar | 562 | INTERRUPTION DUE TO FAULT
22 | 2018-03-28 | Shakti Nagar | 15:36 | 16:49 | 1:13 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | LT Socket Burnt | Restored/Repaired | Parts of : Manakpura | 344 | INTERRUPTION DUE TO FAULT
23 | 2018-03-28 | Civil Lines | 17:09 | 18:30 | 1:21 | LT FEEDER | LT ABC Burnt | Restored/Repaired | Parts of : Nehru Vihar | 343 | INTERRUPTION DUE TO FAULT

## Sheet3 (hidden)
43105.5833 | 43105.6319 | 01:10 | 1:10
43105.7257 | 43105.8056 | 01:55 | 1:55
43105.4215 | 43105.7167 | 07:05 | 7:05
43105.4778 | 43105.7083 | 05:32 | 5:32
43105.4618 | 43105.7479 | 06:52 | 6:52
43105.5479 | 43105.625 | 01:51 | 1:51
43105.5035 | 43105.7118 | 05:00 | 5:00
43105.5146 | 43105.6833 | 04:03 | 4:03
43105.4764 | 43105.5667 | 02:10 | 2:10
43105.5257 | 43105.5972 | 01:43 | 1:43
43105.5049 | 43105.625 | 02:53 | 2:53
43105.2021 | 43105.3021 | 02:24 | 2:24
43105.3757 | 43105.4653 | 02:09 | 2:09
43105.4167 | 43105.7042 | 06:54 | 6:54
43105.4347 | 43105.6667 | 05:34 | 5:34
43105.5299 | 43105.6167 | 02:05 | 2:05
43105.5507 | 43105.6215 | 01:42 | 1:42
43105.6049 | 43105.6632 | 01:24 | 1:24
43105.6417 | 43105.7882 | 03:31 | 3:31
43105.8743 | 43105.9479 | 01:46 | 1:46
0.49514 | 0.55417 | 1:25 | 1:25
0.45694 | 0.71389 | 6:10 | 6:10
0.50486 | 0.59653 | 2:12 | 2:12
0.53542 | 0.72222 | 4:29 | 4:29
0.57708 | 0.625 | 1:09 | 1:09

## Sheet2 (hidden)
42976.2569 | 42976.3056 | 01:10 | 1:10
42976.2389 | 42976.2812 | 01:01 | 1:01
42976.241 | 42976.2882 | 01:08 | 1:08
42976.2833 | 42976.3403 | 01:22 | 1:22
42976.3438 | 42976.4035 | 01:26 | 1:26
42976.4896 | 42976.5896 | 02:24 | 2:24
42976.7535 | 42976.7986 | 01:05 | 1:05
42976.4215 | 42976.655 | 05:36 | 5:36
42976.3403 | 42976.5208 | 04:20 | 4:20
42976.4472 | 42976.7087 | 06:16 | 6:17
42976.3208 | 42976.3929 | 01:43 | 1:44
42976.3288 | 42976.3796 | 01:13 | 1:13
42976.3591 | 42976.4029 | 01:03 | 1:03
42976.5701 | 42976.6737 | 02:29 | 2:29
42976.4215 | 42976.5654 | 03:27 | 3:27
42976.5461 | 42976.5916 | 01:05 | 1:06
42976.5975 | 42976.7538 | 03:45 | 3:45
42976.906 | 42976.9657 | 01:26 | 1:26
19:00 | 20:30 | 1:30 | 1:30
13:03 | 17:40 | 4:37 | 4:37
13:55 | 15:22 | 1:27 | 1:27
14:39 | 17:00 | 2:21 | 2:21
15:13 | 16:27 | 1:14 | 1:14
11:18 | 17:05 | 5:47 | 5:47
11:19 | 16:00 | 4:41 | 4:41
12:24 | 14:08 | 1:44 | 1:44
23:05 | 0:17 | 1:12 | -0.95
22:25 | 23:48 | 1:23 | 1:23
13:49 | 15:40 | 1:51 | 1:51