## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## Sheet 1
DISCOM : ___TATA Power-DDL_________
OUTAGE REPORT FOR :___29-03-2018___________
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Details
1 | 29-03-18 | Moti Nagar | 11:03 | 14:47 | 3:44 | PLANNED SHUTDOWN | DT Maintenance | Restored/Repaired | Parts Of: Ranjit Nagar | 464 | PLANNED SHUTDOWN
2 | 29-03-18 | Shalimar Bagh | 10:46 | 16:28 | 5:43 | PLANNED SHUTDOWN | HT ABC Replacement | Restored/Repaired | Parts Of: Shalimar Village | 4501 | PLANNED SHUTDOWN
3 | 29-03-18 | Shalimar Bagh | 14:55 | 17:00 | 2:05 | HVDS CABLE & OTHER SYSTEM | HT ABC failure | Restored/Repaired | Parts Of: Bhalaswa Village | 495 | INTERRUPTION DUE TO FAULT
4 | 29-03-18 | Mangol Puri | 8:40 | 9:45 | 1:05 | HT SYSTEM FAULT | Bird age | Restored/Repaired | Parts Of: Budh Vihar Ph-1 | 847 | INTERRUPTION DUE TO FAULT
5 | 29-03-18 | Pitam Pura | 0:01 | 01:40 | 1:39 | HT SYSTEM FAULT | HT Jumper Sparking | Restored/Repaired | Parts of : Sainik Vihar | 856 | INTERRUPTION DUE TO FAULT
6 | 29-03-18 | Bawana | 06:57 | 08:23 | 1:26 | DISTRIBUTION TR. | DD Unit Flashed | Restored/Repaired | Parts Of: Vijay Colony | 306 | INTERRUPTION DUE TO FAULT
7 | 29-03-18 | Narela | 11:54 | 14:36 | 2:42 | HT SYSTEM FAULT | HT ABC Faulty | Restored/Repaired | Parts Of: Swatantra Nagar | 1088 | INTERRUPTION DUE TO FAULT
8 | 29-03-18 | Narela | 10:10 | 11:15 | 1:05 | HT SYSTEM FAULT | Squirrel Electrocuted | Restored/Repaired | Parts Of: Hiranki | 5680 | INTERRUPTION DUE TO FAULT
9 | 29-03-18 | Narela | 14:29 | 15:43 | 1:14 | HT SYSTEM FAULT | HT Jumper Burnt | Restored/Repaired | Parts Of: Bakoli | 1750 | INTERRUPTION DUE TO FAULT
10 | 29-03-18 | Bawana | 09:45 | 11:10 | 1:25 | HVDS CABLE & OTHER SYSTEM | HT Cable Faulty | Restored/Repaired | Parts Of: Garhi Randhala | 1512 | INTERRUPTION DUE TO FAULT
11 | 29-03-18 | Bawana | 09:05 | 11:00 | 1:55 | HVDS CABLE & OTHER SYSTEM | HT Socket Burnt | Restored/Repaired | Parts Of: Mubarakpur Village | 4067 | INTERRUPTION DUE TO FAULT
12 | 29-03-18 | Bawana | 15:04 | 16:10 | 1:06 | HT SYSTEM FAULT | Pin Insulator Flashed | Restored/Repaired | Parts Of: O Blk Sec-1 DSIDC Bawana | 356 | INTERRUPTION DUE TO FAULT
13 | 29-03-18 | Bawana | 15:35 | 17:10 | 1:35 | PLANNED SHUTDOWN | LT Pole Cleaning | Restored/Repaired | Parts Of: Harevali Village | 386 | SYSTEM SCHEDULE MAINTENANCE

## Sheet3 (hidden)
43105.5833 | 43105.6319 | 01:10 | 1:10
43105.7257 | 43105.8056 | 01:55 | 1:55
43105.4215 | 43105.7167 | 07:05 | 7:05
43105.4778 | 43105.7083 | 05:32 | 5:32
43105.4618 | 43105.7479 | 06:52 | 6:52
43105.5479 | 43105.625 | 01:51 | 1:51
43105.5035 | 43105.7118 | 05:00 | 5:00
43105.5146 | 43105.6833 | 04:03 | 4:03
43105.4764 | 43105.5667 | 02:10 | 2:10
43105.5257 | 43105.5972 | 01:43 | 1:43
43105.5049 | 43105.625 | 02:53 | 2:53
43105.2021 | 43105.3021 | 02:24 | 2:24
43105.3757 | 43105.4653 | 02:09 | 2:09
43105.4167 | 43105.7042 | 06:54 | 6:54
43105.4347 | 43105.6667 | 05:34 | 5:34
43105.5299 | 43105.6167 | 02:05 | 2:05
43105.5507 | 43105.6215 | 01:42 | 1:42
43105.6049 | 43105.6632 | 01:24 | 1:24
43105.6417 | 43105.7882 | 03:31 | 3:31
43105.8743 | 43105.9479 | 01:46 | 1:46
0.49514 | 0.55417 | 1:25 | 1:25
0.45694 | 0.71389 | 6:10 | 6:10
0.50486 | 0.59653 | 2:12 | 2:12
0.53542 | 0.72222 | 4:29 | 4:29
0.57708 | 0.625 | 1:09 | 1:09

## Sheet2 (hidden)
42976.2569 | 42976.3056 | 01:10 | 1:10
42976.2389 | 42976.2812 | 01:01 | 1:01
42976.241 | 42976.2882 | 01:08 | 1:08
42976.2833 | 42976.3403 | 01:22 | 1:22
42976.3438 | 42976.4035 | 01:26 | 1:26
42976.4896 | 42976.5896 | 02:24 | 2:24
42976.7535 | 42976.7986 | 01:05 | 1:05
42976.4215 | 42976.655 | 05:36 | 5:36
42976.3403 | 42976.5208 | 04:20 | 4:20
42976.4472 | 42976.7087 | 06:16 | 6:17
42976.3208 | 42976.3929 | 01:43 | 1:44
42976.3288 | 42976.3796 | 01:13 | 1:13
42976.3591 | 42976.4029 | 01:03 | 1:03
42976.5701 | 42976.6737 | 02:29 | 2:29
42976.4215 | 42976.5654 | 03:27 | 3:27
42976.5461 | 42976.5916 | 01:05 | 1:06
42976.5975 | 42976.7538 | 03:45 | 3:45
42976.906 | 42976.9657 | 01:26 | 1:26
19:00 | 20:30 | 1:30 | 1:30
13:03 | 17:40 | 4:37 | 4:37
13:55 | 15:22 | 1:27 | 1:27
14:39 | 17:00 | 2:21 | 2:21
15:13 | 16:27 | 1:14 | 1:14
11:18 | 17:05 | 5:47 | 5:47
11:19 | 16:00 | 4:41 | 4:41
12:24 | 14:08 | 1:44 | 1:44
23:05 | 0:17 | 1:12 | -0.95
22:25 | 23:48 | 1:23 | 1:23
13:49 | 15:40 | 1:51 | 1:51