## Sheet1 (hidden)
DAMAGE BY OTHER AGENCIES
DISTRIBUTION TR.
FORCE MAJEURE (RAIN/WATER LOGGING/STORM, ETC.)
HT SYSTEM FAULT
HVDS CABLE & OTHER SYSTEM
HVDS TRANSFORMER
LT SYSTEM FEEDER PILLAR, TERMINATION, ETC.
LT FEEDER
PLANNED SHUTDOWN
SHEDDING TO REDUCE OVERDRAWAL
TRANSMISSION SYSTEM DTL/PGCIL

## Sheet 1
DISCOM : ___TATA Power-DDL_________
OUTAGE REPORT FOR :___31-03-2018___________
Sr. No. | Date | Division | Start Time | End Time | Duration | Reason for Outage |  | Action | Main Area affected | No. of consumer affected | Remarks
[6 empty] | Main Reason | Details
1 | 2018-03-31 11:11 | Narela | 43190.466 | 43190.5778 | 02:41 | HT SYSTEM FAULT | Pin Insulator Faulty | Restored/Repaired | Parts of : Darshan Vihar | 5546 | Interruption due to fault
2 | 2018-03-31 11:11 | Pitam Pura | 01:19 | 02:50 | 1:31 | HT SYSTEM FAULT | HT ABC Faulty | Restored/Repaired | Parts of : Sant Nagar | 2002 | Interruption due to fault
3 | 2018-03-31 11:11 | Shalimar Bagh | 08:12 | 09:20 | 1:08 | HT SYSTEM FAULT | HT Jumper Burnt | Restored/Repaired | Parts of : Burari | 1359 | Interruption due to fault
4 | 2018-03-31 11:11 | Badli | 10:34 | 11:40 | 1:06 | HT SYSTEM FAULT | Squirrel Electrocution | Restored/Repaired | Parts of : Samaypur | 756 | Interruption due to fault
5 | 2018-03-31 11:11 | Shalimar Bagh | 0.51042 | 0.5625 | 1:15 | PLANNED SHUTDOWN | DT Maintenance | Restored/Repaired | Parts of : C Block Jahangirpuri | 672 | Planned outage
6 | 2018-03-31 11:11 | Shalimar Bagh | 12:39 | 14:56 | 2:17 | PLANNED SHUTDOWN | Oil Top up and Silica Gel Replacement | Restored/Repaired | Parts : D Block Jahangirpuri | 4913 | Planned outage
7 | 2018-03-31 11:11 | Pitam Pura | 12:46 | 13:50 | 1:04 | HT SYSTEM FAULT | Birdage | Restored/Repaired | Parts of : Anand Vihar | 769 | Interruption due to fault
8 | 2018-03-31 11:11 | Badli | 13:21 | 16:12 | 2:51 | HT SYSTEM FAULT | HT Conductor Broken | Restored/Repaired | Parts of : Rohini Sec-26 | 695 | Interruption due to fault
9 | 2018-03-31 11:11 | Rohini | 13:26 | 14:55 | 1:29 | HT SYSTEM FAULT | Cat Electrocution | Restored/Repaired | Parts of : Vijay Vihar | 1969 | Interruption due to fault
10 | 2018-03-31 11:11 | Keshav Puram | 13:35 | 17:04 | 3:29 | HT SYSTEM FAULT | HT Cable Faulty | Restored/Repaired | Parts of : Rampura | 1158 | Interruption due to fault
11 | 2018-03-31 11:11 | Pitam Pura | 0.62431 | 0.67708 | 1:16 | PLANNED SHUTDOWN | DD Unit Replacement | Restored/Repaired | Parts of : RU Block Pitampura | 514 | Planned outage
12 | 2018-03-31 11:11 | Keshav Puram | 15:34 | 16:45 | 1:11 | HT SYSTEM FAULT | HT Cable Faulty | Restored/Repaired | Parts of : New Shanti Nagar | 2052 | Interruption due to fault
13 | 2018-03-31 11:11 | Bawana | 12:40 | 15:58 | 3:18 | HT SYSTEM FAULT | HT ABC Faulty | Restored/Repaired | Parts of : Mubarakpur Village | 4074 | Interruption due to fault
14 | 2018-03-31 11:11 | Rohini | 18:00 | 19:30 | 1:30 | HT SYSTEM FAULT | Birdage | Restored/Repaired | Parts of : Rohini Sec-5 | 3484 | Interruption due to fault
15 | 2018-03-31 11:11 | Moti Nagar | 0.42292 | 11:49 | 1:40 | PLANNED SHUTDOWN | To attend IHI Points | Restored/Repaired | Parts of : Sudershan Park | 425 | Planned outage
16 | 2018-03-31 11:11 | Model Town | 0.43681 | 12:06 | 1:37 | PLANNED SHUTDOWN | DT Maintenance | Restored/Repaired | Parts of : Indra Vihar | 607 | Planned outage
17 | 2018-03-31 11:11 | Shalimar Bagh | 0.43056 | 17:55 | 7:35 | PLANNED SHUTDOWN | General Maintenance | Restored/Repaired | Parts of : Bhalswa | 859 | Planned outage
18 | 2018-03-31 11:11 | Mangol Puri | 0.43819 | 13:27 | 2:56 | PLANNED SHUTDOWN | HT Pole Cleaning | Restored/Repaired | Parts of : Y Block Mangolpuri | 725 | Planned outage
19 | 2018-03-31 11:11 | Rohini | 0.47222 | 13:30 | 2:10 | PLANNED SHUTDOWN | HVDS Feeder Maintenance | Restored/Repaired | Parts of : Rithala | 402 | Planned outage
20 | 2018-03-31 11:11 | Bawana | 0.4125 | 17:46 | 7:52 | PLANNED SHUTDOWN | General Maintenance | Restored/Repaired | Parts of : JK Block DSIDC Bawana | 333 | Planned outage
21 | 2018-03-31 11:11 | Moti Nagar | 12:48 | 14:00 | 1:12 | PLANNED SHUTDOWN | Guard Wire Repair | Restored/Repaired | Parts of : Bali Nagar | 1453 | Planned outage
22 | 2018-03-31 11:11 | Narela | 09:53 | 11:20 | 1:27 | HT SYSTEM FAULT | HT Jumper Burnt | Restored/Repaired | Parts of : Khera Kalan | 3642 | Interruption due to fault
23 | 2018-03-31 11:11 | Rohini | 13:31 | 16:09 | 2:38 | PLANNED SHUTDOWN | Tree Trimming | Restored/Repaired | Parts of : Sector 3 Rohini | 377 | Planned outage
24 | 2018-03-31 11:11 | Shakti Nagar | 14:53 | 16:28 | 1:35 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | LT Side Lead Burnt | Restored/Repaired | Parts of : Subhadra Colony | 482 | Interruption due to fault
25 | 2018-03-31 11:11 | Pitam Pura | 15:54 | 17:43 | 1:49 | LT SYSTEM FEEDER PILLAR, TERMINATION, ETC. | Tyco Box Burnt | Restored/Repaired | Parts of : CD Block Pitampura | 481 | Interruption due to fault
26 | 2018-03-31 11:11 | Mangol Puri | 15:13 | 17:45 | 2:32 | PLANNED SHUTDOWN | LT ABC Replacement | Restored/Repaired | Parts of : Aman Vihar | 341 | Scheduled system outage

## Sheet2 (hidden)
42976.2569 | 42976.3056 | 01:10 | 1:10
42976.2389 | 42976.2812 | 01:01 | 1:01
42976.241 | 42976.2882 | 01:08 | 1:08
42976.2833 | 42976.3403 | 01:22 | 1:22
42976.3438 | 42976.4035 | 01:26 | 1:26
42976.4896 | 42976.5896 | 02:24 | 2:24
42976.7535 | 42976.7986 | 01:05 | 1:05
42976.4215 | 42976.655 | 05:36 | 5:36
42976.3403 | 42976.5208 | 04:20 | 4:20
42976.4472 | 42976.7087 | 06:16 | 6:17
42976.3208 | 42976.3929 | 01:43 | 1:44
42976.3288 | 42976.3796 | 01:13 | 1:13
42976.3591 | 42976.4029 | 01:03 | 1:03
42976.5701 | 42976.6737 | 02:29 | 2:29
42976.4215 | 42976.5654 | 03:27 | 3:27
42976.5461 | 42976.5916 | 01:05 | 1:06
42976.5975 | 42976.7538 | 03:45 | 3:45
42976.906 | 42976.9657 | 01:26 | 1:26
19:00 | 20:30 | 1:30 | 1:30
13:03 | 17:40 | 4:37 | 4:37
13:55 | 15:22 | 1:27 | 1:27
14:39 | 17:00 | 2:21 | 2:21
15:13 | 16:27 | 1:14 | 1:14
11:18 | 17:05 | 5:47 | 5:47
11:19 | 16:00 | 4:41 | 4:41
12:24 | 14:08 | 1:44 | 1:44
23:05 | 0:17 | 1:12 | -0.95
22:25 | 23:48 | 1:23 | 1:23
13:49 | 15:40 | 1:51 | 1:51